## Forests
Forest CO2 Summary
carbon in northern forest (tonnes/acre) | 106 | http://www.forestecologynetwork.org/climate_change/sequestration_facts.html
(tonnes/m^2) | 0.02619317317
tonnes/km^2 | 26.2

## wind
Wind Speed Information
m/s | 7.5 | http://www.iti.gov.nt.ca/publications/2013/energy/2012_WIND_ENERGY_RESOURCES_V2.pdf
mph | 16.8

## Summary
Summary
Can wind turbines or PV cells on reclaimed tar sands land offset the CO2 created by mining and using the oil sands oil?
Written by Prof. Alexander H Slocum, Massachusetts Institute of Technology
Email: slocum@mit.edu
Date Started: June 2013
If edited please enter info on "edit history" worksheet
Enter data in BOLD, calculated output in RED
Motivation |  | http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
Alberta Oil Sands
Alberta Oil sands land area (km^2) | 140200 | http://www.energy.alberta.ca/oilsands/791.asp
Carbon in the forest (billions of tonnes) | 3.67 | http://www.forestecologynetwork.org/climate_change/sequestration_facts.html
CO2 Saved from Electricity by Wind Power Installed on Oil Sands Land
Turbine size, peak power (MW) | 5 | http://www.power-technology.com/features/featurethe-worlds-biggest-wind-turbines-4154395/
Capacity factor | 40% | http://cleantechnica.com/2012/07/27/wind-turbine-net-capacity-factor-50-the-new-normal/
Land area per turbine (km^2) | 1
Percent land area for wind turbines | 50%
Area of wind farm (km^2) | 70100
(Square Miles) | 27383
Square Size (Miles x Miles) | 165
Number of turbines to be built for land area | 70,100
Average power generated (GW) | 140
Average annual energy produced (TWhr) | 1228
CO2/MW saved by not burning coal to produce energy generated by wind (tonnes/year/MW) | 6375
CO2 saved by not burning coal to produce energy generated by wind (magatonnes/year) | 894
| 2.00 | 2.00 |  | 0.0127500
CO2 from Oil sands production and oil use
Oil produced (million barrels per year) | 693.5 | http://oilsands.alberta.ca/resource.html
CO2 to produce the oil (megatonnes/year) | 50 | http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
CO2 from oil use (megatonnes/year) | 298 | http://www.epa.gov/cleanenergy/energy-resources/refs.html
Total CO2 per year from tar sands (megatonnes/year) | 348
CO2 Saved from Electricity by Solar PV Cells Installed on Oil Sands Land
Total average annual power of the system - Nominal Power (GW) | 134
Average Nominal Power (GWh/Year) | 1174666
Average Nominal Power (GWh/Day) | 3218
Average Nominal Power (GW) per daylight hour | 358 | Note per daylight hour
Average Nominal Power (GW) per day | 134 | Note per day (so would assume storage, or for opurposes of powering heaters
Average Number of Daily hours with 100% Full Sun Level | 9.00
June | 14 | https://weatherspark.com/averages/28151/Fort-McMurray-Alberta-Canada
January | 4 | https://weatherspark.com/averages/28151/Fort-McMurray-Alberta-Canada
Solar insolation at which panel power is rated (W/m^2) | 1000
Solar panel peak output (W) | 200
Solar panel 24/7 average power for panels installed in Alberta (W) | 28
(MW) | 0.00003
Area of solar panel (m^2) | 1
Percent land area assumed covered by PV fields | 15%
Area of PV farm (km^2) | 21030
Square size (km x km) | 145
(Square Miles) | 8,215
Square Size (Miles x Miles) | 91
Ideal power potential calculations
Area to be covered by solar panels (m^2) | 6,309,000,000
Number of solar pannels to be installed for land area | 6,309,000,000
Density of coverage on land designated for PV fields | 30%
PV efficiency | 20% | http://www.forbes.com/sites/peterdetwiler/2013/07/16/as-solar-panel-efficiencies-keep-improving-its-time-to-adopt-some-new-metrics/
PR = Performance ratio, coefficient for losses | 75%
Net PV cell efficiency | 15%
Average 24/7 solar insolation (W/m^2) | 142
Average 24/7 solar insolation (kWh/m^2/year) | 1242
June | 2231 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
January | 253 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
Average power (assumes 24/7 operation made possible with storage technology) (GW)
June | 241 | 88 | This was the old value
January | 27
Average | 134
CO2 saved by not burning coal to produce energy generated by solar (magatonnes/year) | 855 | This is an estimated conversion
Average Solar Energy Insoluation (MJ/m^2/day)
June | 22 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
January | 2.5
Average Solar Energy Insoluation (kWh/m^2/year)
June | 2231
January | 253
These are the numbers we had before and they dio NOT jive with the plots in the workbook tab "Solar", so I instead used the more conservative values from the plot | 6250 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
| 1389 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf

## CO2 amounts
CO2 Values
Carbon from coal to make electricity (kg/kWh) | 0.7277381453 | See bottom half of spreadsheet for derivation
CO2 from producing tar sands (tons per barrel of oil) | 0.07168949772 | http://oilprice.com/Energy/Energy-General/Keystone-XLs-Miniscule-CO2-Impact-and-the-Bigger-Picture.html
http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
CO2 from burning oil (tonnes per barrel oil) | 0.43 | http://www.epa.gov/cleanenergy/energy-resources/refs.html
Dave's Alberta CO2 Average (kg/kWh) (see sheet Alberta Electricity) | 0.7277381453
Previous value Carbon from coal to make electricity (kg/kWh) | 0.9706826
How much carbon dioxide (CO2) is produced per kilowatt-hour when generating electricity with fossil fuels?
You can calculate the amount of CO2 produced per kWh for specific fuels and specific types of generators by multiplying the CO2 emissions factor for the fuel (in pounds of CO2 per million Btu)
by the heat rate of a generator (in Btu per kWh generated), and dividing the result by 1,000,000.
For example, here are the number of pounds of CO2 produced by a steam-electric generator for different fuels using that formula and the average heat rates for steam-electric generators in 2011:
Fuel | Lbs of CO2 per Million Btu | Heat Rate (Btu per kWh) | Lbs CO2 per kWh
Coal
Bituminous | 205.3 | 10107 | 2.08
Sub-bituminous | 212.7 | 10107 | 2.16
Lignite | 215.4 | 10107 | 2.18
Natural gas | 117.08 | 10416 | 1.22
Distillate Oil (No. 2) | 161.386 | 10416 | 1.68
Residual Oil (No. 6) | 173.906 | 10416 | 1.81
Last updated: March 11, 2014
By Source Type (US Country Avg.s from EPA) | lbs/MWh | kg/kWh | http://www.epa.gov/cleanenergy/energy-and-you/affect/air-emissions.html
Nat Gas | 1135 | 0.51482692
Coal | 2249 | 1.020128408
Oil | 1672 | 0.758405824
Biomass | debatable, but EPA site gives no #
Conversion Factors
1lbs=?kgs | 0.45359

## Solar
source http://en.wikipedia.org/wiki/Oil_sands
Daily Hours of Daylight and Twilight
Source: https://weatherspark.com/averages/28151/Fort-McMurray-Alberta-Canada
Source: http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf

## edit history
Edit History
Name | Date | Modification
Alex Slocum | 2013.06.27 | added development plan worksheet
Alex Slocum | 2013.09.13 | format columns review numbers
Santiago Paiva | 2014.03.13 | Alberta tar sands land area (km^2) to 140,200
Santiago Paiva | 2014.03.13 | Wind Turbine Peak Power to 7 MW
Santiago Paiva | 2014.03.13 | Wind Turbine Capacity Factor to 40.35%
Santiago Paiva | 2014.03.13 | PV cell efficiency to 15%
Santiago Paiva | 2014.03.13 | Insolation values for Fort McMurray Area: 1388.89 in January and 6250 in June
Santiago Paiva | 2014.03.13 | CO2 from producing tar sands (tons per barrel of oil) to 0.071
Santiago Paiva | 2014.03.13 | Oil produced (million barrels per year) to 693.5
Santiago Paiva | 2014.03.17 | Wind Turbine Peak Power back to 5 MW
Santiago Paiva | 2014.03.17 | Added solar insolation graph in the Solar tab
Santiago Paiva | 2014.03.17 | Added peak power for solar cells 1.3 kW in Alberta in Summary tab
Santiago Paiva | 2014.03.17 | Added land area per solar pannel (The general dimension is 1600mm x 1020mm = 0.0016 km^2) in Summary Tab
Santiago Paiva | 2014.03.17 | Added number of solar pannels to be built for land area in Summary tab
Santiago Paiva | 2014.03.17 | Added Wind Graphs & Solar graphs sheets
Alex Slocum | 2014.03.21 | cost per solar "cell" of 38k too high… does not make sense….. Base it all on cost per Watt as I did originally. INSTALLED (cell plus cabling plus inverter….) is about $4/watt (and coming down)
David Taylor | 2014.03.22 | Added Data for Alberta Electricty profile
Santiago Paiva | 2014.03.23 | Hided development plan (wind) tab and kept Dave's DT Adjusted Dev Plan (wind) tab
Santiago Paiva | 2014.03.23 | Updated Wind Graphs tab with new percentage values
Santiago Paiva | 2014.03.23 | Added life expectancy of solar pv cell (around 25 years) in development plan (solar) tab
Santiago Paiva | 2014.03.23 | Removed solar cell price of 38K to $4/Watt
Santiago Paiva | 2014.03.23 | Modified peak power of solar panel to 1.41 kW (Edmonton value)
Santiago Paiva | 2014.03.23 | Modified land area per solar panel to 8.3 acres per MW
Santiago Paiva | 2014.03.23 | Updated Solar Graphs tab with new percentages values
Santiago Paiva | 2014.03.24 | Updated Wind Graphs tab
Santiago Paiva | 2014.03.24 | Updated Solar Graphs tab
Santiago Paiva | 2014.03.25 | Added average 24/7 solar insolation April (Wh/m^2/day) in Summary tab
Santiago Paiva | 2014.03.25 | Added nominal power of the solar cell in Summary tab
Alex Slocum | 2014.03.27 | Removed nomial powerin Summary tab
Alex Slocum | 2014.03.27 | Changed percent land area covered by PV cells to 15% (formerly 10%)
David Taylor | 2014.03.31 | Used Offsets to make life expectancy math dynamic
David Taylor | 2014.04.01 | Major revision of wind tab. Decomissioning now works dynamically!
David Taylor | 2014.04.01 | Decomissioning in Solar now works too!
David Taylor | 2014.04.01 | Calculated % of electricity supply in wind
Santiago Paiva | 2014.04.05 | Changed name of "peak power of solar cell (MW)" to "Nominal Power" in Summary tab
Santiago Paiva | 2014.04.05 | Added "average 24/7 solar insolation April (kWh/m^2/year)" in Summary tab
Santiago Paiva | 2014.04.05 | Added "PV Output" tab to calculate "Nominal Power" in Summary tab
Santiago Paiva | 2014.04.05 | Added some formatting to some tabs to look better!
Santiago Paiva | 2014.04.06 | Added different graphs in "Wind Graphs" tab
Santiago Paiva | 2014.04.06 | Deleted "Land Area Per Solar Panel" in Summary Tab
Santiago Paiva | 2014.04.06 | Added calculation for number of panels to build in the "Summary" tab
Santiago Paiva | 2014.04.06 | Added graph of daily sun hours in the "Solar" tab
Santiago Paiva | 2014.04.06 | Modifed Solar Graphs in "Solar Graphs" tab
David Taylor | 2014.04.07 | Added % addition to Canada's electricity generation to both wind and solar
David Taylor | 2014.04.07 | Fixed solar column J to be 365 days/year
David Taylor | 2014.04.07 | Fixed inconsistency between solar summary and solar development plan, by moving to a $ -> panels -> MW -> savings logic. ATTN! Still need to figure out what W it is for the cost of $4/W...
Alex Slocum | 2014.04.07 | Went through the spreadsheet for solar in detail and made the conversion to panels (by citing cost/m^2 of solar, but then defining panel size and rated power per panel
Santiago Paiva | 2014.04.08 | Fixed percentage values in the "Wind Graphs", values are now accurate

## development plan (Wind) (hidden)
millions barrels oil per year recovered from tar sands | 693.5
$ per barrell of oil to be invested on wind farm on site | 20 | X% | If price per barrel is 100, X% = 20/100 = 20%
Annual amount to be spent (Billions) | $ 13,870,000,000
$/kWhr for reinvestment in purchasing more wind turbines | 0.05
Wind energy: if all the money were spent on wind energy:
Assumed cost of wind ($/W) in this location (include transmission) | 4
Nameplate (peak power) size of wind turbine (MW) | 5
cost per wind turbine installed | $ 20,000,000
number of wind turbines per year to be installed | 693.5
Number of automobiles manufactured equivalent to 1 wind turbine | 1000
year | total number of installed wind turbines | cumulative ratio carbon saved/carbon burned | number of wind turbines purchased | Millions of autos equivelant | % of total wind turbines to be built | cumulative carbon saved | cumulative carbon burned (MT) | value of wind produced in previous year reinvested (million $) | Billions to be spent on wind turbine acquisition next year
1 | 693.5 | 0% | 693.5 | 0.69 | 1.0% | 0 | 348 |  | $ 13,870,000,000
2 | 1417.5 | 1% | 724 | 0.72 | 2.0% | 9 | 696 | $ 624,150,000 | $ 14,494,150,000
3 | 2174.5 | 3% | 757 | 0.76 | 3.1% | 27 | 1044 | $ 1,275,750,000 | $ 15,145,750,000
4 | 2965.5 | 4% | 791 | 0.79 | 4.2% | 55 | 1392 | $ 1,957,050,000 | $ 15,827,050,000
5 | 3791.5 | 5% | 826 | 0.83 | 5.4% | 92 | 1740 | $ 2,668,950,000 | $ 16,538,950,000
6 | 4655.5 | 7% | 864 | 0.86 | 6.6% | 141 | 2088 | $ 3,412,350,000 | $ 17,282,350,000
7 | 5557.5 | 8% | 902 | 0.90 | 7.9% | 200 | 2435 | $ 4,189,950,000 | $ 18,059,950,000
8 | 6500.5 | 10% | 943 | 0.94 | 9.3% | 271 | 2783 | $ 5,001,750,000 | $ 18,871,750,000
9 | 7486.5 | 11% | 986 | 0.99 | 10.7% | 354 | 3131 | $ 5,850,450,000 | $ 19,720,450,000
10 | 8516.5 | 13% | 1030 | 1.03 | 12.1% | 449 | 3479 | $ 6,737,850,000 | $ 20,607,850,000
11 | 9592.5 | 15% | 1076 | 1.08 | 13.7% | 558 | 3827 | $ 7,664,850,000 | $ 21,534,850,000
12 | 10717.5 | 16% | 1125 | 1.13 | 15.3% | 680 | 4175 | $ 8,633,250,000 | $ 22,503,250,000
13 | 11892.5 | 18% | 1175 | 1.18 | 17.0% | 817 | 4523 | $ 9,645,750,000 | $ 23,515,750,000
14 | 13120.5 | 20% | 1228 | 1.23 | 18.7% | 969 | 4871 | $ 10,703,250,000 | $ 24,573,250,000
15 | 14403.5 | 22% | 1283 | 1.28 | 20.5% | 1136 | 5219 | $ 11,808,450,000 | $ 25,678,450,000
16 | 15744.5 | 24% | 1341 | 1.34 | 22.5% | 1319 | 5567 | $ 12,963,150,000 | $ 26,833,150,000
17 | 17146.5 | 26% | 1402 | 1.40 | 24.5% | 1520 | 5915 | $ 14,170,050,000 | $ 28,040,050,000
18 | 18611.5 | 28% | 1465 | 1.47 | 26.5% | 1739 | 6263 | $ 15,431,850,000 | $ 29,301,850,000
19 | 20142.5 | 30% | 1531 | 1.53 | 28.7% | 1976 | 6611 | $ 16,750,350,000 | $ 30,620,350,000
20 | 21741.5 | 32% | 1599 | 1.60 | 31.0% | 2233 | 6958 | $ 18,128,250,000 | $ 31,998,250,000
21 | 23412.5 | 34% | 1671 | 1.67 | 33.4% | 2510 | 7306 | $ 19,567,350,000 | $ 33,437,350,000
22 | 25159.5 | 37% | 1747 | 1.75 | 35.9% | 2809 | 7654 | $ 21,071,250,000 | $ 34,941,250,000
23 | 26984.5 | 39% | 1825 | 1.83 | 38.5% | 3129 | 8002 | $ 22,643,550,000 | $ 36,513,550,000
24 | 28891.5 | 42% | 1907 | 1.91 | 41.2% | 3473 | 8350 | $ 24,286,050,000 | $ 38,156,050,000
25 | 30884.5 | 44% | 1993 | 1.99 | 44.1% | 3842 | 8698 | $ 26,002,350,000 | $ 39,872,350,000
26 | 32967.5 | 47% | 2083 | 2.08 | 47.0% | 4236 | 9046 | $ 27,796,050,000 | $ 41,666,050,000
27 | 35144.5 | 50% | 2177 | 2.18 | 50.1% | 4656 | 9394 | $ 29,670,750,000 | $ 43,540,750,000
28 | 37419.5 | 52% | 2275 | 2.28 | 53.4% | 5104 | 9742 | $ 31,630,050,000 | $ 45,500,050,000
29 | 39796.5 | 55% | 2377 | 2.38 | 56.8% | 5581 | 10090 | $ 33,677,550,000 | $ 47,547,550,000
30 | 42280.5 | 58% | 2484 | 2.48 | 60.3% | 6089 | 10438 | $ 35,816,850,000 | $ 49,686,850,000
31 | 44876.5 | 61% | 2596 | 2.60 | 64.0% | 6628 | 10786 | $ 38,052,450,000 | $ 51,922,450,000
32 | 47588.5 | 65% | 2712 | 2.71 | 67.9% | 7200 | 11133 | $ 40,388,850,000 | $ 54,258,850,000
33 | 50422.5 | 68% | 2834 | 2.83 | 71.9% | 7807 | 11481 | $ 42,829,650,000 | $ 56,699,650,000
34 | 53384.5 | 71% | 2962 | 2.96 | 76.2% | 8449 | 11829 | $ 45,380,250,000 | $ 59,250,250,000
35 | 56479.5 | 75% | 3095 | 3.10 | 80.6% | 9130 | 12177 | $ 48,046,050,000 | $ 61,916,050,000
36 | 59714.5 | 79% | 3235 | 3.24 | 85.2% | 9850 | 12525 | $ 50,831,550,000 | $ 64,701,550,000
37 | 63094.5 | 82% | 3380 | 3.38 | 90.0% | 10612 | 12873 | $ 53,743,050,000 | $ 67,613,050,000
38 | 66626.5 | 86% | 3532 | 3.53 | 95.0% | 11416 | 13221 | $ 56,785,050,000 | $ 70,655,050,000
39 | 70317.5 | 90% | 3691 | 3.69 | 100.3% | 12265 | 13569 | $ 59,963,850,000 | $ 73,833,850,000
40 | 74174.5 | 95% | 3857 | 3.86 | 105.8% | 13162 | 13917 | $ 63,285,750,000 | $ 77,155,750,000
41 | 78205.5 | 99% | 4031 | 4.03 | 111.6% | 14108 | 14265 | $ 66,757,050,000 | $ 80,627,050,000
42 | 82417.5 | 103% | 4212 | 4.21 | 117.6% | 15105 | 14613 | $ 70,384,950,000 | $ 84,254,950,000
43 | 86819.5 | 108% | 4402 | 4.40 | 123.9% | 16156 | 14961 | $ 74,175,750,000 | $ 88,045,750,000
44 | 91419.5 | 113% | 4600 | 4.60 | 130.4% | 17263 | 15309 | $ 78,137,550,000 | $ 92,007,550,000
45 | 96226.5 | 118% | 4807 | 4.81 | 137.3% | 18428 | 15656 | $ 82,277,550,000 | $ 96,147,550,000
46 | 101249.5 | 123% | 5023 | 5.02 | 144.4% | 19655 | 16004 | $ 86,603,850,000 | $ 100,473,850,000
47 | 106498.5 | 128% | 5249 | 5.25 | 151.9% | 20946 | 16352 | $ 91,124,550,000 | $ 104,994,550,000
48 | 111983.5 | 134% | 5485 | 5.49 | 159.7% | 22304 | 16700 | $ 95,848,650,000 | $ 109,718,650,000
49 | 117715.5 | 139% | 5732 | 5.73 | 167.9% | 23732 | 17048 | $ 100,785,150,000 | $ 114,655,150,000
50 | 123705.5 | 145% | 5990 | 5.99 | 176.5% | 25233 | 17396 | $ 105,943,950,000 | $ 119,813,950,000
51 | 129965.5 | 151% | 6260 | 6.26 | 185.4% | 26810 | 17744 | $ 111,334,950,000 | $ 125,204,950,000
52 | 136506.5 | 157% | 6541 | 6.54 | 194.7% | 28467 | 18092 | $ 116,968,950,000 | $ 130,838,950,000
53 | 143342.5 | 164% | 6836 | 6.84 | 204.5% | 30207 | 18440 | $ 122,855,850,000 | $ 136,725,850,000
54 | 150485.5 | 171% | 7143 | 7.14 | 214.7% | 32035 | 18788 | $ 129,008,250,000 | $ 142,878,250,000

## Dev Plan (Wind)
Wind Development Plan
Yelow cell = Enter your own data
White cell = Calculated value (do not change the value)
Technical Assumptions:
Life expectancy of a Wind Turbine (yrs) | 20 | https://www.irena.org/DocumentDownloads/Publications/RE_Technologies_Cost_Analysis-WIND_POWER.pdf
Millions barrels oil per year recovered from tar sands | 693.5
$ per barrell of oil to be invested on wind farm on site | 20
Annual amount to be spent | $ 13,870,000,000
$/kWhr for reinvestment in purchasing more wind turbines | 0.05
Wind energy: if all the money were spent on wind energy:
Assumed cost of wind ($/W) in this location (include transmission) | 4
Nameplate (peak power) size of wind turbine (MW) | 5
Cost per wind turbine installed | $ 20,000,000
Number of wind turbines per year to be installed | 693.5
Number of automobiles manufactured equivalent to 1 wind turbine | 1000
These cells check the self consistency of the spreadsheet
Year | Total number of installed wind turbines | Cumulative ratio carbon saved/carbon burned | Number of wind turbines purchased | Millions of autos equivelant | % of total wind turbines to be built | Cumulative carbon saved (MT) | Cumulative Carbon from oil sands (vs. conventional) (MT) | Cumulative Carbon from oil end use (MT) | Cumulative carbon burned (MT) | Value of wind produced in previous year reinvested $ | $ to be spent on wind turbine acquisition next year | Decomissioned Turbines | Marginal carbon offset ratio | Total Installed Capacity (MW) | Power Generated (MW) | Percentage of System in Wind | Percentage addition to Canada's electricity generation | carbon burned this year (MT) | carbon saved this year (MT) | MT/GW | Savings (T/turbune)
1 | 693.5 | 0% | 693.5 | 0.69 | 1.0% | 0 | 50 | 298 | 348 |  | $ 13,870,000,000 | 0 | 0% | 3467.5 | 1387 | 9% | 3% | 348 | 0 | 0
2 | 1417.5 | 1% | 724 | 0.72 | 2.0% | 9 | 99 | 596 | 696 | $ 624,150,000 | $ 14,494,150,000 | 0 | 9% | 7087.5 | 2835 | 19% | 5% | 348 | 9 | 6.374986153 | 12749.97231
3 | 2174.5 | 3% | 757 | 0.76 | 3.1% | 27 | 149 | 895 | 1044 | $ 1,275,750,000 | $ 15,145,750,000 | 0 | 18% | 10872.5 | 4349 | 29% | 8% | 348 | 18 | 6.374986153 | 12749.97231
4 | 2965.5 | 4% | 791 | 0.79 | 4.2% | 55 | 199 | 1193 | 1392 | $ 1,957,050,000 | $ 15,827,050,000 | 0 | 27% | 14827.5 | 5931 | 40% | 11% | 348 | 28 | 6.374986153 | 12749.97231
5 | 3791.5 | 5% | 826 | 0.83 | 5.4% | 92 | 249 | 1491 | 1740 | $ 2,668,950,000 | $ 16,538,950,000 | 0 | 37% | 18957.5 | 7583 | 51% | 15% | 348 | 38 | 6.374986153 | 12749.97231
6 | 4655.5 | 7% | 864 | 0.86 | 6.6% | 141 | 298 | 1789 | 2088 | $ 3,412,350,000 | $ 17,282,350,000 | 0 | 47% | 23277.5 | 9311 | 62% | 18% | 348 | 48 | 6.374986153 | 12749.97231
7 | 5557.5 | 8% | 902 | 0.90 | 7.9% | 200 | 348 | 2087 | 2435 | $ 4,189,950,000 | $ 18,059,950,000 | 0 | 58% | 27787.5 | 11115 | 75% | 21% | 348 | 59 | 6.374986153 | 12749.97231
8 | 6500.5 | 10% | 943 | 0.94 | 9.3% | 271 | 398 | 2386 | 2783 | $ 5,001,750,000 | $ 18,871,750,000 | 0 | 68% | 32502.5 | 13001 | 87% | 25% | 348 | 71 | 6.374986153 | 12749.97231
9 | 7486.5 | 11% | 986 | 0.99 | 10.7% | 354 | 447 | 2684 | 3131 | $ 5,850,450,000 | $ 19,720,450,000 | 0 | 79% | 37432.5 | 14973 | 100% | 29% | 348 | 83 | 6.374986153 | 12749.97231
10 | 8516.5 | 13% | 1030 | 1.03 | 12.1% | 449 | 497 | 2982 | 3479 | $ 6,737,850,000 | $ 20,607,850,000 | 0 | 90% | 42582.5 | 17033 | 114% | 33% | 348 | 95 | 6.374986153 | 12749.97231
11 | 9592.5 | 15% | 1076 | 1.08 | 13.7% | 558 | 547 | 3280 | 3827 | $ 7,664,850,000 | $ 21,534,850,000 | 0 | 102% | 47962.5 | 19185 | 129% | 37% | 348 | 109 | 6.374986153 | 12749.97231
12 | 10717.5 | 16% | 1125 | 1.13 | 15.3% | 680 | 597 | 3578 | 4175 | $ 8,633,250,000 | $ 22,503,250,000 | 0 | 114% | 53587.5 | 21435 | 144% | 41% | 348 | 122 | 6.374986153 | 12749.97231
13 | 11892.5 | 18% | 1175 | 1.18 | 17.0% | 817 | 646 | 3877 | 4523 | $ 9,645,750,000 | $ 23,515,750,000 | 0 | 126% | 59462.5 | 23785 | 160% | 46% | 348 | 137 | 6.374986153 | 12749.97231
14 | 13120.5 | 20% | 1228 | 1.23 | 18.7% | 969 | 696 | 4175 | 4871 | $ 10,703,250,000 | $ 24,573,250,000 | 0 | 139% | 65602.5 | 26241 | 176% | 50% | 348 | 152 | 6.374986153 | 12749.97231
15 | 14403.5 | 22% | 1283 | 1.28 | 20.5% | 1136 | 746 | 4473 | 5219 | $ 11,808,450,000 | $ 25,678,450,000 | 0 | 152% | 72017.5 | 28807 | 193% | 55% | 348 | 167 | 6.374986153 | 12749.97231
16 | 15744.5 | 24% | 1341 | 1.34 | 22.5% | 1319 | 795 | 4771 | 5567 | $ 12,963,150,000 | $ 26,833,150,000 | 0 | 166% | 78722.5 | 31489 | 211% | 60% | 348 | 184 | 6.374986153 | 12749.97231
17 | 17146.5 | 26% | 1402 | 1.40 | 24.5% | 1520 | 845 | 5069 | 5915 | $ 14,170,050,000 | $ 28,040,050,000 | 0 | 180% | 85732.5 | 34293 | 230% | 66% | 348 | 201 | 6.374986153 | 12749.97231
18 | 18611.5 | 28% | 1465 | 1.47 | 26.5% | 1739 | 895 | 5368 | 6263 | $ 15,431,850,000 | $ 29,301,850,000 | 0 | 194% | 93057.5 | 37223 | 250% | 71% | 348 | 219 | 6.374986153 | 12749.97231
19 | 20142.5 | 30% | 1531 | 1.53 | 28.7% | 1976 | 945 | 5666 | 6611 | $ 16,750,350,000 | $ 30,620,350,000 | 0 | 209% | 100712.5 | 40285 | 270% | 77% | 348 | 237 | 6.374986153 | 12749.97231
20 | 21741.5 | 32% | 1599 | 1.60 | 31.0% | 2233 | 994 | 5964 | 6958 | $ 18,128,250,000 | $ 31,998,250,000 | 0 | 225% | 108707.5 | 43483 | 292% | 83% | 348 | 257 | 6.374986153 | 12749.97231
21 | 22718.5 | 34% | 1671 | 1.67 | 32.4% | 2510 | 1044 | 6262 | 7306 | $ 19,567,350,000 | $ 33,437,350,000 | 694 | 240% | 113592.5 | 45437 | 305% | 87% | 348 | 277 | 6.374986153 | 12749.97231
22 | 23709.5 | 37% | 1715 | 1.72 | 33.8% | 2800 | 1094 | 6561 | 7654 | $ 20,446,650,000 | $ 34,316,650,000 | 724 | 256% | 118547.5 | 47419 | 318% | 91% | 348 | 290 | 6.374986153 | 12749.97231
23 | 24712.5 | 39% | 1760 | 1.76 | 35.3% | 3102 | 1143 | 6859 | 8002 | $ 21,338,550,000 | $ 35,208,550,000 | 757 | 271% | 123562.5 | 49425 | 332% | 95% | 348 | 302 | 6.374986153 | 12749.97231
24 | 25726.5 | 41% | 1805 | 1.81 | 36.7% | 3417 | 1193 | 7157 | 8350 | $ 22,241,250,000 | $ 36,111,250,000 | 791 | 286% | 128632.5 | 51453 | 345% | 99% | 348 | 315 | 6.374986153 | 12749.97231
25 | 26751.5 | 43% | 1851 | 1.85 | 38.2% | 3745 | 1243 | 7455 | 8698 | $ 23,153,850,000 | $ 37,023,850,000 | 826 | 301% | 133757.5 | 53503 | 359% | 102% | 348 | 328 | 6.374986153 | 12749.97231
26 | 27784.5 | 45% | 1897 | 1.90 | 39.6% | 4086 | 1293 | 7753 | 9046 | $ 24,076,350,000 | $ 37,946,350,000 | 864 | 316% | 138922.5 | 55569 | 373% | 106% | 348 | 341 | 6.374986153 | 12749.97231
27 | 28825.5 | 47% | 1943 | 1.94 | 41.1% | 4440 | 1342 | 8052 | 9394 | $ 25,006,050,000 | $ 38,876,050,000 | 902 | 331% | 144127.5 | 57651 | 387% | 110% | 348 | 354 | 6.374986153 | 12749.97231
28 | 29872.5 | 49% | 1990 | 1.99 | 42.6% | 4808 | 1392 | 8350 | 9742 | $ 25,942,950,000 | $ 39,812,950,000 | 943 | 345% | 149362.5 | 59745 | 401% | 114% | 348 | 368 | 6.374986153 | 12749.97231
29 | 30923.5 | 51% | 2037 | 2.04 | 44.1% | 5189 | 1442 | 8648 | 10090 | $ 26,885,250,000 | $ 40,755,250,000 | 986 | 360% | 154617.5 | 61847 | 415% | 118% | 348 | 381 | 6.374986153 | 12749.97231
30 | 31978.5 | 53% | 2085 | 2.09 | 45.6% | 5583 | 1492 | 8946 | 10438 | $ 27,831,150,000 | $ 41,701,150,000 | 1030 | 374% | 159892.5 | 63957 | 429% | 122% | 348 | 394 | 6.374986153 | 12749.97231
31 | 33034.5 | 56% | 2132 | 2.13 | 47.1% | 5991 | 1541 | 9244 | 10786 | $ 28,780,650,000 | $ 42,650,650,000 | 1076 | 389% | 165172.5 | 66069 | 443% | 127% | 348 | 408 | 6.374986153 | 12749.97231
32 | 34089.5 | 58% | 2180 | 2.18 | 48.6% | 6412 | 1591 | 9543 | 11133 | $ 29,731,050,000 | $ 43,601,050,000 | 1125 | 403% | 170447.5 | 68179 | 457% | 131% | 348 | 421 | 6.374986153 | 12749.97231
33 | 35141.5 | 60% | 2227 | 2.23 | 50.1% | 6847 | 1641 | 9841 | 11481 | $ 30,680,550,000 | $ 44,550,550,000 | 1175 | 417% | 175707.5 | 70283 | 472% | 135% | 348 | 435 | 6.374986153 | 12749.97231
34 | 36187.5 | 62% | 2274 | 2.27 | 51.6% | 7295 | 1690 | 10139 | 11829 | $ 31,627,350,000 | $ 45,497,350,000 | 1228 | 432% | 180937.5 | 72375 | 486% | 139% | 348 | 448 | 6.374986153 | 12749.97231
35 | 37225.5 | 64% | 2321 | 2.32 | 53.1% | 7756 | 1740 | 10437 | 12177 | $ 32,568,750,000 | $ 46,438,750,000 | 1283 | 446% | 186127.5 | 74451 | 500% | 143% | 348 | 461 | 6.374986153 | 12749.97231
36 | 38252.5 | 66% | 2368 | 2.37 | 54.6% | 8231 | 1790 | 10735 | 12525 | $ 33,502,950,000 | $ 47,372,950,000 | 1341 | 460% | 191262.5 | 76505 | 513% | 147% | 348 | 475 | 6.374986153 | 12749.97231
37 | 39264.5 | 68% | 2414 | 2.41 | 56.0% | 8719 | 1840 | 11034 | 12873 | $ 34,427,250,000 | $ 48,297,250,000 | 1402 | 474% | 196322.5 | 78529 | 527% | 150% | 348 | 488 | 6.374986153 | 12749.97231
38 | 40259.5 | 70% | 2460 | 2.46 | 57.4% | 9219 | 1889 | 11332 | 13221 | $ 35,338,050,000 | $ 49,208,050,000 | 1465 | 488% | 201297.5 | 80519 | 540% | 154% | 348 | 501 | 6.374986153 | 12749.97231
39 | 41233.5 | 72% | 2505 | 2.51 | 58.8% | 9732 | 1939 | 11630 | 13569 | $ 36,233,550,000 | $ 50,103,550,000 | 1531 | 502% | 206167.5 | 82467 | 553% | 158% | 348 | 513 | 6.374986153 | 12749.97231
40 | 42183.5 | 74% | 2549 | 2.55 | 60.2% | 10258 | 1989 | 11928 | 13917 | $ 37,110,150,000 | $ 50,980,150,000 | 1599 | 516% | 210917.5 | 84367 | 566% | 162% | 348 | 526 | 6.374986153 | 12749.97231
41 | 43103.5 | 76% | 2591 | 2.59 | 61.5% | 10796 | 2038 | 12226 | 14265 | $ 37,965,150,000 | $ 51,835,150,000 | 1671 | 530% | 215517.5 | 86207 | 578% | 165% | 348 | 538 | 6.374986153 | 12749.97231
42 | 44021.5 | 78% | 2633 | 2.63 | 62.8% | 11346 | 2088 | 12525 | 14613 | $ 38,793,150,000 | $ 52,663,150,000 | 1715 | 543% | 220107.5 | 88043 | 591% | 169% | 348 | 550 | 6.374986153 | 12749.97231
43 | 44935.5 | 80% | 2674 | 2.67 | 64.1% | 11907 | 2138 | 12823 | 14961 | $ 39,619,350,000 | $ 53,489,350,000 | 1760 | 557% | 224677.5 | 89871 | 603% | 172% | 348 | 561 | 6.374986153 | 12749.97231
44 | 45845.5 | 82% | 2715 | 2.72 | 65.4% | 12480 | 2188 | 13121 | 15309 | $ 40,441,950,000 | $ 54,311,950,000 | 1805 | 570% | 229227.5 | 91691 | 615% | 176% | 348 | 573 | 6.374986153 | 12749.97231
45 | 46750.5 | 83% | 2756 | 2.76 | 66.7% | 13064 | 2237 | 13419 | 15656 | $ 41,260,950,000 | $ 55,130,950,000 | 1851 | 584% | 233752.5 | 93501 | 627% | 179% | 348 | 585 | 6.374986153 | 12749.97231
46 | 47650.5 | 85% | 2797 | 2.80 | 68.0% | 13660 | 2287 | 13717 | 16004 | $ 42,075,450,000 | $ 55,945,450,000 | 1897 | 597% | 238252.5 | 95301 | 639% | 183% | 348 | 596 | 6.374986153 | 12749.97231
47 | 48544.5 | 87% | 2837 | 2.84 | 69.3% | 14268 | 2337 | 14016 | 16352 | $ 42,885,450,000 | $ 56,755,450,000 | 1943 | 611% | 242722.5 | 97089 | 651% | 186% | 348 | 608 | 6.374986153 | 12749.97231
48 | 49432.5 | 89% | 2878 | 2.88 | 70.5% | 14887 | 2386 | 14314 | 16700 | $ 43,690,050,000 | $ 57,560,050,000 | 1990 | 624% | 247162.5 | 98865 | 663% | 189% | 348 | 619 | 6.374986153 | 12749.97231
49 | 50312.5 | 91% | 2917 | 2.92 | 71.8% | 15517 | 2436 | 14612 | 17048 | $ 44,489,250,000 | $ 58,359,250,000 | 2037 | 637% | 251562.5 | 100625 | 675% | 193% | 348 | 630 | 6.374986153 | 12749.97231
50 | 51184.5 | 93% | 2957 | 2.96 | 73.0% | 16159 | 2486 | 14910 | 17396 | $ 45,281,250,000 | $ 59,151,250,000 | 2085 | 650% | 255922.5 | 102369 | 687% | 196% | 348 | 641 | 6.374986153 | 12749.97231
51 | 52048.5 | 95% | 2996 | 3.00 | 74.2% | 16811 | 2536 | 15208 | 17744 | $ 46,066,050,000 | $ 59,936,050,000 | 2132 | 663% | 260242.5 | 104097 | 698% | 199% | 348 | 653 | 6.374986153 | 12749.97231
52 | 52903.5 | 97% | 3035 | 3.04 | 75.5% | 17475 | 2585 | 15507 | 18092 | $ 46,843,650,000 | $ 60,713,650,000 | 2180 | 676% | 264517.5 | 105807 | 710% | 203% | 348 | 664 | 6.374986153 | 12749.97231
53 | 53750.5 | 98% | 3074 | 3.07 | 76.7% | 18149 | 2635 | 15805 | 18440 | $ 47,613,150,000 | $ 61,483,150,000 | 2227 | 689% | 268752.5 | 107501 | 721% | 206% | 348 | 675 | 6.374986153 | 12749.97231
54 | 54588.5 | 100% | 3112 | 3.11 | 77.9% | 18835 | 2685 | 16103 | 18788 | $ 48,375,450,000 | $ 62,245,450,000 | 2274 | 702% | 272942.5 | 109177 | 733% | 209% | 348 | 685 | 6.374986153 | 12749.97231
55 | 55416.5 | 102% | 3149 | 3.15 | 79.1% | 19531 | 2734 | 16401 | 19136 | $ 49,129,650,000 | $ 62,999,650,000 | 2321 | 714% | 277082.5 | 110833 | 744% | 212% | 348 | 696 | 6.374986153 | 12749.97231
56 | 56235.5 | 104% | 3187 | 3.19 | 80.2% | 20237 | 2784 | 16699 | 19484 | $ 49,874,850,000 | $ 63,744,850,000 | 2368 | 727% | 281177.5 | 112471 | 755% | 215% | 348 | 707 | 6.374986153 | 12749.97231
57 | 57045.5 | 106% | 3224 | 3.22 | 81.4% | 20954 | 2834 | 16998 | 19832 | $ 50,611,950,000 | $ 64,481,950,000 | 2414 | 739% | 285227.5 | 114091 | 766% | 218% | 348 | 717 | 6.374986153 | 12749.97231
58 | 57845.5 | 107% | 3260 | 3.26 | 82.5% | 21682 | 2884 | 17296 | 20179 | $ 51,340,950,000 | $ 65,210,950,000 | 2460 | 752% | 289227.5 | 115691 | 776% | 222% | 348 | 727 | 6.374986153 | 12749.97231
59 | 58636.5 | 109% | 3296 | 3.30 | 83.6% | 22419 | 2933 | 17594 | 20527 | $ 52,060,950,000 | $ 65,930,950,000 | 2505 | 764% | 293182.5 | 117273 | 787% | 225% | 348 | 738 | 6.374986153 | 12749.97231
60 | 59419.5 | 111% | 3332 | 3.33 | 84.8% | 23167 | 2983 | 17892 | 20875 | $ 52,772,850,000 | $ 66,642,850,000 | 2549 | 777% | 297097.5 | 118839 | 797% | 228% | 348 | 748 | 6.374986153 | 12749.97231
61 | 60195.5 | 113% | 3367 | 3.37 | 85.9% | 23924 | 3033 | 18191 | 21223 | $ 53,477,550,000 | $ 67,347,550,000 | 2591 | 789% | 300977.5 | 120391 | 808% | 231% | 348 | 758 | 6.374986153 | 12749.97231
62 | 60964.5 | 114% | 3402 | 3.40 | 87.0% | 24692 | 3082 | 18489 | 21571 | $ 54,175,950,000 | $ 68,045,950,000 | 2633 | 801% | 304822.5 | 121929 | 818% | 234% | 348 | 767 | 6.374986153 | 12749.97231
63 | 61726.5 | 116% | 3436 | 3.44 | 88.1% | 25469 | 3132 | 18787 | 21919 | $ 54,868,050,000 | $ 68,738,050,000 | 2674 | 813% | 308632.5 | 123453 | 828% | 236% | 348 | 777 | 6.374986153 | 12749.97231
64 | 62482.5 | 118% | 3471 | 3.47 | 89.1% | 26256 | 3182 | 19085 | 22267 | $ 55,553,850,000 | $ 69,423,850,000 | 2715 | 825% | 312412.5 | 124965 | 839% | 239% | 348 | 787 | 6.374986153 | 12749.97231
65 | 63231.5 | 120% | 3505 | 3.51 | 90.2% | 27053 | 3232 | 19383 | 22615 | $ 56,234,250,000 | $ 70,104,250,000 | 2756 | 837% | 316157.5 | 126463 | 849% | 242% | 348 | 797 | 6.374986153 | 12749.97231
66 | 63972.5 | 121% | 3538 | 3.54 | 91.3% | 27859 | 3281 | 19682 | 22963 | $ 56,908,350,000 | $ 70,778,350,000 | 2797 | 849% | 319862.5 | 127945 | 859% | 245% | 348 | 806 | 6.374986153 | 12749.97231
67 | 64707.5 | 123% | 3572 | 3.57 | 92.3% | 28675 | 3331 | 19980 | 23311 | $ 57,575,250,000 | $ 71,445,250,000 | 2837 | 861% | 323537.5 | 129415 | 868% | 248% | 348 | 816 | 6.374986153 | 12749.97231
68 | 65434.5 | 125% | 3605 | 3.61 | 93.3% | 29500 | 3381 | 20278 | 23659 | $ 58,236,750,000 | $ 72,106,750,000 | 2878 | 873% | 327172.5 | 130869 | 878% | 251% | 348 | 825 | 6.374986153 | 12749.97231
69 | 66155.5 | 126% | 3638 | 3.64 | 94.4% | 30334 | 3430 | 20576 | 24007 | $ 58,891,050,000 | $ 72,761,050,000 | 2917 | 884% | 330777.5 | 132311 | 888% | 253% | 348 | 834 | 6.374986153 | 12749.97231
70 | 66868.5 | 128% | 3670 | 3.67 | 95.4% | 31177 | 3480 | 20874 | 24355 | $ 59,539,950,000 | $ 73,409,950,000 | 2957 | 896% | 334342.5 | 133737 | 897% | 256% | 348 | 843 | 6.374986153 | 12749.97231
71 | 67574.5 | 130% | 3702 | 3.70 | 96.4% | 32030 | 3530 | 21173 | 24702 | $ 60,181,650,000 | $ 74,051,650,000 | 2996 | 907% | 337872.5 | 135149 | 907% | 259% | 348 | 853 | 6.374986153 | 12749.97231
72 | 68273.5 | 131% | 3734 | 3.73 | 97.4% | 32892 | 3580 | 21471 | 25050 | $ 60,817,050,000 | $ 74,687,050,000 | 3035 | 919% | 341367.5 | 136547 | 916% | 261% | 348 | 862 | 6.374986153 | 12749.97231
73 | 68964.5 | 133% | 3765 | 3.77 | 98.4% | 33762 | 3629 | 21769 | 25398 | $ 61,446,150,000 | $ 75,316,150,000 | 3074 | 930% | 344822.5 | 137929 | 926% | 264% | 348 | 870 | 6.374986153 | 12749.97231
74 | 69648.5 | 135% | 3796 | 3.80 | 99.4% | 34641 | 3679 | 22067 | 25746 | $ 62,068,050,000 | $ 75,938,050,000 | 3112 | 942% | 348242.5 | 139297 | 935% | 267% | 348 | 879 | 6.374986153 | 12749.97231
75 | 70326.5 | 136% | 3827 | 3.83 | 100.3% | 35529 | 3729 | 22365 | 26094 | $ 62,683,650,000 | $ 76,553,650,000 | 3149 | 953% | 351632.5 | 140653 | 944% | 269% | 348 | 888 | 6.374986153 | 12749.97231
76 | 70997.5 | 138% | 3858 | 3.86 | 101.3% | 36426 | 3778 | 22664 | 26442 | $ 63,293,850,000 | $ 77,163,850,000 | 3187 | 964% | 354987.5 | 141995 | 953% | 272% | 348 | 897 | 6.374986153 | 12749.97231
77 | 71661.5 | 139% | 3888 | 3.89 | 102.2% | 37331 | 3828 | 22962 | 26790 | $ 63,897,750,000 | $ 77,767,750,000 | 3224 | 975% | 358307.5 | 143323 | 962% | 274% | 348 | 905 | 6.374986153 | 12749.97231
78 | 72319.5 | 141% | 3918 | 3.92 | 103.2% | 38245 | 3878 | 23260 | 27138 | $ 64,495,350,000 | $ 78,365,350,000 | 3260 | 986% | 361597.5 | 144639 | 971% | 277% | 348 | 914 | 6.374986153 | 12749.97231
79 | 72970.5 | 142% | 3947 | 3.95 | 104.1% | 39167 | 3928 | 23558 | 27486 | $ 65,087,550,000 | $ 78,957,550,000 | 3296 | 997% | 364852.5 | 145941 | 979% | 279% | 348 | 922 | 6.374986153 | 12749.97231
80 | 73615.5 | 144% | 3977 | 3.98 | 105.0% | 40097 | 3977 | 23856 | 27834 | $ 65,673,450,000 | $ 79,543,450,000 | 3332 | 1008% | 368077.5 | 147231 | 988% | 282% | 348 | 930 | 6.374986153 | 12749.97231
81 | 74254.5 | 146% | 4006 | 4.01 | 105.9% | 41036 | 4027 | 24155 | 28182 | $ 66,253,950,000 | $ 80,123,950,000 | 3367 | 1019% | 371272.5 | 148509 | 997% | 284% | 348 | 939 | 6.374986153 | 12749.97231
82 | 74886.5 | 147% | 4034 | 4.03 | 106.8% | 41983 | 4077 | 24453 | 28530 | $ 66,829,050,000 | $ 80,699,050,000 | 3402 | 1030% | 374432.5 | 149773 | 1005% | 287% | 348 | 947 | 6.374986153 | 12749.97231
83 | 75513.5 | 149% | 4063 | 4.06 | 107.7% | 42937 | 4126 | 24751 | 28877 | $ 67,397,850,000 | $ 81,267,850,000 | 3436 | 1041% | 377567.5 | 151027 | 1013% | 289% | 348 | 955 | 6.374986153 | 12749.97231
84 | 76133.5 | 150% | 4091 | 4.09 | 108.6% | 43900 | 4176 | 25049 | 29225 | $ 67,962,150,000 | $ 81,832,150,000 | 3471 | 1051% | 380667.5 | 152267 | 1022% | 292% | 348 | 963 | 6.374986153 | 12749.97231
85 | 76747.5 | 152% | 4119 | 4.12 | 109.5% | 44871 | 4226 | 25347 | 29573 | $ 68,520,150,000 | $ 82,390,150,000 | 3505 | 1062% | 383737.5 | 153495 | 1030% | 294% | 348 | 971 | 6.374986153 | 12749.97231
86 | 77356.5 | 153% | 4147 | 4.15 | 110.4% | 45849 | 4276 | 25646 | 29921 | $ 69,072,750,000 | $ 82,942,750,000 | 3538 | 1072% | 386782.5 | 154713 | 1038% | 296% | 348 | 979 | 6.374986153 | 12749.97231
87 | 77958.5 | 155% | 4174 | 4.17 | 111.2% | 46836 | 4325 | 25944 | 30269 | $ 69,620,850,000 | $ 83,490,850,000 | 3572 | 1083% | 389792.5 | 155917 | 1046% | 299% | 348 | 986 | 6.374986153 | 12749.97231
88 | 78554.5 | 156% | 4201 | 4.20 | 112.1% | 47830 | 4375 | 26242 | 30617 | $ 70,162,650,000 | $ 84,032,650,000 | 3605 | 1093% | 392772.5 | 157109 | 1054% | 301% | 348 | 994 | 6.374986153 | 12749.97231
89 | 79144.5 | 158% | 4228 | 4.23 | 112.9% | 48831 | 4425 | 26540 | 30965 | $ 70,699,050,000 | $ 84,569,050,000 | 3638 | 1104% | 395722.5 | 158289 | 1062% | 303% | 348 | 1002 | 6.374986153 | 12749.97231
90 | 79729.5 | 159% | 4255 | 4.26 | 113.7% | 49840 | 4475 | 26838 | 31313 | $ 71,230,050,000 | $ 85,100,050,000 | 3670 | 1114% | 398647.5 | 159459 | 1070% | 305% | 348 | 1009 | 6.374986153 | 12749.97231
91 | 80308.5 | 161% | 4281 | 4.28 | 114.6% | 50857 | 4524 | 27137 | 31661 | $ 71,756,550,000 | $ 85,626,550,000 | 3702 | 1124% | 401542.5 | 160617 | 1078% | 308% | 348 | 1017 | 6.374986153 | 12749.97231
92 | 80881.5 | 162% | 4307 | 4.31 | 115.4% | 51881 | 4574 | 27435 | 32009 | $ 72,277,650,000 | $ 86,147,650,000 | 3734 | 1134% | 404407.5 | 161763 | 1085% | 310% | 348 | 1024 | 6.374986153 | 12749.97231
93 | 81449.5 | 164% | 4333 | 4.33 | 116.2% | 52912 | 4624 | 27733 | 32357 | $ 72,793,350,000 | $ 86,663,350,000 | 3765 | 1144% | 407247.5 | 162899 | 1093% | 312% | 348 | 1031 | 6.374986153 | 12749.97231
94 | 82011.5 | 165% | 4358 | 4.36 | 117.0% | 53951 | 4673 | 28031 | 32705 | $ 73,304,550,000 | $ 87,174,550,000 | 3796 | 1154% | 410057.5 | 164023 | 1101% | 314% | 348 | 1038 | 6.374986153 | 12749.97231
95 | 82568.5 | 166% | 4384 | 4.38 | 117.8% | 54996 | 4723 | 28329 | 33053 | $ 73,810,350,000 | $ 87,680,350,000 | 3827 | 1164% | 412842.5 | 165137 | 1108% | 316% | 348 | 1046 | 6.374986153 | 12749.97231
96 | 83119.5 | 168% | 4409 | 4.41 | 118.6% | 56049 | 4773 | 28628 | 33400 | $ 74,311,650,000 | $ 88,181,650,000 | 3858 | 1174% | 415597.5 | 166239 | 1115% | 318% | 348 | 1053 | 6.374986153 | 12749.97231
97 | 83664.5 | 169% | 4433 | 4.43 | 119.4% | 57109 | 4823 | 28926 | 33748 | $ 74,807,550,000 | $ 88,677,550,000 | 3888 | 1184% | 418322.5 | 167329 | 1123% | 320% | 348 | 1060 | 6.374986153 | 12749.97231
98 | 84204.5 | 171% | 4458 | 4.46 | 120.1% | 58175 | 4872 | 29224 | 34096 | $ 75,298,050,000 | $ 89,168,050,000 | 3918 | 1194% | 421022.5 | 168409 | 1130% | 323% | 348 | 1067 | 6.374986153 | 12749.97231
99 | 84739.5 | 172% | 4482 | 4.48 | 120.9% | 59249 | 4922 | 29522 | 34444 | $ 75,784,050,000 | $ 89,654,050,000 | 3947 | 1204% | 423697.5 | 169479 | 1137% | 325% | 348 | 1074 | 6.374986153 | 12749.97231
100 | 85268.5 | 173% | 4506 | 4.51 | 121.6% | 60329 | 4972 | 29821 | 34792 | $ 76,265,550,000 | $ 90,135,550,000 | 3977 | 1213% | 426342.5 | 170537 | 1144% | 327% | 348 | 1080 | 6.374986153 | 12749.97231
101 | 85792.5 | 175% | 4530 | 4.53 | 122.4% | 61417 | 5021 | 30119 | 35140 | $ 76,741,650,000 | $ 90,611,650,000 | 4006 | 1223% | 428962.5 | 171585 | 1151% | 329% | 348 | 1087 | 6.374986153 | 12749.97231
102 | 86312.5 | 176% | 4554 | 4.55 | 123.1% | 62511 | 5071 | 30417 | 35488 | $ 77,213,250,000 | $ 91,083,250,000 | 4034 | 1233% | 431562.5 | 172625 | 1158% | 331% | 348 | 1094 | 6.374986153 | 12749.97231

## Wind Graphs
Additional Wind Graphs
CO2 Offset with different investments and $0.05/kWh reinvestment | [5 empty] | CO2 Offset with different investments and $0.07/kWh reinvestment
Year | $10/bbl Investment | $15/bbl Investment | $20/bbl Investment | $25/bbl Investment | $30/bbl Investment | Year | $10/bbl Investment | $15/bbl Investment | $20/bbl Investment | $25/bbl Investment | $30/bbl Investment
1 | 0% | 0% | 0% | 0% | 0% | 1 | 0% | 0% | 0% | 0% | 0%
2 | 0.6354% | 0.953% | 1.271% | 1.588% | 1.906% | 2 | 0.6354% | 0.953% | 1.271% | 1.588% | 1.906%
3 | 1.289% | 1.934% | 2.579% | 3.223% | 3.869% | 3 | 1.297% | 1.945% | 2.595% | 3.243% | 3.891%
4 | 1.963% | 2.944% | 3.926% | 4.907% | 5.891% | 4 | 1.986% | 2.979% | 3.974% | 4.967% | 5.96%
5 | 2.656% | 3.985% | 5.314% | 6.643% | 7.973% | 5 | 2.704% | 4.056% | 5.411% | 6.765% | 8.117%
6 | 3.371% | 5.057% | 6.744% | 8.431% | 10.12% | 6 | 3.453% | 5.18% | 6.91% | 8.638% | 10.37%
7 | 4.107% | 6.162% | 8.218% | 10.27% | 12.33% | 7 | 4.233% | 6.351% | 8.473% | 10.59% | 12.71%
8 | 4.866% | 7.301% | 9.737% | 12.17% | 14.61% | 8 | 5.048% | 7.573% | 10.1% | 12.63% | 15.16%
9 | 5.648% | 8.475% | 11.3% | 14.13% | 16.96% | 9 | 5.898% | 8.848% | 11.8% | 14.76% | 17.71%
10 | 6.454% | 9.685% | 12.92% | 16.15% | 19.38% | 10 | 6.785% | 10.18% | 13.58% | 16.98% | 20.37%
11 | 7.285% | 10.93% | 14.58% | 18.22% | 21.87% | 11 | 7.711% | 11.57% | 15.43% | 19.29% | 23.15%
12 | 8.142% | 12.22% | 16.29% | 20.37% | 24.45% | 12 | 8.677% | 13.02% | 17.37% | 21.71% | 26.05%
13 | 9.026% | 13.54% | 18.06% | 22.58% | 27.1% | 13 | 9.685% | 14.53% | 19.38% | 24.23% | 29.08%
14 | 9.937% | 14.91% | 19.88% | 24.86% | 29.83% | 14 | 10.74% | 16.11% | 21.49% | 26.87% | 32.24%
15 | 10.88% | 16.32% | 21.76% | 27.21% | 32.65% | 15 | 11.84% | 17.76% | 23.69% | 29.62% | 35.54%
16 | 11.84% | 17.77% | 23.7% | 29.63% | 35.56% | 16 | 12.99% | 19.48% | 25.99% | 32.5% | 38.99%
17 | 12.84% | 19.27% | 25.7% | 32.13% | 38.56% | 17 | 14.19% | 21.28% | 28.4% | 35.5% | 42.6%
18 | 13.87% | 20.82% | 27.76% | 34.71% | 41.66% | 18 | 15.44% | 23.17% | 30.91% | 38.64% | 46.37%
19 | 14.94% | 22.42% | 29.89% | 37.37% | 44.85% | 19 | 16.75% | 25.13% | 33.53% | 41.92% | 50.3%
20 | 16.04% | 24.06% | 32.09% | 40.11% | 48.15% | 20 | 18.12% | 27.19% | 36.27% | 45.35% | 54.42%
21 | 17.17% | 25.76% | 34.36% | 42.95% | 51.55% | 21 | 19.56% | 29.34% | 39.14% | 48.93% | 58.72%
22 | 18.28% | 27.43% | 36.58% | 45.73% | 54.88% | 22 | 21% | 31.5% | 42.03% | 52.54% | 63.05%
23 | 19.37% | 29.07% | 38.77% | 48.46% | 58.16% | 23 | 22.45% | 33.68% | 44.93% | 56.17% | 67.41%
24 | 20.45% | 30.69% | 40.92% | 51.16% | 61.4% | 24 | 23.92% | 35.88% | 47.87% | 59.84% | 71.81%
25 | 21.52% | 32.29% | 43.06% | 53.83% | 64.61% | 25 | 25.4% | 38.11% | 50.84% | 63.56% | 76.27%
26 | 22.57% | 33.87% | 45.17% | 56.47% | 67.78% | 26 | 26.91% | 40.37% | 53.85% | 67.33% | 80.79%
27 | 23.62% | 35.45% | 47.27% | 59.09% | 70.93% | 27 | 28.44% | 42.66% | 56.91% | 71.15% | 85.38%
28 | 24.66% | 37.01% | 49.35% | 61.7% | 74.05% | 28 | 29.99% | 44.99% | 60.02% | 75.03% | 90.04%
29 | 25.7% | 38.56% | 51.43% | 64.29% | 77.16% | 29 | 31.56% | 47.36% | 63.17% | 78.98% | 94.77%
30 | 26.73% | 40.11% | 53.49% | 66.87% | 80.26% | 30 | 33.17% | 49.76% | 66.38% | 82.99% | 99.59%
31 | 27.76% | 41.65% | 55.55% | 69.44% | 83.34% | 31 | 34.8% | 52.21% | 69.65% | 87.08% | 104.5%
32 | 28.78% | 43.19% | 57.59% | 72% | 86.41% | 32 | 36.46% | 54.71% | 72.98% | 91.24% | 109.5%
33 | 29.8% | 44.72% | 59.63% | 74.55% | 89.48% | 33 | 38.16% | 57.25% | 76.37% | 95.47% | 114.6%
34 | 30.81% | 46.24% | 61.67% | 77.09% | 92.53% | 34 | 39.88% | 59.84% | 79.82% | 99.79% | 119.7%
35 | 31.83% | 47.76% | 63.69% | 79.62% | 95.57% | 35 | 41.64% | 62.47% | 83.33% | 104.2% | 125%
36 | 32.84% | 49.28% | 65.71% | 82.15% | 98.6% | 36 | 43.43% | 65.15% | 86.91% | 108.7% | 130.4%
37 | 33.84% | 50.78% | 67.73% | 84.66% | 101.6% | 37 | 45.25% | 67.88% | 90.55% | 113.2% | 135.9%
38 | 34.84% | 52.29% | 69.73% | 87.17% | 104.6% | 38 | 47.1% | 70.66% | 94.26% | 117.8% | 141.4%
39 | 35.84% | 53.78% | 71.73% | 89.66% | 107.6% | 39 | 48.98% | 73.49% | 98.03% | 122.6% | 147.1%
40 | 36.83% | 55.27% | 73.71% | 92.15% | 110.6% | 40 | 50.9% | 76.37% | 101.9% | 127.4% | 152.8%
41 | 37.82% | 56.75% | 75.68% | 94.61% | 113.6% | 41 | 52.85% | 79.29% | 105.8% | 132.2% | 158.7%
42 | 38.8% | 58.22% | 77.64% | 97.06% | 116.5% | 42 | 54.83% | 82.26% | 109.7% | 137.2% | 164.6%
43 | 39.77% | 59.68% | 79.59% | 99.49% | 119.4% | 43 | 56.84% | 85.28% | 113.8% | 142.2% | 170.7%
44 | 40.73% | 61.13% | 81.52% | 101.9% | 122.3% | 44 | 58.89% | 88.35% | 117.9% | 147.3% | 176.8%
45 | 41.69% | 62.57% | 83.44% | 104.3% | 125.2% | 45 | 60.97% | 91.47% | 122% | 152.5% | 183.1%
46 | 42.65% | 64% | 85.35% | 106.7% | 128.1% | 46 | 63.08% | 94.64% | 126.2% | 157.8% | 189.4%
47 | 43.6% | 65.43% | 87.25% | 109.1% | 130.9% | 47 | 65.23% | 97.87% | 130.5% | 163.2% | 195.9%
48 | 44.54% | 66.84% | 89.14% | 111.4% | 133.8% | 48 | 67.42% | 101.2% | 134.9% | 168.7% | 202.4%
49 | 45.48% | 68.25% | 91.02% | 113.8% | 136.6% | 49 | 69.64% | 104.5% | 139.4% | 174.2% | 209.1%
50 | 46.41% | 69.65% | 92.89% | 116.1% | 139.4% | 50 | 71.9% | 107.9% | 143.9% | 179.9% | 215.9%
51 | 47.34% | 71.04% | 94.74% | 118.4% | 142.2% | 51 | 74.2% | 111.3% | 148.5% | 185.7% | 222.8%
52 | 48.26% | 72.43% | 96.59% | 120.7% | 144.9% | 52 | 76.54% | 114.8% | 153.2% | 191.5% | 229.8%
53 | 49.18% | 73.8% | 98.43% | 123% | 147.7% | 53 | 78.92% | 118.4% | 157.9% | 197.5% | 237%
54 | 50.09% | 75.17% | 100.3% | 125.3% | 150.4% | 54 | 81.34% | 122% | 162.8% | 203.5% | 244.2%
55 | 51% | 76.53% | 102.1% | 127.6% | 153.1% | 55 | 83.8% | 125.7% | 167.7% | 209.7% | 251.6%
56 | 51.9% | 77.89% | 103.9% | 129.8% | 155.9% | 56 | 86.3% | 129.5% | 172.7% | 215.9% | 259.1%
57 | 52.79% | 79.23% | 105.7% | 132.1% | 158.5% | 57 | 88.85% | 133.3% | 177.8% | 222.3% | 266.8%
58 | 53.68% | 80.57% | 107.4% | 134.3% | 161.2% | 58 | 91.43% | 137.2% | 183% | 228.8% | 274.5%
59 | 54.57% | 81.9% | 109.2% | 136.5% | 163.9% | 59 | 94.07% | 141.1% | 188.3% | 235.4% | 282.4%
60 | 55.45% | 83.22% | 111% | 138.7% | 166.5% | 60 | 96.74% | 145.2% | 193.6% | 242.1% | 290.5%

## Development Plan (Solar)
Development Plan Solar
Yelow cell = Enter your own data
White cell = Calculated value (do not change the value)
Technical Assumptions:
Life expectancy of a solar cell (yrs) | 25 | http://www.seia.org/policy/environment/pv-recycling
Millions barrels oil per year recovered from oil sands | 693.5
$ per barrell of oil to be invested on solar farm on site | 10
Annual amount to be spent (Billions) | $ 6,935,000,000
$/kWhr for reinvestment in purchasing more solar cells | 0.07
Solar energy: if all the money were spent on solar energy:
Assumed installed cost of solar ($/W) based on peak performance of panel | 4
Solar Panel power (peak W) | 200
Solar Panel effective 24/7 power (W) | 28
Cost per solar panel installed | $ 800
Number of solar panels per year to be installed | 8668750
Number of automobiles manufactured equivalent to 1 solar cell | 1
Year | Total number of installed solar panels | Cumulative ratio carbon saved/carbon burned | Number of solar panels purchased | Millions of autos equivelant | % of total solar panels to be built | Cumulative carbon saved | Cumulative carbon burned (MT) | Value of solar energy produced in previous year reinvested (million $) | Billions to be spent on solar cells acquisition next year | Decomissioned Panels | Generation Potential (MW) | % addition to canada | Carbon burned this year | Carbon saved this year | MT/GW | Watts/ cell | Savings per panel (T)
1 | 8668750 | 0% | 8668750 | 8.67 | 0.1% | 0 | 348 |  | $ 6,935,000,000 | 0 |  | 0% | 348 | 0
2 | 17365745 | 0% | 8696995 | 8.70 | 0.3% | 1 | 696 | $ 22,596,351 | $ 6,957,596,351 | 0 | 184 | 0% | 348 | 1 | 6.374986153 | 21.25444124 | 0.1354967686
3 | 26091077 | 0% | 8725332 | 8.73 | 0.4% | 4 | 1044 | $ 45,266,327 | $ 6,980,266,327 | 0 | 369 | 0% | 348 | 2 | 6.374986153 | 21.25444124 | 0.1354967686
4 | 34844839 | 1% | 8753762 | 8.75 | 0.6% | 7 | 1392 | $ 68,010,167 | $ 7,003,010,167 | 0 | 555 | 0% | 348 | 4 | 6.374986153 | 21.25444124 | 0.1354967686
5 | 43627124 | 1% | 8782285 | 8.78 | 0.7% | 12 | 1740 | $ 90,828,114 | $ 7,025,828,114 | 0 | 741 | 1% | 348 | 5 | 6.374986153 | 21.25444124 | 0.1354967686
6 | 52438024 | 1% | 8810900 | 8.81 | 0.8% | 18 | 2088 | $ 113,720,410 | $ 7,048,720,410 | 0 | 927 | 1% | 348 | 6 | 6.374986153 | 21.25444124 | 0.1354967686
7 | 61277633 | 1% | 8839609 | 8.84 | 1.0% | 25 | 2435 | $ 136,687,296 | $ 7,071,687,296 | 0 | 1115 | 1% | 348 | 7 | 6.374986153 | 21.25444124 | 0.1354967686
8 | 70146044 | 1% | 8868411 | 8.87 | 1.1% | 33 | 2783 | $ 159,729,016 | $ 7,094,729,016 | 0 | 1302 | 1% | 348 | 8 | 6.374986153 | 21.25444124 | 0.1354967686
9 | 79043351 | 1% | 8897307 | 8.90 | 1.3% | 43 | 3131 | $ 182,845,812 | $ 7,117,845,812 | 0 | 1491 | 1% | 348 | 10 | 6.374986153 | 21.25444124 | 0.1354967686
10 | 87969648 | 2% | 8926297 | 8.93 | 1.4% | 53 | 3479 | $ 206,037,930 | $ 7,141,037,930 | 0 | 1680 | 1% | 348 | 11 | 6.374986153 | 21.25444124 | 0.1354967686
11 | 96925030 | 2% | 8955382 | 8.96 | 1.5% | 65 | 3827 | $ 229,305,614 | $ 7,164,305,614 | 0 | 1870 | 1% | 348 | 12 | 6.374986153 | 21.25444124 | 0.1354967686
12 | 105909591 | 2% | 8984561 | 8.98 | 1.7% | 78 | 4175 | $ 252,649,113 | $ 7,187,649,113 | 0 | 2060 | 2% | 348 | 13 | 6.374986153 | 21.25444124 | 0.1354967686
13 | 114923426 | 2% | 9013835 | 9.01 | 1.8% | 93 | 4523 | $ 276,068,671 | $ 7,211,068,671 | 0 | 2251 | 2% | 348 | 14 | 6.374986153 | 21.25444124 | 0.1354967686
14 | 123966631 | 2% | 9043205 | 9.04 | 2.0% | 108 | 4871 | $ 299,564,536 | $ 7,234,564,536 | 0 | 2443 | 2% | 348 | 16 | 6.374986153 | 21.25444124 | 0.1354967686
15 | 133039302 | 2% | 9072671 | 9.07 | 2.1% | 125 | 5219 | $ 323,136,958 | $ 7,258,136,958 | 0 | 2635 | 2% | 348 | 17 | 6.374986153 | 21.25444124 | 0.1354967686
16 | 142141534 | 3% | 9102232 | 9.10 | 2.3% | 143 | 5567 | $ 346,786,188 | $ 7,281,786,188 | 0 | 2828 | 2% | 348 | 18 | 6.374986153 | 21.25444124 | 0.1354967686
17 | 151273424 | 3% | 9131890 | 9.13 | 2.4% | 162 | 5915 | $ 370,512,472 | $ 7,305,512,472 | 0 | 3021 | 2% | 348 | 19 | 6.374986153 | 21.25444124 | 0.1354967686
18 | 160435069 | 3% | 9161645 | 9.16 | 2.5% | 183 | 6263 | $ 394,316,065 | $ 7,329,316,065 | 0 | 3215 | 2% | 348 | 20 | 6.374986153 | 21.25444124 | 0.1354967686
19 | 169626565 | 3% | 9191496 | 9.19 | 2.7% | 205 | 6611 | $ 418,197,218 | $ 7,353,197,218 | 0 | 3410 | 3% | 348 | 22 | 6.374986153 | 21.25444124 | 0.1354967686
20 | 178848010 | 3% | 9221445 | 9.22 | 2.8% | 228 | 6958 | $ 442,156,182 | $ 7,377,156,182 | 0 | 3605 | 3% | 348 | 23 | 6.374986153 | 21.25444124 | 0.1354967686
21 | 188099501 | 3% | 9251491 | 9.25 | 3.0% | 252 | 7306 | $ 466,193,213 | $ 7,401,193,213 | 0 | 3801 | 3% | 348 | 24 | 6.374986153 | 21.25444124 | 0.1354967686
22 | 197381136 | 4% | 9281635 | 9.28 | 3.1% | 277 | 7654 | $ 490,308,562 | $ 7,425,308,562 | 0 | 3998 | 3% | 348 | 25 | 6.374986153 | 21.25444124 | 0.1354967686
23 | 206693014 | 4% | 9311878 | 9.31 | 3.3% | 304 | 8002 | $ 514,502,487 | $ 7,449,502,487 | 0 | 4195 | 3% | 348 | 27 | 6.374986153 | 21.25444124 | 0.1354967686
24 | 216035233 | 4% | 9342219 | 9.34 | 3.4% | 332 | 8350 | $ 538,775,244 | $ 7,473,775,244 | 0 | 4393 | 3% | 348 | 28 | 6.374986153 | 21.25444124 | 0.1354967686
25 | 225407891 | 4% | 9372658 | 9.37 | 3.6% | 361 | 8698 | $ 563,127,089 | $ 7,498,127,089 | 0 | 4592 | 4% | 348 | 29 | 6.374986153 | 21.25444124 | 0.1354967686
26 | 226142338 | 4% | 9403197 | 9.40 | 3.6% | 392 | 9046 | $ 587,558,278 | $ 7,522,558,278 | 8668750 | 4791 | 4% | 348 | 31 | 6.374986153 | 21.25444124 | 0.1354967686
27 | 226850933 | 4% | 9405590 | 9.41 | 3.6% | 423 | 9394 | $ 589,472,721 | $ 7,524,472,721 | 8696995 | 4807 | 4% | 348 | 31 | 6.374986153 | 21.25444124 | 0.1354967686
28 | 227533500 | 5% | 9407899 | 9.41 | 3.6% | 453 | 9742 | $ 591,319,776 | $ 7,526,319,776 | 8725332 | 4822 | 4% | 348 | 31 | 6.374986153 | 21.25444124 | 0.1354967686
29 | 228189861 | 5% | 9410123 | 9.41 | 3.6% | 484 | 10090 | $ 593,098,986 | $ 7,528,098,986 | 8753762 | 4836 | 4% | 348 | 31 | 6.374986153 | 21.25444124 | 0.1354967686
30 | 228819838 | 5% | 9412262 | 9.41 | 3.6% | 515 | 10438 | $ 594,809,886 | $ 7,529,809,886 | 8782285 | 4850 | 4% | 348 | 31 | 6.374986153 | 21.25444124 | 0.1354967686
31 | 229423253 | 5% | 9414315 | 9.41 | 3.6% | 546 | 10786 | $ 596,452,012 | $ 7,531,452,012 | 8810900 | 4863 | 4% | 348 | 31 | 6.374986153 | 21.25444124 | 0.1354967686
32 | 229999925 | 5% | 9416281 | 9.42 | 3.6% | 577 | 11133 | $ 598,024,900 | $ 7,533,024,900 | 8839609 | 4876 | 4% | 348 | 31 | 6.374986153 | 21.25444124 | 0.1354967686
33 | 230549674 | 5% | 9418160 | 9.42 | 3.7% | 608 | 11481 | $ 599,528,079 | $ 7,534,528,079 | 8868411 | 4889 | 4% | 348 | 31 | 6.374986153 | 21.25444124 | 0.1354967686
34 | 231072318 | 5% | 9419951 | 9.42 | 3.7% | 640 | 11829 | $ 600,961,080 | $ 7,535,961,080 | 8897307 | 4900 | 4% | 348 | 31 | 6.374986153 | 21.25444124 | 0.1354967686
35 | 231567675 | 6% | 9421654 | 9.42 | 3.7% | 671 | 12177 | $ 602,323,427 | $ 7,537,323,427 | 8926297 | 4911 | 4% | 348 | 31 | 6.374986153 | 21.25444124 | 0.1354967686
36 | 232035561 | 6% | 9423268 | 9.42 | 3.7% | 702 | 12525 | $ 603,614,647 | $ 7,538,614,647 | 8955382 | 4922 | 4% | 348 | 31 | 6.374986153 | 21.25444124 | 0.1354967686
37 | 232475792 | 6% | 9424792 | 9.42 | 3.7% | 734 | 12873 | $ 604,834,259 | $ 7,539,834,259 | 8984561 | 4932 | 4% | 348 | 31 | 6.374986153 | 21.25444124 | 0.1354967686
38 | 232888184 | 6% | 9426227 | 9.43 | 3.7% | 765 | 13221 | $ 605,981,785 | $ 7,540,981,785 | 9013835 | 4941 | 4% | 348 | 31 | 6.374986153 | 21.25444124 | 0.1354967686
39 | 233272549 | 6% | 9427570 | 9.43 | 3.7% | 797 | 13569 | $ 607,056,744 | $ 7,542,056,744 | 9043205 | 4950 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
40 | 233628701 | 6% | 9428823 | 9.43 | 3.7% | 828 | 13917 | $ 608,058,647 | $ 7,543,058,647 | 9072671 | 4958 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
41 | 233956452 | 6% | 9429983 | 9.43 | 3.7% | 860 | 14265 | $ 608,987,009 | $ 7,543,987,009 | 9102232 | 4966 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
42 | 234255613 | 6% | 9431051 | 9.43 | 3.7% | 892 | 14613 | $ 609,841,339 | $ 7,544,841,339 | 9131890 | 4973 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
43 | 234525994 | 6% | 9432026 | 9.43 | 3.7% | 923 | 14961 | $ 610,621,146 | $ 7,545,621,146 | 9161645 | 4979 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
44 | 234767405 | 6% | 9432907 | 9.43 | 3.7% | 955 | 15309 | $ 611,325,933 | $ 7,546,325,933 | 9191496 | 4985 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
45 | 234979654 | 6% | 9433694 | 9.43 | 3.7% | 987 | 15656 | $ 611,955,206 | $ 7,546,955,206 | 9221445 | 4990 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
46 | 235162548 | 6% | 9434385 | 9.43 | 3.7% | 1019 | 16004 | $ 612,508,463 | $ 7,547,508,463 | 9251491 | 4994 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
47 | 235315894 | 6% | 9434981 | 9.43 | 3.7% | 1051 | 16352 | $ 612,985,203 | $ 7,547,985,203 | 9281635 | 4998 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
48 | 235439497 | 6% | 9435481 | 9.44 | 3.7% | 1083 | 16700 | $ 613,384,922 | $ 7,548,384,922 | 9311878 | 5002 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
49 | 235533161 | 7% | 9435883 | 9.44 | 3.7% | 1114 | 17048 | $ 613,707,111 | $ 7,548,707,111 | 9342219 | 5004 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
50 | 235596692 | 7% | 9436189 | 9.44 | 3.7% | 1146 | 17396 | $ 613,951,260 | $ 7,548,951,260 | 9372658 | 5006 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
51 | 235629891 | 7% | 9436396 | 9.44 | 3.7% | 1178 | 17744 | $ 614,116,862 | $ 7,549,116,862 | 9403197 | 5007 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
52 | 235660805 | 7% | 9436504 | 9.44 | 3.7% | 1210 | 18092 | $ 614,203,400 | $ 7,549,203,400 | 9405590 | 5008 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
53 | 235689510 | 7% | 9436604 | 9.44 | 3.7% | 1242 | 18440 | $ 614,283,982 | $ 7,549,283,982 | 9407899 | 5009 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
54 | 235716085 | 7% | 9436698 | 9.44 | 3.7% | 1274 | 18788 | $ 614,358,806 | $ 7,549,358,806 | 9410123 | 5009 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
55 | 235740608 | 7% | 9436785 | 9.44 | 3.7% | 1306 | 19136 | $ 614,428,077 | $ 7,549,428,077 | 9412262 | 5010 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
56 | 235763158 | 7% | 9436865 | 9.44 | 3.7% | 1338 | 19484 | $ 614,492,000 | $ 7,549,492,000 | 9414315 | 5011 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
57 | 235783815 | 7% | 9436938 | 9.44 | 3.7% | 1370 | 19832 | $ 614,550,780 | $ 7,549,550,780 | 9416281 | 5011 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
58 | 235802660 | 7% | 9437005 | 9.44 | 3.7% | 1402 | 20179 | $ 614,604,625 | $ 7,549,604,625 | 9418160 | 5011 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
59 | 235819776 | 7% | 9437067 | 9.44 | 3.7% | 1434 | 20527 | $ 614,653,748 | $ 7,549,653,748 | 9419951 | 5012 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
60 | 235835244 | 7% | 9437122 | 9.44 | 3.7% | 1466 | 20875 | $ 614,698,363 | $ 7,549,698,363 | 9421654 | 5012 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
61 | 235849149 | 7% | 9437173 | 9.44 | 3.7% | 1498 | 21223 | $ 614,738,683 | $ 7,549,738,683 | 9423268 | 5013 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
62 | 235861575 | 7% | 9437218 | 9.44 | 3.7% | 1530 | 21571 | $ 614,774,928 | $ 7,549,774,928 | 9424792 | 5013 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
63 | 235872607 | 7% | 9437259 | 9.44 | 3.7% | 1562 | 21919 | $ 614,807,318 | $ 7,549,807,318 | 9426227 | 5013 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
64 | 235882332 | 7% | 9437295 | 9.44 | 3.7% | 1594 | 22267 | $ 614,836,075 | $ 7,549,836,075 | 9427570 | 5013 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
65 | 235890835 | 7% | 9437326 | 9.44 | 3.7% | 1626 | 22615 | $ 614,861,424 | $ 7,549,861,424 | 9428823 | 5014 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
66 | 235898206 | 7% | 9437354 | 9.44 | 3.7% | 1658 | 22963 | $ 614,883,589 | $ 7,549,883,589 | 9429983 | 5014 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
67 | 235904533 | 7% | 9437378 | 9.44 | 3.7% | 1689 | 23311 | $ 614,902,802 | $ 7,549,902,802 | 9431051 | 5014 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
68 | 235909906 | 7% | 9437399 | 9.44 | 3.7% | 1721 | 23659 | $ 614,919,294 | $ 7,549,919,294 | 9432026 | 5014 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
69 | 235914415 | 7% | 9437416 | 9.44 | 3.7% | 1753 | 24007 | $ 614,933,300 | $ 7,549,933,300 | 9432907 | 5014 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
70 | 235918152 | 7% | 9437431 | 9.44 | 3.7% | 1785 | 24355 | $ 614,945,053 | $ 7,549,945,053 | 9433694 | 5014 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
71 | 235921210 | 7% | 9437443 | 9.44 | 3.7% | 1817 | 24702 | $ 614,954,794 | $ 7,549,954,794 | 9434385 | 5014 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
72 | 235923682 | 7% | 9437453 | 9.44 | 3.7% | 1849 | 25050 | $ 614,962,765 | $ 7,549,962,765 | 9434981 | 5014 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
73 | 235925662 | 7% | 9437461 | 9.44 | 3.7% | 1881 | 25398 | $ 614,969,209 | $ 7,549,969,209 | 9435481 | 5014 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
74 | 235927246 | 7% | 9437467 | 9.44 | 3.7% | 1913 | 25746 | $ 614,974,370 | $ 7,549,974,370 | 9435883 | 5014 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
75 | 235928530 | 7% | 9437473 | 9.44 | 3.7% | 1945 | 26094 | $ 614,978,499 | $ 7,549,978,499 | 9436189 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
76 | 235929611 | 7% | 9437477 | 9.44 | 3.7% | 1977 | 26442 | $ 614,981,846 | $ 7,549,981,846 | 9436396 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
77 | 235930587 | 7% | 9437480 | 9.44 | 3.7% | 2009 | 26790 | $ 614,984,664 | $ 7,549,984,664 | 9436504 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
78 | 235931467 | 8% | 9437484 | 9.44 | 3.7% | 2041 | 27138 | $ 614,987,208 | $ 7,549,987,208 | 9436604 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
79 | 235932255 | 8% | 9437486 | 9.44 | 3.7% | 2073 | 27486 | $ 614,989,502 | $ 7,549,989,502 | 9436698 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
80 | 235932959 | 8% | 9437489 | 9.44 | 3.7% | 2105 | 27834 | $ 614,991,556 | $ 7,549,991,556 | 9436785 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
81 | 235933585 | 8% | 9437491 | 9.44 | 3.7% | 2137 | 28182 | $ 614,993,391 | $ 7,549,993,391 | 9436865 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
82 | 235934140 | 8% | 9437493 | 9.44 | 3.7% | 2169 | 28530 | $ 614,995,023 | $ 7,549,995,023 | 9436938 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
83 | 235934630 | 8% | 9437495 | 9.44 | 3.7% | 2201 | 28877 | $ 614,996,469 | $ 7,549,996,469 | 9437005 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
84 | 235935060 | 8% | 9437497 | 9.44 | 3.7% | 2233 | 29225 | $ 614,997,747 | $ 7,549,997,747 | 9437067 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
85 | 235935436 | 8% | 9437498 | 9.44 | 3.7% | 2265 | 29573 | $ 614,998,867 | $ 7,549,998,867 | 9437122 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
86 | 235935762 | 8% | 9437499 | 9.44 | 3.7% | 2297 | 29921 | $ 614,999,847 | $ 7,549,999,847 | 9437173 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
87 | 235936044 | 8% | 9437500 | 9.44 | 3.7% | 2329 | 30269 | $ 615,000,697 | $ 7,550,000,697 | 9437218 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
88 | 235936286 | 8% | 9437501 | 9.44 | 3.7% | 2361 | 30617 | $ 615,001,432 | $ 7,550,001,432 | 9437259 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
89 | 235936493 | 8% | 9437502 | 9.44 | 3.7% | 2393 | 30965 | $ 615,002,063 | $ 7,550,002,063 | 9437295 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
90 | 235936670 | 8% | 9437503 | 9.44 | 3.7% | 2425 | 31313 | $ 615,002,603 | $ 7,550,002,603 | 9437326 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
91 | 235936819 | 8% | 9437503 | 9.44 | 3.7% | 2457 | 31661 | $ 615,003,064 | $ 7,550,003,064 | 9437354 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
92 | 235936945 | 8% | 9437504 | 9.44 | 3.7% | 2489 | 32009 | $ 615,003,452 | $ 7,550,003,452 | 9437378 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
93 | 235937050 | 8% | 9437504 | 9.44 | 3.7% | 2521 | 32357 | $ 615,003,781 | $ 7,550,003,781 | 9437399 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
94 | 235937139 | 8% | 9437505 | 9.44 | 3.7% | 2553 | 32705 | $ 615,004,055 | $ 7,550,004,055 | 9437416 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
95 | 235937213 | 8% | 9437505 | 9.44 | 3.7% | 2585 | 33053 | $ 615,004,287 | $ 7,550,004,287 | 9437431 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
96 | 235937275 | 8% | 9437505 | 9.44 | 3.7% | 2617 | 33400 | $ 615,004,480 | $ 7,550,004,480 | 9437443 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
97 | 235937327 | 8% | 9437505 | 9.44 | 3.7% | 2649 | 33748 | $ 615,004,641 | $ 7,550,004,641 | 9437453 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
98 | 235937371 | 8% | 9437505 | 9.44 | 3.7% | 2680 | 34096 | $ 615,004,777 | $ 7,550,004,777 | 9437461 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
99 | 235937410 | 8% | 9437506 | 9.44 | 3.7% | 2712 | 34444 | $ 615,004,891 | $ 7,550,004,891 | 9437467 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686
100 | 235937443 | 8% | 9437506 | 9.44 | 3.7% | 2744 | 34792 | $ 615,004,993 | $ 7,550,004,993 | 9437473 | 5015 | 4% | 348 | 32 | 6.374986153 | 21.25444124 | 0.1354967686

## Solar Graphs
Additional Solar Graphs
CO2 Offset with different investments and $0.05/kWh reinvestment | [5 empty] | CO2 Offset with different investments and $0.07/kWh reinvestment
Year | $10/bbl Investment | $15/bbl Investment | $20/bbl Investment | $25/bbl Investment | $30/bbl Investment | Year | $10/bbl Investment | $15/bbl Investment | $20/bbl Investment | $25/bbl Investment | $30/bbl Investment
1 | 0% | 0% | 0% | 0% | 0% | 1 | 0% | 0% | 0% | 0% | 0%
2 | 0.1688% | 0.2532% | 0.3376% | 0.422% | 0.5064% | 2 | 0.1688% | 0.2532% | 0.3376% | 0.422% | 0.5064%
3 | 0.3379% | 0.5068% | 0.6757% | 0.8447% | 1.014% | 3 | 0.338% | 0.507% | 0.6759% | 0.8449% | 1.014%
4 | 0.5072% | 0.7608% | 1.014% | 1.268% | 1.522% | 4 | 0.5075% | 0.7613% | 1.015% | 1.269% | 1.523%
5 | 0.6768% | 1.015% | 1.354% | 1.692% | 2.03% | 5 | 0.6774% | 1.016% | 1.355% | 1.694% | 2.032%
6 | 0.8466% | 1.27% | 1.693% | 2.117% | 2.54% | 6 | 0.8477% | 1.272% | 1.695% | 2.119% | 2.543%
7 | 1.017% | 1.525% | 2.033% | 2.542% | 3.05% | 7 | 1.018% | 1.527% | 2.037% | 2.546% | 3.055%
8 | 1.187% | 1.781% | 2.374% | 2.968% | 3.561% | 8 | 1.189% | 1.784% | 2.379% | 2.973% | 3.568%
9 | 1.358% | 2.037% | 2.716% | 3.394% | 4.073% | 9 | 1.361% | 2.041% | 2.721% | 3.402% | 4.082%
10 | 1.529% | 2.293% | 3.057% | 3.822% | 4.586% | 10 | 1.532% | 2.299% | 3.065% | 3.831% | 4.597%
11 | 1.7% | 2.55% | 3.4% | 4.25% | 5.1% | 11 | 1.705% | 2.557% | 3.409% | 4.262% | 5.114%
12 | 1.871% | 2.807% | 3.743% | 4.678% | 5.614% | 12 | 1.877% | 2.816% | 3.754% | 4.693% | 5.631%
13 | 2.043% | 3.064% | 4.086% | 5.107% | 6.129% | 13 | 2.05% | 3.075% | 4.1% | 5.125% | 6.15%
14 | 2.215% | 3.322% | 4.43% | 5.537% | 6.645% | 14 | 2.223% | 3.335% | 4.447% | 5.558% | 6.67%
15 | 2.387% | 3.581% | 4.774% | 5.968% | 7.162% | 15 | 2.397% | 3.595% | 4.794% | 5.992% | 7.191%
16 | 2.56% | 3.84% | 5.119% | 6.399% | 7.679% | 16 | 2.571% | 3.856% | 5.142% | 6.427% | 7.713%
17 | 2.732% | 4.099% | 5.465% | 6.831% | 8.197% | 17 | 2.745% | 4.118% | 5.491% | 6.863% | 8.236%
18 | 2.906% | 4.358% | 5.811% | 7.264% | 8.717% | 18 | 2.92% | 4.38% | 5.84% | 7.3% | 8.76%
19 | 3.079% | 4.618% | 6.158% | 7.697% | 9.237% | 19 | 3.095% | 4.643% | 6.19% | 7.738% | 9.286%
20 | 3.252% | 4.879% | 6.505% | 8.131% | 9.757% | 20 | 3.271% | 4.906% | 6.542% | 8.177% | 9.812%
21 | 3.426% | 5.139% | 6.853% | 8.566% | 10.28% | 21 | 3.447% | 5.17% | 6.893% | 8.617% | 10.34%
22 | 3.6% | 5.401% | 7.201% | 9.001% | 10.8% | 22 | 3.623% | 5.435% | 7.246% | 9.058% | 10.87%
23 | 3.775% | 5.662% | 7.55% | 9.437% | 11.32% | 23 | 3.8% | 5.7% | 7.599% | 9.499% | 11.4%
24 | 3.949% | 5.924% | 7.899% | 9.874% | 11.85% | 24 | 3.977% | 5.965% | 7.954% | 9.942% | 11.93%
25 | 4.124% | 6.187% | 8.249% | 10.31% | 12.37% | 25 | 4.154% | 6.231% | 8.309% | 10.39% | 12.46%
26 | 4.3% | 6.449% | 8.599% | 10.75% | 12.9% | 26 | 4.332% | 6.498% | 8.664% | 10.83% | 13%
27 | 4.463% | 6.694% | 8.925% | 11.16% | 13.39% | 27 | 4.498% | 6.747% | 8.996% | 11.24% | 13.49%
28 | 4.615% | 6.922% | 9.229% | 11.54% | 13.84% | 28 | 4.653% | 6.979% | 9.305% | 11.63% | 13.96%
29 | 4.757% | 7.135% | 9.514% | 11.89% | 14.27% | 29 | 4.798% | 7.197% | 9.596% | 11.99% | 14.39%
30 | 4.89% | 7.335% | 9.78% | 12.23% | 14.67% | 30 | 4.934% | 7.401% | 9.868% | 12.34% | 14.8%
31 | 5.015% | 7.523% | 10.03% | 12.54% | 15.05% | 31 | 5.062% | 7.594% | 10.12% | 12.66% | 15.19%
32 | 5.133% | 7.7% | 10.27% | 12.83% | 15.4% | 32 | 5.183% | 7.775% | 10.37% | 12.96% | 15.55%
33 | 5.245% | 7.867% | 10.49% | 13.11% | 15.73% | 33 | 5.298% | 7.947% | 10.6% | 13.24% | 15.89%
34 | 5.35% | 8.025% | 10.7% | 13.37% | 16.05% | 34 | 5.406% | 8.109% | 10.81% | 13.52% | 16.22%
35 | 5.449% | 8.174% | 10.9% | 13.62% | 16.35% | 35 | 5.509% | 8.263% | 11.02% | 13.77% | 16.53%
36 | 5.544% | 8.316% | 11.09% | 13.86% | 16.63% | 36 | 5.606% | 8.409% | 11.21% | 14.02% | 16.82%
37 | 5.634% | 8.45% | 11.27% | 14.08% | 16.9% | 37 | 5.699% | 8.548% | 11.4% | 14.25% | 17.1%
38 | 5.719% | 8.578% | 11.44% | 14.3% | 17.16% | 38 | 5.787% | 8.681% | 11.57% | 14.47% | 17.36%
39 | 5.8% | 8.7% | 11.6% | 14.5% | 17.4% | 39 | 5.871% | 8.807% | 11.74% | 14.68% | 17.61%
40 | 5.877% | 8.816% | 11.75% | 14.69% | 17.63% | 40 | 5.952% | 8.928% | 11.9% | 14.88% | 17.86%
41 | 5.951% | 8.927% | 11.9% | 14.88% | 17.85% | 41 | 6.028% | 9.043% | 12.06% | 15.07% | 18.09%
42 | 6.022% | 9.032% | 12.04% | 15.05% | 18.06% | 42 | 6.102% | 9.153% | 12.2% | 15.25% | 18.31%
43 | 6.089% | 9.134% | 12.18% | 15.22% | 18.27% | 43 | 6.172% | 9.258% | 12.34% | 15.43% | 18.52%
44 | 6.154% | 9.23% | 12.31% | 15.38% | 18.46% | 44 | 6.239% | 9.359% | 12.48% | 15.6% | 18.72%
45 | 6.215% | 9.323% | 12.43% | 15.54% | 18.65% | 45 | 6.304% | 9.456% | 12.61% | 15.76% | 18.91%
46 | 6.275% | 9.412% | 12.55% | 15.69% | 18.82% | 46 | 6.366% | 9.549% | 12.73% | 15.91% | 19.1%
47 | 6.331% | 9.497% | 12.66% | 15.83% | 18.99% | 47 | 6.425% | 9.638% | 12.85% | 16.06% | 19.28%
48 | 6.386% | 9.579% | 12.77% | 15.96% | 19.16% | 48 | 6.482% | 9.723% | 12.96% | 16.21% | 19.45%
49 | 6.438% | 9.657% | 12.88% | 16.1% | 19.31% | 49 | 6.537% | 9.806% | 13.07% | 16.34% | 19.61%
50 | 6.489% | 9.733% | 12.98% | 16.22% | 19.47% | 50 | 6.59% | 9.885% | 13.18% | 16.47% | 19.77%
51 | 6.537% | 9.805% | 13.07% | 16.34% | 19.61% | 51 | 6.641% | 9.961% | 13.28% | 16.6% | 19.92%
52 | 6.583% | 9.875% | 13.17% | 16.46% | 19.75% | 52 | 6.689% | 10.03% | 13.38% | 16.72% | 20.07%
53 | 6.628% | 9.942% | 13.26% | 16.57% | 19.88% | 53 | 6.736% | 10.1% | 13.47% | 16.84% | 20.21%
54 | 6.671% | 10.01% | 13.34% | 16.68% | 20.01% | 54 | 6.782% | 10.17% | 13.56% | 16.95% | 20.34%
55 | 6.713% | 10.07% | 13.43% | 16.78% | 20.14% | 55 | 6.825% | 10.24% | 13.65% | 17.06% | 20.48%
56 | 6.753% | 10.13% | 13.51% | 16.88% | 20.26% | 56 | 6.867% | 10.3% | 13.73% | 17.17% | 20.6%
57 | 6.792% | 10.19% | 13.58% | 16.98% | 20.37% | 57 | 6.908% | 10.36% | 13.82% | 17.27% | 20.72%
58 | 6.829% | 10.24% | 13.66% | 17.07% | 20.49% | 58 | 6.947% | 10.42% | 13.89% | 17.37% | 20.84%
59 | 6.865% | 10.3% | 13.73% | 17.16% | 20.6% | 59 | 6.985% | 10.48% | 13.97% | 17.46% | 20.95%
60 | 6.9% | 10.35% | 13.8% | 17.25% | 20.7% | 60 | 7.022% | 10.53% | 14.04% | 17.55% | 21.06%

## Alberta Electricity Profile
Alberta Electricity Profile
Generation in 2012 | Gigawatt hour (GWh)** | Direct CO2 EmissionRate (kg/kWh) | Direct CO2 Emissions Total (kg CO2) |  | Maps From | http://www.energy.alberta.ca/Org/pdfs/Alberta_Energy_Overview.pdf
Coal | 38272 | 1.020128408 | 39042354431
Natural Gas | 27238 | 0.51482692 | 14022855647
Hydro | 2319 | 0 | 0
Wind | 2640 | 0 | 0
Biomass | 2089 | 0 | 0
Others* | 359 | 0 | 0
Total | 72918 |  | 53065210078
Source | http://www.energy.alberta.ca/Electricity/682.asp | See Carbon sheet
Therefore Province Wide Average CO2/kWh
0.7277381453
Capacity | http://www.energy.alberta.ca/Electricity/682.asp
Generating Capacity | Megawatt (MW)
Coal | 5690
Gas | 5784
Hydro | 900
Wind | 1113
Biomass | 418
Waste Heat* | 86
Fuel Oil | 12
Subtotal | 14003
Interconnections Capacity
British Columbia | 750
Saskatchewan | 150
Subtotal | 900
Grand Total | 14903
Canada Generation Capaticy |  | http://en.wikipedia.org/wiki/Electricity_sector_in_Canada#Nameplate_capacity
Type |  | Canada | NL | PE | NS | NB | QC | ON | MB | SK | AB | BC | YT | NT | NU
MW
Hydro |  | 75077 | 6781 | 0 | 374 | 947 | 38438 | 8406 | 5054 | 856 | 883 | 13205 | 78 | 56 | 0
Wind |  | 3973 | 54 | 152 | 218 | 249 | 658 | 1457 | 104 | 171 | 806 | 104 | 1 | 0 | 0
Tidal |  | 20 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar |  | 108 | 0 | 0 | 0 | 0 | 0 | 108 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermal |  | 51365 | 584 | 117 | 2006 | 2849 | 3018 | 25516 | 501 | 3159 | 11107 | 2291 | 33 | 127 | 54
| Conventional Steam | 25491 | 490 | 67 | 1686 | 2068 | 959 | 9101 | 250 | 2173 | 7780 | 897 | 0 | 0 | 0
| Nuclear | 12665 | 0 | 0 | 0 | 0[a] | 675[b] | 11990 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combustion turbine | 12406 | 43 | 50 | 320 | 779 | 1252 | 4340 | 241 | 981 | 3037 | 1343 | 0 | 19 | 0
| Internal combustion | 803 | 51 | 0 | 0 | 3 | 131 | 85 | 10 | 5 | 271 | 51 | 33 | 107 | 54
Total installed capacity |  | 130543 | 7419 | 269 | 2618 | 4045 | 42115 | 35487 | 5659 | 4186 | 12796 | 15600 | 112 | 183 | 54

## PV Output
Calculation of the solar PV energy ouput of a photovoltaic system
Yelow cell = enter your own data
White cell = calculated value (do not change the value)
Global formula : |  | E = A * r * H * PR
E = Energy (kWh/year) |  |  |  | 1174665803143 | kWh/an
A = Total solar panel Area (m²) |  |  |  | 6309000000 | m²
r = solar panel yield (%) |  |  |  | 20%
H = Annual average irradiation on tilted panels (shadings not included)* |  |  |  | 1242 | kWh/m².an
PR = Performance ratio, coefficient for losses (range between 0.9 and 0.5, default value = 0.75) |  |  |  | 0.75
|  |  | Avg 24/7/365 Power | 134 | GW
Losses details (depend of site, technology, and sizing of the system)
- | Inverter losses (6% to 15 %) |  |  | 8%
- | Température losses (5% to 15%) |  |  | 8%
- | DC cables losses (1 to 3 %) |  |  | 2%
- | AC cables losses (1 to 3 %) |  |  | 2%
- | Shadings 0 % to 40% (depends of site) |  |  | 3%
- | Losses weak irradiation 3% yo 7% |  |  | 3%
- | Losses due to dust, snow... (2%) |  |  | 2%
- | Other Losses |  |  | 0%