## Forests
http://www.forestecologynetwork.org/climate_change/sequestration_facts.html
carbon in northern forest (tonnes/acre) | 106
(tonnes/m^2) | 0.026193
tonnes/km^2 | 26.1932

## wind
m/s | 7.5 | http://www.iti.gov.nt.ca/publications/2013/energy/2012_WIND_ENERGY_RESOURCES_V2.pdf
mph | 16.7767

## Summary
tar_sands_CO2_renewable_energy.xls
Can wind turbines or PV cells on reclaimed tar sands land offset the CO2 created by mining and using the tar sands oil?
Written by Alex Slocum 2013.06.2013
If edited please enter info on "edit history" worksheet
Enter data in BOLD, calculated output in RED
Motivation: | http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
Alberta Tar Sands
Alberta tar sands land area (km^2) | 140200 | http://www.energy.alberta.ca/oilsands/791.asp
Carbon in the forest (billions of tonnes) | 3.6723 | http://www.forestecologynetwork.org/climate_change/sequestration_facts.html
CO2 saved from electricity by wind power installed on tar sands land
turbine size, peak power (MW) | 5 | http://www.power-technology.com/features/featurethe-worlds-biggest-wind-turbines-4154395/
capacity factor | 40% | http://cleantechnica.com/2012/07/27/wind-turbine-net-capacity-factor-50-the-new-normal/
land area per turbine (km^2) | 1
percent land area for wind turbines | 50%
area of wind farm (km^2) | 70100
(square miles) | 27382.8125
Square size (miles x miles) | 165.4775
number of turbines to be built for land area | 70100
average power generated (GW) | 140.2
average annual energy produced (TWhr) | 1228.152
CO2/MW saved by not burning coal to produce energy generated by wind (tonnes/year/MW) | 6374.9862
CO2 saved by not burning coal to produce energy generated by wind (magatonnes/year) | 893.7731 | 893.7731
CO2 from Tar sands production and oil use
Oil produced (million barrels per year) | 693.5 | http://oilsands.alberta.ca/resource.html |  | 1.9 * 365 = 693.5
CO2 to produce the oil (megatonnes/year) | 49.7167 | http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
CO2 from oil use (megatonnes/year) | 298.205 | http://www.epa.gov/cleanenergy/energy-resources/refs.html
Total CO2 per year from tar sands (megatonnes/year) | 347.9217
Electricity by PV
peak power of solar cell (MW) | 0.00141 | http://www.skyfireenergy.com/solar-residential/grid-tied-electric-systems/1-41-kw-grid-tie-edmonton-alberta/
percent land area assumed covered by PV fields | 10%
area of PV farm (km^2) | 14020
(square miles) | 5476.5625
Square size (miles x miles) | 74.0038
land area per solar pannel (km^2) | 4.73e-05 | http://spectrum.ieee.org/energywise/green-tech/solar/report-counts-up-solar-power-land-use-needs | http://greenforcesolar.com.au/knowledge-base/solar-panel-dimensions/
number of solar pannels to be built for land area | 296405919.6617 | x
density of coverage on land designated for PV fields | 30%
area of PV cells (m^2) | 4206000000
PV cell efficiency | 15% | http://www.forbes.com/sites/peterdetwiler/2013/07/16/as-solar-panel-efficiencies-keep-improving-its-time-to-adopt-some-new-metrics/
average 24/7 solar insolation April (Wh/m^2/day) | 3819.5
June | 6250 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
January | 1389 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
average power (assumes 24/7 operation made possible with storage technology) (GW)
June | 164.2969
January | 36.5133
Average | 100.4051
Nominal Power of the panel | 572.925
CO2 saved by not burning coal to produce energy generated by solar (magatonnes/year) | 640.0812 | This is an estimated conversion

## CO2 amounts
carbon from coal to make electricity (kg/kWh) | 0.72774 | http://www.eia.gov/tools/faqs/faq.cfm?id=74&t=11
CO2 from producing tar sands (tons per barrel of oil) | 0.071689 | http://oilprice.com/Energy/Energy-General/Keystone-XLs-Miniscule-CO2-Impact-and-the-Bigger-Picture.html
http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
CO2 from burning oil (tonnes per barrel oil) | 0.43 | http://www.epa.gov/cleanenergy/energy-resources/refs.html
Dave's Alberta CO2 Average (kg/kWh) (see sheet Alberta Electricity) | 0.72774
Previous value Carbon from coal to make electricity (kg/kWh) | 0.97068
How much carbon dioxide (CO2) is produced per kilowatt-hour when generating electricity with fossil fuels?
You can calculate the amount of CO2 produced per kWh for specific fuels and specific types of generators by multiplying the CO2 emissions factor for the fuel (in pounds of CO2 per million Btu) by the heat rate of a generator (in Btu per kWh generated), and dividing the result by 1,000,000.
For example, here are the number of pounds of CO2 produced by a steam-electric generator for different fuels using that formula and the average heat rates for steam-electric generators in 2011:
|  | Fuel | Lbs of CO2 per Million Btu | Heat Rate (Btu per kWh) | Lbs CO2 per kWh
Coal
|  | Bituminous | 205.3 | 10107 | 2.08
|  | Sub-bituminous | 212.7 | 10107 | 2.16
|  | Lignite | 215.4 | 10107 | 2.18
|  | Natural gas | 117.08 | 10416 | 1.22
|  | Distillate Oil (No. 2) | 161.386 | 10416 | 1.68
|  | Residual Oil (No. 6) | 173.906 | 10416 | 1.81
Last updated: March 11, 2014
Conversion Factors
By Source Type (US Country Avg.s from EPA) | lbs/MWh | kg/kWh | http://www.epa.gov/cleanenergy/energy-and-you/affect/air-emissions.html |  |  | 1lbs=?kgs | 0.45359
Nat Gas | 1135 | 0.51483
Coal | 2249 | 1.0201
Oil | 1672 | 0.75841
Biomass | debatable, but EPA site gives no #

## Solar
source http://en.wikipedia.org/wiki/Oil_sands

## edit history
Edited by | date | changes
Alex Slocum | 2013.06.27 | added development plan worksheet
Alex Slocum | 2013.09.13 | format columns review numbers
Santiago Paiva | 2014.03.13 | Alberta tar sands land area (km^2) to 140,200
Santiago Paiva | 2014.03.13 | Wind Turbine Peak Power to 7 MW
Santiago Paiva | 2014.03.13 | Wind Turbine Capacity Factor to 40.35%
Santiago Paiva | 2014.03.13 | PV cell efficiency to 15%
Santiago Paiva | 2014.03.13 | Insolation values for Fort McMurray Area: 1388.89 in January and 6250 in June
Santiago Paiva | 2014.03.13 | CO2 from producing tar sands (tons per barrel of oil) to 0.071
Santiago Paiva | 2014.03.13 | Oil produced (million barrels per year) to 693.5
Santiago Paiva | 2014.03.17 | Wind Turbine Peak Power back to 5 MW
Santiago Paiva | 2014.03.17 | Added solar insolation graph in the Solar tab
Santiago Paiva | 2014.03.17 | Added peak power for solar cells 1.3 kW in Alberta in Summary tab
Santiago Paiva | 2014.03.17 | Added land area per solar pannel (The general dimension is 1600mm x 1020mm = 0.0016 km^2) in Summary Tab
Santiago Paiva | 2014.03.17 | Added number of solar pannels to be built for land area in Summary tab
Santiago Paiva | 2014.03.17 | Added Wind Graphs & Solar graphs sheets
Alex Slocum | 2014.03.21 | cost per solar "cell" of 38k too high… does not make sense….. Base it all on cost per Watt as I did originally. INSTALLED (cell plus cabling plus inverter….) is about $4/watt (and coming down)
David Taylor | 2014.03.22 | Added Data for Alberta Electricty profile
Santiago Paiva | 2014.03.23 | Hided development plan (wind) tab and kept Dave's DT Adjusted Dev Plan (wind) tab
Santiago Paiva | 2014.03.23 | Updated Wind Graphs tab with new percentage values
Santiago Paiva | 2014.03.23 | Added life expectancy of solar pv cell (around 25 years) in development plan (solar) tab
Santiago Paiva | 2014.03.23 | Removed solar cell price of 38K to $4/Watt
Santiago Paiva | 2014.03.23 | Modified peak power of solar panel to 1.41 kW (Edmonton value)
Santiago Paiva | 2014.03.23 | Modified land area per solar panel to 8.3 acres per MW
Santiago Paiva | 2014.03.23 | Updated Solar Graphs tab with new percentages values
Santiago Paiva | 2014.03.24 | Updated Wind Graphs tab
Santiago Paiva | 2014.03.24 | Updated Solar Graphs tab
Santiago Paiva | 2014.03.25 | Added average 24/7 solar insolation April (Wh/m^2/day) in Summery tab
Santiago Paiva | 2014.03.25 | Added nominal power of the solar cell

## development plan (Wind) (hidden)
millions barrels oil per year recovered from tar sands | 693.5
$ per barrell of oil to be invested on wind farm on site | 20 | X% | If price per barrel is 100, X% = 20/100 = 20%
Annual amount to be spent (Billions) | 13870000000
$/kWhr for reinvestment in purchasing more wind turbines | 0.05
Wind energy: if all the money were spent on wind energy:
Assumed cost of wind ($/W) in this location (include transmission) | 4
Nameplate (peak power) size of wind turbine (MW) | 5
cost per wind turbine installed | 20000000
number of wind turbines per year to be installed | 693.5
Number of automobiles manufactured equivalent to 1 wind turbine | 1000
year | total number of installed wind turbines | cumulative ratio carbon saved/carbon burned | number of wind turbines purchased | Millions of autos equivelant | % of total wind turbines to be built | cumulative carbon saved | cumulative carbon burned (MT) | value of wind produced in previous year reinvested (million $) | Billions to be spent on wind turbine acquisition next year
1 | 693.5 | 0% | 693.5 | 0.6935 | 0.9893% | 0 | 347.9217 |  | 13870000000
2 | 1417.5 | 1.271% | 724 | 0.724 | 2.022% | 8.8421 | 695.8433 | 624150000 | 14494150000
3 | 2174.5 | 2.579% | 757 | 0.757 | 3.102% | 26.9152 | 1043.765 | 1275750000 | 15145750000
4 | 2965.5 | 3.926% | 791 | 0.791 | 4.23% | 54.64 | 1391.6867 | 1957050000 | 15827050000
5 | 3791.5 | 5.314% | 826 | 0.826 | 5.409% | 92.45 | 1739.6083 | 2668950000 | 16538950000
6 | 4655.5 | 6.744% | 864 | 0.864 | 6.641% | 140.7916 | 2087.53 | 3412350000 | 17282350000
7 | 5557.5 | 8.218% | 902 | 0.902 | 7.928% | 200.1491 | 2435.4517 | 4189950000 | 18059950000
8 | 6500.5 | 9.737% | 943 | 0.943 | 9.273% | 271.007 | 2783.3733 | 5001750000 | 18871750000
9 | 7486.5 | 11.3% | 986 | 0.986 | 10.68% | 353.8882 | 3131.295 | 5850450000 | 19720450000
10 | 8516.5 | 12.92% | 1030 | 1.03 | 12.15% | 449.3409 | 3479.2167 | 6737850000 | 20607850000
11 | 9592.5 | 14.58% | 1076 | 1.076 | 13.68% | 557.926 | 3827.1383 | 7664850000 | 21534850000
12 | 10717.5 | 16.29% | 1125 | 1.125 | 15.29% | 680.2301 | 4175.06 | 8633250000 | 22503250000
13 | 11892.5 | 18.06% | 1175 | 1.175 | 16.97% | 816.878 | 4522.9817 | 9645750000 | 23515750000
14 | 13120.5 | 19.88% | 1228 | 1.228 | 18.72% | 968.507 | 4870.9033 | 10703250000 | 24573250000
15 | 14403.5 | 21.76% | 1283 | 1.283 | 20.55% | 1135.793 | 5218.825 | 11808450000 | 25678450000
16 | 15744.5 | 23.7% | 1341 | 1.341 | 22.46% | 1319.4373 | 5566.7467 | 12963150000 | 26833150000
17 | 17146.5 | 25.7% | 1402 | 1.402 | 24.46% | 1520.1792 | 5914.6683 | 14170050000 | 28040050000
18 | 18611.5 | 27.76% | 1465 | 1.465 | 26.55% | 1738.7966 | 6262.59 | 15431850000 | 29301850000
19 | 20142.5 | 29.89% | 1531 | 1.531 | 28.73% | 1976.0927 | 6610.5117 | 16750350000 | 30620350000
20 | 21741.5 | 32.09% | 1599 | 1.599 | 31.01% | 2232.909 | 6958.4333 | 18128250000 | 31998250000
21 | 23412.5 | 34.36% | 1671 | 1.671 | 33.4% | 2510.1125 | 7306.355 | 19567350000 | 33437350000
22 | 25159.5 | 36.69% | 1747 | 1.747 | 35.89% | 2808.6213 | 7654.2767 | 21071250000 | 34941250000
23 | 26984.5 | 39.11% | 1825 | 1.825 | 38.49% | 3129.4042 | 8002.1983 | 22643550000 | 36513550000
24 | 28891.5 | 41.6% | 1907 | 1.907 | 41.21% | 3473.4558 | 8350.12 | 24286050000 | 38156050000
25 | 30884.5 | 44.17% | 1993 | 1.993 | 44.06% | 3841.8217 | 8698.0417 | 26002350000 | 39872350000
26 | 32967.5 | 46.82% | 2083 | 2.083 | 47.03% | 4235.5982 | 9045.9633 | 27796050000 | 41666050000
27 | 35144.5 | 49.56% | 2177 | 2.177 | 50.13% | 4655.9329 | 9393.885 | 29670750000 | 43540750000
28 | 37419.5 | 52.39% | 2275 | 2.275 | 53.38% | 5104.0243 | 9741.8067 | 31630050000 | 45500050000
29 | 39796.5 | 55.31% | 2377 | 2.377 | 56.77% | 5581.1219 | 10089.7283 | 33677550000 | 47547550000
30 | 42280.5 | 58.33% | 2484 | 2.484 | 60.31% | 6088.5261 | 10437.65 | 35816850000 | 49686850000
31 | 44876.5 | 61.45% | 2596 | 2.596 | 64.02% | 6627.6014 | 10785.5717 | 38052450000 | 51922450000
32 | 47588.5 | 64.67% | 2712 | 2.712 | 67.89% | 7199.7755 | 11133.4933 | 40388850000 | 54258850000
33 | 50422.5 | 67.99% | 2834 | 2.834 | 71.93% | 7806.5275 | 11481.415 | 42829650000 | 56699650000
34 | 53384.5 | 71.43% | 2962 | 2.962 | 76.15% | 8449.413 | 11829.3367 | 45380250000 | 59250250000
35 | 56479.5 | 74.98% | 3095 | 3.095 | 80.57% | 9130.0639 | 12177.2583 | 48046050000 | 61916050000
36 | 59714.5 | 78.64% | 3235 | 3.235 | 85.18% | 9850.176 | 12525.18 | 50831550000 | 64701550000
37 | 63094.5 | 82.43% | 3380 | 3.38 | 90.01% | 10611.5342 | 12873.1017 | 53743050000 | 67613050000
38 | 66626.5 | 86.35% | 3532 | 3.532 | 95.04% | 11415.9873 | 13221.0233 | 56785050000 | 70655050000
39 | 70317.5 | 90.39% | 3691 | 3.691 | 100.3% | 12265.4734 | 13568.945 | 59963850000 | 73833850000
40 | 74174.5 | 94.58% | 3857 | 3.857 | 105.8% | 13162.0195 | 13916.8667 | 63285750000 | 77155750000
41 | 78205.5 | 98.9% | 4031 | 4.031 | 111.6% | 14107.7424 | 14264.7883 | 66757050000 | 80627050000
42 | 82417.5 | 103.4% | 4212 | 4.212 | 117.6% | 15104.8603 | 14612.71 | 70384950000 | 84254950000
43 | 86819.5 | 108% | 4402 | 4.402 | 123.9% | 16155.6812 | 14960.6317 | 74175750000 | 88045750000
44 | 91419.5 | 112.8% | 4600 | 4.6 | 130.4% | 17262.6274 | 15308.5533 | 78137550000 | 92007550000
45 | 96226.5 | 117.7% | 4807 | 4.807 | 137.3% | 18428.2235 | 15656.475 | 82277550000 | 96147550000
46 | 101249.5 | 122.8% | 5023 | 5.023 | 144.4% | 19655.1087 | 16004.3967 | 86603850000 | 100473850000
47 | 106498.5 | 128.1% | 5249 | 5.249 | 151.9% | 20946.037 | 16352.3183 | 91124550000 | 104994550000
48 | 111983.5 | 133.6% | 5485 | 5.485 | 159.7% | 22303.8899 | 16700.24 | 95848650000 | 109718650000
49 | 117715.5 | 139.2% | 5732 | 5.732 | 167.9% | 23731.6765 | 17048.1617 | 100785150000 | 114655150000
50 | 123705.5 | 145% | 5990 | 5.99 | 176.5% | 25232.5458 | 17396.0833 | 105943950000 | 119813950000
51 | 129965.5 | 151.1% | 6260 | 6.26 | 185.4% | 26809.7875 | 17744.005 | 111334950000 | 125204950000
52 | 136506.5 | 157.3% | 6541 | 6.541 | 194.7% | 28466.844 | 18091.9267 | 116968950000 | 130838950000
53 | 143342.5 | 163.8% | 6836 | 6.836 | 204.5% | 30207.2981 | 18439.8483 | 122855850000 | 136725850000
54 | 150485.5 | 170.5% | 7143 | 7.143 | 214.7% | 32034.911 | 18787.77 | 129008250000 | 142878250000

## DT Adjusted Dev Plan (Wind)
Life expectancy of a Wind Turbine (yrs) | 20 | https://www.irena.org/DocumentDownloads/Publications/RE_Technologies_Cost_Analysis-WIND_POWER.pdf
millions barrels oil per year recovered from tar sands | 693.5
$ per barrell of oil to be invested on wind farm on site | 20 | X% | If price per barrel is 100, X% = 20/100 = 20%
Annual amount to be spent (Billions) | 13870000000
$/kWhr for reinvestment in purchasing more wind turbines | 0.05
Wind energy: if all the money were spent on wind energy:
Assumed cost of wind ($/W) in this location (include transmission) | 4
Nameplate (peak power) size of wind turbine (MW) | 5
cost per wind turbine installed | 20000000
number of wind turbines per year to be installed | 693.5
Number of automobiles manufactured equivalent to 1 wind turbine | 1000
year | total number of installed wind turbines | cumulative ratio carbon saved/carbon burned | number of wind turbines purchased | Millions of autos equivelant | % of total wind turbines to be built | cumulative carbon saved | cumulative carbon burned (MT) | value of wind produced in previous year reinvested (million $) | Billions to be spent on wind turbine acquisition next year | Decomissioned Turbines
1 | 693.5 | 0% | 693.5 | 0.6935 | 0.9893% | 0 | 347.9217 |  | 13870000000 | 0
2 | 1417.5 | 1.271% | 724 | 0.724 | 2.022% | 8.8421 | 695.8433 | 624150000 | 14494150000 | 0
3 | 2174.5 | 2.579% | 757 | 0.757 | 3.102% | 26.9152 | 1043.765 | 1275750000 | 15145750000 | 0
4 | 2965.5 | 3.926% | 791 | 0.791 | 4.23% | 54.64 | 1391.6867 | 1957050000 | 15827050000 | 0
5 | 3791.5 | 5.314% | 826 | 0.826 | 5.409% | 92.45 | 1739.6083 | 2668950000 | 16538950000 | 0
6 | 4655.5 | 6.744% | 864 | 0.864 | 6.641% | 140.7916 | 2087.53 | 3412350000 | 17282350000 | 0
7 | 5557.5 | 8.218% | 902 | 0.902 | 7.928% | 200.1491 | 2435.4517 | 4189950000 | 18059950000 | 0
8 | 6500.5 | 9.737% | 943 | 0.943 | 9.273% | 271.007 | 2783.3733 | 5001750000 | 18871750000 | 0
9 | 7486.5 | 11.3% | 986 | 0.986 | 10.68% | 353.8882 | 3131.295 | 5850450000 | 19720450000 | 0
10 | 8516.5 | 12.92% | 1030 | 1.03 | 12.15% | 449.3409 | 3479.2167 | 6737850000 | 20607850000 | 0
11 | 9592.5 | 14.58% | 1076 | 1.076 | 13.68% | 557.926 | 3827.1383 | 7664850000 | 21534850000 | 0
12 | 10717.5 | 16.29% | 1125 | 1.125 | 15.29% | 680.2301 | 4175.06 | 8633250000 | 22503250000 | 0
13 | 11892.5 | 18.06% | 1175 | 1.175 | 16.97% | 816.878 | 4522.9817 | 9645750000 | 23515750000 | 0
14 | 13120.5 | 19.88% | 1228 | 1.228 | 18.72% | 968.507 | 4870.9033 | 10703250000 | 24573250000 | 0
15 | 14403.5 | 21.76% | 1283 | 1.283 | 20.55% | 1135.793 | 5218.825 | 11808450000 | 25678450000 | 0
16 | 15744.5 | 23.7% | 1341 | 1.341 | 22.46% | 1319.4373 | 5566.7467 | 12963150000 | 26833150000 | 0
17 | 17146.5 | 25.7% | 1402 | 1.402 | 24.46% | 1520.1792 | 5914.6683 | 14170050000 | 28040050000 | 0
18 | 18611.5 | 27.76% | 1465 | 1.465 | 26.55% | 1738.7966 | 6262.59 | 15431850000 | 29301850000 | 0
19 | 20142.5 | 29.89% | 1531 | 1.531 | 28.73% | 1976.0927 | 6610.5117 | 16750350000 | 30620350000 | 0
20 | 21741.5 | 32.09% | 1599 | 1.599 | 31.01% | 2232.909 | 6958.4333 | 18128250000 | 31998250000 | 0
21 | 23412.5 | 34.36% | 1671 | 1.671 | 33.4% | 2510.1125 | 7306.355 | 19567350000 | 33437350000 | 693.5
22 | 25159.5 | 36.69% | 1747 | 1.747 | 35.89% | 2808.6213 | 7654.2767 | 21071250000 | 34941250000 | 1417.5
23 | 26984.5 | 39.11% | 1825 | 1.825 | 38.49% | 3129.4042 | 8002.1983 | 22643550000 | 36513550000 | 2174.5
24 | 28891.5 | 41.6% | 1907 | 1.907 | 41.21% | 3473.4558 | 8350.12 | 24286050000 | 38156050000 | 2965.5
25 | 30884.5 | 44.17% | 1993 | 1.993 | 44.06% | 3841.8217 | 8698.0417 | 26002350000 | 39872350000 | 3791.5
26 | 32967.5 | 46.82% | 2083 | 2.083 | 47.03% | 4235.5982 | 9045.9633 | 27796050000 | 41666050000 | 4655.5
27 | 35144.5 | 49.56% | 2177 | 2.177 | 50.13% | 4655.9329 | 9393.885 | 29670750000 | 43540750000 | 5557.5
28 | 37419.5 | 52.39% | 2275 | 2.275 | 53.38% | 5104.0243 | 9741.8067 | 31630050000 | 45500050000 | 6500.5
29 | 39796.5 | 55.31% | 2377 | 2.377 | 56.77% | 5581.1219 | 10089.7283 | 33677550000 | 47547550000 | 7486.5
30 | 42280.5 | 58.33% | 2484 | 2.484 | 60.31% | 6088.5261 | 10437.65 | 35816850000 | 49686850000 | 8516.5
31 | 44876.5 | 61.45% | 2596 | 2.596 | 64.02% | 6627.6014 | 10785.5717 | 38052450000 | 51922450000 | 9592.5
32 | 47588.5 | 64.67% | 2712 | 2.712 | 67.89% | 7199.7755 | 11133.4933 | 40388850000 | 54258850000 | 10717.5
33 | 50422.5 | 67.99% | 2834 | 2.834 | 71.93% | 7806.5275 | 11481.415 | 42829650000 | 56699650000 | 11892.5
34 | 53384.5 | 71.43% | 2962 | 2.962 | 76.15% | 8449.413 | 11829.3367 | 45380250000 | 59250250000 | 13120.5
35 | 56479.5 | 74.98% | 3095 | 3.095 | 80.57% | 9130.0639 | 12177.2583 | 48046050000 | 61916050000 | 14403.5
36 | 59714.5 | 78.64% | 3235 | 3.235 | 85.18% | 9850.176 | 12525.18 | 50831550000 | 64701550000 | 15744.5
37 | 63094.5 | 82.43% | 3380 | 3.38 | 90.01% | 10611.5342 | 12873.1017 | 53743050000 | 67613050000 | 17146.5
38 | 66626.5 | 86.35% | 3532 | 3.532 | 95.04% | 11415.9873 | 13221.0233 | 56785050000 | 70655050000 | 18611.5
39 | 70317.5 | 90.39% | 3691 | 3.691 | 100.3% | 12265.4734 | 13568.945 | 59963850000 | 73833850000 | 20142.5
40 | 74174.5 | 94.58% | 3857 | 3.857 | 105.8% | 13162.0195 | 13916.8667 | 63285750000 | 77155750000 | 21741.5
41 | 78205.5 | 98.9% | 4031 | 4.031 | 111.6% | 14107.7424 | 14264.7883 | 66757050000 | 80627050000 | 23412.5
42 | 82417.5 | 103.4% | 4212 | 4.212 | 117.6% | 15104.8603 | 14612.71 | 70384950000 | 84254950000 | 25159.5
43 | 86819.5 | 108% | 4402 | 4.402 | 123.9% | 16155.6812 | 14960.6317 | 74175750000 | 88045750000 | 26984.5
44 | 91419.5 | 112.8% | 4600 | 4.6 | 130.4% | 17262.6274 | 15308.5533 | 78137550000 | 92007550000 | 28891.5
45 | 96226.5 | 117.7% | 4807 | 4.807 | 137.3% | 18428.2235 | 15656.475 | 82277550000 | 96147550000 | 30884.5
46 | 101249.5 | 122.8% | 5023 | 5.023 | 144.4% | 19655.1087 | 16004.3967 | 86603850000 | 100473850000 | 32967.5
47 | 106498.5 | 128.1% | 5249 | 5.249 | 151.9% | 20946.037 | 16352.3183 | 91124550000 | 104994550000 | 35144.5
48 | 111983.5 | 133.6% | 5485 | 5.485 | 159.7% | 22303.8899 | 16700.24 | 95848650000 | 109718650000 | 37419.5
49 | 117715.5 | 139.2% | 5732 | 5.732 | 167.9% | 23731.6765 | 17048.1617 | 100785150000 | 114655150000 | 39796.5
50 | 123705.5 | 145% | 5990 | 5.99 | 176.5% | 25232.5458 | 17396.0833 | 105943950000 | 119813950000 | 42280.5
51 | 129965.5 | 151.1% | 6260 | 6.26 | 185.4% | 26809.7875 | 17744.005 | 111334950000 | 125204950000 | 44876.5
52 | 136506.5 | 157.3% | 6541 | 6.541 | 194.7% | 28466.844 | 18091.9267 | 116968950000 | 130838950000 | 47588.5
53 | 143342.5 | 163.8% | 6836 | 6.836 | 204.5% | 30207.2981 | 18439.8483 | 122855850000 | 136725850000 | 50422.5
54 | 150485.5 | 170.5% | 7143 | 7.143 | 214.7% | 32034.911 | 18787.77 | 129008250000 | 142878250000 | 53384.5
55 | 157950.5 | 177.4% | 7465 | 7.465 | 225.3% | 33953.597 | 19135.6917 | 135436950000 | 149306950000 | 56479.5
56 | 165751.5 | 184.6% | 7801 | 7.801 | 236.5% | 35967.4615 | 19483.6133 | 142155450000 | 156025450000 | 59714.5
57 | 173903.5 | 192% | 8152 | 8.152 | 248.1% | 38080.7885 | 19831.535 | 149176350000 | 163046350000 | 63094.5
58 | 182422.5 | 199.7% | 8519 | 8.519 | 260.2% | 40298.0533 | 20179.4567 | 156513150000 | 170383150000 | 66626.5
59 | 191324.5 | 207.6% | 8902 | 8.902 | 272.9% | 42623.9352 | 20527.3783 | 164180250000 | 178050250000 | 70317.5
60 | 200627.5 | 215.9% | 9303 | 9.303 | 286.2% | 45063.3172 | 20875.3 | 172192050000 | 186062050000 | 74174.5

## Wind Graphs
year | 10% Investment | 15% Investment | 20% Investment | 25% Investment | 30% investment
1 | 0% | 0% | 0% | 0% | 0%
2 | 0.6354% | 0.953% | 1.271% | 1.588% | 1.906%
3 | 1.289% | 1.934% | 2.579% | 3.223% | 3.869%
4 | 1.963% | 2.944% | 3.926% | 4.907% | 5.891%
5 | 2.656% | 3.985% | 5.314% | 6.643% | 7.973%
6 | 3.371% | 5.057% | 6.744% | 8.431% | 10.12%
7 | 4.107% | 6.162% | 8.218% | 10.27% | 12.33%
8 | 4.866% | 7.301% | 9.737% | 12.17% | 14.61%
9 | 5.648% | 8.475% | 11.3% | 14.13% | 16.96%
10 | 6.454% | 9.685% | 12.92% | 16.15% | 19.38%
11 | 7.285% | 10.93% | 14.58% | 18.22% | 21.87%
12 | 8.142% | 12.22% | 16.29% | 20.37% | 24.45%
13 | 9.026% | 13.54% | 18.06% | 22.58% | 27.1%
14 | 9.937% | 14.91% | 19.88% | 24.86% | 29.83%
15 | 10.88% | 16.32% | 21.76% | 27.21% | 32.65%
16 | 11.84% | 17.77% | 23.7% | 29.63% | 35.56%
17 | 12.84% | 19.27% | 25.7% | 32.13% | 38.56%
18 | 13.87% | 20.82% | 27.76% | 34.71% | 41.66%
19 | 14.94% | 22.42% | 29.89% | 37.37% | 44.85%
20 | 16.04% | 24.06% | 32.09% | 40.11% | 48.15%
21 | 17.17% | 25.76% | 34.36% | 42.95% | 51.55%
22 | 18.34% | 27.51% | 36.69% | 45.87% | 55.06%
23 | 19.54% | 29.32% | 39.11% | 48.89% | 58.68% | Investment (%) | Offset (Years)
24 | 20.79% | 31.19% | 41.6% | 52% | 62.41% | 0 | 0
25 | 22.07% | 33.12% | 44.17% | 55.21% | 66.27% | 5 | 76
26 | 23.4% | 35.11% | 46.82% | 58.53% | 70.25% | 10 | 58
27 | 24.77% | 37.16% | 49.56% | 61.96% | 74.37% | 15 | 48
28 | 26.18% | 39.29% | 52.39% | 65.5% | 78.61% | 20 | 41
29 | 27.64% | 41.48% | 55.31% | 69.15% | 82.99% | 25 | 36.5
30 | 29.15% | 43.74% | 58.33% | 72.92% | 87.52% | 30 | 33
31 | 30.71% | 46.08% | 61.45% | 76.81% | 92.2% | 35 | 30
32 | 32.31% | 48.49% | 64.67% | 80.84% | 97.03% | 40 | 27.1
33 | 33.98% | 50.98% | 67.99% | 85% | 102% | 45 | 25.1
34 | 35.69% | 53.56% | 71.43% | 89.29% | 107.2% | 50 | 23.4
35 | 37.47% | 56.22% | 74.98% | 93.72% | 112.5% | 55 | 22
36 | 39.3% | 58.97% | 78.64% | 98.31% | 118% | 60 | 20.6
37 | 41.19% | 61.81% | 82.43% | 103% | 123.7% | 65 | 19.5
38 | 43.15% | 64.75% | 86.35% | 107.9% | 129.6% | 70 | 18.4
39 | 45.17% | 67.78% | 90.39% | 113% | 135.6% | 75 | 17.5
40 | 47.26% | 70.92% | 94.58% | 118.2% | 141.9% | 80 | 16.6
41 | 49.42% | 74.16% | 98.9% | 123.6% | 148.4% | 85 | 15.9
42 | 51.65% | 77.51% | 103.4% | 129.2% | 155.1% | 90 | 15.2
43 | 53.96% | 80.97% | 108% | 135% | 162% | 95 | 14.6
44 | 56.35% | 84.55% | 112.8% | 141% | 169.2% | 100 | 14
45 | 58.82% | 88.26% | 117.7% | 147.1% | 176.6%
46 | 61.37% | 92.09% | 122.8% | 153.5% | 184.3%
47 | 64.01% | 96.05% | 128.1% | 160.1% | 192.2%
48 | 66.74% | 100.1% | 133.6% | 167% | 200.4%
49 | 69.56% | 104.4% | 139.2% | 174% | 208.9%
50 | 72.48% | 108.8% | 145% | 181.3% | 217.6%
51 | 75.5% | 113.3% | 151.1% | 188.9% | 226.7% | Investment (%) | Offset (Years)
52 | 78.62% | 118% | 157.3% | 196.7% | 236.1% | 20 | 41
53 | 81.86% | 122.8% | 163.8% | 204.8% | 245.8% | 30 | 33
54 | 85.2% | 127.9% | 170.5% | 213.1% | 255.8% | 40 | 27.1
55 | 88.66% | 133% | 177.4% | 221.8% | 266.2%
56 | 92.24% | 138.4% | 184.6% | 230.8% | 277%
57 | 95.95% | 144% | 192% | 240% | 288.1%
58 | 99.79% | 149.7% | 199.7% | 249.6% | 299.6%
59 | 103.8% | 155.7% | 207.6% | 259.6% | 311.5%
60 | 107.9% | 161.9% | 215.9% | 269.9% | 323.9%

## development plan (Solar)
Life expectancy of a solar cell (yrs) | 25 | http://www.seia.org/policy/environment/pv-recycling
millions barrels oil per year recovered from tar sands | 693.5
$ per barrell of oil to be invested on wind farm on site | 20 | X% | If price per barrel is 100, X% = 20/100 = 20%
Annual amount to be spent (Billions) | 13870000000
$/kWhr for reinvestment in purchasing more solar cells | 0.05
Wind energy: if all the money were spent on solar energy:
Assumed cost of solar ($/W) in this location (includes installation) | 4
Nameplate (peak power) of solar cell (MW) | 0.00141
cost per solar cell installed | 5640
number of solar cells per year to be installed | 2459219.8582
Number of automobiles manufactured equivalent to 1 solar cell | 1
year | total number of installed solar cells | cumulative ratio carbon saved/carbon burned | number of solar cells purchased | Millions of autos equivelant | % of total solar cells to be built | cumulative carbon saved | cumulative carbon burned (MT) | value of solar produced in previous year reinvested (million $) | Billions to be spent on solar cells acquisition next year | Decomissioned Cells
1 | 2459219.8582 | 0% | 2459219.8582 | 2.4592 | 0.8297% | 0 | 347.9217 |  | 13870000000 | 0
2 | 4959938.8582 | 0.7632% | 2500719 | 2.5007 | 1.673% | 5.3106 | 695.8433 | 234056250 | 14104056250 | 0
3 | 7502856.8582 | 1.535% | 2542918 | 2.5429 | 2.531% | 16.0215 | 1043.765 | 472062180.825 | 14342062180.825 | 0
4 | 10088686.8582 | 2.315% | 2585830 | 2.5858 | 3.404% | 32.2237 | 1391.6867 | 714084401.475 | 14584084401.475 | 0
5 | 12718152.8582 | 3.105% | 2629466 | 2.6295 | 4.291% | 54.01 | 1739.6083 | 960190771.725 | 14830190771.725 | 0
6 | 15391990.8582 | 3.903% | 2673838 | 2.6738 | 5.193% | 81.4745 | 2087.53 | 1210450198.275 | 15080450198.275 | 0
7 | 18110949.8582 | 4.71% | 2718959 | 2.719 | 6.11% | 114.7131 | 2435.4517 | 1464932729.925 | 15334932729.925 | 0
8 | 20875791.8582 | 5.527% | 2764842 | 2.7648 | 7.043% | 153.8233 | 2783.3733 | 1723709652.75 | 15593709652.75 | 0
9 | 23687289.8582 | 6.352% | 2811498 | 2.8115 | 7.992% | 198.904 | 3131.295 | 1986853490.1 | 15856853490.1 | 0
10 | 26546231.8582 | 7.187% | 2858942 | 2.8589 | 8.956% | 250.0561 | 3479.2167 | 2254437812.25 | 16124437812.25 | 0
11 | 29453418.8582 | 8.032% | 2907187 | 2.9072 | 9.937% | 307.3821 | 3827.1383 | 2526537617.1 | 16396537617.1 | 0
12 | 32409664.8582 | 8.886% | 2956246 | 2.9562 | 10.93% | 370.986 | 4175.06 | 2803229139.825 | 16673229139.825 | 0
13 | 35415796.8582 | 9.75% | 3006132 | 3.0061 | 11.95% | 440.9738 | 4522.9817 | 3084589852.875 | 16954589852.875 | 0
14 | 38472657.8582 | 10.62% | 3056861 | 3.0569 | 12.98% | 517.4534 | 4870.9033 | 3370698465.975 | 17240698465.975 | 0
15 | 41581102.8582 | 11.51% | 3108445 | 3.1084 | 14.03% | 600.5341 | 5218.825 | 3661635211.65 | 17531635211.65 | 0
16 | 44742002.8582 | 12.4% | 3160900 | 3.1609 | 15.09% | 690.3275 | 5566.7467 | 3957481464.525 | 17827481464.525 | 0
17 | 47956243.8582 | 13.31% | 3214241 | 3.2142 | 16.18% | 786.9467 | 5914.6683 | 4258320122.025 | 18128320122.025 | 0
18 | 51224724.8582 | 14.22% | 3268481 | 3.2685 | 17.28% | 890.507 | 6262.59 | 4564235509.2 | 18434235509.2 | 0
19 | 54548361.8582 | 15.14% | 3323637 | 3.3236 | 18.4% | 1001.1255 | 6610.5117 | 4875313188.375 | 18745313188.375 | 0
20 | 57928084.8582 | 16.08% | 3379723 | 3.3797 | 19.54% | 1118.9213 | 6958.4333 | 5191640339.85 | 19061640339.85 | 0
21 | 61364840.8582 | 17.03% | 3436756 | 3.4368 | 20.7% | 1244.0156 | 7306.355 | 5513305476.375 | 19383305476.375 | 0
22 | 64859591.8582 | 17.98% | 3494751 | 3.4948 | 21.88% | 1376.5314 | 7654.2767 | 5840398728.675 | 19710398728.675 | 0
23 | 68413316.8582 | 18.95% | 3553725 | 3.5537 | 23.08% | 1516.5941 | 8002.1983 | 6173011655.1 | 20043011655.1 | 0
24 | 72027010.8582 | 19.93% | 3613694 | 3.6137 | 24.3% | 1664.3309 | 8350.12 | 6511237431.975 | 20381237431.975 | 0
25 | 75701685.8582 | 20.92% | 3674675 | 3.6747 | 25.54% | 1819.8715 | 8698.0417 | 6855170758.425 | 20725170758.425 | 0
26 | 79438370.8582 | 21.93% | 3736685 | 3.7367 | 26.8% | 1983.3474 | 9045.9633 | 7204907951.55 | 21074907951.55 | 2459219.8582
27 | 83238112.8582 | 22.94% | 3799742 | 3.7997 | 28.08% | 2154.8925 | 9393.885 | 7560546946.425 | 21430546946.425 | 4959938.8582
28 | 87101975.8582 | 23.97% | 3863863 | 3.8639 | 29.39% | 2334.6431 | 9741.8067 | 7922187391.275 | 21792187391.275 | 7502856.8582
29 | 91031040.8582 | 25% | 3929065 | 3.9291 | 30.71% | 2522.7377 | 10089.7283 | 8289930552.3 | 22159930552.3 | 10088686.8582
30 | 95026408.8582 | 26.05% | 3995368 | 3.9954 | 32.06% | 2719.3169 | 10437.65 | 8663879313.675 | 22533879313.675 | 12718152.8582
31 | 99089198.8582 | 27.12% | 4062790 | 4.0628 | 33.43% | 2924.5241 | 10785.5717 | 9044138463.075 | 22914138463.075 | 15391990.8582
32 | 103220548.8582 | 28.19% | 4131350 | 4.1314 | 34.82% | 3138.5047 | 11133.4933 | 9430814501.325 | 23300814501.325 | 18110949.8582
33 | 107421614.8582 | 29.28% | 4201066 | 4.2011 | 36.24% | 3361.4069 | 11481.415 | 9824015737.575 | 23694015737.575 | 20875791.8582
34 | 111693573.8582 | 30.38% | 4271959 | 4.272 | 37.68% | 3593.3812 | 11829.3367 | 10223852194.125 | 24093852194.125 | 23687289.8582
35 | 116037621.8582 | 31.49% | 4344048 | 4.344 | 39.15% | 3834.5807 | 12177.2583 | 10630435891.95 | 24500435891.95 | 26546231.8582
36 | 120454975.8582 | 32.62% | 4417354 | 4.4174 | 40.64% | 4085.161 | 12525.18 | 11043880660.35 | 24913880660.35 | 29453418.8582
37 | 124946872.8582 | 33.75% | 4491897 | 4.4919 | 42.15% | 4345.2805 | 12873.1017 | 11464302327.3 | 25334302327.3 | 32409664.8582
38 | 129514570.8582 | 34.91% | 4567698 | 4.5677 | 43.7% | 4615.1002 | 13221.0233 | 11891818624.275 | 25761818624.275 | 35415796.8582
39 | 134159348.8582 | 36.07% | 4644778 | 4.6448 | 45.26% | 4894.7836 | 13568.945 | 12326549281.425 | 26196549281.425 | 38472657.8582
40 | 138882506.8582 | 37.25% | 4723158 | 4.7232 | 46.86% | 5184.4974 | 13916.8667 | 12768616027.575 | 26638616027.575 | 41581102.8582
41 | 143685368.8582 | 38.45% | 4802862 | 4.8029 | 48.48% | 5484.4107 | 14264.7883 | 13218142590.225 | 27088142590.225 | 44742002.8582
42 | 148569278.8582 | 39.66% | 4883910 | 4.8839 | 50.12% | 5794.6957 | 14612.71 | 13675254981.075 | 27545254981.075 | 47956243.8582
43 | 153535604.8582 | 40.88% | 4966326 | 4.9663 | 51.8% | 6115.5273 | 14960.6317 | 14140081115.325 | 28010081115.325 | 51224724.8582
44 | 158585737.8582 | 42.11% | 5050133 | 5.0501 | 53.5% | 6447.0836 | 15308.5533 | 14612751192.375 | 28482751192.375 | 54548361.8582
45 | 163721091.8582 | 43.37% | 5135354 | 5.1354 | 55.24% | 6789.5455 | 15656.475 | 15093397600.65 | 28963397600.65 | 57928084.8582
46 | 168943104.8582 | 44.63% | 5222013 | 5.222 | 57% | 7143.0971 | 16004.3967 | 15582154917.6 | 29452154917.6 | 61364840.8582
47 | 174253238.8582 | 45.91% | 5310134 | 5.3101 | 58.79% | 7507.9255 | 16352.3183 | 16079160004.875 | 29949160004.875 | 64859591.8582
48 | 179652981.8582 | 47.21% | 5399743 | 5.3997 | 60.61% | 7884.221 | 16700.24 | 16584552008.325 | 30454552008.325 | 68413316.8582
49 | 185143844.8582 | 48.52% | 5490863 | 5.4909 | 62.46% | 8272.1771 | 17048.1617 | 17098472548.35 | 30968472548.35 | 72027010.8582
50 | 190727366.8582 | 49.85% | 5583522 | 5.5835 | 64.35% | 8671.9906 | 17396.0833 | 17621065434.375 | 31491065434.375 | 75701685.8582
51 | 196405110.8582 | 51.19% | 5677744 | 5.6777 | 66.26% | 9083.8616 | 17744.005 | 18152477140.725 | 32022477140.725 | 79438370.8582
52 | 202178666.8582 | 52.55% | 5773556 | 5.7736 | 68.21% | 9507.9935 | 18091.9267 | 18692856425.925 | 32562856425.925 | 83238112.8582
53 | 208049650.8582 | 53.93% | 5870984 | 5.871 | 70.19% | 9944.5933 | 18439.8483 | 19242354618.225 | 33112354618.225 | 87101975.8582
54 | 214019707.8582 | 55.32% | 5970057 | 5.9701 | 72.2% | 10393.8713 | 18787.77 | 19801125520.425 | 33671125520.425 | 91031040.8582
55 | 220090509.8582 | 56.73% | 6070802 | 6.0708 | 74.25% | 10856.0415 | 19135.6917 | 20369325695.4 | 34239325695.4 | 95026408.8582
56 | 226263756.8582 | 58.16% | 6173247 | 6.1732 | 76.34% | 11331.3215 | 19483.6133 | 20947114275.75 | 34817114275.75 | 99089198.8582
57 | 232541176.8582 | 59.6% | 6277420 | 6.2774 | 78.45% | 11819.9324 | 19831.535 | 21534653058.975 | 35404653058.975 | 103220548.8582
58 | 238924528.8582 | 61.06% | 6383352 | 6.3834 | 80.61% | 12322.0992 | 20179.4567 | 22132106507.475 | 36002106507.475 | 107421614.8582
59 | 245415599.8582 | 62.54% | 6491071 | 6.4911 | 82.8% | 12838.0508 | 20527.3783 | 22739642034.075 | 36609642034.075 | 111693573.8582
60 | 252016207.8582 | 64.04% | 6600608 | 6.6006 | 85.02% | 13368.0196 | 20875.3 | 23357429716.5 | 37227429716.5 | 116037621.8582
61 | 258728200.8582 | 65.55% | 6711993 | 6.712 | 87.29% | 13912.2423 | 21223.2217 | 23985642582.9 | 37855642582.9 | 120454975.8582
62 | 265553458.8582 | 67.08% | 6825258 | 6.8253 | 89.59% | 14470.9594 | 21571.1433 | 24624456516.675 | 38494456516.675 | 124946872.8582
63 | 272493892.8582 | 68.64% | 6940434 | 6.9404 | 91.93% | 15044.4154 | 21919.065 | 25274050446.825 | 39144050446.825 | 129514570.8582
64 | 279551446.8582 | 70.21% | 7057554 | 7.0576 | 94.31% | 15632.8592 | 22266.9867 | 25934606252.775 | 39804606252.775 | 134159348.8582
65 | 286728096.8582 | 71.8% | 7176650 | 7.1767 | 96.73% | 16236.5435 | 22614.9083 | 26606308954.725 | 40476308954.725 | 138882506.8582
66 | 294025852.8582 | 73.4% | 7297756 | 7.2978 | 99.2% | 16855.7256 | 22962.83 | 27289346618.475 | 41159346618.475 | 143685368.8582
67 | 301446758.8582 | 75.03% | 7420906 | 7.4209 | 101.7% | 17490.6671 | 23310.7517 | 27983910545.775 | 41853910545.775 | 148569278.8582
68 | 308992891.8582 | 76.68% | 7546133 | 7.5461 | 104.2% | 18141.6338 | 23658.6733 | 28690195274.325 | 42560195274.325 | 153535604.8582
69 | 316666365.8582 | 78.35% | 7673474 | 7.6735 | 106.8% | 18808.8963 | 24006.595 | 29408398482.6 | 43278398482.6 | 158585737.8582
70 | 324469329.8582 | 80.04% | 7802964 | 7.803 | 109.5% | 19492.7293 | 24354.5167 | 30138721370.55 | 44008721370.55 | 163721091.8582
71 | 332403968.8582 | 81.75% | 7934639 | 7.9346 | 112.1% | 20193.4127 | 24702.4383 | 30881368469.25 | 44751368469.25 | 168943104.8582
72 | 340472504.8582 | 83.48% | 8068536 | 8.0685 | 114.9% | 20911.2308 | 25050.36 | 31636547736.075 | 45506547736.075 | 174253238.8582
73 | 348677197.8582 | 85.23% | 8204693 | 8.2047 | 117.6% | 21646.4726 | 25398.2817 | 32404470649.875 | 46274470649.875 | 179652981.8582
74 | 357020344.8582 | 87% | 8343147 | 8.3431 | 120.4% | 22399.4323 | 25746.2033 | 33185352306.15 | 47055352306.15 | 185143844.8582
75 | 365504282.8582 | 88.8% | 8483938 | 8.4839 | 123.3% | 23170.4088 | 26094.125 | 33979411321.875 | 47849411321.875 | 190727366.8582
76 | 374131386.8582 | 90.61% | 8627104 | 8.6271 | 126.2% | 23959.7062 | 26442.0467 | 34786870121.025 | 48656870121.025 | 196405110.8582
77 | 382904073.8582 | 92.45% | 8772687 | 8.7727 | 129.2% | 24767.6335 | 26789.9683 | 35607954744.225 | 49477954744.225 | 202178666.8582
78 | 391824799.8582 | 94.31% | 8920726 | 8.9207 | 132.2% | 25594.5053 | 27137.89 | 36442895229.45 | 50312895229.45 | 208049650.8582
79 | 400896062.8582 | 96.2% | 9071263 | 9.0713 | 135.3% | 26440.6411 | 27485.8117 | 37291925326.5 | 51161925326.5 | 214019707.8582
80 | 410120402.8582 | 98.11% | 9224340 | 9.2243 | 138.4% | 27306.3661 | 27833.7333 | 38155282782.525 | 52025282782.525 | 220090509.8582
81 | 419500403.8582 | 100% | 9380001 | 9.38 | 141.5% | 28192.0109 | 28181.655 | 39033209342.025 | 52903209342.025 | 226263756.8582
82 | 429038692.8582 | 102% | 9538289 | 9.5383 | 144.7% | 29097.9115 | 28529.5767 | 39925950937.2 | 53795950937.2 | 232541176.8582
83 | 438737939.8582 | 104% | 9699247 | 9.6992 | 148% | 30024.4098 | 28877.4983 | 40833757592.775 | 54703757592.775 | 238924528.8582
84 | 448600861.8582 | 106% | 9862922 | 9.8629 | 151.3% | 30971.8534 | 29225.42 | 41756883426 | 55626883426 | 245415599.8582
85 | 458630220.8582 | 108% | 10029359 | 10.0294 | 154.7% | 31940.5957 | 29573.3417 | 42695587027.35 | 56565587027.35 | 252016207.8582
86 | 468828824.8582 | 110.1% | 10198604 | 10.1986 | 158.2% | 32930.9962 | 29921.2633 | 43650131270.175 | 57520131270.175 | 258728200.8582
87 | 479199530.8582 | 112.1% | 10370706 | 10.3707 | 161.7% | 33943.4203 | 30269.185 | 44620783405.875 | 58490783405.875 | 265553458.8582
88 | 489745241.8582 | 114.2% | 10545711 | 10.5457 | 165.2% | 34978.2397 | 30617.1067 | 45607815349.425 | 59477815349.425 | 272493892.8582
89 | 500468911.8582 | 116.4% | 10723670 | 10.7237 | 168.8% | 36035.8323 | 30965.0283 | 46611503393.85 | 60481503393.85 | 279551446.8582
90 | 511373543.8582 | 118.5% | 10904632 | 10.9046 | 172.5% | 37116.5824 | 31312.95 | 47632128686.1 | 61502128686.1 | 286728096.8582
91 | 522462191.8582 | 120.7% | 11088648 | 11.0886 | 176.3% | 38220.8807 | 31660.8717 | 48669977036.7 | 62539977036.7 | 294025852.8582
92 | 533737960.8582 | 122.9% | 11275769 | 11.2758 | 180.1% | 39349.1248 | 32008.7933 | 49725339110.1 | 63595339110.1 | 301446758.8582
93 | 545204007.8582 | 125.2% | 11466047 | 11.466 | 183.9% | 40501.7185 | 32356.715 | 50798510424.675 | 64668510424.675 | 308992891.8582
94 | 556863544.8582 | 127.4% | 11659537 | 11.6595 | 187.9% | 41679.0729 | 32704.6367 | 51889791447.9 | 65759791447.9 | 316666365.8582
95 | 568719836.8582 | 129.7% | 11856292 | 11.8563 | 191.9% | 42881.6058 | 33052.5583 | 52999487881.875 | 66869487881.875 | 324469329.8582
96 | 580776203.8582 | 132.1% | 12056367 | 12.0564 | 195.9% | 44109.7421 | 33400.48 | 54127910472.975 | 67997910472.975 | 332403968.8582
97 | 593036021.8582 | 134.4% | 12259818 | 12.2598 | 200.1% | 45363.9137 | 33748.4017 | 55275375202.2 | 69145375202.2 | 340472504.8582
98 | 605502723.8582 | 136.8% | 12466702 | 12.4667 | 204.3% | 46644.5602 | 34096.3233 | 56442203380.35 | 70312203380.35 | 348677197.8582
99 | 618179801.8582 | 139.2% | 12677078 | 12.6771 | 208.6% | 47952.1281 | 34444.245 | 57628721743.2 | 71498721743.2 | 357020344.8582
100 | 631070805.8582 | 141.7% | 12891004 | 12.891 | 212.9% | 49287.0719 | 34792.1667 | 58835262641.85 | 72705262641.85 | 365504282.8582

## Solar Graphs
year | 10% Investment | 15% Investment | 20% Investment | 25% Investment | 30% Investment
1 | 0% | 0% | 0% | 0% | 0%
2 | 0.3816% | 0.5724% | 0.7632% | 0.954% | 1.145%
3 | 0.7675% | 1.151% | 1.535% | 1.919% | 2.302%
4 | 1.158% | 1.737% | 2.315% | 2.894% | 3.473%
5 | 1.552% | 2.329% | 3.105% | 3.881% | 4.657%
6 | 1.951% | 2.927% | 3.903% | 4.879% | 5.854%
7 | 2.355% | 3.533% | 4.71% | 5.888% | 7.065%
8 | 2.763% | 4.145% | 5.527% | 6.908% | 8.29%
9 | 3.176% | 4.764% | 6.352% | 7.94% | 9.528%
10 | 3.594% | 5.39% | 7.187% | 8.984% | 10.78%
11 | 4.016% | 6.024% | 8.032% | 10.04% | 12.05%
12 | 4.443% | 6.664% | 8.886% | 11.11% | 13.33%
13 | 4.875% | 7.312% | 9.75% | 12.19% | 14.62%
14 | 5.312% | 7.968% | 10.62% | 13.28% | 15.94%
15 | 5.754% | 8.63% | 11.51% | 14.38% | 17.26%
16 | 6.2% | 9.301% | 12.4% | 15.5% | 18.6%
17 | 6.652% | 9.979% | 13.31% | 16.63% | 19.96%
18 | 7.11% | 10.66% | 14.22% | 17.77% | 21.33%
19 | 7.572% | 11.36% | 15.14% | 18.93% | 22.72%
20 | 8.04% | 12.06% | 16.08% | 20.1% | 24.12%
21 | 8.513% | 12.77% | 17.03% | 21.28% | 25.54%
22 | 8.992% | 13.49% | 17.98% | 22.48% | 26.98%
23 | 9.476% | 14.21% | 18.95% | 23.69% | 28.43%
24 | 9.966% | 14.95% | 19.93% | 24.91% | 29.9%
25 | 10.46% | 15.69% | 20.92% | 26.15% | 31.38% | Investment (%) | Offset (Years)
26 | 10.96% | 16.44% | 21.93% | 27.41% | 32.89% | 0 | 0
27 | 11.47% | 17.2% | 22.94% | 28.67% | 34.41% | 5 | 166
28 | 11.98% | 17.97% | 23.97% | 29.96% | 35.95% | 10 | 121
29 | 12.5% | 18.75% | 25% | 31.25% | 37.5% | 15 | 96
30 | 13.03% | 19.54% | 26.05% | 32.57% | 39.08% | 20 | 81
31 | 13.56% | 20.34% | 27.12% | 33.89% | 40.67% | 25 | 70
32 | 14.09% | 21.14% | 28.19% | 35.24% | 42.28% | 30 | 62
33 | 14.64% | 21.96% | 29.28% | 36.6% | 43.92% | 35 | 55
34 | 15.19% | 22.78% | 30.38% | 37.97% | 45.57% | 40 | 50
35 | 15.74% | 23.62% | 31.49% | 39.36% | 47.23% | 45 | 46
36 | 16.31% | 24.46% | 32.62% | 40.77% | 48.92% | 50 | 42
37 | 16.88% | 25.32% | 33.75% | 42.19% | 50.63% | 55 | 39
38 | 17.45% | 26.18% | 34.91% | 43.63% | 52.36% | 60 | 37
39 | 18.04% | 27.06% | 36.07% | 45.09% | 54.11% | 65 | 34
40 | 18.63% | 27.94% | 37.25% | 46.57% | 55.88% | 70 | 32
41 | 19.22% | 28.84% | 38.45% | 48.06% | 57.67% | 75 | 30.5
42 | 19.83% | 29.74% | 39.66% | 49.57% | 59.48% | 80 | 29
43 | 20.44% | 30.66% | 40.88% | 51.1% | 61.32% | 85 | 27.5
44 | 21.06% | 31.59% | 42.11% | 52.64% | 63.17% | 90 | 26
45 | 21.68% | 32.52% | 43.37% | 54.21% | 65.05% | 95 | 25
46 | 22.32% | 33.47% | 44.63% | 55.79% | 66.95% | 100 | 24
47 | 22.96% | 34.44% | 45.91% | 57.39% | 68.87%
48 | 23.61% | 35.41% | 47.21% | 59.01% | 70.82%
49 | 24.26% | 36.39% | 48.52% | 60.65% | 72.78%
50 | 24.93% | 37.39% | 49.85% | 62.31% | 74.78%
51 | 25.6% | 38.4% | 51.19% | 63.99% | 76.79%
52 | 26.28% | 39.42% | 52.55% | 65.69% | 78.83%
53 | 26.96% | 40.45% | 53.93% | 67.41% | 80.89%
54 | 27.66% | 41.49% | 55.32% | 69.15% | 82.98% | Investment (%) | Offset (Years)
55 | 28.37% | 42.55% | 56.73% | 70.91% | 85.1% | 20 | 81
56 | 29.08% | 43.62% | 58.16% | 72.7% | 87.24% | 30 | 62
57 | 29.8% | 44.7% | 59.6% | 74.5% | 89.4% | 40 | 50
58 | 30.53% | 45.8% | 61.06% | 76.33% | 91.59%
59 | 31.27% | 46.91% | 62.54% | 78.18% | 93.81%
60 | 32.02% | 48.03% | 64.04% | 80.05% | 96.06%

## Alberta Electricity Profile
Generation in 2012 | Gigawatt hour (GWh)** | Direct CO2 EmissionRate (kg/kWh) | Direct CO2 Emissions Total (kg CO2) | Maps From | http://www.energy.alberta.ca/Org/pdfs/Alberta_Energy_Overview.pdf
Coal | 38272 | 1.0201 | 39042354430.976
Natural Gas | 27238 | 0.51483 | 14022855646.96
Hydro | 2319 | 0 | 0
Wind | 2640 | 0 | 0
Biomass | 2089 | 0 | 0
Others* | 359 | 0 | 0
Total | 72918 |  | 53065210077.936
Source | http://www.energy.alberta.ca/Electricity/682.asp | See Carbon sheet
Therefore Province Wide Average CO2/kWh
0.72774