## Forests
Forest CO2 Summary
carbon in northern forest (tonnes/acre) | 106 | http://www.forestecologynetwork.org/climate_change/sequestration_facts.html
(tonnes/m^2) | 0.026193
tonnes/km^2 | 26.1932

## wind
Wind Speed Information
m/s | 7.5 | http://www.iti.gov.nt.ca/publications/2013/energy/2012_WIND_ENERGY_RESOURCES_V2.pdf
mph | 16.7767

## Summary
Summary
Can wind turbines or PV cells on reclaimed tar sands land offset the CO2 created by mining and using the tar sands oil?
Written by Prof. Alexander H Slocum, Massachusetts Institute of Technology
Email: slocum@mit.edu
Date Started: June 2013
If edited please enter info on "edit history" worksheet
Enter data in BOLD, calculated output in RED
Motivation |  | http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
Alberta Tar Sands
Alberta tar sands land area (km^2) | 140200 | http://www.energy.alberta.ca/oilsands/791.asp
Carbon in the forest (billions of tonnes) | 3.6723 | http://www.forestecologynetwork.org/climate_change/sequestration_facts.html
CO2 Saved from Electricity by Wind Power Installed on Oil Sands Land
Turbine size, peak power (MW) | 5 | http://www.power-technology.com/features/featurethe-worlds-biggest-wind-turbines-4154395/
Capacity factor | 40% | http://cleantechnica.com/2012/07/27/wind-turbine-net-capacity-factor-50-the-new-normal/
Land area per turbine (km^2) | 1
Percent land area for wind turbines | 50%
Area of wind farm (km^2) | 70100
(Square Miles) | 27382.8125
Square Size (Miles x Miles) | 165.4775
Number of turbines to be built for land area | 70100
Average power generated (GW) | 140.2
Average annual energy produced (TWhr) | 1228.152
CO2/MW saved by not burning coal to produce energy generated by wind (tonnes/year/MW) | 6374.9862
CO2 saved by not burning coal to produce energy generated by wind (magatonnes/year) | 893.7731
CO2 from Tar sands production and oil use
Oil produced (million barrels per year) | 693.5 | http://oilsands.alberta.ca/resource.html
CO2 to produce the oil (megatonnes/year) | 49.7167 | http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
CO2 from oil use (megatonnes/year) | 298.205 | http://www.epa.gov/cleanenergy/energy-resources/refs.html
Total CO2 per year from tar sands (megatonnes/year) | 347.9217
CO2 Saved from Electricity by Solar PV Cells Installed on Oil Sands Land
Total power of the system - Nominal Power (kWp) | 946350000
Average Nominal Power (kWh/Year) | 989541437572.853
Average Nominal Power (kWh/Day) | 2711072431.7064
Average Nominal Power (kW) per Hour | 301230270.1896
Average Number of Daily hours with 100% Full Sun Level | 9
June | 14 | https://weatherspark.com/averages/28151/Fort-McMurray-Alberta-Canada
January | 4 | https://weatherspark.com/averages/28151/Fort-McMurray-Alberta-Canada
Average Solar Panel Output (kW) per Hour | 0.2
PV Solar Cell Output (MW) | 0.0002 | http://www.skyfireenergy.com/solar-residential/grid-tied-electric-systems/1-41-kw-grid-tie-edmonton-alberta/
Percent land area assumed covered by PV fields | 15%
Area of PV farm (km^2) | 21030
(Square Miles) | 8214.8437
Square Size (Miles x Miles) | 90.6358
Number of solar pannels to be built for land area | 1506151350.948
Density of coverage on land designated for PV fields | 30%
Area of PV cells (m^2) | 6309000000
PV cell efficiency | 15% | http://www.forbes.com/sites/peterdetwiler/2013/07/16/as-solar-panel-efficiencies-keep-improving-its-time-to-adopt-some-new-metrics/
Average 24/7 solar insolation April (Wh/m^2/day) | 3819.5
Average 24/7 solar insolation April (kWh/m^2/year) | 1395.0342
June | 6250 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
January | 1389 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
Average power (assumes 24/7 operation made possible with storage technology) (GW)
June | 246.4453
January | 54.77
Average | 150.6077
CO2 saved by not burning coal to produce energy generated by solar (magatonnes/year) | 960.1217 | This is an estimated conversion

## CO2 amounts
CO2 Values
Carbon from coal to make electricity (kg/kWh) | 0.72774 | See bottom half of spreadsheet for derivation
CO2 from producing tar sands (tons per barrel of oil) | 0.071689 | http://oilprice.com/Energy/Energy-General/Keystone-XLs-Miniscule-CO2-Impact-and-the-Bigger-Picture.html
http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
CO2 from burning oil (tonnes per barrel oil) | 0.43 | http://www.epa.gov/cleanenergy/energy-resources/refs.html
Dave's Alberta CO2 Average (kg/kWh) (see sheet Alberta Electricity) | 0.72774
Previous value Carbon from coal to make electricity (kg/kWh) | 0.97068
How much carbon dioxide (CO2) is produced per kilowatt-hour when generating electricity with fossil fuels?
You can calculate the amount of CO2 produced per kWh for specific fuels and specific types of generators by multiplying the CO2 emissions factor for the fuel (in pounds of CO2 per million Btu)
by the heat rate of a generator (in Btu per kWh generated), and dividing the result by 1,000,000.
For example, here are the number of pounds of CO2 produced by a steam-electric generator for different fuels using that formula and the average heat rates for steam-electric generators in 2011:
Fuel | Lbs of CO2 per Million Btu | Heat Rate (Btu per kWh) | Lbs CO2 per kWh
Coal
Bituminous | 205.3 | 10107 | 2.08
Sub-bituminous | 212.7 | 10107 | 2.16
Lignite | 215.4 | 10107 | 2.18
Natural gas | 117.08 | 10416 | 1.22
Distillate Oil (No. 2) | 161.386 | 10416 | 1.68
Residual Oil (No. 6) | 173.906 | 10416 | 1.81
Last updated: March 11, 2014
By Source Type (US Country Avg.s from EPA) | lbs/MWh | kg/kWh | http://www.epa.gov/cleanenergy/energy-and-you/affect/air-emissions.html
Nat Gas | 1135 | 0.51483
Coal | 2249 | 1.0201
Oil | 1672 | 0.75841
Biomass | debatable, but EPA site gives no #
Conversion Factors
1lbs=?kgs | 0.45359

## Solar
source http://en.wikipedia.org/wiki/Oil_sands
Source: http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
Daily Hours of Daylight and Twilight
Source: https://weatherspark.com/averages/28151/Fort-McMurray-Alberta-Canada

## edit history
Edit History
Name | Date | Modification
Alex Slocum | 2013.06.27 | added development plan worksheet
Alex Slocum | 2013.09.13 | format columns review numbers
Santiago Paiva | 2014.03.13 | Alberta tar sands land area (km^2) to 140,200
Santiago Paiva | 2014.03.13 | Wind Turbine Peak Power to 7 MW
Santiago Paiva | 2014.03.13 | Wind Turbine Capacity Factor to 40.35%
Santiago Paiva | 2014.03.13 | PV cell efficiency to 15%
Santiago Paiva | 2014.03.13 | Insolation values for Fort McMurray Area: 1388.89 in January and 6250 in June
Santiago Paiva | 2014.03.13 | CO2 from producing tar sands (tons per barrel of oil) to 0.071
Santiago Paiva | 2014.03.13 | Oil produced (million barrels per year) to 693.5
Santiago Paiva | 2014.03.17 | Wind Turbine Peak Power back to 5 MW
Santiago Paiva | 2014.03.17 | Added solar insolation graph in the Solar tab
Santiago Paiva | 2014.03.17 | Added peak power for solar cells 1.3 kW in Alberta in Summary tab
Santiago Paiva | 2014.03.17 | Added land area per solar pannel (The general dimension is 1600mm x 1020mm = 0.0016 km^2) in Summary Tab
Santiago Paiva | 2014.03.17 | Added number of solar pannels to be built for land area in Summary tab
Santiago Paiva | 2014.03.17 | Added Wind Graphs & Solar graphs sheets
Alex Slocum | 2014.03.21 | cost per solar "cell" of 38k too high… does not make sense….. Base it all on cost per Watt as I did originally. INSTALLED (cell plus cabling plus inverter….) is about $4/watt (and coming down)
David Taylor | 2014.03.22 | Added Data for Alberta Electricty profile
Santiago Paiva | 2014.03.23 | Hided development plan (wind) tab and kept Dave's DT Adjusted Dev Plan (wind) tab
Santiago Paiva | 2014.03.23 | Updated Wind Graphs tab with new percentage values
Santiago Paiva | 2014.03.23 | Added life expectancy of solar pv cell (around 25 years) in development plan (solar) tab
Santiago Paiva | 2014.03.23 | Removed solar cell price of 38K to $4/Watt
Santiago Paiva | 2014.03.23 | Modified peak power of solar panel to 1.41 kW (Edmonton value)
Santiago Paiva | 2014.03.23 | Modified land area per solar panel to 8.3 acres per MW
Santiago Paiva | 2014.03.23 | Updated Solar Graphs tab with new percentages values
Santiago Paiva | 2014.03.24 | Updated Wind Graphs tab
Santiago Paiva | 2014.03.24 | Updated Solar Graphs tab
Santiago Paiva | 2014.03.25 | Added average 24/7 solar insolation April (Wh/m^2/day) in Summary tab
Santiago Paiva | 2014.03.25 | Added nominal power of the solar cell in Summary tab
Alex Slocum | 2014.03.27 | Removed nomial powerin Summary tab
Alex Slocum | 2014.03.27 | Changed percent land area covered by PV cells to 15% (formerly 10%)
David Taylor | 2014.03.31 | Used Offsets to make life expectancy math dynamic
David Taylor | 2014.04.01 | Major revision of wind tab. Decomissioning now works dynamically!
David Taylor | 2014.04.01 | Decomissioning in Solar now works too!
David Taylor | 2014.04.01 | Calculated % of electricity supply in wind
Santiago Paiva | 2014.04.05 | Changed name of "peak power of solar cell (MW)" to "Nominal Power" in Summary tab
Santiago Paiva | 2014.04.05 | Added "average 24/7 solar insolation April (kWh/m^2/year)" in Summary tab
Santiago Paiva | 2014.04.05 | Added "PV Output" tab to calculate "Nominal Power" in Summary tab
Santiago Paiva | 2014.04.05 | Added some formatting to some tabs to look better!
Santiago Paiva | 2014.04.06 | Added different graphs in "Wind Graphs" tab
Santiago Paiva | 2014.04.06 | Deleted "Land Area Per Solar Panel" in Summary Tab

## development plan (Wind) (hidden)
millions barrels oil per year recovered from tar sands | 693.5
$ per barrell of oil to be invested on wind farm on site | 20 | X% | If price per barrel is 100, X% = 20/100 = 20%
Annual amount to be spent (Billions) | 13870000000
$/kWhr for reinvestment in purchasing more wind turbines | 0.05
Wind energy: if all the money were spent on wind energy:
Assumed cost of wind ($/W) in this location (include transmission) | 4
Nameplate (peak power) size of wind turbine (MW) | 5
cost per wind turbine installed | 20000000
number of wind turbines per year to be installed | 693.5
Number of automobiles manufactured equivalent to 1 wind turbine | 1000
year | total number of installed wind turbines | cumulative ratio carbon saved/carbon burned | number of wind turbines purchased | Millions of autos equivelant | % of total wind turbines to be built | cumulative carbon saved | cumulative carbon burned (MT) | value of wind produced in previous year reinvested (million $) | Billions to be spent on wind turbine acquisition next year
1 | 693.5 | 0% | 693.5 | 0.6935 | 0.9893% | 0 | 347.9217 |  | 13870000000
2 | 1417.5 | 1.271% | 724 | 0.724 | 2.022% | 8.8421 | 695.8433 | 624150000 | 14494150000
3 | 2174.5 | 2.579% | 757 | 0.757 | 3.102% | 26.9152 | 1043.765 | 1275750000 | 15145750000
4 | 2965.5 | 3.926% | 791 | 0.791 | 4.23% | 54.64 | 1391.6867 | 1957050000 | 15827050000
5 | 3791.5 | 5.314% | 826 | 0.826 | 5.409% | 92.45 | 1739.6083 | 2668950000 | 16538950000
6 | 4655.5 | 6.744% | 864 | 0.864 | 6.641% | 140.7916 | 2087.53 | 3412350000 | 17282350000
7 | 5557.5 | 8.218% | 902 | 0.902 | 7.928% | 200.1491 | 2435.4517 | 4189950000 | 18059950000
8 | 6500.5 | 9.737% | 943 | 0.943 | 9.273% | 271.007 | 2783.3733 | 5001750000 | 18871750000
9 | 7486.5 | 11.3% | 986 | 0.986 | 10.68% | 353.8882 | 3131.295 | 5850450000 | 19720450000
10 | 8516.5 | 12.92% | 1030 | 1.03 | 12.15% | 449.3409 | 3479.2167 | 6737850000 | 20607850000
11 | 9592.5 | 14.58% | 1076 | 1.076 | 13.68% | 557.926 | 3827.1383 | 7664850000 | 21534850000
12 | 10717.5 | 16.29% | 1125 | 1.125 | 15.29% | 680.2301 | 4175.06 | 8633250000 | 22503250000
13 | 11892.5 | 18.06% | 1175 | 1.175 | 16.97% | 816.878 | 4522.9817 | 9645750000 | 23515750000
14 | 13120.5 | 19.88% | 1228 | 1.228 | 18.72% | 968.507 | 4870.9033 | 10703250000 | 24573250000
15 | 14403.5 | 21.76% | 1283 | 1.283 | 20.55% | 1135.793 | 5218.825 | 11808450000 | 25678450000
16 | 15744.5 | 23.7% | 1341 | 1.341 | 22.46% | 1319.4373 | 5566.7467 | 12963150000 | 26833150000
17 | 17146.5 | 25.7% | 1402 | 1.402 | 24.46% | 1520.1792 | 5914.6683 | 14170050000 | 28040050000
18 | 18611.5 | 27.76% | 1465 | 1.465 | 26.55% | 1738.7966 | 6262.59 | 15431850000 | 29301850000
19 | 20142.5 | 29.89% | 1531 | 1.531 | 28.73% | 1976.0927 | 6610.5117 | 16750350000 | 30620350000
20 | 21741.5 | 32.09% | 1599 | 1.599 | 31.01% | 2232.909 | 6958.4333 | 18128250000 | 31998250000
21 | 23412.5 | 34.36% | 1671 | 1.671 | 33.4% | 2510.1125 | 7306.355 | 19567350000 | 33437350000
22 | 25159.5 | 36.69% | 1747 | 1.747 | 35.89% | 2808.6213 | 7654.2767 | 21071250000 | 34941250000
23 | 26984.5 | 39.11% | 1825 | 1.825 | 38.49% | 3129.4042 | 8002.1983 | 22643550000 | 36513550000
24 | 28891.5 | 41.6% | 1907 | 1.907 | 41.21% | 3473.4558 | 8350.12 | 24286050000 | 38156050000
25 | 30884.5 | 44.17% | 1993 | 1.993 | 44.06% | 3841.8217 | 8698.0417 | 26002350000 | 39872350000
26 | 32967.5 | 46.82% | 2083 | 2.083 | 47.03% | 4235.5982 | 9045.9633 | 27796050000 | 41666050000
27 | 35144.5 | 49.56% | 2177 | 2.177 | 50.13% | 4655.9329 | 9393.885 | 29670750000 | 43540750000
28 | 37419.5 | 52.39% | 2275 | 2.275 | 53.38% | 5104.0243 | 9741.8067 | 31630050000 | 45500050000
29 | 39796.5 | 55.31% | 2377 | 2.377 | 56.77% | 5581.1219 | 10089.7283 | 33677550000 | 47547550000
30 | 42280.5 | 58.33% | 2484 | 2.484 | 60.31% | 6088.5261 | 10437.65 | 35816850000 | 49686850000
31 | 44876.5 | 61.45% | 2596 | 2.596 | 64.02% | 6627.6014 | 10785.5717 | 38052450000 | 51922450000
32 | 47588.5 | 64.67% | 2712 | 2.712 | 67.89% | 7199.7755 | 11133.4933 | 40388850000 | 54258850000
33 | 50422.5 | 67.99% | 2834 | 2.834 | 71.93% | 7806.5275 | 11481.415 | 42829650000 | 56699650000
34 | 53384.5 | 71.43% | 2962 | 2.962 | 76.15% | 8449.413 | 11829.3367 | 45380250000 | 59250250000
35 | 56479.5 | 74.98% | 3095 | 3.095 | 80.57% | 9130.0639 | 12177.2583 | 48046050000 | 61916050000
36 | 59714.5 | 78.64% | 3235 | 3.235 | 85.18% | 9850.176 | 12525.18 | 50831550000 | 64701550000
37 | 63094.5 | 82.43% | 3380 | 3.38 | 90.01% | 10611.5342 | 12873.1017 | 53743050000 | 67613050000
38 | 66626.5 | 86.35% | 3532 | 3.532 | 95.04% | 11415.9873 | 13221.0233 | 56785050000 | 70655050000
39 | 70317.5 | 90.39% | 3691 | 3.691 | 100.3% | 12265.4734 | 13568.945 | 59963850000 | 73833850000
40 | 74174.5 | 94.58% | 3857 | 3.857 | 105.8% | 13162.0195 | 13916.8667 | 63285750000 | 77155750000
41 | 78205.5 | 98.9% | 4031 | 4.031 | 111.6% | 14107.7424 | 14264.7883 | 66757050000 | 80627050000
42 | 82417.5 | 103.4% | 4212 | 4.212 | 117.6% | 15104.8603 | 14612.71 | 70384950000 | 84254950000
43 | 86819.5 | 108% | 4402 | 4.402 | 123.9% | 16155.6812 | 14960.6317 | 74175750000 | 88045750000
44 | 91419.5 | 112.8% | 4600 | 4.6 | 130.4% | 17262.6274 | 15308.5533 | 78137550000 | 92007550000
45 | 96226.5 | 117.7% | 4807 | 4.807 | 137.3% | 18428.2235 | 15656.475 | 82277550000 | 96147550000
46 | 101249.5 | 122.8% | 5023 | 5.023 | 144.4% | 19655.1087 | 16004.3967 | 86603850000 | 100473850000
47 | 106498.5 | 128.1% | 5249 | 5.249 | 151.9% | 20946.037 | 16352.3183 | 91124550000 | 104994550000
48 | 111983.5 | 133.6% | 5485 | 5.485 | 159.7% | 22303.8899 | 16700.24 | 95848650000 | 109718650000
49 | 117715.5 | 139.2% | 5732 | 5.732 | 167.9% | 23731.6765 | 17048.1617 | 100785150000 | 114655150000
50 | 123705.5 | 145% | 5990 | 5.99 | 176.5% | 25232.5458 | 17396.0833 | 105943950000 | 119813950000
51 | 129965.5 | 151.1% | 6260 | 6.26 | 185.4% | 26809.7875 | 17744.005 | 111334950000 | 125204950000
52 | 136506.5 | 157.3% | 6541 | 6.541 | 194.7% | 28466.844 | 18091.9267 | 116968950000 | 130838950000
53 | 143342.5 | 163.8% | 6836 | 6.836 | 204.5% | 30207.2981 | 18439.8483 | 122855850000 | 136725850000
54 | 150485.5 | 170.5% | 7143 | 7.143 | 214.7% | 32034.911 | 18787.77 | 129008250000 | 142878250000

## Dev Plan (Wind)
Wind Development Plan
Yelow cell = Enter your own data
White cell = Calculated value (do not change the value)
Technical Assumptions:
Life expectancy of a Wind Turbine (yrs) | 20 | https://www.irena.org/DocumentDownloads/Publications/RE_Technologies_Cost_Analysis-WIND_POWER.pdf
Millions barrels oil per year recovered from tar sands | 693.5
$ per barrell of oil to be invested on wind farm on site | 20
Annual amount to be spent | 13870000000
$/kWhr for reinvestment in purchasing more wind turbines | 0.05
Wind energy: if all the money were spent on wind energy:
Assumed cost of wind ($/W) in this location (include transmission) | 4
Nameplate (peak power) size of wind turbine (MW) | 5
Cost per wind turbine installed | 20000000
Number of wind turbines per year to be installed | 693.5
Number of automobiles manufactured equivalent to 1 wind turbine | 1000
Year | Total number of installed wind turbines | Cumulative ratio carbon saved/carbon burned | Number of wind turbines purchased | Millions of autos equivelant | % of total wind turbines to be built | Cumulative carbon saved (MT) | Cumulative Carbon from oil sands (vs. conventional) (MT) | Cumulative Carbon from oil end use (MT) | Cumulative carbon burned (MT) | Value of wind produced in previous year reinvested $ | $ to be spent on wind turbine acquisition next year | Decomissioned Turbines | Marginal carbon offset ratio | Total Installed Capacity (MW) | Power Generated (MW) | Percentage of System in Wind
1 | 693.5 | 0% | 693.5 | 0.6935 | 0.9893% | 0 | 49.7167 | 298.205 | 347.9217 |  | 13870000000 | 0 | 0% | 3467.5 | 1387 | 9.307%
2 | 1417.5 | 1.271% | 724 | 0.724 | 2.022% | 8.8421 | 99.4333 | 596.41 | 695.8433 | 624150000 | 14494150000 | 0 | 8.892% | 7087.5 | 2835 | 19.02%
3 | 2174.5 | 2.579% | 757 | 0.757 | 3.102% | 26.9152 | 149.15 | 894.615 | 1043.765 | 1275750000 | 15145750000 | 0 | 18.05% | 10872.5 | 4349 | 29.18%
4 | 2965.5 | 3.926% | 791 | 0.791 | 4.23% | 54.64 | 198.8667 | 1192.82 | 1391.6867 | 1957050000 | 15827050000 | 0 | 27.48% | 14827.5 | 5931 | 39.8%
5 | 3791.5 | 5.314% | 826 | 0.826 | 5.409% | 92.45 | 248.5833 | 1491.025 | 1739.6083 | 2668950000 | 16538950000 | 0 | 37.19% | 18957.5 | 7583 | 50.88%
6 | 4655.5 | 6.744% | 864 | 0.864 | 6.641% | 140.7916 | 298.3 | 1789.23 | 2087.53 | 3412350000 | 17282350000 | 0 | 47.2% | 23277.5 | 9311 | 62.48%
7 | 5557.5 | 8.218% | 902 | 0.902 | 7.928% | 200.1491 | 348.0167 | 2087.435 | 2435.4517 | 4189950000 | 18059950000 | 0 | 57.51% | 27787.5 | 11115 | 74.58%
8 | 6500.5 | 9.737% | 943 | 0.943 | 9.273% | 271.007 | 397.7333 | 2385.64 | 2783.3733 | 5001750000 | 18871750000 | 0 | 68.14% | 32502.5 | 13001 | 87.24%
9 | 7486.5 | 11.3% | 986 | 0.986 | 10.68% | 353.8882 | 447.45 | 2683.845 | 3131.295 | 5850450000 | 19720450000 | 0 | 79.09% | 37432.5 | 14973 | 100.5%
10 | 8516.5 | 12.92% | 1030 | 1.03 | 12.15% | 449.3409 | 497.1667 | 2982.05 | 3479.2167 | 6737850000 | 20607850000 | 0 | 90.38% | 42582.5 | 17033 | 114.3%
11 | 9592.5 | 14.58% | 1076 | 1.076 | 13.68% | 557.926 | 546.8833 | 3280.255 | 3827.1383 | 7664850000 | 21534850000 | 0 | 102% | 47962.5 | 19185 | 128.7%
12 | 10717.5 | 16.29% | 1125 | 1.125 | 15.29% | 680.2301 | 596.6 | 3578.46 | 4175.06 | 8633250000 | 22503250000 | 0 | 114% | 53587.5 | 21435 | 143.8%
13 | 11892.5 | 18.06% | 1175 | 1.175 | 16.97% | 816.878 | 646.3167 | 3876.665 | 4522.9817 | 9645750000 | 23515750000 | 0 | 126.4% | 59462.5 | 23785 | 159.6%
14 | 13120.5 | 19.88% | 1228 | 1.228 | 18.72% | 968.507 | 696.0333 | 4174.87 | 4870.9033 | 10703250000 | 24573250000 | 0 | 139.1% | 65602.5 | 26241 | 176.1%
15 | 14403.5 | 21.76% | 1283 | 1.283 | 20.55% | 1135.793 | 745.75 | 4473.075 | 5218.825 | 11808450000 | 25678450000 | 0 | 152.3% | 72017.5 | 28807 | 193.3%
16 | 15744.5 | 23.7% | 1341 | 1.341 | 22.46% | 1319.4373 | 795.4667 | 4771.28 | 5566.7467 | 12963150000 | 26833150000 | 0 | 165.9% | 78722.5 | 31489 | 211.3%
17 | 17146.5 | 25.7% | 1402 | 1.402 | 24.46% | 1520.1792 | 845.1833 | 5069.485 | 5914.6683 | 14170050000 | 28040050000 | 0 | 179.9% | 85732.5 | 34293 | 230.1%
18 | 18611.5 | 27.76% | 1465 | 1.465 | 26.55% | 1738.7966 | 894.9 | 5367.69 | 6262.59 | 15431850000 | 29301850000 | 0 | 194.3% | 93057.5 | 37223 | 249.8%
19 | 20142.5 | 29.89% | 1531 | 1.531 | 28.73% | 1976.0927 | 944.6167 | 5665.895 | 6610.5117 | 16750350000 | 30620350000 | 0 | 209.2% | 100712.5 | 40285 | 270.3%
20 | 21741.5 | 32.09% | 1599 | 1.599 | 31.01% | 2232.909 | 994.3333 | 5964.1 | 6958.4333 | 18128250000 | 31998250000 | 0 | 224.6% | 108707.5 | 43483 | 291.8%
21 | 22719 | 34.36% | 1671 | 1.671 | 32.41% | 2510.1125 | 1044.05 | 6262.305 | 7306.355 | 19567350000 | 33437350000 | 693.5 | 240.4% | 113595 | 45438 | 304.9%
22 | 23710 | 36.58% | 1715 | 1.715 | 33.82% | 2799.7792 | 1093.7667 | 6560.51 | 7654.2767 | 20447100000 | 34317100000 | 724 | 256% | 118550 | 47420 | 318.2%
23 | 24713 | 38.77% | 1760 | 1.76 | 35.25% | 3102.081 | 1143.4833 | 6858.715 | 8002.1983 | 21339000000 | 35209000000 | 757 | 271.3% | 123565 | 49426 | 331.7%
24 | 25727 | 40.92% | 1805 | 1.805 | 36.7% | 3417.1711 | 1193.2 | 7156.92 | 8350.12 | 22241700000 | 36111700000 | 791 | 286.4% | 128635 | 51454 | 345.3%
25 | 26752 | 43.06% | 1851 | 1.851 | 38.16% | 3745.1896 | 1242.9167 | 7455.125 | 8698.0417 | 23154300000 | 37024300000 | 826 | 301.3% | 133760 | 53504 | 359%
26 | 27785 | 45.17% | 1897 | 1.897 | 39.64% | 4086.2769 | 1292.6333 | 7753.33 | 9045.9633 | 24076800000 | 37946800000 | 864 | 316.1% | 138925 | 55570 | 372.9%
27 | 28826 | 47.27% | 1943 | 1.943 | 41.12% | 4440.5349 | 1342.35 | 8051.535 | 9393.885 | 25006500000 | 38876500000 | 902 | 330.8% | 144130 | 57652 | 386.8%
28 | 29873 | 49.35% | 1990 | 1.99 | 42.61% | 4808.0656 | 1392.0667 | 8349.74 | 9741.8067 | 25943400000 | 39813400000 | 943 | 345.4% | 149365 | 59746 | 400.9%
29 | 30924 | 51.43% | 2037 | 2.037 | 44.11% | 5188.9455 | 1441.7833 | 8647.945 | 10089.7283 | 26885700000 | 40755700000 | 986 | 359.9% | 154620 | 61848 | 415%
30 | 31979 | 53.49% | 2085 | 2.085 | 45.62% | 5583.2256 | 1491.5 | 8946.15 | 10437.65 | 27831600000 | 41701600000 | 1030 | 374.3% | 159895 | 63958 | 429.2%
31 | 33035 | 55.55% | 2132 | 2.132 | 47.13% | 5990.957 | 1541.2167 | 9244.355 | 10785.5717 | 28781100000 | 42651100000 | 1076 | 388.7% | 165175 | 66070 | 443.3%
32 | 34090 | 57.59% | 2180 | 2.18 | 48.63% | 6412.1523 | 1590.9333 | 9542.56 | 11133.4933 | 29731500000 | 43601500000 | 1125 | 403% | 170450 | 68180 | 457.5%
33 | 35142 | 59.63% | 2227 | 2.227 | 50.13% | 6846.7989 | 1640.65 | 9840.765 | 11481.415 | 30681000000 | 44551000000 | 1175 | 417.3% | 175710 | 70284 | 471.6%
34 | 36188 | 61.67% | 2274 | 2.274 | 51.62% | 7294.8584 | 1690.3667 | 10138.97 | 11829.3367 | 31627800000 | 45497800000 | 1228 | 431.6% | 180940 | 72376 | 485.6%
35 | 37226 | 63.69% | 2321 | 2.321 | 53.1% | 7756.2544 | 1740.0833 | 10437.175 | 12177.2583 | 32569200000 | 46439200000 | 1283 | 445.7% | 186130 | 74452 | 499.6%
36 | 38253 | 65.71% | 2368 | 2.368 | 54.57% | 8230.8849 | 1789.8 | 10735.38 | 12525.18 | 33503400000 | 47373400000 | 1341 | 459.9% | 191265 | 76506 | 513.4%
37 | 39265 | 67.73% | 2414 | 2.414 | 56.01% | 8718.6096 | 1839.5167 | 11033.585 | 12873.1017 | 34427700000 | 48297700000 | 1402 | 474% | 196325 | 78530 | 526.9%
38 | 40260 | 69.73% | 2460 | 2.46 | 57.43% | 9219.2372 | 1889.2333 | 11331.79 | 13221.0233 | 35338500000 | 49208500000 | 1465 | 488% | 201300 | 80520 | 540.3%
39 | 41234 | 71.73% | 2505 | 2.505 | 58.82% | 9732.5511 | 1938.95 | 11629.995 | 13568.945 | 36234000000 | 50104000000 | 1531 | 501.9% | 206170 | 82468 | 553.4%
40 | 42184 | 73.71% | 2549 | 2.549 | 60.18% | 10258.2835 | 1988.6667 | 11928.2 | 13916.8667 | 37110600000 | 50980600000 | 1599 | 515.8% | 210920 | 84368 | 566.1%
41 | 43104 | 75.68% | 2591 | 2.591 | 61.49% | 10796.1283 | 2038.3833 | 12226.405 | 14264.7883 | 37965600000 | 51835600000 | 1671 | 529.6% | 215520 | 86208 | 578.5%
42 | 44022 | 77.64% | 2633 | 2.633 | 62.8% | 11345.7031 | 2088.1 | 12524.61 | 14612.71 | 38793600000 | 52663600000 | 1715 | 543.4% | 220110 | 88044 | 590.8%
43 | 44936 | 79.59% | 2674 | 2.674 | 64.1% | 11906.9824 | 2137.8167 | 12822.815 | 14960.6317 | 39619800000 | 53489800000 | 1760 | 557% | 224680 | 89872 | 603%
44 | 45846 | 81.52% | 2715 | 2.715 | 65.4% | 12479.9151 | 2187.5333 | 13121.02 | 15308.5533 | 40442400000 | 54312400000 | 1805 | 570.5% | 229230 | 91692 | 615.3%
45 | 46751 | 83.44% | 2756 | 2.756 | 66.69% | 13064.4504 | 2237.25 | 13419.225 | 15656.475 | 41261400000 | 55131400000 | 1851 | 584% | 233755 | 93502 | 627.4%
46 | 47651 | 85.35% | 2797 | 2.797 | 67.98% | 13660.5243 | 2286.9667 | 13717.43 | 16004.3967 | 42075900000 | 55945900000 | 1897 | 597.3% | 238255 | 95302 | 639.5%
47 | 48545 | 87.25% | 2837 | 2.837 | 69.25% | 14268.0733 | 2336.6833 | 14015.635 | 16352.3183 | 42885900000 | 56755900000 | 1943 | 610.6% | 242725 | 97090 | 651.5%
48 | 49433 | 89.14% | 2878 | 2.878 | 70.52% | 14887.0207 | 2386.4 | 14313.84 | 16700.24 | 43690500000 | 57560500000 | 1990 | 623.8% | 247165 | 98866 | 663.4%
49 | 50313 | 91.02% | 2917 | 2.917 | 71.77% | 15517.29 | 2436.1167 | 14612.045 | 17048.1617 | 44489700000 | 58359700000 | 2037 | 637% | 251565 | 100626 | 675.2%
50 | 51185 | 92.89% | 2957 | 2.957 | 73.02% | 16158.7794 | 2485.8333 | 14910.25 | 17396.0833 | 45281700000 | 59151700000 | 2085 | 650% | 255925 | 102370 | 686.9%
51 | 52049 | 94.74% | 2996 | 2.996 | 74.25% | 16811.3867 | 2535.55 | 15208.455 | 17744.005 | 46066500000 | 59936500000 | 2132 | 663% | 260245 | 104098 | 698.5%
52 | 52904 | 96.59% | 3035 | 3.035 | 75.47% | 17475.01 | 2585.2667 | 15506.66 | 18091.9267 | 46844100000 | 60714100000 | 2180 | 675.9% | 264520 | 105808 | 710%
53 | 53751 | 98.43% | 3074 | 3.074 | 76.68% | 18149.5346 | 2634.9833 | 15804.865 | 18439.8483 | 47613600000 | 61483600000 | 2227 | 688.8% | 268755 | 107502 | 721.3%
54 | 54589 | 100.3% | 3112 | 3.112 | 77.87% | 18834.8583 | 2684.7 | 16103.07 | 18787.77 | 48375900000 | 62245900000 | 2274 | 701.6% | 272945 | 109178 | 732.6%
55 | 55418 | 102.1% | 3150 | 3.15 | 79.06% | 19530.8666 | 2734.4167 | 16401.275 | 19135.6917 | 49130100000 | 63000100000 | 2321 | 714.3% | 277090 | 110836 | 743.7%
56 | 56237 | 103.9% | 3187 | 3.187 | 80.22% | 20237.4445 | 2784.1333 | 16699.48 | 19483.6133 | 49876200000 | 63746200000 | 2368 | 726.9% | 281185 | 112474 | 754.7%
57 | 57047 | 105.7% | 3224 | 3.224 | 81.38% | 20954.4647 | 2833.85 | 16997.685 | 19831.535 | 50613300000 | 64483300000 | 2414 | 739.4% | 285235 | 114094 | 765.6%
58 | 57847 | 107.4% | 3260 | 3.26 | 82.52% | 21681.8124 | 2883.5667 | 17295.89 | 20179.4567 | 51342300000 | 65212300000 | 2460 | 751.9% | 289235 | 115694 | 776.3%
59 | 58638 | 109.2% | 3296 | 3.296 | 83.65% | 22419.3601 | 2933.2833 | 17594.095 | 20527.3783 | 52062300000 | 65932300000 | 2505 | 764.3% | 293190 | 117276 | 786.9%
60 | 59421 | 111% | 3332 | 3.332 | 84.77% | 23166.9929 | 2983 | 17892.3 | 20875.3 | 52774200000 | 66644200000 | 2549 | 776.6% | 297105 | 118842 | 797.4%
61 | 60197 | 112.7% | 3367 | 3.367 | 85.87% | 23924.609 | 3032.7167 | 18190.505 | 21223.2217 | 53478900000 | 67348900000 | 2591 | 788.9% | 300985 | 120394 | 807.9%
62 | 60966 | 114.5% | 3402 | 3.402 | 86.97% | 24692.1191 | 3082.4333 | 18488.71 | 21571.1433 | 54177300000 | 68047300000 | 2633 | 801.1% | 304830 | 121932 | 818.2%
63 | 61728 | 116.2% | 3436 | 3.436 | 88.06% | 25469.4339 | 3132.15 | 18786.915 | 21919.065 | 54869400000 | 68739400000 | 2674 | 813.2% | 308640 | 123456 | 828.4%
64 | 62484 | 117.9% | 3471 | 3.471 | 89.14% | 26256.4642 | 3181.8667 | 19085.12 | 22266.9867 | 55555200000 | 69425200000 | 2715 | 825.2% | 312420 | 124968 | 838.5%
65 | 63233 | 119.6% | 3505 | 3.505 | 90.2% | 27053.1335 | 3231.5833 | 19383.325 | 22614.9083 | 56235600000 | 70105600000 | 2756 | 837.1% | 316165 | 126466 | 848.6%
66 | 63974 | 121.3% | 3538 | 3.538 | 91.26% | 27859.3525 | 3281.3 | 19681.53 | 22962.83 | 56909700000 | 70779700000 | 2797 | 849% | 319870 | 127948 | 858.5%
67 | 64709 | 123% | 3572 | 3.572 | 92.31% | 28675.0192 | 3331.0167 | 19979.735 | 23310.7517 | 57576600000 | 71446600000 | 2837 | 860.8% | 323545 | 129418 | 868.4%
68 | 65436 | 124.7% | 3605 | 3.605 | 93.35% | 29500.0572 | 3380.7333 | 20277.94 | 23658.6733 | 58238100000 | 72108100000 | 2878 | 872.6% | 327180 | 130872 | 878.2%
69 | 66157 | 126.4% | 3638 | 3.638 | 94.38% | 30334.3644 | 3430.45 | 20576.145 | 24006.595 | 58892400000 | 72762400000 | 2917 | 884.3% | 330785 | 132314 | 887.8%
70 | 66870 | 128% | 3670 | 3.67 | 95.39% | 31177.8643 | 3480.1667 | 20874.35 | 24354.5167 | 59541300000 | 73411300000 | 2957 | 895.9% | 334350 | 133740 | 897.4%
71 | 67576 | 129.7% | 3702 | 3.702 | 96.4% | 32030.4549 | 3529.8833 | 21172.555 | 24702.4383 | 60183000000 | 74053000000 | 2996 | 907.4% | 337880 | 135152 | 906.9%
72 | 68275 | 131.3% | 3734 | 3.734 | 97.4% | 32892.0471 | 3579.6 | 21470.76 | 25050.36 | 60818400000 | 74688400000 | 3035 | 918.9% | 341375 | 136550 | 916.3%
73 | 68966 | 132.9% | 3765 | 3.765 | 98.38% | 33762.5514 | 3629.3167 | 21768.965 | 25398.2817 | 61447500000 | 75317500000 | 3074 | 930.3% | 344830 | 137932 | 925.5%
74 | 69650 | 134.6% | 3796 | 3.796 | 99.36% | 34641.866 | 3679.0333 | 22067.17 | 25746.2033 | 62069400000 | 75939400000 | 3112 | 941.6% | 348250 | 139300 | 934.7%
75 | 70327 | 136.2% | 3827 | 3.827 | 100.3% | 35529.9016 | 3728.75 | 22365.375 | 26094.125 | 62685000000 | 76555000000 | 3150 | 952.9% | 351635 | 140654 | 943.8%
76 | 70998 | 137.8% | 3858 | 3.858 | 101.3% | 36426.5689 | 3778.4667 | 22663.58 | 26442.0467 | 63294300000 | 77164300000 | 3187 | 964.1% | 354990 | 141996 | 952.8%
77 | 71662 | 139.3% | 3888 | 3.888 | 102.2% | 37331.7914 | 3828.1833 | 22961.785 | 26789.9683 | 63898200000 | 77768200000 | 3224 | 975.2% | 358310 | 143324 | 961.7%
78 | 72320 | 140.9% | 3918 | 3.918 | 103.2% | 38245.4799 | 3877.9 | 23259.99 | 27137.89 | 64495800000 | 78365800000 | 3260 | 986.2% | 361600 | 144640 | 970.5%
79 | 72971 | 142.5% | 3947 | 3.947 | 104.1% | 39167.5579 | 3927.6167 | 23558.195 | 27485.8117 | 65088000000 | 78958000000 | 3296 | 997.2% | 364855 | 145942 | 979.3%
80 | 73616 | 144.1% | 3977 | 3.977 | 105% | 40097.9362 | 3977.3333 | 23856.4 | 27833.7333 | 65673900000 | 79543900000 | 3332 | 1008% | 368080 | 147232 | 987.9%
81 | 74255 | 145.6% | 4006 | 4.006 | 105.9% | 41036.5381 | 4027.05 | 24154.605 | 28181.655 | 66254400000 | 80124400000 | 3367 | 1019% | 371275 | 148510 | 996.5%
82 | 74887 | 147.2% | 4034 | 4.034 | 106.8% | 41983.2873 | 4076.7667 | 24452.81 | 28529.5767 | 66829500000 | 80699500000 | 3402 | 1030% | 374435 | 149774 | 1005%
83 | 75514 | 148.7% | 4063 | 4.063 | 107.7% | 42938.0945 | 4126.4833 | 24751.015 | 28877.4983 | 67398300000 | 81268300000 | 3436 | 1041% | 377570 | 151028 | 1013%
84 | 76134 | 150.2% | 4091 | 4.091 | 108.6% | 43900.8959 | 4176.2 | 25049.22 | 29225.42 | 67962600000 | 81832600000 | 3471 | 1051% | 380670 | 152268 | 1022%
85 | 76748 | 151.7% | 4119 | 4.119 | 109.5% | 44871.6023 | 4225.9167 | 25347.425 | 29573.3417 | 68520600000 | 82390600000 | 3505 | 1062% | 383740 | 153496 | 1030%
86 | 77357 | 153.2% | 4147 | 4.147 | 110.4% | 45850.1372 | 4275.6333 | 25645.63 | 29921.2633 | 69073200000 | 82943200000 | 3538 | 1072% | 386785 | 154714 | 1038%
87 | 77959 | 154.7% | 4174 | 4.174 | 111.2% | 46836.4368 | 4325.35 | 25943.835 | 30269.185 | 69621300000 | 83491300000 | 3572 | 1083% | 389795 | 155918 | 1046%
88 | 78555 | 156.2% | 4201 | 4.201 | 112.1% | 47830.4119 | 4375.0667 | 26242.04 | 30617.1067 | 70163100000 | 84033100000 | 3605 | 1093% | 392775 | 157110 | 1054%
89 | 79145 | 157.7% | 4228 | 4.228 | 112.9% | 48831.9859 | 4424.7833 | 26540.245 | 30965.0283 | 70699500000 | 84569500000 | 3638 | 1104% | 395725 | 158290 | 1062%
90 | 79730 | 159.2% | 4255 | 4.255 | 113.7% | 49841.0825 | 4474.5 | 26838.45 | 31312.95 | 71230500000 | 85100500000 | 3670 | 1114% | 398650 | 159460 | 1070%
91 | 80309 | 160.6% | 4281 | 4.281 | 114.6% | 50857.6378 | 4524.2167 | 27136.655 | 31660.8717 | 71757000000 | 85627000000 | 3702 | 1124% | 401545 | 160618 | 1078%
92 | 80882 | 162.1% | 4307 | 4.307 | 115.4% | 51881.5753 | 4573.9333 | 27434.86 | 32008.7933 | 72278100000 | 86148100000 | 3734 | 1134% | 404410 | 161764 | 1085%
93 | 81450 | 163.5% | 4333 | 4.333 | 116.2% | 52912.8186 | 4623.65 | 27733.065 | 32356.715 | 72793800000 | 86663800000 | 3765 | 1144% | 407250 | 162900 | 1093%
94 | 82012 | 165% | 4358 | 4.358 | 117% | 53951.3038 | 4673.3667 | 28031.27 | 32704.6367 | 73305000000 | 87175000000 | 3796 | 1154% | 410060 | 164024 | 1101%
95 | 82569 | 166.4% | 4384 | 4.384 | 117.8% | 54996.9545 | 4723.0833 | 28329.475 | 33052.5583 | 73810800000 | 87680800000 | 3827 | 1164% | 412845 | 165138 | 1108%
96 | 83120 | 167.8% | 4409 | 4.409 | 118.6% | 56049.707 | 4772.8 | 28627.68 | 33400.48 | 74312100000 | 88182100000 | 3858 | 1174% | 415600 | 166240 | 1115%
97 | 83665 | 169.2% | 4433 | 4.433 | 119.4% | 57109.4847 | 4822.5167 | 28925.885 | 33748.4017 | 74808000000 | 88678000000 | 3888 | 1184% | 418325 | 167330 | 1123%
98 | 84205 | 170.6% | 4458 | 4.458 | 120.1% | 58176.2111 | 4872.2333 | 29224.09 | 34096.3233 | 75298500000 | 89168500000 | 3918 | 1194% | 421025 | 168410 | 1130%
99 | 84740 | 172% | 4482 | 4.482 | 120.9% | 59249.8226 | 4921.95 | 29522.295 | 34444.245 | 75784500000 | 89654500000 | 3947 | 1204% | 423700 | 169480 | 1137%
100 | 85269 | 173.4% | 4506 | 4.506 | 121.6% | 60330.2552 | 4971.6667 | 29820.5 | 34792.1667 | 76266000000 | 90136000000 | 3977 | 1213% | 426345 | 170538 | 1144%
101 | 85793 | 174.8% | 4530 | 4.53 | 122.4% | 61417.4326 | 5021.3833 | 30118.705 | 35140.0883 | 76742100000 | 90612100000 | 4006 | 1223% | 428965 | 171586 | 1151%
102 | 86313 | 176.1% | 4554 | 4.554 | 123.1% | 62511.291 | 5071.1 | 30416.91 | 35488.01 | 77213700000 | 91083700000 | 4034 | 1233% | 431565 | 172626 | 1158%

## Wind Graphs
Additional Wind Graphs
CO2 Offset with different investments and $0.05/kWh reinvestment | [5 empty] | CO2 Offset with different investments and $0.07/kWh reinvestment
Year | $10/bbl Investment | $15/bbl Investment | $20/bbl Investment | $25/bbl Investment | $30/bbl Investment | Year | $10/bbl Investment | $15/bbl Investment | $20/bbl Investment | $25/bbl Investment | $30/bbl Investment
1 | 0% | 0% | 0% | 0% | 0% | 1 | 0% | 0% | 0% | 0% | 0%
2 | 0.6354% | 0.953% | 1.271% | 1.588% | 1.906% | 2 | 0.6354% | 0.953% | 1.271% | 1.588% | 1.906%
3 | 1.289% | 1.934% | 2.579% | 3.223% | 3.869% | 3 | 1.297% | 1.945% | 2.595% | 3.243% | 3.891%
4 | 1.963% | 2.944% | 3.926% | 4.907% | 5.891% | 4 | 1.986% | 2.979% | 3.974% | 4.967% | 5.96%
5 | 2.656% | 3.985% | 5.314% | 6.643% | 7.973% | 5 | 2.704% | 4.056% | 5.411% | 6.765% | 8.117%
6 | 3.371% | 5.057% | 6.744% | 8.431% | 10.12% | 6 | 3.453% | 5.18% | 6.91% | 8.638% | 10.37%
7 | 4.107% | 6.162% | 8.218% | 10.27% | 12.33% | 7 | 4.233% | 6.351% | 8.473% | 10.59% | 12.71%
8 | 4.866% | 7.301% | 9.737% | 12.17% | 14.61% | 8 | 5.048% | 7.573% | 10.1% | 12.63% | 15.16%
9 | 5.648% | 8.475% | 11.3% | 14.13% | 16.96% | 9 | 5.898% | 8.848% | 11.8% | 14.76% | 17.71%
10 | 6.454% | 9.685% | 12.92% | 16.15% | 19.38% | 10 | 6.785% | 10.18% | 13.58% | 16.98% | 20.37%
11 | 7.285% | 10.93% | 14.58% | 18.22% | 21.87% | 11 | 7.711% | 11.57% | 15.43% | 19.29% | 23.15%
12 | 8.142% | 12.22% | 16.29% | 20.37% | 24.45% | 12 | 8.677% | 13.02% | 17.37% | 21.71% | 26.05%
13 | 9.026% | 13.54% | 18.06% | 22.58% | 27.1% | 13 | 9.685% | 14.53% | 19.38% | 24.23% | 29.08%
14 | 9.937% | 14.91% | 19.88% | 24.86% | 29.83% | 14 | 10.74% | 16.11% | 21.49% | 26.87% | 32.24%
15 | 10.88% | 16.32% | 21.76% | 27.21% | 32.65% | 15 | 11.84% | 17.76% | 23.69% | 29.62% | 35.54%
16 | 11.84% | 17.77% | 23.7% | 29.63% | 35.56% | 16 | 12.99% | 19.48% | 25.99% | 32.5% | 38.99%
17 | 12.84% | 19.27% | 25.7% | 32.13% | 38.56% | 17 | 14.19% | 21.28% | 28.4% | 35.5% | 42.6%
18 | 13.87% | 20.82% | 27.76% | 34.71% | 41.66% | 18 | 15.44% | 23.17% | 30.91% | 38.64% | 46.37%
19 | 14.94% | 22.42% | 29.89% | 37.37% | 44.85% | 19 | 16.75% | 25.13% | 33.53% | 41.92% | 50.3%
20 | 16.04% | 24.06% | 32.09% | 40.11% | 48.15% | 20 | 18.12% | 27.19% | 36.27% | 45.35% | 54.42%
21 | 17.17% | 25.76% | 34.36% | 42.95% | 51.55% | 21 | 19.56% | 29.34% | 39.14% | 48.93% | 58.72%
22 | 18.34% | 27.51% | 36.69% | 45.87% | 55.06% | 22 | 21% | 31.5% | 42.03% | 52.54% | 63.05%
23 | 19.54% | 29.32% | 39.11% | 48.89% | 58.68% | 23 | 22.45% | 33.68% | 44.93% | 56.17% | 67.41%
24 | 20.79% | 31.19% | 41.6% | 52% | 62.41% | 24 | 23.92% | 35.88% | 47.87% | 59.84% | 71.81%
25 | 22.07% | 33.12% | 44.17% | 55.21% | 66.27% | 25 | 25.4% | 38.11% | 50.84% | 63.56% | 76.27%
26 | 23.4% | 35.11% | 46.82% | 58.53% | 70.25% | 26 | 26.91% | 40.37% | 53.85% | 67.33% | 80.79%
27 | 24.77% | 37.16% | 49.56% | 61.96% | 74.37% | 27 | 28.44% | 42.66% | 56.91% | 71.15% | 85.38%
28 | 26.18% | 39.29% | 52.39% | 65.5% | 78.61% | 28 | 29.99% | 44.99% | 60.02% | 75.03% | 90.04%
29 | 27.64% | 41.48% | 55.31% | 69.15% | 82.99% | 29 | 31.56% | 47.36% | 63.17% | 78.98% | 94.77%
30 | 29.15% | 43.74% | 58.33% | 72.92% | 87.52% | 30 | 33.17% | 49.76% | 66.38% | 82.99% | 99.59%
31 | 30.71% | 46.08% | 61.45% | 76.81% | 92.2% | 31 | 34.8% | 52.21% | 69.65% | 87.08% | 104.5%
32 | 32.31% | 48.49% | 64.67% | 80.84% | 97.03% | 32 | 36.46% | 54.71% | 72.98% | 91.24% | 109.5%
33 | 33.98% | 50.98% | 67.99% | 85% | 102% | 33 | 38.16% | 57.25% | 76.37% | 95.47% | 114.6%
34 | 35.69% | 53.56% | 71.43% | 89.29% | 107.2% | 34 | 39.88% | 59.84% | 79.82% | 99.79% | 119.7%
35 | 37.47% | 56.22% | 74.98% | 93.72% | 112.5% | 35 | 41.64% | 62.47% | 83.33% | 104.2% | 125%
36 | 39.3% | 58.97% | 78.64% | 98.31% | 118% | 36 | 43.43% | 65.15% | 86.91% | 108.7% | 130.4%
37 | 41.19% | 61.81% | 82.43% | 103% | 123.7% | 37 | 45.25% | 67.88% | 90.55% | 113.2% | 135.9%
38 | 43.15% | 64.75% | 86.35% | 107.9% | 129.6% | 38 | 47.1% | 70.66% | 94.26% | 117.8% | 141.4%
39 | 45.17% | 67.78% | 90.39% | 113% | 135.6% | 39 | 48.98% | 73.49% | 98.03% | 122.6% | 147.1%
40 | 47.26% | 70.92% | 94.58% | 118.2% | 141.9% | 40 | 50.9% | 76.37% | 101.9% | 127.4% | 152.8%
41 | 49.42% | 74.16% | 98.9% | 123.6% | 148.4% | 41 | 52.85% | 79.29% | 105.8% | 132.2% | 158.7%
42 | 51.65% | 77.51% | 103.4% | 129.2% | 155.1% | 42 | 54.83% | 82.26% | 109.7% | 137.2% | 164.6%
43 | 53.96% | 80.97% | 108% | 135% | 162% | 43 | 56.84% | 85.28% | 113.8% | 142.2% | 170.7%
44 | 56.35% | 84.55% | 112.8% | 141% | 169.2% | 44 | 58.89% | 88.35% | 117.9% | 147.3% | 176.8%
45 | 58.82% | 88.26% | 117.7% | 147.1% | 176.6% | 45 | 60.97% | 91.47% | 122% | 152.5% | 183.1%
46 | 61.37% | 92.09% | 122.8% | 153.5% | 184.3% | 46 | 63.08% | 94.64% | 126.2% | 157.8% | 189.4%
47 | 64.01% | 96.05% | 128.1% | 160.1% | 192.2% | 47 | 65.23% | 97.87% | 130.5% | 163.2% | 195.9%
48 | 66.74% | 100.1% | 133.6% | 167% | 200.4% | 48 | 67.42% | 101.2% | 134.9% | 168.7% | 202.4%
49 | 69.56% | 104.4% | 139.2% | 174% | 208.9% | 49 | 69.64% | 104.5% | 139.4% | 174.2% | 209.1%
50 | 72.48% | 108.8% | 145% | 181.3% | 217.6% | 50 | 71.9% | 107.9% | 143.9% | 179.9% | 215.9%
51 | 75.5% | 113.3% | 151.1% | 188.9% | 226.7% | 51 | 74.2% | 111.3% | 148.5% | 185.7% | 222.8%
52 | 78.62% | 118% | 157.3% | 196.7% | 236.1% | 52 | 76.54% | 114.8% | 153.2% | 191.5% | 229.8%
53 | 81.86% | 122.8% | 163.8% | 204.8% | 245.8% | 53 | 78.92% | 118.4% | 157.9% | 197.5% | 237%
54 | 85.2% | 127.9% | 170.5% | 213.1% | 255.8% | 54 | 81.34% | 122% | 162.8% | 203.5% | 244.2%
55 | 88.66% | 133% | 177.4% | 221.8% | 266.2% | 55 | 83.8% | 125.7% | 167.7% | 209.7% | 251.6%
56 | 92.24% | 138.4% | 184.6% | 230.8% | 277% | 56 | 86.3% | 129.5% | 172.7% | 215.9% | 259.1%
57 | 95.95% | 144% | 192% | 240% | 288.1% | 57 | 88.85% | 133.3% | 177.8% | 222.3% | 266.8%
58 | 99.79% | 149.7% | 199.7% | 249.6% | 299.6% | 58 | 91.43% | 137.2% | 183% | 228.8% | 274.5%
59 | 103.8% | 155.7% | 207.6% | 259.6% | 311.5% | 59 | 94.07% | 141.1% | 188.3% | 235.4% | 282.4%
60 | 107.9% | 161.9% | 215.9% | 269.9% | 323.9% | 60 | 96.74% | 145.2% | 193.6% | 242.1% | 290.5%

## Development Plan (Solar)
Development Plan Solar
Yelow cell = Enter your own data
White cell = Calculated value (do not change the value)
Technical Assumptions:
Life expectancy of a solar cell (yrs) | 25 | http://www.seia.org/policy/environment/pv-recycling
Millions barrels oil per year recovered from oil sands | 693.5
$ per barrell of oil to be invested on solar farm on site | 20
Annual amount to be spent (Billions) | 13870000000
$/kWhr for reinvestment in purchasing more solar cells | 0.05
Solar energy: if all the money were spent on solar energy:
Assumed cost of solar ($/W) in this location (includes installation) | 4
Nominal Power of solar cell (MW) | 0.0002
Cost per solar cell installed | 800
Number of solar cells per year to be installed | 17337500
Number of automobiles manufactured equivalent to 1 solar cell | 1
Year | Total number of installed solar cells | Cumulative ratio carbon saved/carbon burned | Number of solar cells purchased | Millions of autos equivelant | % of total solar cells to be built | Cumulative carbon saved | Cumulative carbon burned (MT) | Value of solar produced in previous year reinvested (million $) | Billions to be spent on solar cells acquisition next year | Decomissioned Cells
1 | 17337500 | 0% | 17337500 | 17.3375 | 1.151% | 0 | 347.9217 |  | 13870000000 | 0
2 | 34967570 | 1.588% | 17630070 | 17.6301 | 2.322% | 11.0521 | 695.8433 | 234056250 | 14104056250 | 0
3 | 52895147 | 3.194% | 17927577 | 17.9276 | 3.512% | 33.3428 | 1043.765 | 472062195 | 14342062195 | 0
4 | 71125252 | 4.819% | 18230105 | 18.2301 | 4.722% | 67.0617 | 1391.6867 | 714084484.5 | 14584084484.5 | 0
5 | 89662990 | 6.461% | 18537738 | 18.5377 | 5.953% | 112.4017 | 1739.6083 | 960190902 | 14830190902 | 0
6 | 108513552 | 8.122% | 18850562 | 18.8506 | 7.205% | 169.5589 | 2087.53 | 1210450365 | 15080450365 | 0
7 | 127682218 | 9.802% | 19168666 | 19.1687 | 8.477% | 238.7327 | 2435.4517 | 1464932952 | 15334932952 | 0
8 | 147174355 | 11.5% | 19492137 | 19.4921 | 9.772% | 320.1259 | 2783.3733 | 1723709943 | 15593709943 | 0
9 | 166995422 | 13.22% | 19821067 | 19.8211 | 11.09% | 413.9447 | 3131.295 | 1986853792.5 | 15856853792.5 | 0
10 | 187150969 | 14.96% | 20155547 | 20.1555 | 12.43% | 520.3987 | 3479.2167 | 2254438197 | 16124438197 | 0
11 | 207646641 | 16.71% | 20495672 | 20.4957 | 13.79% | 639.7013 | 3827.1383 | 2526538081.5 | 16396538081.5 | 0
12 | 228488178 | 18.49% | 20841537 | 20.8415 | 15.17% | 772.0692 | 4175.06 | 2803229653.5 | 16673229653.5 | 0
13 | 249681416 | 20.29% | 21193238 | 21.1932 | 16.58% | 917.7228 | 4522.9817 | 3084590403 | 16954590403 | 0
14 | 271232289 | 22.11% | 21550873 | 21.5509 | 18.01% | 1076.8865 | 4870.9033 | 3370699116 | 17240699116 | 0
15 | 293146833 | 23.95% | 21914544 | 21.9145 | 19.46% | 1249.7881 | 5218.825 | 3661635901.5 | 17531635901.5 | 0
16 | 315431185 | 25.81% | 22284352 | 22.2844 | 20.94% | 1436.6595 | 5566.7467 | 3957482245.5 | 17827482245.5 | 0
17 | 338091586 | 27.69% | 22660401 | 22.6604 | 22.45% | 1637.7365 | 5914.6683 | 4258320997.5 | 18128320997.5 | 0
18 | 361134381 | 29.59% | 23042795 | 23.0428 | 23.98% | 1853.2587 | 6262.59 | 4564236411 | 18434236411 | 0
19 | 384566023 | 31.52% | 23431642 | 23.4316 | 25.53% | 2083.47 | 6610.5117 | 4875314143.5 | 18745314143.5 | 0
20 | 408393074 | 33.46% | 23827051 | 23.8271 | 27.12% | 2328.6181 | 6958.4333 | 5191641310.5 | 19061641310.5 | 0
21 | 432622207 | 35.43% | 24229133 | 24.2291 | 28.72% | 2588.9552 | 7306.355 | 5513306499 | 19383306499 | 0
22 | 457260206 | 37.43% | 24637999 | 24.638 | 30.36% | 2864.7376 | 7654.2767 | 5840399794.5 | 19710399794.5 | 0
23 | 482313971 | 39.44% | 25053765 | 25.0538 | 32.02% | 3156.2258 | 8002.1983 | 6173012781 | 20043012781 | 0
24 | 507790519 | 41.48% | 25476548 | 25.4765 | 33.71% | 3463.6851 | 8350.12 | 6511238608.5 | 20381238608.5 | 0
25 | 533696984 | 43.54% | 25906465 | 25.9065 | 35.43% | 3787.3847 | 8698.0417 | 6855172006.5 | 20725172006.5 | 0
26 | 542703120 | 45.63% | 26343636 | 26.3436 | 36.03% | 4127.599 | 9045.9633 | 7204909284 | 21074909284 | 17337500
27 | 551568665 | 47.62% | 26495615 | 26.4956 | 36.62% | 4473.5543 | 9393.885 | 7326492120 | 21196492120 | 17630070
28 | 560286309 | 49.53% | 26645221 | 26.6452 | 37.2% | 4825.1611 | 9741.8067 | 7446176977.5 | 21316176977.5 | 17927577
29 | 568848535 | 51.36% | 26792331 | 26.7923 | 37.77% | 5182.3251 | 10089.7283 | 7563865171.5 | 21433865171.5 | 18230105
30 | 577247616 | 53.12% | 26936819 | 26.9368 | 38.33% | 5544.9472 | 10437.65 | 7679455222.5 | 21549455222.5 | 18537738
31 | 585475607 | 54.82% | 27078553 | 27.0786 | 38.87% | 5912.9235 | 10785.5717 | 7792842816 | 21662842816 | 18850562
32 | 593524341 | 56.46% | 27217400 | 27.2174 | 39.41% | 6286.1449 | 11133.4933 | 7903920694.5 | 21773920694.5 | 19168666
33 | 601385427 | 58.05% | 27353223 | 27.3532 | 39.93% | 6664.4971 | 11481.415 | 8012578603.5 | 21882578603.5 | 19492137
34 | 609050239 | 59.58% | 27485879 | 27.4859 | 40.44% | 7047.8604 | 11829.3367 | 8118703264.5 | 21988703264.5 | 19821067
35 | 616509914 | 61.07% | 27615222 | 27.6152 | 40.93% | 7436.1098 | 12177.2583 | 8222178226.5 | 22092178226.5 | 20155547
36 | 623755346 | 62.51% | 27741104 | 27.7411 | 41.41% | 7829.1145 | 12525.18 | 8322883839 | 22192883839 | 20495672
37 | 630777180 | 63.91% | 27863371 | 27.8634 | 41.88% | 8226.738 | 12873.1017 | 8420697171 | 22290697171 | 20841537
38 | 637565806 | 65.27% | 27981864 | 27.9819 | 42.33% | 8628.8376 | 13221.0233 | 8515491930 | 22385491930 | 21193238
39 | 644111355 | 66.59% | 28096422 | 28.0964 | 42.77% | 9035.2647 | 13568.945 | 8607138381 | 22477138381 | 21550873
40 | 650403690 | 67.87% | 28206879 | 28.2069 | 43.18% | 9445.8644 | 13916.8667 | 8695503292.5 | 22565503292.5 | 21914544
41 | 656432400 | 69.12% | 28313062 | 28.3131 | 43.58% | 9860.4753 | 14264.7883 | 8780449815 | 22650449815 | 22284352
42 | 662186795 | 70.34% | 28414796 | 28.4148 | 43.97% | 10278.9293 | 14612.71 | 8861837400 | 22731837400 | 22660401
43 | 667655902 | 71.53% | 28511902 | 28.5119 | 44.33% | 10701.0515 | 14960.6317 | 8939521732.5 | 22809521732.5 | 23042795
44 | 672828453 | 72.68% | 28604193 | 28.6042 | 44.67% | 11126.6601 | 15308.5533 | 9013354677 | 22883354677 | 23431642
45 | 677692882 | 73.81% | 28691480 | 28.6915 | 45% | 11555.566 | 15656.475 | 9083184115.5 | 22953184115.5 | 23827051
46 | 682237316 | 74.9% | 28773567 | 28.7736 | 45.3% | 11987.5728 | 16004.3967 | 9148853907 | 23018853907 | 24229133
47 | 686449571 | 75.97% | 28850254 | 28.8503 | 45.58% | 12422.4766 | 16352.3183 | 9210203766 | 23080203766 | 24637999
48 | 690317142 | 77.01% | 28921336 | 28.9213 | 45.83% | 12860.0655 | 16700.24 | 9267069208.5 | 23137069208.5 | 25053765
49 | 693827195 | 78.01% | 28986601 | 28.9866 | 46.07% | 13300.1199 | 17048.1617 | 9319281417 | 23189281417 | 25476548
50 | 696966563 | 79% | 29045833 | 29.0458 | 46.27% | 13742.4118 | 17396.0833 | 9366667132.5 | 23236667132.5 | 25906465
51 | 699721737 | 79.95% | 29098810 | 29.0988 | 46.46% | 14186.705 | 17744.005 | 9409048600.5 | 23279048600.5 | 26343636
52 | 702371426 | 80.88% | 29145304 | 29.1453 | 46.63% | 14632.7545 | 18091.9267 | 9446243449.5 | 23316243449.5 | 26495615
53 | 704916222 | 81.78% | 29190017 | 29.19 | 46.8% | 15080.4931 | 18439.8483 | 9482014251 | 23352014251 | 26645221
54 | 707356852 | 82.66% | 29232961 | 29.233 | 46.96% | 15529.8539 | 18787.77 | 9516368997 | 23386368997 | 26792331
55 | 709694179 | 83.51% | 29274146 | 29.2741 | 47.12% | 15980.7705 | 19135.6917 | 9549317502 | 23419317502 | 26936819
56 | 711929215 | 84.34% | 29313589 | 29.3136 | 47.27% | 16433.1771 | 19483.6133 | 9580871416.5 | 23450871416.5 | 27078553
57 | 714063120 | 85.15% | 29351305 | 29.3513 | 47.41% | 16887.0085 | 19831.535 | 9611044402.5 | 23481044402.5 | 27217400
58 | 716097212 | 85.94% | 29387315 | 29.3873 | 47.54% | 17342.2001 | 20179.4567 | 9639852120 | 23509852120 | 27353223
59 | 718032973 | 86.71% | 29421640 | 29.4216 | 47.67% | 17798.6885 | 20527.3783 | 9667312362 | 23537312362 | 27485879
60 | 719872057 | 87.45% | 29454306 | 29.4543 | 47.8% | 18256.4108 | 20875.3 | 9693445135.5 | 23563445135.5 | 27615222
61 | 721616293 | 88.18% | 29485340 | 29.4853 | 47.91% | 18715.3054 | 21223.2217 | 9718272769.5 | 23588272769.5 | 27741104
62 | 723267696 | 88.89% | 29514774 | 29.5148 | 48.02% | 19175.312 | 21571.1433 | 9741819955.5 | 23611819955.5 | 27863371
63 | 724828474 | 89.59% | 29542642 | 29.5426 | 48.12% | 19636.3713 | 21919.065 | 9764113896 | 23634113896 | 27981864
64 | 726301032 | 90.26% | 29568980 | 29.569 | 48.22% | 20098.4255 | 22266.9867 | 9785184399 | 23655184399 | 28096422
65 | 727687982 | 90.92% | 29593829 | 29.5938 | 48.31% | 20561.4184 | 22614.9083 | 9805063932 | 23675063932 | 28206879
66 | 728992154 | 91.56% | 29617234 | 29.6172 | 48.4% | 21025.2954 | 22962.83 | 9823787757 | 23693787757 | 28313062
67 | 730216600 | 92.19% | 29639242 | 29.6392 | 48.48% | 21490.0039 | 23310.7517 | 9841394079 | 23711394079 | 28414796
68 | 731364603 | 92.8% | 29659905 | 29.6599 | 48.56% | 21955.4928 | 23658.6733 | 9857924100 | 23727924100 | 28511902
69 | 732439687 | 93.4% | 29679277 | 29.6793 | 48.63% | 22421.7136 | 24006.595 | 9873422140.5 | 23743422140.5 | 28604193
70 | 733445626 | 93.98% | 29697419 | 29.6974 | 48.7% | 22888.6197 | 24354.5167 | 9887935774.5 | 23757935774.5 | 28691480
71 | 734386453 | 94.55% | 29714394 | 29.7144 | 48.76% | 23356.1671 | 24702.4383 | 9901515951 | 23771515951 | 28773567
72 | 735266470 | 95.11% | 29730271 | 29.7303 | 48.82% | 23824.3142 | 25050.36 | 9914217115.5 | 23784217115.5 | 28850254
73 | 736090255 | 95.65% | 29745121 | 29.7451 | 48.87% | 24293.0223 | 25398.2817 | 9926097345 | 23796097345 | 28921336
74 | 736862677 | 96.18% | 29759023 | 29.759 | 48.92% | 24762.2555 | 25746.2033 | 9937218442.5 | 23807218442.5 | 28986601
75 | 737588901 | 96.7% | 29772057 | 29.7721 | 48.97% | 25231.9811 | 26094.125 | 9947646139.5 | 23817646139.5 | 29045833
76 | 738274403 | 97.2% | 29784312 | 29.7843 | 49.02% | 25702.1697 | 26442.0467 | 9957450163.5 | 23827450163.5 | 29098810
77 | 738924979 | 97.7% | 29795880 | 29.7959 | 49.06% | 26172.7952 | 26789.9683 | 9966704440.5 | 23836704440.5 | 29145304
78 | 739541821 | 98.18% | 29806859 | 29.8069 | 49.1% | 26643.8355 | 27137.89 | 9975487216.5 | 23845487216.5 | 29190017
79 | 740126128 | 98.65% | 29817268 | 29.8173 | 49.14% | 27115.269 | 27485.8117 | 9983814583.5 | 23853814583.5 | 29232961
80 | 740679110 | 99.11% | 29827128 | 29.8271 | 49.18% | 27587.075 | 27833.7333 | 9991702728 | 23861702728 | 29274146
81 | 741201980 | 99.57% | 29836459 | 29.8365 | 49.21% | 28059.2334 | 28181.655 | 9999167985 | 23869167985 | 29313589
82 | 741695958 | 100% | 29845283 | 29.8453 | 49.24% | 28531.7252 | 28529.5767 | 10006226730 | 23876226730 | 29351305
83 | 742162262 | 100.4% | 29853619 | 29.8536 | 49.28% | 29004.5319 | 28877.4983 | 10012895433 | 23882895433 | 29387315
84 | 742602110 | 100.9% | 29861488 | 29.8615 | 49.3% | 29477.6358 | 29225.42 | 10019190537 | 23889190537 | 29421640
85 | 743016714 | 101.3% | 29868910 | 29.8689 | 49.33% | 29951.0201 | 29573.3417 | 10025128485 | 23895128485 | 29454306
86 | 743407281 | 101.7% | 29875907 | 29.8759 | 49.36% | 30424.6688 | 29921.2633 | 10030725639 | 23900725639 | 29485340
87 | 743775004 | 102.1% | 29882497 | 29.8825 | 49.38% | 30898.5663 | 30269.185 | 10035998293.5 | 23905998293.5 | 29514774
88 | 744121065 | 102.5% | 29888703 | 29.8887 | 49.41% | 31372.6983 | 30617.1067 | 10040962554 | 23910962554 | 29542642
89 | 744446627 | 102.8% | 29894542 | 29.8945 | 49.43% | 31847.051 | 30965.0283 | 10045634377.5 | 23915634377.5 | 29568980
90 | 744752834 | 103.2% | 29900036 | 29.9 | 49.45% | 32321.6111 | 31312.95 | 10050029464.5 | 23920029464.5 | 29593829
91 | 745040804 | 103.6% | 29905204 | 29.9052 | 49.47% | 32796.3664 | 31660.8717 | 10054163259 | 23924163259 | 29617234
92 | 745311625 | 103.9% | 29910063 | 29.9101 | 49.48% | 33271.3053 | 32008.7933 | 10058050854 | 23928050854 | 29639242
93 | 745566353 | 104.3% | 29914633 | 29.9146 | 49.5% | 33746.4169 | 32356.715 | 10061706937.5 | 23931706937.5 | 29659905
94 | 745806008 | 104.6% | 29918932 | 29.9189 | 49.52% | 34221.6908 | 32704.6367 | 10065145765.5 | 23935145765.5 | 29679277
95 | 746031565 | 105% | 29922976 | 29.923 | 49.53% | 34697.1175 | 33052.5583 | 10068381108 | 23938381108 | 29697419
96 | 746243953 | 105.3% | 29926782 | 29.9268 | 49.55% | 35172.688 | 33400.48 | 10071426127.5 | 23941426127.5 | 29714394
97 | 746444048 | 105.6% | 29930366 | 29.9304 | 49.56% | 35648.3939 | 33748.4017 | 10074293365.5 | 23944293365.5 | 29730271
98 | 746632670 | 105.9% | 29933743 | 29.9337 | 49.57% | 36124.2273 | 34096.3233 | 10076994648 | 23946994648 | 29745121
99 | 746810573 | 106.3% | 29936926 | 29.9369 | 49.58% | 36600.181 | 34444.245 | 10079541045 | 23949541045 | 29759023
100 | 746978444 | 106.6% | 29939928 | 29.9399 | 49.6% | 37076.248 | 34792.1667 | 10081942735.5 | 23951942735.5 | 29772057

## Solar Graphs
Additional Solar Graphs
CO2 Offset with different investments and $0.05/kWh reinvestment
year | 10% Investment | 15% Investment | 20% Investment | 25% Investment | 30% Investment
1 | 0% | 0% | 0% | 0% | 0%
2 | 0.3816% | 0.5724% | 0.7632% | 0.954% | 1.145%
3 | 0.7675% | 1.151% | 1.535% | 1.919% | 2.302%
4 | 1.158% | 1.737% | 2.315% | 2.894% | 3.473%
5 | 1.552% | 2.329% | 3.105% | 3.881% | 4.657%
6 | 1.951% | 2.927% | 3.903% | 4.879% | 5.854%
7 | 2.355% | 3.533% | 4.71% | 5.888% | 7.065%
8 | 2.763% | 4.145% | 5.527% | 6.908% | 8.29%
9 | 3.176% | 4.764% | 6.352% | 7.94% | 9.528%
10 | 3.594% | 5.39% | 7.187% | 8.984% | 10.78%
11 | 4.016% | 6.024% | 8.032% | 10.04% | 12.05%
12 | 4.443% | 6.664% | 8.886% | 11.11% | 13.33%
13 | 4.875% | 7.312% | 9.75% | 12.19% | 14.62%
14 | 5.312% | 7.968% | 10.62% | 13.28% | 15.94%
15 | 5.754% | 8.63% | 11.51% | 14.38% | 17.26%
16 | 6.2% | 9.301% | 12.4% | 15.5% | 18.6%
17 | 6.652% | 9.979% | 13.31% | 16.63% | 19.96%
18 | 7.11% | 10.66% | 14.22% | 17.77% | 21.33%
19 | 7.572% | 11.36% | 15.14% | 18.93% | 22.72%
20 | 8.04% | 12.06% | 16.08% | 20.1% | 24.12%
21 | 8.513% | 12.77% | 17.03% | 21.28% | 25.54%
22 | 8.992% | 13.49% | 17.98% | 22.48% | 26.98%
23 | 9.476% | 14.21% | 18.95% | 23.69% | 28.43%
24 | 9.966% | 14.95% | 19.93% | 24.91% | 29.9%
25 | 10.46% | 15.69% | 20.92% | 26.15% | 31.38%
26 | 10.96% | 16.44% | 21.93% | 27.41% | 32.89%
27 | 11.47% | 17.2% | 22.94% | 28.67% | 34.41%
28 | 11.98% | 17.97% | 23.97% | 29.96% | 35.95%
29 | 12.5% | 18.75% | 25% | 31.25% | 37.5%
30 | 13.03% | 19.54% | 26.05% | 32.57% | 39.08%
31 | 13.56% | 20.34% | 27.12% | 33.89% | 40.67%
32 | 14.09% | 21.14% | 28.19% | 35.24% | 42.28%
33 | 14.64% | 21.96% | 29.28% | 36.6% | 43.92%
34 | 15.19% | 22.78% | 30.38% | 37.97% | 45.57%
35 | 15.74% | 23.62% | 31.49% | 39.36% | 47.23%
36 | 16.31% | 24.46% | 32.62% | 40.77% | 48.92%
37 | 16.88% | 25.32% | 33.75% | 42.19% | 50.63%
38 | 17.45% | 26.18% | 34.91% | 43.63% | 52.36%
39 | 18.04% | 27.06% | 36.07% | 45.09% | 54.11%
40 | 18.63% | 27.94% | 37.25% | 46.57% | 55.88%
41 | 19.22% | 28.84% | 38.45% | 48.06% | 57.67%
42 | 19.83% | 29.74% | 39.66% | 49.57% | 59.48%
43 | 20.44% | 30.66% | 40.88% | 51.1% | 61.32%
44 | 21.06% | 31.59% | 42.11% | 52.64% | 63.17%
45 | 21.68% | 32.52% | 43.37% | 54.21% | 65.05%
46 | 22.32% | 33.47% | 44.63% | 55.79% | 66.95%
47 | 22.96% | 34.44% | 45.91% | 57.39% | 68.87%
48 | 23.61% | 35.41% | 47.21% | 59.01% | 70.82%
49 | 24.26% | 36.39% | 48.52% | 60.65% | 72.78%
50 | 24.93% | 37.39% | 49.85% | 62.31% | 74.78%
51 | 25.6% | 38.4% | 51.19% | 63.99% | 76.79%
52 | 26.28% | 39.42% | 52.55% | 65.69% | 78.83%
53 | 26.96% | 40.45% | 53.93% | 67.41% | 80.89%
54 | 27.66% | 41.49% | 55.32% | 69.15% | 82.98%
55 | 28.37% | 42.55% | 56.73% | 70.91% | 85.1%
56 | 29.08% | 43.62% | 58.16% | 72.7% | 87.24%
57 | 29.8% | 44.7% | 59.6% | 74.5% | 89.4%
58 | 30.53% | 45.8% | 61.06% | 76.33% | 91.59%
59 | 31.27% | 46.91% | 62.54% | 78.18% | 93.81%
60 | 32.02% | 48.03% | 64.04% | 80.05% | 96.06%

## Alberta Electricity Profile
Alberta Electricity Profile
Generation in 2012 | Gigawatt hour (GWh)** | Direct CO2 EmissionRate (kg/kWh) | Direct CO2 Emissions Total (kg CO2) | Maps From | http://www.energy.alberta.ca/Org/pdfs/Alberta_Energy_Overview.pdf
Coal | 38272 | 1.0201 | 39042354430.976
Natural Gas | 27238 | 0.51483 | 14022855646.96
Hydro | 2319 | 0 | 0
Wind | 2640 | 0 | 0
Biomass | 2089 | 0 | 0
Others* | 359 | 0 | 0
Total | 72918 |  | 53065210077.936
Source | http://www.energy.alberta.ca/Electricity/682.asp | See Carbon sheet
Therefore Province Wide Average CO2/kWh
0.72774
Capacity | http://www.energy.alberta.ca/Electricity/682.asp
Generating Capacity | Megawatt (MW)
Coal | 5690
Gas | 5784
Hydro | 900
Wind | 1113
Biomass | 418
Waste Heat* | 86
Fuel Oil | 12
Subtotal | 14003
Interconnections Capacity
British Columbia | 750
Saskatchewan | 150
Subtotal | 900
Grand Total | 14903

## PV Output
Calculation of the solar PV energy ouput of a photovoltaic system
Yelow cell = enter your own data
White cell = calculated value (do not change the value)
Global formula : |  | E = A * r * H * PR
E = Energy (kWh) |  |  |  | 989541437572.853 | kWh/an
A = Total solar panel Area (m²) |  |  |  | 6309000000 | m²
r = solar panel yield (%) |  |  |  | 15%
H = Annual average irradiation on tilted panels (shadings not included)* |  |  |  | 1395.0342 | kWh/m².an
PR = Performance ratio, coefficient for losses (range between 0.9 and 0.5, default value = 0.75) |  |  |  | 0.74954
|  |  | Total power of the system | 946350000 | kWp
Losses details (depend of site, technology, and sizing of the system)
- | Inverter losses (6% to 15 %) |  |  | 8%
- | Température losses (5% to 15%) |  |  | 8%
- | DC cables losses (1 to 3 %) |  |  | 2%
- | AC cables losses (1 to 3 %) |  |  | 2%
- | Shadings 0 % to 40% (depends of site) |  |  | 3%
- | Losses weak irradiation 3% yo 7% |  |  | 3%
- | Losses due to dust, snow... (2%) |  |  | 2%
- | Other Losses |  |  | 0%