## Forests
http://www.forestecologynetwork.org/climate_change/sequestration_facts.html
carbon in northern forest (tonnes/acre) | 106
(tonnes/m^2) | 0.026193
tonnes/km^2 | 26.1932

## wind
m/s | 7.5 | http://www.iti.gov.nt.ca/publications/2013/energy/2012_WIND_ENERGY_RESOURCES_V2.pdf
mph | 16.7767

## Summary
tar_sands_CO2_renewable_energy.xls
Can wind turbines or PV cells on reclaimed tar sands land offset the CO2 created by mining and using the tar sands oil?
Written by Alex Slocum 2013.06.2013
If edited please enter info on "edit history" worksheet
Enter data in BOLD, calculated output in RED
Motivation: | http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
Alberta Tar Sands
Alberta tar sands land area (km^2) | 140200 | http://www.energy.alberta.ca/oilsands/791.asp
Carbon in the forest (billions of tonnes) | 3.6723 | http://www.forestecologynetwork.org/climate_change/sequestration_facts.html
CO2 saved from electricity by wind power installed on tar sands land
turbine size, peak power (MW) | 5 | http://www.power-technology.com/features/featurethe-worlds-biggest-wind-turbines-4154395/
capacity factor | 40% | http://cleantechnica.com/2012/07/27/wind-turbine-net-capacity-factor-50-the-new-normal/
land area per turbine (km^2) | 1
percent land area for wind turbines | 50%
area of wind farm (km^2) | 70100
(square miles) | 27382.8125
Square size (miles x miles) | 165.4775
number of turbines to be built for land area | 70100
average power generated (GW) | 140.2
average annual energy produced (TWhr) | 1228.152
CO2/MW saved by not burning coal to produce energy generated by wind (tonnes/year/MW) | 6374.9862
CO2 saved by not burning coal to produce energy generated by wind (magatonnes/year) | 893.7731 | 893.7731
CO2 from Tar sands production and oil use
Oil produced (million barrels per year) | 693.5 | http://oilsands.alberta.ca/resource.html |  | 1.9 * 365 = 693.5
CO2 to produce the oil (megatonnes/year) | 49.7167 | http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
CO2 from oil use (megatonnes/year) | 298.205 | http://www.epa.gov/cleanenergy/energy-resources/refs.html
Total CO2 per year from tar sands (megatonnes/year) | 347.9217
Electricity by PV
peak power of solar cell (MW) | 0.00141 | http://www.skyfireenergy.com/solar-residential/grid-tied-electric-systems/1-41-kw-grid-tie-edmonton-alberta/
percent land area assumed covered by PV fields | 15%
area of PV farm (km^2) | 21030
(square miles) | 8214.8437
Square size (miles x miles) | 90.6358
land area per solar pannel (km^2) | 4.73e-05 | http://spectrum.ieee.org/energywise/green-tech/solar/report-counts-up-solar-power-land-use-needs | http://greenforcesolar.com.au/knowledge-base/solar-panel-dimensions/
number of solar pannels to be built for land area | 444608879.4926 | x
density of coverage on land designated for PV fields | 30%
area of PV cells (m^2) | 6309000000
PV cell efficiency | 15% | http://www.forbes.com/sites/peterdetwiler/2013/07/16/as-solar-panel-efficiencies-keep-improving-its-time-to-adopt-some-new-metrics/
average 24/7 solar insolation April (Wh/m^2/day) | 3819.5
June | 6250 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
January | 1389 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
average power (assumes 24/7 operation made possible with storage technology) (GW)
June | 246.4453
January | 54.77
Average | 150.6077
CO2 saved by not burning coal to produce energy generated by solar (magatonnes/year) | 960.1217 | This is an estimated conversion

## CO2 amounts
carbon from coal to make electricity (kg/kWh) | 0.72774 | See bottom half of spreadsheet for derivation
CO2 from producing tar sands (tons per barrel of oil) | 0.071689 | http://oilprice.com/Energy/Energy-General/Keystone-XLs-Miniscule-CO2-Impact-and-the-Bigger-Picture.html
http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
CO2 from burning oil (tonnes per barrel oil) | 0.43 | http://www.epa.gov/cleanenergy/energy-resources/refs.html
Dave's Alberta CO2 Average (kg/kWh) (see sheet Alberta Electricity) | 0.72774
Previous value Carbon from coal to make electricity (kg/kWh) | 0.97068
How much carbon dioxide (CO2) is produced per kilowatt-hour when generating electricity with fossil fuels?
You can calculate the amount of CO2 produced per kWh for specific fuels and specific types of generators by multiplying the CO2 emissions factor for the fuel (in pounds of CO2 per million Btu) by the heat rate of a generator (in Btu per kWh generated), and dividing the result by 1,000,000.
For example, here are the number of pounds of CO2 produced by a steam-electric generator for different fuels using that formula and the average heat rates for steam-electric generators in 2011:
|  | Fuel | Lbs of CO2 per Million Btu | Heat Rate (Btu per kWh) | Lbs CO2 per kWh
Coal
|  | Bituminous | 205.3 | 10107 | 2.08
|  | Sub-bituminous | 212.7 | 10107 | 2.16
|  | Lignite | 215.4 | 10107 | 2.18
|  | Natural gas | 117.08 | 10416 | 1.22
|  | Distillate Oil (No. 2) | 161.386 | 10416 | 1.68
|  | Residual Oil (No. 6) | 173.906 | 10416 | 1.81
Last updated: March 11, 2014
Conversion Factors
By Source Type (US Country Avg.s from EPA) | lbs/MWh | kg/kWh | http://www.epa.gov/cleanenergy/energy-and-you/affect/air-emissions.html |  |  | 1lbs=?kgs | 0.45359
Nat Gas | 1135 | 0.51483
Coal | 2249 | 1.0201
Oil | 1672 | 0.75841
Biomass | debatable, but EPA site gives no #

## Solar
source http://en.wikipedia.org/wiki/Oil_sands

## edit history
Edited by | date | changes
Alex Slocum | 2013.06.27 | added development plan worksheet
Alex Slocum | 2013.09.13 | format columns review numbers
Santiago Paiva | 2014.03.13 | Alberta tar sands land area (km^2) to 140,200
Santiago Paiva | 2014.03.13 | Wind Turbine Peak Power to 7 MW
Santiago Paiva | 2014.03.13 | Wind Turbine Capacity Factor to 40.35%
Santiago Paiva | 2014.03.13 | PV cell efficiency to 15%
Santiago Paiva | 2014.03.13 | Insolation values for Fort McMurray Area: 1388.89 in January and 6250 in June
Santiago Paiva | 2014.03.13 | CO2 from producing tar sands (tons per barrel of oil) to 0.071
Santiago Paiva | 2014.03.13 | Oil produced (million barrels per year) to 693.5
Santiago Paiva | 2014.03.17 | Wind Turbine Peak Power back to 5 MW
Santiago Paiva | 2014.03.17 | Added solar insolation graph in the Solar tab
Santiago Paiva | 2014.03.17 | Added peak power for solar cells 1.3 kW in Alberta in Summary tab
Santiago Paiva | 2014.03.17 | Added land area per solar pannel (The general dimension is 1600mm x 1020mm = 0.0016 km^2) in Summary Tab
Santiago Paiva | 2014.03.17 | Added number of solar pannels to be built for land area in Summary tab
Santiago Paiva | 2014.03.17 | Added Wind Graphs & Solar graphs sheets
Alex Slocum | 2014.03.21 | cost per solar "cell" of 38k too high… does not make sense….. Base it all on cost per Watt as I did originally. INSTALLED (cell plus cabling plus inverter….) is about $4/watt (and coming down)
David Taylor | 2014.03.22 | Added Data for Alberta Electricty profile
Santiago Paiva | 2014.03.23 | Hided development plan (wind) tab and kept Dave's DT Adjusted Dev Plan (wind) tab
Santiago Paiva | 2014.03.23 | Updated Wind Graphs tab with new percentage values
Santiago Paiva | 2014.03.23 | Added life expectancy of solar pv cell (around 25 years) in development plan (solar) tab
Santiago Paiva | 2014.03.23 | Removed solar cell price of 38K to $4/Watt
Santiago Paiva | 2014.03.23 | Modified peak power of solar panel to 1.41 kW (Edmonton value)
Santiago Paiva | 2014.03.23 | Modified land area per solar panel to 8.3 acres per MW
Santiago Paiva | 2014.03.23 | Updated Solar Graphs tab with new percentages values
Santiago Paiva | 2014.03.24 | Updated Wind Graphs tab
Santiago Paiva | 2014.03.24 | Updated Solar Graphs tab
Santiago Paiva | 2014.03.25 | Added average 24/7 solar insolation April (Wh/m^2/day) in Summary tab
Santiago Paiva | 2014.03.25 | Added nominal power of the solar cell in Summary tab
Alex Slocum | 2014.03.27 | Removed nomial powerin Summary tab
Alex Slocum | 2014.03.27 | Changed percent land area covered by PV cells to 15% (formerly 10%)
David Taylor | 2014.03.31 | Used Offsets to make life expectancy math dynamic
David Taylor | 2014.4.1 | Major revision of wind tab. Decomissioning now works dynamically!
David Taylor | 2014.4.1 | Decomissioning in Solar now works too!
David Taylor | 2014.4.4 | Calculated % of electricity supply in wind

## development plan (Wind) (hidden)
millions barrels oil per year recovered from tar sands | 693.5
$ per barrell of oil to be invested on wind farm on site | 20 | X% | If price per barrel is 100, X% = 20/100 = 20%
Annual amount to be spent (Billions) | 13870000000
$/kWhr for reinvestment in purchasing more wind turbines | 0.05
Wind energy: if all the money were spent on wind energy:
Assumed cost of wind ($/W) in this location (include transmission) | 4
Nameplate (peak power) size of wind turbine (MW) | 5
cost per wind turbine installed | 20000000
number of wind turbines per year to be installed | 693.5
Number of automobiles manufactured equivalent to 1 wind turbine | 1000
year | total number of installed wind turbines | cumulative ratio carbon saved/carbon burned | number of wind turbines purchased | Millions of autos equivelant | % of total wind turbines to be built | cumulative carbon saved | cumulative carbon burned (MT) | value of wind produced in previous year reinvested (million $) | Billions to be spent on wind turbine acquisition next year
1 | 693.5 | 0% | 693.5 | 0.6935 | 0.9893% | 0 | 347.9217 |  | 13870000000
2 | 1417.5 | 1.271% | 724 | 0.724 | 2.022% | 8.8421 | 695.8433 | 624150000 | 14494150000
3 | 2174.5 | 2.579% | 757 | 0.757 | 3.102% | 26.9152 | 1043.765 | 1275750000 | 15145750000
4 | 2965.5 | 3.926% | 791 | 0.791 | 4.23% | 54.64 | 1391.6867 | 1957050000 | 15827050000
5 | 3791.5 | 5.314% | 826 | 0.826 | 5.409% | 92.45 | 1739.6083 | 2668950000 | 16538950000
6 | 4655.5 | 6.744% | 864 | 0.864 | 6.641% | 140.7916 | 2087.53 | 3412350000 | 17282350000
7 | 5557.5 | 8.218% | 902 | 0.902 | 7.928% | 200.1491 | 2435.4517 | 4189950000 | 18059950000
8 | 6500.5 | 9.737% | 943 | 0.943 | 9.273% | 271.007 | 2783.3733 | 5001750000 | 18871750000
9 | 7486.5 | 11.3% | 986 | 0.986 | 10.68% | 353.8882 | 3131.295 | 5850450000 | 19720450000
10 | 8516.5 | 12.92% | 1030 | 1.03 | 12.15% | 449.3409 | 3479.2167 | 6737850000 | 20607850000
11 | 9592.5 | 14.58% | 1076 | 1.076 | 13.68% | 557.926 | 3827.1383 | 7664850000 | 21534850000
12 | 10717.5 | 16.29% | 1125 | 1.125 | 15.29% | 680.2301 | 4175.06 | 8633250000 | 22503250000
13 | 11892.5 | 18.06% | 1175 | 1.175 | 16.97% | 816.878 | 4522.9817 | 9645750000 | 23515750000
14 | 13120.5 | 19.88% | 1228 | 1.228 | 18.72% | 968.507 | 4870.9033 | 10703250000 | 24573250000
15 | 14403.5 | 21.76% | 1283 | 1.283 | 20.55% | 1135.793 | 5218.825 | 11808450000 | 25678450000
16 | 15744.5 | 23.7% | 1341 | 1.341 | 22.46% | 1319.4373 | 5566.7467 | 12963150000 | 26833150000
17 | 17146.5 | 25.7% | 1402 | 1.402 | 24.46% | 1520.1792 | 5914.6683 | 14170050000 | 28040050000
18 | 18611.5 | 27.76% | 1465 | 1.465 | 26.55% | 1738.7966 | 6262.59 | 15431850000 | 29301850000
19 | 20142.5 | 29.89% | 1531 | 1.531 | 28.73% | 1976.0927 | 6610.5117 | 16750350000 | 30620350000
20 | 21741.5 | 32.09% | 1599 | 1.599 | 31.01% | 2232.909 | 6958.4333 | 18128250000 | 31998250000
21 | 23412.5 | 34.36% | 1671 | 1.671 | 33.4% | 2510.1125 | 7306.355 | 19567350000 | 33437350000
22 | 25159.5 | 36.69% | 1747 | 1.747 | 35.89% | 2808.6213 | 7654.2767 | 21071250000 | 34941250000
23 | 26984.5 | 39.11% | 1825 | 1.825 | 38.49% | 3129.4042 | 8002.1983 | 22643550000 | 36513550000
24 | 28891.5 | 41.6% | 1907 | 1.907 | 41.21% | 3473.4558 | 8350.12 | 24286050000 | 38156050000
25 | 30884.5 | 44.17% | 1993 | 1.993 | 44.06% | 3841.8217 | 8698.0417 | 26002350000 | 39872350000
26 | 32967.5 | 46.82% | 2083 | 2.083 | 47.03% | 4235.5982 | 9045.9633 | 27796050000 | 41666050000
27 | 35144.5 | 49.56% | 2177 | 2.177 | 50.13% | 4655.9329 | 9393.885 | 29670750000 | 43540750000
28 | 37419.5 | 52.39% | 2275 | 2.275 | 53.38% | 5104.0243 | 9741.8067 | 31630050000 | 45500050000
29 | 39796.5 | 55.31% | 2377 | 2.377 | 56.77% | 5581.1219 | 10089.7283 | 33677550000 | 47547550000
30 | 42280.5 | 58.33% | 2484 | 2.484 | 60.31% | 6088.5261 | 10437.65 | 35816850000 | 49686850000
31 | 44876.5 | 61.45% | 2596 | 2.596 | 64.02% | 6627.6014 | 10785.5717 | 38052450000 | 51922450000
32 | 47588.5 | 64.67% | 2712 | 2.712 | 67.89% | 7199.7755 | 11133.4933 | 40388850000 | 54258850000
33 | 50422.5 | 67.99% | 2834 | 2.834 | 71.93% | 7806.5275 | 11481.415 | 42829650000 | 56699650000
34 | 53384.5 | 71.43% | 2962 | 2.962 | 76.15% | 8449.413 | 11829.3367 | 45380250000 | 59250250000
35 | 56479.5 | 74.98% | 3095 | 3.095 | 80.57% | 9130.0639 | 12177.2583 | 48046050000 | 61916050000
36 | 59714.5 | 78.64% | 3235 | 3.235 | 85.18% | 9850.176 | 12525.18 | 50831550000 | 64701550000
37 | 63094.5 | 82.43% | 3380 | 3.38 | 90.01% | 10611.5342 | 12873.1017 | 53743050000 | 67613050000
38 | 66626.5 | 86.35% | 3532 | 3.532 | 95.04% | 11415.9873 | 13221.0233 | 56785050000 | 70655050000
39 | 70317.5 | 90.39% | 3691 | 3.691 | 100.3% | 12265.4734 | 13568.945 | 59963850000 | 73833850000
40 | 74174.5 | 94.58% | 3857 | 3.857 | 105.8% | 13162.0195 | 13916.8667 | 63285750000 | 77155750000
41 | 78205.5 | 98.9% | 4031 | 4.031 | 111.6% | 14107.7424 | 14264.7883 | 66757050000 | 80627050000
42 | 82417.5 | 103.4% | 4212 | 4.212 | 117.6% | 15104.8603 | 14612.71 | 70384950000 | 84254950000
43 | 86819.5 | 108% | 4402 | 4.402 | 123.9% | 16155.6812 | 14960.6317 | 74175750000 | 88045750000
44 | 91419.5 | 112.8% | 4600 | 4.6 | 130.4% | 17262.6274 | 15308.5533 | 78137550000 | 92007550000
45 | 96226.5 | 117.7% | 4807 | 4.807 | 137.3% | 18428.2235 | 15656.475 | 82277550000 | 96147550000
46 | 101249.5 | 122.8% | 5023 | 5.023 | 144.4% | 19655.1087 | 16004.3967 | 86603850000 | 100473850000
47 | 106498.5 | 128.1% | 5249 | 5.249 | 151.9% | 20946.037 | 16352.3183 | 91124550000 | 104994550000
48 | 111983.5 | 133.6% | 5485 | 5.485 | 159.7% | 22303.8899 | 16700.24 | 95848650000 | 109718650000
49 | 117715.5 | 139.2% | 5732 | 5.732 | 167.9% | 23731.6765 | 17048.1617 | 100785150000 | 114655150000
50 | 123705.5 | 145% | 5990 | 5.99 | 176.5% | 25232.5458 | 17396.0833 | 105943950000 | 119813950000
51 | 129965.5 | 151.1% | 6260 | 6.26 | 185.4% | 26809.7875 | 17744.005 | 111334950000 | 125204950000
52 | 136506.5 | 157.3% | 6541 | 6.541 | 194.7% | 28466.844 | 18091.9267 | 116968950000 | 130838950000
53 | 143342.5 | 163.8% | 6836 | 6.836 | 204.5% | 30207.2981 | 18439.8483 | 122855850000 | 136725850000
54 | 150485.5 | 170.5% | 7143 | 7.143 | 214.7% | 32034.911 | 18787.77 | 129008250000 | 142878250000

## DT Adjusted Dev Plan (Wind)
Life expectancy of a Wind Turbine (yrs) | 20 | https://www.irena.org/DocumentDownloads/Publications/RE_Technologies_Cost_Analysis-WIND_POWER.pdf
millions barrels oil per year recovered from tar sands | 693.5
$ per barrell of oil to be invested on wind farm on site | 45 | X% | If price per barrel is 100, X% = 20/100 = 20%
Annual amount to be spent | 31207500000
$/kWhr for reinvestment in purchasing more wind turbines | 0.02
Wind energy: if all the money were spent on wind energy:
Assumed cost of wind ($/W) in this location (include transmission) | 4
Nameplate (peak power) size of wind turbine (MW) | 5
cost per wind turbine installed | 20000000
number of wind turbines per year to be installed | 1560.375
Number of automobiles manufactured equivalent to 1 wind turbine | 1000
year | total number of installed wind turbines | cumulative ratio carbon saved/carbon burned | number of wind turbines purchased | Millions of autos equivelant | % of total wind turbines to be built | cumulative carbon saved (MT) | Cumulative Carbon from oil sands (vs. conventional) (MT) | Cumulative Carbon from oil end use (MT) | cumulative carbon burned (MT) | value of wind produced in previous year reinvested $ | $ to be spent on wind turbine acquisition next year | Decomissioned Turbines | Marginal carbon offset ratio | Total Installed Capacity (MW) | Power Generated (MW) | Percentage of System in Wind
1 | 1560.375 | 0% | 1560.375 | 1.5604 | 2.226% | 0 | 49.7167 | 298.205 | 347.9217 |  | 31207500000 | 0 | 0% | 7801.875 | 3120.75 | 20.94%
2 | 3148.375 | 2.859% | 1588 | 1.588 | 4.491% | 19.8947 | 99.4333 | 596.41 | 695.8433 | 561735000 | 31769235000 | 0 | 20.01% | 15741.875 | 6296.75 | 42.25%
3 | 4765.375 | 5.752% | 1617 | 1.617 | 6.798% | 60.0364 | 149.15 | 894.615 | 1043.765 | 1133415000 | 32340915000 | 0 | 40.25% | 23826.875 | 9530.75 | 63.95%
4 | 6411.375 | 8.68% | 1646 | 1.646 | 9.146% | 120.7948 | 198.8667 | 1192.82 | 1391.6867 | 1715535000 | 32923035000 | 0 | 60.74% | 32056.875 | 12822.75 | 86.04%
5 | 8086.375 | 11.64% | 1675 | 1.675 | 11.54% | 202.5397 | 248.5833 | 1491.025 | 1739.6083 | 2308095000 | 33515595000 | 0 | 81.48% | 40431.875 | 16172.75 | 108.5%
6 | 9791.375 | 14.64% | 1705 | 1.705 | 13.97% | 305.6407 | 298.3 | 1789.23 | 2087.53 | 2911095000 | 34118595000 | 0 | 102.5% | 48956.875 | 19582.75 | 131.4%
7 | 11527.375 | 17.68% | 1736 | 1.736 | 16.44% | 430.4805 | 348.0167 | 2087.435 | 2435.4517 | 3524895000 | 34732395000 | 0 | 123.7% | 57636.875 | 23054.75 | 154.7%
8 | 13294.375 | 20.75% | 1767 | 1.767 | 18.96% | 577.4542 | 397.7333 | 2385.64 | 2783.3733 | 4149855000 | 35357355000 | 0 | 145.2% | 66471.875 | 26588.75 | 178.4%
9 | 15093.375 | 23.85% | 1799 | 1.799 | 21.53% | 746.9571 | 447.45 | 2683.845 | 3131.295 | 4785975000 | 35993475000 | 0 | 166.9% | 75466.875 | 30186.75 | 202.6%
10 | 16925.375 | 27% | 1832 | 1.832 | 24.14% | 939.3972 | 497.1667 | 2982.05 | 3479.2167 | 5433615000 | 36641115000 | 0 | 189% | 84626.875 | 33850.75 | 227.1%
11 | 18790.375 | 30.18% | 1865 | 1.865 | 26.81% | 1155.1953 | 546.8833 | 3280.255 | 3827.1383 | 6093135000 | 37300635000 | 0 | 211.2% | 93951.875 | 37580.75 | 252.2%
12 | 20688.375 | 33.41% | 1898 | 1.898 | 29.51% | 1394.7721 | 596.6 | 3578.46 | 4175.06 | 6764535000 | 37972035000 | 0 | 233.8% | 103441.875 | 41376.75 | 277.6%
13 | 22620.375 | 36.67% | 1932 | 1.932 | 32.27% | 1658.5483 | 646.3167 | 3876.665 | 4522.9817 | 7447815000 | 38655315000 | 0 | 256.6% | 113101.875 | 45240.75 | 303.6%
14 | 24587.375 | 39.97% | 1967 | 1.967 | 35.07% | 1946.9574 | 696.0333 | 4174.87 | 4870.9033 | 8143335000 | 39350835000 | 0 | 279.7% | 122936.875 | 49174.75 | 330%
15 | 26589.375 | 43.31% | 2002 | 2.002 | 37.93% | 2260.4458 | 745.75 | 4473.075 | 5218.825 | 8851455000 | 40058955000 | 0 | 303.1% | 132946.875 | 53178.75 | 356.8%
16 | 28627.375 | 46.7% | 2038 | 2.038 | 40.84% | 2599.4596 | 795.4667 | 4771.28 | 5566.7467 | 9572175000 | 40779675000 | 0 | 326.8% | 143136.875 | 57254.75 | 384.2%
17 | 30702.375 | 50.12% | 2075 | 2.075 | 43.8% | 2964.4578 | 845.1833 | 5069.485 | 5914.6683 | 10305855000 | 41513355000 | 0 | 350.7% | 153511.875 | 61404.75 | 412%
18 | 32815.375 | 53.59% | 2113 | 2.113 | 46.81% | 3355.9122 | 894.9 | 5367.69 | 6262.59 | 11052855000 | 42260355000 | 0 | 375% | 164076.875 | 65630.75 | 440.4%
19 | 34966.375 | 57.1% | 2151 | 2.151 | 49.88% | 3774.3074 | 944.6167 | 5665.895 | 6610.5117 | 11813535000 | 43021035000 | 0 | 399.6% | 174831.875 | 69932.75 | 469.3%
20 | 37155.375 | 60.65% | 2189 | 2.189 | 53% | 4220.1277 | 994.3333 | 5964.1 | 6958.4333 | 12587895000 | 43795395000 | 0 | 424.4% | 185776.875 | 74310.75 | 498.6%
21 | 37824 | 64.24% | 2229 | 2.229 | 53.96% | 4693.8577 | 1044.05 | 6262.305 | 7306.355 | 13375935000 | 44583435000 | 1560.375 | 449.6% | 189120 | 75648 | 507.6%
22 | 38477 | 67.62% | 2241 | 2.241 | 54.89% | 5176.1126 | 1093.7667 | 6560.51 | 7654.2767 | 13616640000 | 44824140000 | 1588 | 473.2% | 192385 | 76954 | 516.4%
23 | 39112 | 70.81% | 2252 | 2.252 | 55.79% | 5666.6933 | 1143.4833 | 6858.715 | 8002.1983 | 13851720000 | 45059220000 | 1617 | 495.6% | 195560 | 78224 | 524.9%
24 | 39730 | 73.84% | 2264 | 2.264 | 56.68% | 6165.3702 | 1193.2 | 7156.92 | 8350.12 | 14080320000 | 45287820000 | 1646 | 516.7% | 198650 | 79460 | 533.2%
25 | 40330 | 76.71% | 2275 | 2.275 | 57.53% | 6671.9266 | 1242.9167 | 7455.125 | 8698.0417 | 14302800000 | 45510300000 | 1675 | 536.8% | 201650 | 80660 | 541.2%
26 | 40911 | 79.44% | 2286 | 2.286 | 58.36% | 7186.133 | 1292.6333 | 7753.33 | 9045.9633 | 14518800000 | 45726300000 | 1705 | 555.9% | 204555 | 81822 | 549%
27 | 41471 | 82.05% | 2296 | 2.296 | 59.16% | 7707.7471 | 1342.35 | 8051.535 | 9393.885 | 14727960000 | 45935460000 | 1736 | 574.2% | 207355 | 82942 | 556.5%
28 | 42010 | 84.55% | 2306 | 2.306 | 59.93% | 8236.5012 | 1392.0667 | 8349.74 | 9741.8067 | 14929560000 | 46137060000 | 1767 | 591.7% | 210050 | 84020 | 563.8%
29 | 42527 | 86.94% | 2316 | 2.316 | 60.67% | 8772.1276 | 1441.7833 | 8647.945 | 10089.7283 | 15123600000 | 46331100000 | 1799 | 608.4% | 212635 | 85054 | 570.7%
30 | 43020 | 89.24% | 2325 | 2.325 | 61.37% | 9314.3456 | 1491.5 | 8946.15 | 10437.65 | 15309720000 | 46517220000 | 1832 | 624.5% | 215100 | 86040 | 577.3%
31 | 43489 | 91.44% | 2334 | 2.334 | 62.04% | 9862.8495 | 1541.2167 | 9244.355 | 10785.5717 | 15487200000 | 46694700000 | 1865 | 639.9% | 217445 | 86978 | 583.6%
32 | 43934 | 93.57% | 2343 | 2.343 | 62.67% | 10417.333 | 1590.9333 | 9542.56 | 11133.4933 | 15656040000 | 46863540000 | 1898 | 654.8% | 219670 | 87868 | 589.6%
33 | 44353 | 95.61% | 2351 | 2.351 | 63.27% | 10977.4903 | 1640.65 | 9840.765 | 11481.415 | 15816240000 | 47023740000 | 1932 | 669.1% | 221765 | 88706 | 595.2%
34 | 44744 | 97.58% | 2358 | 2.358 | 63.83% | 11542.9898 | 1690.3667 | 10138.97 | 11829.3367 | 15967080000 | 47174580000 | 1967 | 682.9% | 223720 | 89488 | 600.5%
35 | 45107 | 99.48% | 2365 | 2.365 | 64.35% | 12113.4746 | 1740.0833 | 10437.175 | 12177.2583 | 16107840000 | 47315340000 | 2002 | 696.1% | 225535 | 90214 | 605.3%
36 | 45441 | 101.3% | 2372 | 2.372 | 64.82% | 12688.5876 | 1789.8 | 10735.38 | 12525.18 | 16238520000 | 47446020000 | 2038 | 708.9% | 227205 | 90882 | 609.8%
37 | 45744 | 103.1% | 2378 | 2.378 | 65.26% | 13267.9591 | 1839.5167 | 11033.585 | 12873.1017 | 16358760000 | 47566260000 | 2075 | 721.3% | 228720 | 91488 | 613.9%
38 | 46014 | 104.8% | 2383 | 2.383 | 65.64% | 13851.1938 | 1889.2333 | 11331.79 | 13221.0233 | 16467840000 | 47675340000 | 2113 | 733.2% | 230070 | 92028 | 617.5%
39 | 46251 | 106.4% | 2388 | 2.388 | 65.98% | 14437.871 | 1938.95 | 11629.995 | 13568.945 | 16565040000 | 47772540000 | 2151 | 744.6% | 231255 | 92502 | 620.7%
40 | 46454 | 108% | 2392 | 2.392 | 66.27% | 15027.57 | 1988.6667 | 11928.2 | 13916.8667 | 16650360000 | 47857860000 | 2189 | 755.7% | 232270 | 92908 | 623.4%
41 | 46621 | 109.5% | 2396 | 2.396 | 66.51% | 15619.8572 | 2038.3833 | 12226.405 | 14264.7883 | 16723440000 | 47930940000 | 2229 | 766.3% | 233105 | 93242 | 625.7%
42 | 46779 | 111% | 2399 | 2.399 | 66.73% | 16214.2737 | 2088.1 | 12524.61 | 14612.71 | 16783560000 | 47991060000 | 2241 | 776.5% | 233895 | 93558 | 627.8%
43 | 46929 | 112.4% | 2402 | 2.402 | 66.95% | 16810.7046 | 2137.8167 | 12822.815 | 14960.6317 | 16840440000 | 48047940000 | 2252 | 786.3% | 234645 | 93858 | 629.8%
44 | 47070 | 113.7% | 2405 | 2.405 | 67.15% | 17409.0481 | 2187.5333 | 13121.02 | 15308.5533 | 16894440000 | 48101940000 | 2264 | 795.8% | 235350 | 94140 | 631.7%
45 | 47202 | 115% | 2407 | 2.407 | 67.34% | 18009.1893 | 2237.25 | 13419.225 | 15656.475 | 16945200000 | 48152700000 | 2275 | 805% | 236010 | 94404 | 633.5%
46 | 47326 | 116.3% | 2410 | 2.41 | 67.51% | 18611.0134 | 2286.9667 | 13717.43 | 16004.3967 | 16992720000 | 48200220000 | 2286 | 813.8% | 236630 | 94652 | 635.1%
47 | 47442 | 117.5% | 2412 | 2.412 | 67.68% | 19214.4186 | 2336.6833 | 14015.635 | 16352.3183 | 17037360000 | 48244860000 | 2296 | 822.3% | 237210 | 94884 | 636.7%
48 | 47550 | 118.7% | 2414 | 2.414 | 67.83% | 19819.3028 | 2386.4 | 14313.84 | 16700.24 | 17079120000 | 48286620000 | 2306 | 830.5% | 237750 | 95100 | 638.1%
49 | 47650 | 119.8% | 2416 | 2.416 | 67.97% | 20425.564 | 2436.1167 | 14612.045 | 17048.1617 | 17118000000 | 48325500000 | 2316 | 838.4% | 238250 | 95300 | 639.5%
50 | 47743 | 120.9% | 2418 | 2.418 | 68.11% | 21033.1002 | 2485.8333 | 14910.25 | 17396.0833 | 17154000000 | 48361500000 | 2325 | 846.1% | 238715 | 95486 | 640.7%
51 | 47828 | 122% | 2419 | 2.419 | 68.23% | 21641.8221 | 2535.55 | 15208.455 | 17744.005 | 17187480000 | 48394980000 | 2334 | 853.5% | 239140 | 95656 | 641.9%
52 | 47906 | 123% | 2421 | 2.421 | 68.34% | 22251.6278 | 2585.2667 | 15506.66 | 18091.9267 | 17218080000 | 48425580000 | 2343 | 860.7% | 239530 | 95812 | 642.9%
53 | 47977 | 124% | 2422 | 2.422 | 68.44% | 22862.428 | 2634.9833 | 15804.865 | 18439.8483 | 17246160000 | 48453660000 | 2351 | 867.6% | 239885 | 95954 | 643.9%
54 | 48042 | 124.9% | 2423 | 2.423 | 68.53% | 23474.1334 | 2684.7 | 16103.07 | 18787.77 | 17271720000 | 48479220000 | 2358 | 874.4% | 240210 | 96084 | 644.7%
55 | 48102 | 125.9% | 2425 | 2.425 | 68.62% | 24086.6676 | 2734.4167 | 16401.275 | 19135.6917 | 17295120000 | 48502620000 | 2365 | 880.9% | 240510 | 96204 | 645.5%
56 | 48156 | 126.8% | 2426 | 2.426 | 68.7% | 24699.9667 | 2784.1333 | 16699.48 | 19483.6133 | 17316720000 | 48524220000 | 2372 | 887.2% | 240780 | 96312 | 646.3%
57 | 48205 | 127.6% | 2427 | 2.427 | 68.77% | 25313.9544 | 2833.85 | 16997.685 | 19831.535 | 17336160000 | 48543660000 | 2378 | 893.3% | 241025 | 96410 | 646.9%
58 | 48250 | 128.5% | 2428 | 2.428 | 68.83% | 25928.5668 | 2883.5667 | 17295.89 | 20179.4567 | 17353800000 | 48561300000 | 2383 | 899.2% | 241250 | 96500 | 647.5%
59 | 48290 | 129.3% | 2428 | 2.428 | 68.89% | 26543.753 | 2933.2833 | 17594.095 | 20527.3783 | 17370000000 | 48577500000 | 2388 | 904.9% | 241450 | 96580 | 648.1%
60 | 48327 | 130.1% | 2429 | 2.429 | 68.94% | 27159.4491 | 2983 | 17892.3 | 20875.3 | 17384400000 | 48591900000 | 2392 | 910.5% | 241635 | 96654 | 648.6%

## Wind Graphs
year | 10% Investment | 15% Investment | 20% Investment | 25% Investment | 30% investment
1 | 0% | 0% | 0% | 0% | 0%
2 | 0.6354% | 0.953% | 1.271% | 1.588% | 1.906%
3 | 1.289% | 1.934% | 2.579% | 3.223% | 3.869%
4 | 1.963% | 2.944% | 3.926% | 4.907% | 5.891%
5 | 2.656% | 3.985% | 5.314% | 6.643% | 7.973%
6 | 3.371% | 5.057% | 6.744% | 8.431% | 10.12%
7 | 4.107% | 6.162% | 8.218% | 10.27% | 12.33%
8 | 4.866% | 7.301% | 9.737% | 12.17% | 14.61%
9 | 5.648% | 8.475% | 11.3% | 14.13% | 16.96%
10 | 6.454% | 9.685% | 12.92% | 16.15% | 19.38%
11 | 7.285% | 10.93% | 14.58% | 18.22% | 21.87%
12 | 8.142% | 12.22% | 16.29% | 20.37% | 24.45%
13 | 9.026% | 13.54% | 18.06% | 22.58% | 27.1%
14 | 9.937% | 14.91% | 19.88% | 24.86% | 29.83%
15 | 10.88% | 16.32% | 21.76% | 27.21% | 32.65%
16 | 11.84% | 17.77% | 23.7% | 29.63% | 35.56%
17 | 12.84% | 19.27% | 25.7% | 32.13% | 38.56%
18 | 13.87% | 20.82% | 27.76% | 34.71% | 41.66%
19 | 14.94% | 22.42% | 29.89% | 37.37% | 44.85%
20 | 16.04% | 24.06% | 32.09% | 40.11% | 48.15%
21 | 17.17% | 25.76% | 34.36% | 42.95% | 51.55%
22 | 18.34% | 27.51% | 36.69% | 45.87% | 55.06%
23 | 19.54% | 29.32% | 39.11% | 48.89% | 58.68% | Investment (%) | Offset (Years)
24 | 20.79% | 31.19% | 41.6% | 52% | 62.41% | 0 | 0
25 | 22.07% | 33.12% | 44.17% | 55.21% | 66.27% | 5 | 76
26 | 23.4% | 35.11% | 46.82% | 58.53% | 70.25% | 10 | 58
27 | 24.77% | 37.16% | 49.56% | 61.96% | 74.37% | 15 | 48
28 | 26.18% | 39.29% | 52.39% | 65.5% | 78.61% | 20 | 41
29 | 27.64% | 41.48% | 55.31% | 69.15% | 82.99% | 25 | 36.5
30 | 29.15% | 43.74% | 58.33% | 72.92% | 87.52% | 30 | 33
31 | 30.71% | 46.08% | 61.45% | 76.81% | 92.2% | 35 | 30
32 | 32.31% | 48.49% | 64.67% | 80.84% | 97.03% | 40 | 27.1
33 | 33.98% | 50.98% | 67.99% | 85% | 102% | 45 | 25.1
34 | 35.69% | 53.56% | 71.43% | 89.29% | 107.2% | 50 | 23.4
35 | 37.47% | 56.22% | 74.98% | 93.72% | 112.5% | 55 | 22
36 | 39.3% | 58.97% | 78.64% | 98.31% | 118% | 60 | 20.6
37 | 41.19% | 61.81% | 82.43% | 103% | 123.7% | 65 | 19.5
38 | 43.15% | 64.75% | 86.35% | 107.9% | 129.6% | 70 | 18.4
39 | 45.17% | 67.78% | 90.39% | 113% | 135.6% | 75 | 17.5
40 | 47.26% | 70.92% | 94.58% | 118.2% | 141.9% | 80 | 16.6
41 | 49.42% | 74.16% | 98.9% | 123.6% | 148.4% | 85 | 15.9
42 | 51.65% | 77.51% | 103.4% | 129.2% | 155.1% | 90 | 15.2
43 | 53.96% | 80.97% | 108% | 135% | 162% | 95 | 14.6
44 | 56.35% | 84.55% | 112.8% | 141% | 169.2% | 100 | 14
45 | 58.82% | 88.26% | 117.7% | 147.1% | 176.6%
46 | 61.37% | 92.09% | 122.8% | 153.5% | 184.3%
47 | 64.01% | 96.05% | 128.1% | 160.1% | 192.2%
48 | 66.74% | 100.1% | 133.6% | 167% | 200.4%
49 | 69.56% | 104.4% | 139.2% | 174% | 208.9%
50 | 72.48% | 108.8% | 145% | 181.3% | 217.6%
51 | 75.5% | 113.3% | 151.1% | 188.9% | 226.7% | Investment (%) | Offset (Years)
52 | 78.62% | 118% | 157.3% | 196.7% | 236.1% | 20 | 41
53 | 81.86% | 122.8% | 163.8% | 204.8% | 245.8% | 30 | 33
54 | 85.2% | 127.9% | 170.5% | 213.1% | 255.8% | 40 | 27.1
55 | 88.66% | 133% | 177.4% | 221.8% | 266.2%
56 | 92.24% | 138.4% | 184.6% | 230.8% | 277%
57 | 95.95% | 144% | 192% | 240% | 288.1%
58 | 99.79% | 149.7% | 199.7% | 249.6% | 299.6%
59 | 103.8% | 155.7% | 207.6% | 259.6% | 311.5%
60 | 107.9% | 161.9% | 215.9% | 269.9% | 323.9%

## development plan (Solar)
Life expectancy of a solar cell (yrs) | 25 | http://www.seia.org/policy/environment/pv-recycling
millions barrels oil per year recovered from tar sands | 693.5
$ per barrell of oil to be invested on wind farm on site | 20 | X% | If price per barrel is 100, X% = 20/100 = 20%
Annual amount to be spent (Billions) | 13870000000
$/kWhr for reinvestment in purchasing more solar cells | 0.05
Wind energy: if all the money were spent on solar energy:
Assumed cost of solar ($/W) in this location (includes installation) | 4
Nameplate (peak power) of solar cell (MW) | 0.00141
cost per solar cell installed | 5640
number of solar cells per year to be installed | 2459219.8582
Number of automobiles manufactured equivalent to 1 solar cell | 1
year | total number of installed solar cells | cumulative ratio carbon saved/carbon burned | number of solar cells purchased | Millions of autos equivelant | % of total solar cells to be built | cumulative carbon saved | cumulative carbon burned (MT) | value of solar produced in previous year reinvested (million $) | Billions to be spent on solar cells acquisition next year | Decomissioned Cells
1 | 2459219.8582 | 0% | 2459219.8582 | 2.4592 | 0.5531% | 0 | 347.9217 |  | 13870000000 | 0
2 | 4959938.8582 | 0.7632% | 2500719 | 2.5007 | 1.116% | 5.3106 | 695.8433 | 234056250 | 14104056250 | 0
3 | 7502856.8582 | 1.535% | 2542918 | 2.5429 | 1.688% | 16.0215 | 1043.765 | 472062180.825 | 14342062180.825 | 0
4 | 10088686.8582 | 2.315% | 2585830 | 2.5858 | 2.269% | 32.2237 | 1391.6867 | 714084401.475 | 14584084401.475 | 0
5 | 12718152.8582 | 3.105% | 2629466 | 2.6295 | 2.861% | 54.01 | 1739.6083 | 960190771.725 | 14830190771.725 | 0
6 | 15391990.8582 | 3.903% | 2673838 | 2.6738 | 3.462% | 81.4745 | 2087.53 | 1210450198.275 | 15080450198.275 | 0
7 | 18110949.8582 | 4.71% | 2718959 | 2.719 | 4.073% | 114.7131 | 2435.4517 | 1464932729.925 | 15334932729.925 | 0
8 | 20875791.8582 | 5.527% | 2764842 | 2.7648 | 4.695% | 153.8233 | 2783.3733 | 1723709652.75 | 15593709652.75 | 0
9 | 23687289.8582 | 6.352% | 2811498 | 2.8115 | 5.328% | 198.904 | 3131.295 | 1986853490.1 | 15856853490.1 | 0
10 | 26546231.8582 | 7.187% | 2858942 | 2.8589 | 5.971% | 250.0561 | 3479.2167 | 2254437812.25 | 16124437812.25 | 0
11 | 29453418.8582 | 8.032% | 2907187 | 2.9072 | 6.625% | 307.3821 | 3827.1383 | 2526537617.1 | 16396537617.1 | 0
12 | 32409664.8582 | 8.886% | 2956246 | 2.9562 | 7.289% | 370.986 | 4175.06 | 2803229139.825 | 16673229139.825 | 0
13 | 35415796.8582 | 9.75% | 3006132 | 3.0061 | 7.966% | 440.9738 | 4522.9817 | 3084589852.875 | 16954589852.875 | 0
14 | 38472657.8582 | 10.62% | 3056861 | 3.0569 | 8.653% | 517.4534 | 4870.9033 | 3370698465.975 | 17240698465.975 | 0
15 | 41581102.8582 | 11.51% | 3108445 | 3.1084 | 9.352% | 600.5341 | 5218.825 | 3661635211.65 | 17531635211.65 | 0
16 | 44742002.8582 | 12.4% | 3160900 | 3.1609 | 10.06% | 690.3275 | 5566.7467 | 3957481464.525 | 17827481464.525 | 0
17 | 47956243.8582 | 13.31% | 3214241 | 3.2142 | 10.79% | 786.9467 | 5914.6683 | 4258320122.025 | 18128320122.025 | 0
18 | 51224724.8582 | 14.22% | 3268481 | 3.2685 | 11.52% | 890.507 | 6262.59 | 4564235509.2 | 18434235509.2 | 0
19 | 54548361.8582 | 15.14% | 3323637 | 3.3236 | 12.27% | 1001.1255 | 6610.5117 | 4875313188.375 | 18745313188.375 | 0
20 | 57928084.8582 | 16.08% | 3379723 | 3.3797 | 13.03% | 1118.9213 | 6958.4333 | 5191640339.85 | 19061640339.85 | 0
21 | 61364840.8582 | 17.03% | 3436756 | 3.4368 | 13.8% | 1244.0156 | 7306.355 | 5513305476.375 | 19383305476.375 | 0
22 | 64859591.8582 | 17.98% | 3494751 | 3.4948 | 14.59% | 1376.5314 | 7654.2767 | 5840398728.675 | 19710398728.675 | 0
23 | 68413316.8582 | 18.95% | 3553725 | 3.5537 | 15.39% | 1516.5941 | 8002.1983 | 6173011655.1 | 20043011655.1 | 0
24 | 72027010.8582 | 19.93% | 3613694 | 3.6137 | 16.2% | 1664.3309 | 8350.12 | 6511237431.975 | 20381237431.975 | 0
25 | 75701685.8582 | 20.92% | 3674675 | 3.6747 | 17.03% | 1819.8715 | 8698.0417 | 6855170758.425 | 20725170758.425 | 0
26 | 76979151 | 21.93% | 3736685 | 3.7367 | 17.31% | 1983.3474 | 9045.9633 | 7204907951.55 | 21074907951.55 | 2459219.8582
27 | 78236675 | 22.88% | 3758243 | 3.7582 | 17.6% | 2149.5819 | 9393.885 | 7326490696.425 | 21196490696.425 | 2500719
28 | 79473220 | 23.8% | 3779463 | 3.7795 | 17.87% | 2318.532 | 9741.8067 | 7446175543.125 | 21316175543.125 | 2542918
29 | 80687720 | 24.68% | 3800330 | 3.8003 | 18.15% | 2490.1525 | 10089.7283 | 7563863713.5 | 21433863713.5 | 2585830
30 | 81879079 | 25.53% | 3820825 | 3.8208 | 18.42% | 2664.3956 | 10437.65 | 7679453751 | 21549453751 | 2629466
31 | 83046170 | 26.34% | 3840929 | 3.8409 | 18.68% | 2841.2114 | 10785.5717 | 7792841343.825 | 21662841343.825 | 2673838
32 | 84187834 | 27.13% | 3860623 | 3.8606 | 18.94% | 3020.5475 | 11133.4933 | 7903919229.75 | 21773919229.75 | 2718959
33 | 85302881 | 27.89% | 3879889 | 3.8799 | 19.19% | 3202.349 | 11481.415 | 8012577100.95 | 21882577100.95 | 2764842
34 | 86390088 | 28.63% | 3898705 | 3.8987 | 19.43% | 3386.5585 | 11829.3367 | 8118701699.175 | 21988701699.175 | 2811498
35 | 87448198 | 29.34% | 3917052 | 3.9171 | 19.67% | 3573.1157 | 12177.2583 | 8222176625.4 | 22092176625.4 | 2858942
36 | 88475919 | 30.04% | 3934908 | 3.9349 | 19.9% | 3761.9579 | 12525.18 | 8322882244.65 | 22192882244.65 | 2907187
37 | 89471923 | 30.71% | 3952250 | 3.9522 | 20.12% | 3953.0194 | 12873.1017 | 8420695590.825 | 22290695590.825 | 2956246
38 | 90434849 | 31.36% | 3969058 | 3.9691 | 20.34% | 4146.2318 | 13221.0233 | 8515490271.525 | 22385490271.525 | 3006132
39 | 91363295 | 32% | 3985307 | 3.9853 | 20.55% | 4341.5236 | 13568.945 | 8607136753.575 | 22477136753.575 | 3056861
40 | 92255825 | 32.61% | 4000975 | 4.001 | 20.75% | 4538.8204 | 13916.8667 | 8695501601.625 | 22565501601.625 | 3108445
41 | 93110961 | 33.21% | 4016036 | 4.016 | 20.94% | 4738.0445 | 14264.7883 | 8780448144.375 | 22650448144.375 | 3160900
42 | 93927187 | 33.8% | 4030467 | 4.0305 | 21.13% | 4939.1153 | 14612.71 | 8861835713.175 | 22731835713.175 | 3214241
43 | 94702947 | 34.37% | 4044241 | 4.0442 | 21.3% | 5141.9487 | 14960.6317 | 8939520022.725 | 22809520022.725 | 3268481
44 | 95436642 | 34.92% | 4057332 | 4.0573 | 21.47% | 5346.4573 | 15308.5533 | 9013352980.725 | 22883352980.725 | 3323637
45 | 96126632 | 35.46% | 4069713 | 4.0697 | 21.62% | 5552.5504 | 15656.475 | 9083182402.35 | 22953182402.35 | 3379723
46 | 96771232 | 35.99% | 4081356 | 4.0814 | 21.77% | 5760.1334 | 16004.3967 | 9148852200.6 | 23018852200.6 | 3436756
47 | 97368715 | 36.5% | 4092234 | 4.0922 | 21.9% | 5969.1085 | 16352.3183 | 9210202005.6 | 23080202005.6 | 3494751
48 | 97917306 | 37% | 4102316 | 4.1023 | 22.02% | 6179.3738 | 16700.24 | 9267067450.125 | 23137067450.125 | 3553725
49 | 98415186 | 37.49% | 4111574 | 4.1116 | 22.14% | 6390.8238 | 17048.1617 | 9319279598.55 | 23189279598.55 | 3613694
50 | 98860487 | 37.96% | 4119976 | 4.12 | 22.24% | 6603.3489 | 17396.0833 | 9366665327.55 | 23236665327.55 | 3674675
51 | 99251292 | 38.42% | 4127490 | 4.1275 | 22.32% | 6816.8356 | 17744.005 | 9409046850.225 | 23279046850.225 | 3736685
52 | 99627134 | 38.86% | 4134085 | 4.1341 | 22.41% | 7031.1663 | 18091.9267 | 9446241716.1 | 23316241716.1 | 3758243
53 | 99988098 | 39.3% | 4140427 | 4.1404 | 22.49% | 7246.3086 | 18439.8483 | 9482012478.45 | 23352012478.45 | 3779463
54 | 100334287 | 39.72% | 4146519 | 4.1465 | 22.57% | 7462.2304 | 18787.77 | 9516367227.15 | 23386367227.15 | 3800330
55 | 100665822 | 40.13% | 4152360 | 4.1524 | 22.64% | 7678.8998 | 19135.6917 | 9549315765.225 | 23419315765.225 | 3820825
56 | 100982848 | 40.53% | 4157955 | 4.158 | 22.71% | 7896.2851 | 19483.6133 | 9580869608.85 | 23450869608.85 | 3840929
57 | 101285530 | 40.92% | 4163305 | 4.1633 | 22.78% | 8114.355 | 19831.535 | 9611042558.4 | 23481042558.4 | 3860623
58 | 101574054 | 41.29% | 4168413 | 4.1684 | 22.85% | 8333.0786 | 20179.4567 | 9639850317.75 | 23509850317.75 | 3879889
59 | 101848631 | 41.66% | 4173282 | 4.1733 | 22.91% | 8552.4252 | 20527.3783 | 9667310589.45 | 23537310589.45 | 3898705
60 | 102109494 | 42.02% | 4177915 | 4.1779 | 22.97% | 8772.3648 | 20875.3 | 9693443455.425 | 23563443455.425 | 3917052
61 | 102356903 | 42.37% | 4182317 | 4.1823 | 23.02% | 8992.8677 | 21223.2217 | 9718271091.45 | 23588271091.45 | 3934908
62 | 102591145 | 42.71% | 4186492 | 4.1865 | 23.07% | 9213.9049 | 21571.1433 | 9741818243.025 | 23611818243.025 | 3952250
63 | 102812532 | 43.05% | 4190445 | 4.1904 | 23.12% | 9435.4479 | 21919.065 | 9764112225.375 | 23634112225.375 | 3969058
64 | 103021406 | 43.37% | 4194181 | 4.1942 | 23.17% | 9657.469 | 22266.9867 | 9785182733.1 | 23655182733.1 | 3985307
65 | 103218137 | 43.69% | 4197706 | 4.1977 | 23.22% | 9879.9411 | 22614.9083 | 9805062316.05 | 23675062316.05 | 4000975
66 | 103403126 | 44% | 4201025 | 4.201 | 23.26% | 10102.8381 | 22962.83 | 9823786188.975 | 23693786188.975 | 4016036
67 | 103576806 | 44.3% | 4204147 | 4.2041 | 23.3% | 10326.1346 | 23310.7517 | 9841392517.05 | 23711392517.05 | 4030467
68 | 103739643 | 44.59% | 4207078 | 4.2071 | 23.33% | 10549.8061 | 23658.6733 | 9857922511.05 | 23727922511.05 | 4044241
69 | 103892137 | 44.88% | 4209826 | 4.2098 | 23.37% | 10773.8292 | 24006.595 | 9873420522.525 | 23743420522.525 | 4057332
70 | 104034823 | 45.16% | 4212399 | 4.2124 | 23.4% | 10998.1817 | 24354.5167 | 9887934138.975 | 23757934138.975 | 4069713
71 | 104168274 | 45.43% | 4214807 | 4.2148 | 23.43% | 11222.8423 | 24702.4383 | 9901514279.025 | 23771514279.025 | 4081356
72 | 104293099 | 45.7% | 4217059 | 4.2171 | 23.46% | 11447.7911 | 25050.36 | 9914215477.95 | 23784215477.95 | 4092234
73 | 104409948 | 45.96% | 4219165 | 4.2192 | 23.48% | 11673.0094 | 25398.2817 | 9926095697.325 | 23796095697.325 | 4102316
74 | 104519511 | 46.21% | 4221137 | 4.2211 | 23.51% | 11898.4801 | 25746.2033 | 9937216800.9 | 23807216800.9 | 4111574
75 | 104622521 | 46.46% | 4222986 | 4.223 | 23.53% | 12124.1874 | 26094.125 | 9947644459.425 | 23817644459.425 | 4119976
76 | 104719755 | 46.71% | 4224724 | 4.2247 | 23.55% | 12350.1171 | 26442.0467 | 9957448436.175 | 23827448436.175 | 4127490
77 | 104812035 | 46.94% | 4226365 | 4.2264 | 23.57% | 12576.2568 | 26789.9683 | 9966702682.125 | 23836702682.125 | 4134085
78 | 104899530 | 47.18% | 4227922 | 4.2279 | 23.59% | 12802.5957 | 27137.89 | 9975485431.125 | 23845485431.125 | 4140427
79 | 104982410 | 47.4% | 4229399 | 4.2294 | 23.61% | 13029.1236 | 27485.8117 | 9983812767.75 | 23853812767.75 | 4146519
80 | 105060848 | 47.63% | 4230798 | 4.2308 | 23.63% | 13255.8305 | 27833.7333 | 9991700871.75 | 23861700871.75 | 4152360
81 | 105135014 | 47.84% | 4232121 | 4.2321 | 23.65% | 13482.7068 | 28181.655 | 9999166208.4 | 23869166208.4 | 4157955
82 | 105205082 | 48.05% | 4233373 | 4.2334 | 23.66% | 13709.7432 | 28529.5767 | 10006224957.45 | 23876224957.45 | 4163305
83 | 105271224 | 48.26% | 4234555 | 4.2346 | 23.68% | 13936.931 | 28877.4983 | 10012893679.35 | 23882893679.35 | 4168413
84 | 105333613 | 48.47% | 4235671 | 4.2357 | 23.69% | 14164.2615 | 29225.42 | 10019188744.2 | 23889188744.2 | 4173282
85 | 105392422 | 48.66% | 4236724 | 4.2367 | 23.7% | 14391.7268 | 29573.3417 | 10025126617.275 | 23895126617.275 | 4177915
86 | 105447821 | 48.86% | 4237716 | 4.2377 | 23.72% | 14619.3191 | 29921.2633 | 10030723763.85 | 23900723763.85 | 4182317
87 | 105499980 | 49.05% | 4238651 | 4.2387 | 23.73% | 14847.0311 | 30269.185 | 10035996363.675 | 23905996363.675 | 4186492
88 | 105549067 | 49.24% | 4239532 | 4.2395 | 23.74% | 15074.8556 | 30617.1067 | 10040960596.5 | 23910960596.5 | 4190445
89 | 105595246 | 49.42% | 4240360 | 4.2404 | 23.75% | 15302.7862 | 30965.0283 | 10045632451.725 | 23915632451.725 | 4194181
90 | 105638679 | 49.6% | 4241139 | 4.2411 | 23.76% | 15530.8165 | 31312.95 | 10050027538.05 | 23920027538.05 | 4197706
91 | 105679526 | 49.77% | 4241872 | 4.2419 | 23.77% | 15758.9406 | 31660.8717 | 10054161273.825 | 23924161273.825 | 4201025
92 | 105717940 | 49.95% | 4242561 | 4.2426 | 23.78% | 15987.1529 | 32008.7933 | 10058048887.05 | 23928048887.05 | 4204147
93 | 105754072 | 50.11% | 4243210 | 4.2432 | 23.79% | 16215.4481 | 32356.715 | 10061704939.5 | 23931704939.5 | 4207078
94 | 105788065 | 50.28% | 4243819 | 4.2438 | 23.79% | 16443.8214 | 32704.6367 | 10065143802.6 | 23935143802.6 | 4209826
95 | 105820059 | 50.44% | 4244393 | 4.2444 | 23.8% | 16672.268 | 33052.5583 | 10068379086.375 | 23938379086.375 | 4212399
96 | 105850185 | 50.6% | 4244933 | 4.2449 | 23.81% | 16900.7838 | 33400.48 | 10071424115.325 | 23941424115.325 | 4214807
97 | 105878567 | 50.76% | 4245441 | 4.2454 | 23.81% | 17129.3646 | 33748.4017 | 10074291357.375 | 23944291357.375 | 4217059
98 | 105905322 | 50.91% | 4245920 | 4.2459 | 23.82% | 17358.0068 | 34096.3233 | 10076992614.225 | 23946992614.225 | 4219165
99 | 105930557 | 51.06% | 4246372 | 4.2464 | 23.83% | 17586.7066 | 34444.245 | 10079539021.35 | 23949539021.35 | 4221137
100 | 105954369 | 51.21% | 4246798 | 4.2468 | 23.83% | 17815.461 | 34792.1667 | 10081940762.475 | 23951940762.475 | 4222986

## Solar Graphs
year | 10% Investment | 15% Investment | 20% Investment | 25% Investment | 30% Investment
1 | 0% | 0% | 0% | 0% | 0%
2 | 0.3816% | 0.5724% | 0.7632% | 0.954% | 1.145%
3 | 0.7675% | 1.151% | 1.535% | 1.919% | 2.302%
4 | 1.158% | 1.737% | 2.315% | 2.894% | 3.473%
5 | 1.552% | 2.329% | 3.105% | 3.881% | 4.657%
6 | 1.951% | 2.927% | 3.903% | 4.879% | 5.854%
7 | 2.355% | 3.533% | 4.71% | 5.888% | 7.065%
8 | 2.763% | 4.145% | 5.527% | 6.908% | 8.29%
9 | 3.176% | 4.764% | 6.352% | 7.94% | 9.528%
10 | 3.594% | 5.39% | 7.187% | 8.984% | 10.78%
11 | 4.016% | 6.024% | 8.032% | 10.04% | 12.05%
12 | 4.443% | 6.664% | 8.886% | 11.11% | 13.33%
13 | 4.875% | 7.312% | 9.75% | 12.19% | 14.62%
14 | 5.312% | 7.968% | 10.62% | 13.28% | 15.94%
15 | 5.754% | 8.63% | 11.51% | 14.38% | 17.26%
16 | 6.2% | 9.301% | 12.4% | 15.5% | 18.6%
17 | 6.652% | 9.979% | 13.31% | 16.63% | 19.96%
18 | 7.11% | 10.66% | 14.22% | 17.77% | 21.33%
19 | 7.572% | 11.36% | 15.14% | 18.93% | 22.72%
20 | 8.04% | 12.06% | 16.08% | 20.1% | 24.12%
21 | 8.513% | 12.77% | 17.03% | 21.28% | 25.54%
22 | 8.992% | 13.49% | 17.98% | 22.48% | 26.98%
23 | 9.476% | 14.21% | 18.95% | 23.69% | 28.43%
24 | 9.966% | 14.95% | 19.93% | 24.91% | 29.9%
25 | 10.46% | 15.69% | 20.92% | 26.15% | 31.38% | Investment (%) | Offset (Years)
26 | 10.96% | 16.44% | 21.93% | 27.41% | 32.89% | 0 | 0
27 | 11.47% | 17.2% | 22.94% | 28.67% | 34.41% | 5 | 166
28 | 11.98% | 17.97% | 23.97% | 29.96% | 35.95% | 10 | 121
29 | 12.5% | 18.75% | 25% | 31.25% | 37.5% | 15 | 96
30 | 13.03% | 19.54% | 26.05% | 32.57% | 39.08% | 20 | 81
31 | 13.56% | 20.34% | 27.12% | 33.89% | 40.67% | 25 | 70
32 | 14.09% | 21.14% | 28.19% | 35.24% | 42.28% | 30 | 62
33 | 14.64% | 21.96% | 29.28% | 36.6% | 43.92% | 35 | 55
34 | 15.19% | 22.78% | 30.38% | 37.97% | 45.57% | 40 | 50
35 | 15.74% | 23.62% | 31.49% | 39.36% | 47.23% | 45 | 46
36 | 16.31% | 24.46% | 32.62% | 40.77% | 48.92% | 50 | 42
37 | 16.88% | 25.32% | 33.75% | 42.19% | 50.63% | 55 | 39
38 | 17.45% | 26.18% | 34.91% | 43.63% | 52.36% | 60 | 37
39 | 18.04% | 27.06% | 36.07% | 45.09% | 54.11% | 65 | 34
40 | 18.63% | 27.94% | 37.25% | 46.57% | 55.88% | 70 | 32
41 | 19.22% | 28.84% | 38.45% | 48.06% | 57.67% | 75 | 30.5
42 | 19.83% | 29.74% | 39.66% | 49.57% | 59.48% | 80 | 29
43 | 20.44% | 30.66% | 40.88% | 51.1% | 61.32% | 85 | 27.5
44 | 21.06% | 31.59% | 42.11% | 52.64% | 63.17% | 90 | 26
45 | 21.68% | 32.52% | 43.37% | 54.21% | 65.05% | 95 | 25
46 | 22.32% | 33.47% | 44.63% | 55.79% | 66.95% | 100 | 24
47 | 22.96% | 34.44% | 45.91% | 57.39% | 68.87%
48 | 23.61% | 35.41% | 47.21% | 59.01% | 70.82%
49 | 24.26% | 36.39% | 48.52% | 60.65% | 72.78%
50 | 24.93% | 37.39% | 49.85% | 62.31% | 74.78%
51 | 25.6% | 38.4% | 51.19% | 63.99% | 76.79%
52 | 26.28% | 39.42% | 52.55% | 65.69% | 78.83%
53 | 26.96% | 40.45% | 53.93% | 67.41% | 80.89%
54 | 27.66% | 41.49% | 55.32% | 69.15% | 82.98% | Investment (%) | Offset (Years)
55 | 28.37% | 42.55% | 56.73% | 70.91% | 85.1% | 20 | 81
56 | 29.08% | 43.62% | 58.16% | 72.7% | 87.24% | 30 | 62
57 | 29.8% | 44.7% | 59.6% | 74.5% | 89.4% | 40 | 50
58 | 30.53% | 45.8% | 61.06% | 76.33% | 91.59%
59 | 31.27% | 46.91% | 62.54% | 78.18% | 93.81%
60 | 32.02% | 48.03% | 64.04% | 80.05% | 96.06%

## Alberta Electricity Profile
Generation in 2012 | Gigawatt hour (GWh)** | Direct CO2 EmissionRate (kg/kWh) | Direct CO2 Emissions Total (kg CO2) | Maps From | http://www.energy.alberta.ca/Org/pdfs/Alberta_Energy_Overview.pdf
Coal | 38272 | 1.0201 | 39042354430.976
Natural Gas | 27238 | 0.51483 | 14022855646.96
Hydro | 2319 | 0 | 0
Wind | 2640 | 0 | 0
Biomass | 2089 | 0 | 0
Others* | 359 | 0 | 0
Total | 72918 |  | 53065210077.936
Source | http://www.energy.alberta.ca/Electricity/682.asp | See Carbon sheet
Therefore Province Wide Average CO2/kWh
0.72774
| Capacity | http://www.energy.alberta.ca/Electricity/682.asp
| Generating Capacity | Megawatt (MW)
| Coal | 5690
| Gas | 5784
| Hydro | 900
| Wind | 1113
| Biomass | 418
| Waste Heat* | 86
| Fuel Oil | 12
| Subtotal | 14003
Interconnections Capacity
| British Columbia | 750
| Saskatchewan | 150
| Subtotal | 900
| Grand Total | 14903