## Forests
Forest CO2 Summary
carbon in northern forest (tonnes/acre) | 106 | http://www.forestecologynetwork.org/climate_change/sequestration_facts.html
(tonnes/m^2) | 0.026193
tonnes/km^2 | 26.1932

## wind
Wind Speed Information
m/s | 7.5 | http://www.iti.gov.nt.ca/publications/2013/energy/2012_WIND_ENERGY_RESOURCES_V2.pdf
mph | 16.7767

## Summary
Summary
Can wind turbines or PV cells on reclaimed tar sands land offset the CO2 created by mining and using the oil sands oil?
Written by Prof. Alexander H Slocum, Massachusetts Institute of Technology
Email: slocum@mit.edu
Date Started: June 2013
If edited please enter info on "edit history" worksheet
Enter data in BOLD, calculated output in RED
Motivation |  | http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
Alberta Oil Sands
Alberta Oil sands land area (km^2) | 140200 | http://www.energy.alberta.ca/oilsands/791.asp
Carbon in the forest (billions of tonnes) | 3.6723 | http://www.forestecologynetwork.org/climate_change/sequestration_facts.html
CO2 Saved from Electricity by Wind Power Installed on Oil Sands Land
Turbine size, peak power (MW) | 5 | http://www.power-technology.com/features/featurethe-worlds-biggest-wind-turbines-4154395/
Capacity factor | 40% | http://cleantechnica.com/2012/07/27/wind-turbine-net-capacity-factor-50-the-new-normal/
Land area per turbine (km^2) | 1
Percent land area for wind turbines | 50%
Area of wind farm (km^2) | 70100
(Square Miles) | 27382.8125
Square Size (Miles x Miles) | 165.4775
Number of turbines to be built for land area | 70100
Average power generated (GW) | 140.2
Average annual energy produced (TWhr) | 1228.152
CO2/MW saved by not burning coal to produce energy generated by wind (tonnes/year/MW) | 6374.9862
CO2 saved by not burning coal to produce energy generated by wind (magatonnes/year) | 893.7731
| 2 | 2 |  | 0.01275
CO2 from Oil sands production and oil use
Oil produced (million barrels per year) | 693.5 | http://oilsands.alberta.ca/resource.html
CO2 to produce the oil (megatonnes/year) | 49.7167 | http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
CO2 from oil use (megatonnes/year) | 298.205 | http://www.epa.gov/cleanenergy/energy-resources/refs.html
Total CO2 per year from tar sands (megatonnes/year) | 347.9217
CO2 Saved from Electricity by Solar PV Cells Installed on Oil Sands Land
Total average annual power of the system - Nominal Power (GW) | 134.0943
Average Nominal Power (GWh/Year) | 1174665.8031
Average Nominal Power (GWh/Day) | 3218.2625
Average Nominal Power (GW) per daylight hour | 357.5847 | note per daylight hour
Average Nominal Power (GW) | 134.0943 | Note per day (so would assume storage, or for opurposes of powering heaters
Average Number of Daily hours with 100% Full Sun Level | 9
June | 14 | https://weatherspark.com/averages/28151/Fort-McMurray-Alberta-Canada
January | 4 | https://weatherspark.com/averages/28151/Fort-McMurray-Alberta-Canada
Solar insolation at which panel power is rated (W/m^2) | 1000
Solar panel peak output (W) | 200 | Solar panels are usually rated just as peak output (Watts) NOT Watts per hour BASED on a maximum solar insolation (typically 1000W/m^2)
Solar panel 24/7 average power for panels installed in Alberta (W) | 28.3565
(MW) | 2.8356e-05 | http://www.skyfireenergy.com/solar-residential/grid-tied-electric-systems/1-41-kw-grid-tie-edmonton-alberta/
Area of solar panel (m^2) | 1
Percent land area assumed covered by PV fields | 15%
Area of PV farm (km^2) | 21030
Square size (km x km) | 145.0172
(Square Miles) | 8214.8437
Square Size (Miles x Miles) | 90.6358
Ideal power potential calculations
Area to be covered by solar panels (m^2) | 6309000000
Number of solar pannels to be installed for land area | 6309000000
Density of coverage on land designated for PV fields | 30%
PV efficiency | 20% | http://www.forbes.com/sites/peterdetwiler/2013/07/16/as-solar-panel-efficiencies-keep-improving-its-time-to-adopt-some-new-metrics/
PR = Performance ratio, coefficient for losses | 74.95%
Net PV cell efficiency | 14.99%
Average 24/7 solar insolation (W/m^2) | 141.7824 | formulas for C58 and C57 had been reversed, and formula for cell 57 did not match units
Average 24/7 solar insolation (kWh/m^2/year) | 1242.0139
June | 2230.5556 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
January | 253.4722 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
Average power (assumes 24/7 operation made possible with storage technology) (GW)
June | 240.8224 | 87.9002 | This was the old value--I think wrong because units wrong! Forgot to divide by days per year, and also kW to GW conversion
January | 27.3662
Average | 134.0943
CO2 saved by not burning coal to produce energy generated by solar (magatonnes/year) | 854.8491 | This is an estimated conversion
Average Solar Energy Insoluation (MJ/m^2/day)
June | 22 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
January | 2.5
Average Solar Energy Insoluation (kWh/m^2/year)
June | 2230.5556
January | 253.4722
These are the numbers we had before and they dio NOT jive with the plots in the workbook tab "Solar", so I instead used the more conservative values from the plot | 6250 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf
| 1389 | http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf

## CO2 amounts
CO2 Values
Carbon from coal to make electricity (kg/kWh) | 0.72774 | See bottom half of spreadsheet for derivation
CO2 from producing tar sands (tons per barrel of oil) | 0.071689 | http://oilprice.com/Energy/Energy-General/Keystone-XLs-Miniscule-CO2-Impact-and-the-Bigger-Picture.html
http://www.scientificamerican.com/article.cfm?id=tar-sands-and-keystone-xl-pipeline-impact-on-global-warming
CO2 from burning oil (tonnes per barrel oil) | 0.43 | http://www.epa.gov/cleanenergy/energy-resources/refs.html
Dave's Alberta CO2 Average (kg/kWh) (see sheet Alberta Electricity) | 0.72774
Previous value Carbon from coal to make electricity (kg/kWh) | 0.97068
How much carbon dioxide (CO2) is produced per kilowatt-hour when generating electricity with fossil fuels?
You can calculate the amount of CO2 produced per kWh for specific fuels and specific types of generators by multiplying the CO2 emissions factor for the fuel (in pounds of CO2 per million Btu)
by the heat rate of a generator (in Btu per kWh generated), and dividing the result by 1,000,000.
For example, here are the number of pounds of CO2 produced by a steam-electric generator for different fuels using that formula and the average heat rates for steam-electric generators in 2011:
Fuel | Lbs of CO2 per Million Btu | Heat Rate (Btu per kWh) | Lbs CO2 per kWh
Coal
Bituminous | 205.3 | 10107 | 2.08
Sub-bituminous | 212.7 | 10107 | 2.16
Lignite | 215.4 | 10107 | 2.18
Natural gas | 117.08 | 10416 | 1.22
Distillate Oil (No. 2) | 161.386 | 10416 | 1.68
Residual Oil (No. 6) | 173.906 | 10416 | 1.81
Last updated: March 11, 2014
By Source Type (US Country Avg.s from EPA) | lbs/MWh | kg/kWh | http://www.epa.gov/cleanenergy/energy-and-you/affect/air-emissions.html
Nat Gas | 1135 | 0.51483
Coal | 2249 | 1.0201
Oil | 1672 | 0.75841
Biomass | debatable, but EPA site gives no #
Conversion Factors
1lbs=?kgs | 0.45359

## Solar
source http://en.wikipedia.org/wiki/Oil_sands
Daily Hours of Daylight and Twilight
Source: https://weatherspark.com/averages/28151/Fort-McMurray-Alberta-Canada
Source: http://www.cenovus.com/operations/docs/foster-creek/phase-j/appendix-3-2C.pdf

## edit history
Edit History
Name | Date | Modification
Alex Slocum | 2013.06.27 | added development plan worksheet
Alex Slocum | 2013.09.13 | format columns review numbers
Santiago Paiva | 2014.03.13 | Alberta tar sands land area (km^2) to 140,200
Santiago Paiva | 2014.03.13 | Wind Turbine Peak Power to 7 MW
Santiago Paiva | 2014.03.13 | Wind Turbine Capacity Factor to 40.35%
Santiago Paiva | 2014.03.13 | PV cell efficiency to 15%
Santiago Paiva | 2014.03.13 | Insolation values for Fort McMurray Area: 1388.89 in January and 6250 in June
Santiago Paiva | 2014.03.13 | CO2 from producing tar sands (tons per barrel of oil) to 0.071
Santiago Paiva | 2014.03.13 | Oil produced (million barrels per year) to 693.5
Santiago Paiva | 2014.03.17 | Wind Turbine Peak Power back to 5 MW
Santiago Paiva | 2014.03.17 | Added solar insolation graph in the Solar tab
Santiago Paiva | 2014.03.17 | Added peak power for solar cells 1.3 kW in Alberta in Summary tab
Santiago Paiva | 2014.03.17 | Added land area per solar pannel (The general dimension is 1600mm x 1020mm = 0.0016 km^2) in Summary Tab
Santiago Paiva | 2014.03.17 | Added number of solar pannels to be built for land area in Summary tab
Santiago Paiva | 2014.03.17 | Added Wind Graphs & Solar graphs sheets
Alex Slocum | 2014.03.21 | cost per solar "cell" of 38k too high… does not make sense….. Base it all on cost per Watt as I did originally. INSTALLED (cell plus cabling plus inverter….) is about $4/watt (and coming down)
David Taylor | 2014.03.22 | Added Data for Alberta Electricty profile
Santiago Paiva | 2014.03.23 | Hided development plan (wind) tab and kept Dave's DT Adjusted Dev Plan (wind) tab
Santiago Paiva | 2014.03.23 | Updated Wind Graphs tab with new percentage values
Santiago Paiva | 2014.03.23 | Added life expectancy of solar pv cell (around 25 years) in development plan (solar) tab
Santiago Paiva | 2014.03.23 | Removed solar cell price of 38K to $4/Watt
Santiago Paiva | 2014.03.23 | Modified peak power of solar panel to 1.41 kW (Edmonton value)
Santiago Paiva | 2014.03.23 | Modified land area per solar panel to 8.3 acres per MW
Santiago Paiva | 2014.03.23 | Updated Solar Graphs tab with new percentages values
Santiago Paiva | 2014.03.24 | Updated Wind Graphs tab
Santiago Paiva | 2014.03.24 | Updated Solar Graphs tab
Santiago Paiva | 2014.03.25 | Added average 24/7 solar insolation April (Wh/m^2/day) in Summary tab
Santiago Paiva | 2014.03.25 | Added nominal power of the solar cell in Summary tab
Alex Slocum | 2014.03.27 | Removed nomial powerin Summary tab
Alex Slocum | 2014.03.27 | Changed percent land area covered by PV cells to 15% (formerly 10%)
David Taylor | 2014.03.31 | Used Offsets to make life expectancy math dynamic
David Taylor | 2014.04.01 | Major revision of wind tab. Decomissioning now works dynamically!
David Taylor | 2014.04.01 | Decomissioning in Solar now works too!
David Taylor | 2014.04.01 | Calculated % of electricity supply in wind
Santiago Paiva | 2014.04.05 | Changed name of "peak power of solar cell (MW)" to "Nominal Power" in Summary tab
Santiago Paiva | 2014.04.05 | Added "average 24/7 solar insolation April (kWh/m^2/year)" in Summary tab
Santiago Paiva | 2014.04.05 | Added "PV Output" tab to calculate "Nominal Power" in Summary tab
Santiago Paiva | 2014.04.05 | Added some formatting to some tabs to look better!
Santiago Paiva | 2014.04.06 | Added different graphs in "Wind Graphs" tab
Santiago Paiva | 2014.04.06 | Deleted "Land Area Per Solar Panel" in Summary Tab
Santiago Paiva | 2014.04.06 | Added calculation for number of panels to build in the "Summary" tab
Santiago Paiva | 2014.04.06 | Added graph of daily sun hours in the "Solar" tab
Santiago Paiva | 2014.04.06 | Modifed Solar Graphs in "Solar Graphs" tab
David Taylor | 2014.4.7 | Added % addition to Canada's electricity generation to both wind and solar
David Taylor | 2014.4.7 | Fixed solar column J to be 365 days/year
David Taylor | 2014.4.7 | Fixed inconsistency between solar summary and solar development plan, by moving to a $ -> panels -> MW -> savings logic. ATTN! Still need to figure out what W it is for the cost of $4/W...

## development plan (Wind) (hidden)
millions barrels oil per year recovered from tar sands | 693.5
$ per barrell of oil to be invested on wind farm on site | 20 | X% | If price per barrel is 100, X% = 20/100 = 20%
Annual amount to be spent (Billions) | 13870000000
$/kWhr for reinvestment in purchasing more wind turbines | 0.05
Wind energy: if all the money were spent on wind energy:
Assumed cost of wind ($/W) in this location (include transmission) | 4
Nameplate (peak power) size of wind turbine (MW) | 5
cost per wind turbine installed | 20000000
number of wind turbines per year to be installed | 693.5
Number of automobiles manufactured equivalent to 1 wind turbine | 1000
year | total number of installed wind turbines | cumulative ratio carbon saved/carbon burned | number of wind turbines purchased | Millions of autos equivelant | % of total wind turbines to be built | cumulative carbon saved | cumulative carbon burned (MT) | value of wind produced in previous year reinvested (million $) | Billions to be spent on wind turbine acquisition next year
1 | 693.5 | 0% | 693.5 | 0.6935 | 0.9893% | 0 | 347.9217 |  | 13870000000
2 | 1417.5 | 1.271% | 724 | 0.724 | 2.022% | 8.8421 | 695.8433 | 624150000 | 14494150000
3 | 2174.5 | 2.579% | 757 | 0.757 | 3.102% | 26.9152 | 1043.765 | 1275750000 | 15145750000
4 | 2965.5 | 3.926% | 791 | 0.791 | 4.23% | 54.64 | 1391.6867 | 1957050000 | 15827050000
5 | 3791.5 | 5.314% | 826 | 0.826 | 5.409% | 92.45 | 1739.6083 | 2668950000 | 16538950000
6 | 4655.5 | 6.744% | 864 | 0.864 | 6.641% | 140.7916 | 2087.53 | 3412350000 | 17282350000
7 | 5557.5 | 8.218% | 902 | 0.902 | 7.928% | 200.1491 | 2435.4517 | 4189950000 | 18059950000
8 | 6500.5 | 9.737% | 943 | 0.943 | 9.273% | 271.007 | 2783.3733 | 5001750000 | 18871750000
9 | 7486.5 | 11.3% | 986 | 0.986 | 10.68% | 353.8882 | 3131.295 | 5850450000 | 19720450000
10 | 8516.5 | 12.92% | 1030 | 1.03 | 12.15% | 449.3409 | 3479.2167 | 6737850000 | 20607850000
11 | 9592.5 | 14.58% | 1076 | 1.076 | 13.68% | 557.926 | 3827.1383 | 7664850000 | 21534850000
12 | 10717.5 | 16.29% | 1125 | 1.125 | 15.29% | 680.2301 | 4175.06 | 8633250000 | 22503250000
13 | 11892.5 | 18.06% | 1175 | 1.175 | 16.97% | 816.878 | 4522.9817 | 9645750000 | 23515750000
14 | 13120.5 | 19.88% | 1228 | 1.228 | 18.72% | 968.507 | 4870.9033 | 10703250000 | 24573250000
15 | 14403.5 | 21.76% | 1283 | 1.283 | 20.55% | 1135.793 | 5218.825 | 11808450000 | 25678450000
16 | 15744.5 | 23.7% | 1341 | 1.341 | 22.46% | 1319.4373 | 5566.7467 | 12963150000 | 26833150000
17 | 17146.5 | 25.7% | 1402 | 1.402 | 24.46% | 1520.1792 | 5914.6683 | 14170050000 | 28040050000
18 | 18611.5 | 27.76% | 1465 | 1.465 | 26.55% | 1738.7966 | 6262.59 | 15431850000 | 29301850000
19 | 20142.5 | 29.89% | 1531 | 1.531 | 28.73% | 1976.0927 | 6610.5117 | 16750350000 | 30620350000
20 | 21741.5 | 32.09% | 1599 | 1.599 | 31.01% | 2232.909 | 6958.4333 | 18128250000 | 31998250000
21 | 23412.5 | 34.36% | 1671 | 1.671 | 33.4% | 2510.1125 | 7306.355 | 19567350000 | 33437350000
22 | 25159.5 | 36.69% | 1747 | 1.747 | 35.89% | 2808.6213 | 7654.2767 | 21071250000 | 34941250000
23 | 26984.5 | 39.11% | 1825 | 1.825 | 38.49% | 3129.4042 | 8002.1983 | 22643550000 | 36513550000
24 | 28891.5 | 41.6% | 1907 | 1.907 | 41.21% | 3473.4558 | 8350.12 | 24286050000 | 38156050000
25 | 30884.5 | 44.17% | 1993 | 1.993 | 44.06% | 3841.8217 | 8698.0417 | 26002350000 | 39872350000
26 | 32967.5 | 46.82% | 2083 | 2.083 | 47.03% | 4235.5982 | 9045.9633 | 27796050000 | 41666050000
27 | 35144.5 | 49.56% | 2177 | 2.177 | 50.13% | 4655.9329 | 9393.885 | 29670750000 | 43540750000
28 | 37419.5 | 52.39% | 2275 | 2.275 | 53.38% | 5104.0243 | 9741.8067 | 31630050000 | 45500050000
29 | 39796.5 | 55.31% | 2377 | 2.377 | 56.77% | 5581.1219 | 10089.7283 | 33677550000 | 47547550000
30 | 42280.5 | 58.33% | 2484 | 2.484 | 60.31% | 6088.5261 | 10437.65 | 35816850000 | 49686850000
31 | 44876.5 | 61.45% | 2596 | 2.596 | 64.02% | 6627.6014 | 10785.5717 | 38052450000 | 51922450000
32 | 47588.5 | 64.67% | 2712 | 2.712 | 67.89% | 7199.7755 | 11133.4933 | 40388850000 | 54258850000
33 | 50422.5 | 67.99% | 2834 | 2.834 | 71.93% | 7806.5275 | 11481.415 | 42829650000 | 56699650000
34 | 53384.5 | 71.43% | 2962 | 2.962 | 76.15% | 8449.413 | 11829.3367 | 45380250000 | 59250250000
35 | 56479.5 | 74.98% | 3095 | 3.095 | 80.57% | 9130.0639 | 12177.2583 | 48046050000 | 61916050000
36 | 59714.5 | 78.64% | 3235 | 3.235 | 85.18% | 9850.176 | 12525.18 | 50831550000 | 64701550000
37 | 63094.5 | 82.43% | 3380 | 3.38 | 90.01% | 10611.5342 | 12873.1017 | 53743050000 | 67613050000
38 | 66626.5 | 86.35% | 3532 | 3.532 | 95.04% | 11415.9873 | 13221.0233 | 56785050000 | 70655050000
39 | 70317.5 | 90.39% | 3691 | 3.691 | 100.3% | 12265.4734 | 13568.945 | 59963850000 | 73833850000
40 | 74174.5 | 94.58% | 3857 | 3.857 | 105.8% | 13162.0195 | 13916.8667 | 63285750000 | 77155750000
41 | 78205.5 | 98.9% | 4031 | 4.031 | 111.6% | 14107.7424 | 14264.7883 | 66757050000 | 80627050000
42 | 82417.5 | 103.4% | 4212 | 4.212 | 117.6% | 15104.8603 | 14612.71 | 70384950000 | 84254950000
43 | 86819.5 | 108% | 4402 | 4.402 | 123.9% | 16155.6812 | 14960.6317 | 74175750000 | 88045750000
44 | 91419.5 | 112.8% | 4600 | 4.6 | 130.4% | 17262.6274 | 15308.5533 | 78137550000 | 92007550000
45 | 96226.5 | 117.7% | 4807 | 4.807 | 137.3% | 18428.2235 | 15656.475 | 82277550000 | 96147550000
46 | 101249.5 | 122.8% | 5023 | 5.023 | 144.4% | 19655.1087 | 16004.3967 | 86603850000 | 100473850000
47 | 106498.5 | 128.1% | 5249 | 5.249 | 151.9% | 20946.037 | 16352.3183 | 91124550000 | 104994550000
48 | 111983.5 | 133.6% | 5485 | 5.485 | 159.7% | 22303.8899 | 16700.24 | 95848650000 | 109718650000
49 | 117715.5 | 139.2% | 5732 | 5.732 | 167.9% | 23731.6765 | 17048.1617 | 100785150000 | 114655150000
50 | 123705.5 | 145% | 5990 | 5.99 | 176.5% | 25232.5458 | 17396.0833 | 105943950000 | 119813950000
51 | 129965.5 | 151.1% | 6260 | 6.26 | 185.4% | 26809.7875 | 17744.005 | 111334950000 | 125204950000
52 | 136506.5 | 157.3% | 6541 | 6.541 | 194.7% | 28466.844 | 18091.9267 | 116968950000 | 130838950000
53 | 143342.5 | 163.8% | 6836 | 6.836 | 204.5% | 30207.2981 | 18439.8483 | 122855850000 | 136725850000
54 | 150485.5 | 170.5% | 7143 | 7.143 | 214.7% | 32034.911 | 18787.77 | 129008250000 | 142878250000

## Dev Plan (Wind)
Wind Development Plan
Yelow cell = Enter your own data
White cell = Calculated value (do not change the value)
Technical Assumptions:
Life expectancy of a Wind Turbine (yrs) | 20 | https://www.irena.org/DocumentDownloads/Publications/RE_Technologies_Cost_Analysis-WIND_POWER.pdf
Millions barrels oil per year recovered from tar sands | 693.5
$ per barrell of oil to be invested on wind farm on site | 20
Annual amount to be spent | 13870000000
$/kWhr for reinvestment in purchasing more wind turbines | 0.05
Wind energy: if all the money were spent on wind energy:
Assumed cost of wind ($/W) in this location (include transmission) | 4
Nameplate (peak power) size of wind turbine (MW) | 5
Cost per wind turbine installed | 20000000
Number of wind turbines per year to be installed | 693.5
Number of automobiles manufactured equivalent to 1 wind turbine | 1000
These cells check the self consistency of the spreadsheet
Year | Total number of installed wind turbines | Cumulative ratio carbon saved/carbon burned | Number of wind turbines purchased | Millions of autos equivelant | % of total wind turbines to be built | Cumulative carbon saved (MT) | Cumulative Carbon from oil sands (vs. conventional) (MT) | Cumulative Carbon from oil end use (MT) | Cumulative carbon burned (MT) | Value of wind produced in previous year reinvested $ | $ to be spent on wind turbine acquisition next year | Decomissioned Turbines | Marginal carbon offset ratio | Total Installed Capacity (MW) | Power Generated (MW) | Percentage of System in Wind | Percentage addition to Canada's electricity generation | carbon burned this year (MT) | carbon saved this year (MT) | MT/GW | Savings (T/turbune)
1 | 693.5 | 0% | 693.5 | 0.6935 | 0.9893% | 0 | 49.7167 | 298.205 | 347.9217 |  | 13870000000 | 0 | 0% | 3467.5 | 1387 | 9.307% | 2.656% | 347.9217 | 0 | 0
2 | 1417.5 | 1.271% | 724 | 0.724 | 2.022% | 8.8421 | 99.4333 | 596.41 | 695.8433 | 624150000 | 14494150000 | 0 | 8.892% | 7087.5 | 2835 | 19.02% | 5.429% | 347.9217 | 8.8421 | 6.375 | 12749.9723
3 | 2174.5 | 2.579% | 757 | 0.757 | 3.102% | 26.9152 | 149.15 | 894.615 | 1043.765 | 1275750000 | 15145750000 | 0 | 18.05% | 10872.5 | 4349 | 29.18% | 8.329% | 347.9217 | 18.0731 | 6.375 | 12749.9723
4 | 2965.5 | 3.926% | 791 | 0.791 | 4.23% | 54.64 | 198.8667 | 1192.82 | 1391.6867 | 1957050000 | 15827050000 | 0 | 27.48% | 14827.5 | 5931 | 39.8% | 11.36% | 347.9217 | 27.7248 | 6.375 | 12749.9723
5 | 3791.5 | 5.314% | 826 | 0.826 | 5.409% | 92.45 | 248.5833 | 1491.025 | 1739.6083 | 2668950000 | 16538950000 | 0 | 37.19% | 18957.5 | 7583 | 50.88% | 14.52% | 347.9217 | 37.81 | 6.375 | 12749.9723
6 | 4655.5 | 6.744% | 864 | 0.864 | 6.641% | 140.7916 | 298.3 | 1789.23 | 2087.53 | 3412350000 | 17282350000 | 0 | 47.2% | 23277.5 | 9311 | 62.48% | 17.83% | 347.9217 | 48.3415 | 6.375 | 12749.9723
7 | 5557.5 | 8.218% | 902 | 0.902 | 7.928% | 200.1491 | 348.0167 | 2087.435 | 2435.4517 | 4189950000 | 18059950000 | 0 | 57.51% | 27787.5 | 11115 | 74.58% | 21.29% | 347.9217 | 59.3575 | 6.375 | 12749.9723
8 | 6500.5 | 9.737% | 943 | 0.943 | 9.273% | 271.007 | 397.7333 | 2385.64 | 2783.3733 | 5001750000 | 18871750000 | 0 | 68.14% | 32502.5 | 13001 | 87.24% | 24.9% | 347.9217 | 70.858 | 6.375 | 12749.9723
9 | 7486.5 | 11.3% | 986 | 0.986 | 10.68% | 353.8882 | 447.45 | 2683.845 | 3131.295 | 5850450000 | 19720450000 | 0 | 79.09% | 37432.5 | 14973 | 100.5% | 28.67% | 347.9217 | 82.8812 | 6.375 | 12749.9723
10 | 8516.5 | 12.92% | 1030 | 1.03 | 12.15% | 449.3409 | 497.1667 | 2982.05 | 3479.2167 | 6737850000 | 20607850000 | 0 | 90.38% | 42582.5 | 17033 | 114.3% | 32.62% | 347.9217 | 95.4527 | 6.375 | 12749.9723
11 | 9592.5 | 14.58% | 1076 | 1.076 | 13.68% | 557.926 | 546.8833 | 3280.255 | 3827.1383 | 7664850000 | 21534850000 | 0 | 102% | 47962.5 | 19185 | 128.7% | 36.74% | 347.9217 | 108.5851 | 6.375 | 12749.9723
12 | 10717.5 | 16.29% | 1125 | 1.125 | 15.29% | 680.2301 | 596.6 | 3578.46 | 4175.06 | 8633250000 | 22503250000 | 0 | 114% | 53587.5 | 21435 | 143.8% | 41.05% | 347.9217 | 122.3041 | 6.375 | 12749.9723
13 | 11892.5 | 18.06% | 1175 | 1.175 | 16.97% | 816.878 | 646.3167 | 3876.665 | 4522.9817 | 9645750000 | 23515750000 | 0 | 126.4% | 59462.5 | 23785 | 159.6% | 45.55% | 347.9217 | 136.6478 | 6.375 | 12749.9723
14 | 13120.5 | 19.88% | 1228 | 1.228 | 18.72% | 968.507 | 696.0333 | 4174.87 | 4870.9033 | 10703250000 | 24573250000 | 0 | 139.1% | 65602.5 | 26241 | 176.1% | 50.25% | 347.9217 | 151.629 | 6.375 | 12749.9723
15 | 14403.5 | 21.76% | 1283 | 1.283 | 20.55% | 1135.793 | 745.75 | 4473.075 | 5218.825 | 11808450000 | 25678450000 | 0 | 152.3% | 72017.5 | 28807 | 193.3% | 55.17% | 347.9217 | 167.286 | 6.375 | 12749.9723
16 | 15744.5 | 23.7% | 1341 | 1.341 | 22.46% | 1319.4373 | 795.4667 | 4771.28 | 5566.7467 | 12963150000 | 26833150000 | 0 | 165.9% | 78722.5 | 31489 | 211.3% | 60.3% | 347.9217 | 183.6442 | 6.375 | 12749.9723
17 | 17146.5 | 25.7% | 1402 | 1.402 | 24.46% | 1520.1792 | 845.1833 | 5069.485 | 5914.6683 | 14170050000 | 28040050000 | 0 | 179.9% | 85732.5 | 34293 | 230.1% | 65.67% | 347.9217 | 200.7419 | 6.375 | 12749.9723
18 | 18611.5 | 27.76% | 1465 | 1.465 | 26.55% | 1738.7966 | 894.9 | 5367.69 | 6262.59 | 15431850000 | 29301850000 | 0 | 194.3% | 93057.5 | 37223 | 249.8% | 71.28% | 347.9217 | 218.6174 | 6.375 | 12749.9723
19 | 20142.5 | 29.89% | 1531 | 1.531 | 28.73% | 1976.0927 | 944.6167 | 5665.895 | 6610.5117 | 16750350000 | 30620350000 | 0 | 209.2% | 100712.5 | 40285 | 270.3% | 77.15% | 347.9217 | 237.2961 | 6.375 | 12749.9723
20 | 21741.5 | 32.09% | 1599 | 1.599 | 31.01% | 2232.909 | 994.3333 | 5964.1 | 6958.4333 | 18128250000 | 31998250000 | 0 | 224.6% | 108707.5 | 43483 | 291.8% | 83.27% | 347.9217 | 256.8163 | 6.375 | 12749.9723
21 | 22718.5 | 34.36% | 1671 | 1.671 | 32.41% | 2510.1125 | 1044.05 | 6262.305 | 7306.355 | 19567350000 | 33437350000 | 694 | 240.4% | 113592.5 | 45437 | 304.9% | 87.02% | 347.9217 | 277.2035 | 6.375 | 12749.9723
22 | 23709.5 | 36.58% | 1715 | 1.715 | 33.82% | 2799.7728 | 1093.7667 | 6560.51 | 7654.2767 | 20446650000 | 34316650000 | 724 | 256% | 118547.5 | 47419 | 318.2% | 90.81% | 347.9217 | 289.6602 | 6.375 | 12749.9723
23 | 24712.5 | 38.77% | 1760 | 1.76 | 35.25% | 3102.0683 | 1143.4833 | 6858.715 | 8002.1983 | 21338550000 | 35208550000 | 757 | 271.3% | 123562.5 | 49425 | 331.6% | 94.65% | 347.9217 | 302.2955 | 6.375 | 12749.9723
24 | 25726.5 | 40.92% | 1805 | 1.805 | 36.7% | 3417.152 | 1193.2 | 7156.92 | 8350.12 | 22241250000 | 36111250000 | 791 | 286.4% | 128632.5 | 51453 | 345.3% | 98.54% | 347.9217 | 315.0837 | 6.375 | 12749.9723
25 | 26751.5 | 43.06% | 1851 | 1.851 | 38.16% | 3745.1641 | 1242.9167 | 7455.125 | 8698.0417 | 23153850000 | 37023850000 | 826 | 301.3% | 133757.5 | 53503 | 359% | 102.5% | 347.9217 | 328.0122 | 6.375 | 12749.9723
26 | 27784.5 | 45.17% | 1897 | 1.897 | 39.64% | 4086.245 | 1292.6333 | 7753.33 | 9045.9633 | 24076350000 | 37946350000 | 864 | 316.1% | 138922.5 | 55569 | 372.9% | 106.4% | 347.9217 | 341.0809 | 6.375 | 12749.9723
27 | 28825.5 | 47.27% | 1943 | 1.943 | 41.12% | 4440.4966 | 1342.35 | 8051.535 | 9393.885 | 25006050000 | 38876050000 | 902 | 330.8% | 144127.5 | 57651 | 386.8% | 110.4% | 347.9217 | 354.2516 | 6.375 | 12749.9723
28 | 29872.5 | 49.35% | 1990 | 1.99 | 42.61% | 4808.0209 | 1392.0667 | 8349.74 | 9741.8067 | 25942950000 | 39812950000 | 943 | 345.4% | 149362.5 | 59745 | 400.9% | 114.4% | 347.9217 | 367.5243 | 6.375 | 12749.9723
29 | 30923.5 | 51.43% | 2037 | 2.037 | 44.11% | 5188.8945 | 1441.7833 | 8647.945 | 10089.7283 | 26885250000 | 40755250000 | 986 | 359.9% | 154617.5 | 61847 | 415% | 118.4% | 347.9217 | 380.8735 | 6.375 | 12749.9723
30 | 31978.5 | 53.49% | 2085 | 2.085 | 45.62% | 5583.1682 | 1491.5 | 8946.15 | 10437.65 | 27831150000 | 41701150000 | 1030 | 374.3% | 159892.5 | 63957 | 429.2% | 122.5% | 347.9217 | 394.2738 | 6.375 | 12749.9723
31 | 33034.5 | 55.55% | 2132 | 2.132 | 47.12% | 5990.8932 | 1541.2167 | 9244.355 | 10785.5717 | 28780650000 | 42650650000 | 1076 | 388.7% | 165172.5 | 66069 | 443.3% | 126.5% | 347.9217 | 407.725 | 6.375 | 12749.9723
32 | 34089.5 | 57.59% | 2180 | 2.18 | 48.63% | 6412.0822 | 1590.9333 | 9542.56 | 11133.4933 | 29731050000 | 43601050000 | 1125 | 403% | 170447.5 | 68179 | 457.5% | 130.6% | 347.9217 | 421.189 | 6.375 | 12749.9723
33 | 35141.5 | 59.63% | 2227 | 2.227 | 50.13% | 6846.7224 | 1640.65 | 9840.765 | 11481.415 | 30680550000 | 44550550000 | 1175 | 417.3% | 175707.5 | 70283 | 471.6% | 134.6% | 347.9217 | 434.6402 | 6.375 | 12749.9723
34 | 36187.5 | 61.67% | 2274 | 2.274 | 51.62% | 7294.7755 | 1690.3667 | 10138.97 | 11829.3367 | 31627350000 | 45497350000 | 1228 | 431.5% | 180937.5 | 72375 | 485.6% | 138.6% | 347.9217 | 448.0532 | 6.375 | 12749.9723
35 | 37225.5 | 63.69% | 2321 | 2.321 | 53.1% | 7756.1652 | 1740.0833 | 10437.175 | 12177.2583 | 32568750000 | 46438750000 | 1283 | 445.7% | 186127.5 | 74451 | 499.6% | 142.6% | 347.9217 | 461.3896 | 6.375 | 12749.9723
36 | 38252.5 | 65.71% | 2368 | 2.368 | 54.57% | 8230.7892 | 1789.8 | 10735.38 | 12525.18 | 33502950000 | 47372950000 | 1341 | 459.9% | 191262.5 | 76505 | 513.4% | 146.5% | 347.9217 | 474.6241 | 6.375 | 12749.9723
37 | 39264.5 | 67.73% | 2414 | 2.414 | 56.01% | 8718.5076 | 1839.5167 | 11033.585 | 12873.1017 | 34427250000 | 48297250000 | 1402 | 474% | 196322.5 | 78529 | 526.9% | 150.4% | 347.9217 | 487.7183 | 6.375 | 12749.9723
38 | 40259.5 | 69.73% | 2460 | 2.46 | 57.43% | 9219.1288 | 1889.2333 | 11331.79 | 13221.0233 | 35338050000 | 49208050000 | 1465 | 488% | 201297.5 | 80519 | 540.3% | 154.2% | 347.9217 | 500.6213 | 6.375 | 12749.9723
39 | 41233.5 | 71.73% | 2505 | 2.505 | 58.82% | 9732.4364 | 1938.95 | 11629.995 | 13568.945 | 36233550000 | 50103550000 | 1531 | 501.9% | 206167.5 | 82467 | 553.4% | 157.9% | 347.9217 | 513.3075 | 6.375 | 12749.9723
40 | 42183.5 | 73.71% | 2549 | 2.549 | 60.18% | 10258.1623 | 1988.6667 | 11928.2 | 13916.8667 | 37110150000 | 50980150000 | 1599 | 515.8% | 210917.5 | 84367 | 566.1% | 161.6% | 347.9217 | 525.726 | 6.375 | 12749.9723
41 | 43103.5 | 75.68% | 2591 | 2.591 | 61.49% | 10796.0008 | 2038.3833 | 12226.405 | 14264.7883 | 37965150000 | 51835150000 | 1671 | 529.6% | 215517.5 | 86207 | 578.5% | 165.1% | 347.9217 | 537.8385 | 6.375 | 12749.9723
42 | 44021.5 | 77.64% | 2633 | 2.633 | 62.8% | 11345.5692 | 2088.1 | 12524.61 | 14612.71 | 38793150000 | 52663150000 | 1715 | 543.3% | 220107.5 | 88043 | 590.8% | 168.6% | 347.9217 | 549.5684 | 6.375 | 12749.9723
43 | 44935.5 | 79.59% | 2674 | 2.674 | 64.1% | 11906.8421 | 2137.8167 | 12822.815 | 14960.6317 | 39619350000 | 53489350000 | 1760 | 557% | 224677.5 | 89871 | 603% | 172.1% | 347.9217 | 561.2729 | 6.375 | 12749.9723
44 | 45845.5 | 81.52% | 2715 | 2.715 | 65.4% | 12479.7685 | 2187.5333 | 13121.02 | 15308.5533 | 40441950000 | 54311950000 | 1805 | 570.5% | 229227.5 | 91691 | 615.3% | 175.6% | 347.9217 | 572.9264 | 6.375 | 12749.9723
45 | 46750.5 | 83.44% | 2756 | 2.756 | 66.69% | 13064.2974 | 2237.25 | 13419.225 | 15656.475 | 41260950000 | 55130950000 | 1851 | 583.9% | 233752.5 | 93501 | 627.4% | 179.1% | 347.9217 | 584.5289 | 6.375 | 12749.9723
46 | 47650.5 | 85.35% | 2797 | 2.797 | 67.98% | 13660.365 | 2286.9667 | 13717.43 | 16004.3967 | 42075450000 | 55945450000 | 1897 | 597.3% | 238252.5 | 95301 | 639.5% | 182.5% | 347.9217 | 596.0676 | 6.375 | 12749.9723
47 | 48544.5 | 87.25% | 2837 | 2.837 | 69.25% | 14267.9075 | 2336.6833 | 14015.635 | 16352.3183 | 42885450000 | 56755450000 | 1943 | 610.6% | 242722.5 | 97089 | 651.5% | 185.9% | 347.9217 | 607.5426 | 6.375 | 12749.9723
48 | 49432.5 | 89.14% | 2878 | 2.878 | 70.52% | 14886.8485 | 2386.4 | 14313.84 | 16700.24 | 43690050000 | 57560050000 | 1990 | 623.8% | 247162.5 | 98865 | 663.4% | 189.3% | 347.9217 | 618.941 | 6.375 | 12749.9723
49 | 50312.5 | 91.02% | 2917 | 2.917 | 71.77% | 15517.1115 | 2436.1167 | 14612.045 | 17048.1617 | 44489250000 | 58359250000 | 2037 | 637% | 251562.5 | 100625 | 675.2% | 192.7% | 347.9217 | 630.263 | 6.375 | 12749.9723
50 | 51184.5 | 92.89% | 2957 | 2.957 | 73.02% | 16158.5945 | 2485.8333 | 14910.25 | 17396.0833 | 45281250000 | 59151250000 | 2085 | 650% | 255922.5 | 102369 | 686.9% | 196% | 347.9217 | 641.483 | 6.375 | 12749.9723
51 | 52048.5 | 94.74% | 2996 | 2.996 | 74.25% | 16811.1955 | 2535.55 | 15208.455 | 17744.005 | 46066050000 | 59936050000 | 2132 | 663% | 260242.5 | 104097 | 698.5% | 199.4% | 347.9217 | 652.601 | 6.375 | 12749.9723
52 | 52903.5 | 96.59% | 3035 | 3.035 | 75.47% | 17474.8124 | 2585.2667 | 15506.66 | 18091.9267 | 46843650000 | 60713650000 | 2180 | 675.9% | 264517.5 | 105807 | 710% | 202.6% | 347.9217 | 663.6169 | 6.375 | 12749.9723
53 | 53750.5 | 98.42% | 3074 | 3.074 | 76.68% | 18149.3306 | 2634.9833 | 15804.865 | 18439.8483 | 47613150000 | 61483150000 | 2227 | 688.8% | 268752.5 | 107501 | 721.3% | 205.9% | 347.9217 | 674.5182 | 6.375 | 12749.9723
54 | 54588.5 | 100.2% | 3112 | 3.112 | 77.87% | 18834.648 | 2684.7 | 16103.07 | 18787.77 | 48375450000 | 62245450000 | 2274 | 701.6% | 272942.5 | 109177 | 732.6% | 209.1% | 347.9217 | 685.3174 | 6.375 | 12749.9723
55 | 55416.5 | 102.1% | 3149 | 3.149 | 79.05% | 19530.6498 | 2734.4167 | 16401.275 | 19135.6917 | 49129650000 | 62999650000 | 2321 | 714.3% | 277082.5 | 110833 | 743.7% | 212.3% | 347.9217 | 696.0019 | 6.375 | 12749.9723
56 | 56235.5 | 103.9% | 3187 | 3.187 | 80.22% | 20237.2087 | 2784.1333 | 16699.48 | 19483.6133 | 49874850000 | 63744850000 | 2368 | 726.9% | 281177.5 | 112471 | 754.7% | 215.4% | 347.9217 | 706.5588 | 6.375 | 12749.9723
57 | 57045.5 | 105.7% | 3224 | 3.224 | 81.38% | 20954.2097 | 2833.85 | 16997.685 | 19831.535 | 50611950000 | 64481950000 | 2414 | 739.4% | 285227.5 | 114091 | 765.6% | 218.5% | 347.9217 | 717.0011 | 6.375 | 12749.9723
58 | 57845.5 | 107.4% | 3260 | 3.26 | 82.52% | 21681.5383 | 2883.5667 | 17295.89 | 20179.4567 | 51340950000 | 65210950000 | 2460 | 751.9% | 289227.5 | 115691 | 776.3% | 221.6% | 347.9217 | 727.3285 | 6.375 | 12749.9723
59 | 58636.5 | 109.2% | 3296 | 3.296 | 83.65% | 22419.0668 | 2933.2833 | 17594.095 | 20527.3783 | 52060950000 | 65930950000 | 2505 | 764.3% | 293182.5 | 117273 | 786.9% | 224.6% | 347.9217 | 737.5285 | 6.375 | 12749.9723
60 | 59419.5 | 111% | 3332 | 3.332 | 84.76% | 23166.6806 | 2983 | 17892.3 | 20875.3 | 52772850000 | 66642850000 | 2549 | 776.6% | 297097.5 | 118839 | 797.4% | 227.6% | 347.9217 | 747.6138 | 6.375 | 12749.9723
61 | 60195.5 | 112.7% | 3367 | 3.367 | 85.87% | 23924.2775 | 3032.7167 | 18190.505 | 21223.2217 | 53477550000 | 67347550000 | 2591 | 788.9% | 300977.5 | 120391 | 807.8% | 230.6% | 347.9217 | 757.597 | 6.375 | 12749.9723
62 | 60964.5 | 114.5% | 3402 | 3.402 | 86.97% | 24691.7685 | 3082.4333 | 18488.71 | 21571.1433 | 54175950000 | 68045950000 | 2633 | 801% | 304822.5 | 121929 | 818.2% | 233.5% | 347.9217 | 767.491 | 6.375 | 12749.9723
63 | 61726.5 | 116.2% | 3436 | 3.436 | 88.05% | 25469.0642 | 3132.15 | 18786.915 | 21919.065 | 54868050000 | 68738050000 | 2674 | 813.1% | 308632.5 | 123453 | 828.4% | 236.4% | 347.9217 | 777.2957 | 6.375 | 12749.9723
64 | 62482.5 | 117.9% | 3471 | 3.471 | 89.13% | 26256.0753 | 3181.8667 | 19085.12 | 22266.9867 | 55553850000 | 69423850000 | 2715 | 825.2% | 312412.5 | 124965 | 838.5% | 239.3% | 347.9217 | 787.0112 | 6.375 | 12749.9723
65 | 63231.5 | 119.6% | 3505 | 3.505 | 90.2% | 27052.7255 | 3231.5833 | 19383.325 | 22614.9083 | 56234250000 | 70104250000 | 2756 | 837.1% | 316157.5 | 126463 | 848.6% | 242.2% | 347.9217 | 796.6501 | 6.375 | 12749.9723
66 | 63972.5 | 121.3% | 3538 | 3.538 | 91.26% | 27858.9254 | 3281.3 | 19681.53 | 22962.83 | 56908350000 | 70778350000 | 2797 | 849% | 319862.5 | 127945 | 858.5% | 245% | 347.9217 | 806.1999 | 6.375 | 12749.9723
67 | 64707.5 | 123% | 3572 | 3.572 | 92.31% | 28674.573 | 3331.0167 | 19979.735 | 23310.7517 | 57575250000 | 71445250000 | 2837 | 860.8% | 323537.5 | 129415 | 868.4% | 247.8% | 347.9217 | 815.6476 | 6.375 | 12749.9723
68 | 65434.5 | 124.7% | 3605 | 3.605 | 93.34% | 29499.5918 | 3380.7333 | 20277.94 | 23658.6733 | 58236750000 | 72106750000 | 2878 | 872.6% | 327172.5 | 130869 | 878.1% | 250.6% | 347.9217 | 825.0188 | 6.375 | 12749.9723
69 | 66155.5 | 126.4% | 3638 | 3.638 | 94.37% | 30333.8799 | 3430.45 | 20576.145 | 24006.595 | 58891050000 | 72761050000 | 2917 | 884.3% | 330777.5 | 132311 | 887.8% | 253.4% | 347.9217 | 834.2881 | 6.375 | 12749.9723
70 | 66868.5 | 128% | 3670 | 3.67 | 95.39% | 31177.3607 | 3480.1667 | 20874.35 | 24354.5167 | 59539950000 | 73409950000 | 2957 | 895.9% | 334342.5 | 133737 | 897.4% | 256.1% | 347.9217 | 843.4808 | 6.375 | 12749.9723
71 | 67574.5 | 129.7% | 3702 | 3.702 | 96.4% | 32029.9322 | 3529.8833 | 21172.555 | 24702.4383 | 60181650000 | 74051650000 | 2996 | 907.4% | 337872.5 | 135149 | 906.9% | 258.8% | 347.9217 | 852.5715 | 6.375 | 12749.9723
72 | 68273.5 | 131.3% | 3734 | 3.734 | 97.39% | 32891.5052 | 3579.6 | 21470.76 | 25050.36 | 60817050000 | 74687050000 | 3035 | 918.9% | 341367.5 | 136547 | 916.2% | 261.5% | 347.9217 | 861.573 | 6.375 | 12749.9723
73 | 68964.5 | 132.9% | 3765 | 3.765 | 98.38% | 33761.9904 | 3629.3167 | 21768.965 | 25398.2817 | 61446150000 | 75316150000 | 3074 | 930.3% | 344822.5 | 137929 | 925.5% | 264.1% | 347.9217 | 870.4852 | 6.375 | 12749.9723
74 | 69648.5 | 134.5% | 3796 | 3.796 | 99.36% | 34641.2859 | 3679.0333 | 22067.17 | 25746.2033 | 62068050000 | 75938050000 | 3112 | 941.6% | 348242.5 | 139297 | 934.7% | 266.8% | 347.9217 | 879.2955 | 6.375 | 12749.9723
75 | 70326.5 | 136.2% | 3827 | 3.827 | 100.3% | 35529.3023 | 3728.75 | 22365.375 | 26094.125 | 62683650000 | 76553650000 | 3149 | 952.8% | 351632.5 | 140653 | 943.8% | 269.4% | 347.9217 | 888.0164 | 6.375 | 12749.9723
76 | 70997.5 | 137.8% | 3858 | 3.858 | 101.3% | 36425.9633 | 3778.4667 | 22663.58 | 26442.0467 | 63293850000 | 77163850000 | 3187 | 964% | 354987.5 | 141995 | 952.8% | 271.9% | 347.9217 | 896.6609 | 6.375 | 12749.9723
77 | 71661.5 | 139.3% | 3888 | 3.888 | 102.2% | 37331.1794 | 3828.1833 | 22961.785 | 26789.9683 | 63897750000 | 77767750000 | 3224 | 975.2% | 358307.5 | 143323 | 961.7% | 274.5% | 347.9217 | 905.2162 | 6.375 | 12749.9723
78 | 72319.5 | 140.9% | 3918 | 3.918 | 103.2% | 38244.8616 | 3877.9 | 23259.99 | 27137.89 | 64495350000 | 78365350000 | 3260 | 986.2% | 361597.5 | 144639 | 970.5% | 277% | 347.9217 | 913.6821 | 6.375 | 12749.9723
79 | 72970.5 | 142.5% | 3947 | 3.947 | 104.1% | 39166.9332 | 3927.6167 | 23558.195 | 27485.8117 | 65087550000 | 78957550000 | 3296 | 997.2% | 364852.5 | 145941 | 979.3% | 279.5% | 347.9217 | 922.0716 | 6.375 | 12749.9723
80 | 73615.5 | 144.1% | 3977 | 3.977 | 105% | 40097.305 | 3977.3333 | 23856.4 | 27833.7333 | 65673450000 | 79543450000 | 3332 | 1008% | 368077.5 | 147231 | 987.9% | 282% | 347.9217 | 930.3719 | 6.375 | 12749.9723
81 | 74254.5 | 145.6% | 4006 | 4.006 | 105.9% | 41035.9006 | 4027.05 | 24154.605 | 28181.655 | 66253950000 | 80123950000 | 3367 | 1019% | 371272.5 | 148509 | 996.5% | 284.4% | 347.9217 | 938.5956 | 6.375 | 12749.9723
82 | 74886.5 | 147.2% | 4034 | 4.034 | 106.8% | 41982.6434 | 4076.7667 | 24452.81 | 28529.5767 | 66829050000 | 80699050000 | 3402 | 1030% | 374432.5 | 149773 | 1005% | 286.8% | 347.9217 | 946.7428 | 6.375 | 12749.9723
83 | 75513.5 | 148.7% | 4063 | 4.063 | 107.7% | 42937.4442 | 4126.4833 | 24751.015 | 28877.4983 | 67397850000 | 81267850000 | 3436 | 1041% | 377567.5 | 151027 | 1013% | 289.2% | 347.9217 | 954.8008 | 6.375 | 12749.9723
84 | 76133.5 | 150.2% | 4091 | 4.091 | 108.6% | 43900.2393 | 4176.2 | 25049.22 | 29225.42 | 67962150000 | 81832150000 | 3471 | 1051% | 380667.5 | 152267 | 1022% | 291.6% | 347.9217 | 962.795 | 6.375 | 12749.9723
85 | 76747.5 | 151.7% | 4119 | 4.119 | 109.5% | 44870.9393 | 4225.9167 | 25347.425 | 29573.3417 | 68520150000 | 82390150000 | 3505 | 1062% | 383737.5 | 153495 | 1030% | 294% | 347.9217 | 970.7 | 6.375 | 12749.9723
86 | 77356.5 | 153.2% | 4147 | 4.147 | 110.4% | 45849.4678 | 4275.6333 | 25645.63 | 29921.2633 | 69072750000 | 82942750000 | 3538 | 1072% | 386782.5 | 154713 | 1038% | 296.3% | 347.9217 | 978.5285 | 6.375 | 12749.9723
87 | 77958.5 | 154.7% | 4174 | 4.174 | 111.2% | 46835.761 | 4325.35 | 25943.835 | 30269.185 | 69620850000 | 83490850000 | 3572 | 1083% | 389792.5 | 155917 | 1046% | 298.6% | 347.9217 | 986.2932 | 6.375 | 12749.9723
88 | 78554.5 | 156.2% | 4201 | 4.201 | 112.1% | 47829.7297 | 4375.0667 | 26242.04 | 30617.1067 | 70162650000 | 84032650000 | 3605 | 1093% | 392772.5 | 157109 | 1054% | 300.9% | 347.9217 | 993.9687 | 6.375 | 12749.9723
89 | 79144.5 | 157.7% | 4228 | 4.228 | 112.9% | 48831.2974 | 4424.7833 | 26540.245 | 30965.0283 | 70699050000 | 84569050000 | 3638 | 1104% | 395722.5 | 158289 | 1062% | 303.1% | 347.9217 | 1001.5677 | 6.375 | 12749.9723
90 | 79729.5 | 159.2% | 4255 | 4.255 | 113.7% | 49840.3876 | 4474.5 | 26838.45 | 31312.95 | 71230050000 | 85100050000 | 3670 | 1114% | 398647.5 | 159459 | 1070% | 305.4% | 347.9217 | 1009.0902 | 6.375 | 12749.9723
91 | 80308.5 | 160.6% | 4281 | 4.281 | 114.6% | 50856.9365 | 4524.2167 | 27136.655 | 31660.8717 | 71756550000 | 85626550000 | 3702 | 1124% | 401542.5 | 160617 | 1078% | 307.6% | 347.9217 | 1016.5489 | 6.375 | 12749.9723
92 | 80881.5 | 162.1% | 4307 | 4.307 | 115.4% | 51880.8677 | 4573.9333 | 27434.86 | 32008.7933 | 72277650000 | 86147650000 | 3734 | 1134% | 404407.5 | 161763 | 1085% | 309.8% | 347.9217 | 1023.9312 | 6.375 | 12749.9723
93 | 81449.5 | 163.5% | 4333 | 4.333 | 116.2% | 52912.1046 | 4623.65 | 27733.065 | 32356.715 | 72793350000 | 86663350000 | 3765 | 1144% | 407247.5 | 162899 | 1093% | 312% | 347.9217 | 1031.2369 | 6.375 | 12749.9723
94 | 82011.5 | 165% | 4358 | 4.358 | 117% | 53950.5834 | 4673.3667 | 28031.27 | 32704.6367 | 73304550000 | 87174550000 | 3796 | 1154% | 410057.5 | 164023 | 1101% | 314.1% | 347.9217 | 1038.4789 | 6.375 | 12749.9723
95 | 82568.5 | 166.4% | 4384 | 4.384 | 117.8% | 54996.2278 | 4723.0833 | 28329.475 | 33052.5583 | 73810350000 | 87680350000 | 3827 | 1164% | 412842.5 | 165137 | 1108% | 316.3% | 347.9217 | 1045.6444 | 6.375 | 12749.9723
96 | 83119.5 | 167.8% | 4409 | 4.409 | 118.6% | 56048.9739 | 4772.8 | 28627.68 | 33400.48 | 74311650000 | 88181650000 | 3858 | 1174% | 415597.5 | 166239 | 1115% | 318.4% | 347.9217 | 1052.7461 | 6.375 | 12749.9723
97 | 83664.5 | 169.2% | 4433 | 4.433 | 119.4% | 57108.7452 | 4822.5167 | 28925.885 | 33748.4017 | 74807550000 | 88677550000 | 3888 | 1184% | 418322.5 | 167329 | 1123% | 320.4% | 347.9217 | 1059.7713 | 6.375 | 12749.9723
98 | 84204.5 | 170.6% | 4458 | 4.458 | 120.1% | 58175.4653 | 4872.2333 | 29224.09 | 34096.3233 | 75298050000 | 89168050000 | 3918 | 1194% | 421022.5 | 168409 | 1130% | 322.5% | 347.9217 | 1066.7201 | 6.375 | 12749.9723
99 | 84739.5 | 172% | 4482 | 4.482 | 120.9% | 59249.0703 | 4921.95 | 29522.295 | 34444.245 | 75784050000 | 89654050000 | 3947 | 1204% | 423697.5 | 169479 | 1137% | 324.6% | 347.9217 | 1073.605 | 6.375 | 12749.9723
100 | 85268.5 | 173.4% | 4506 | 4.506 | 121.6% | 60329.4966 | 4971.6667 | 29820.5 | 34792.1667 | 76265550000 | 90135550000 | 3977 | 1213% | 426342.5 | 170537 | 1144% | 326.6% | 347.9217 | 1080.4263 | 6.375 | 12749.9723
101 | 85792.5 | 174.8% | 4530 | 4.53 | 122.4% | 61416.6676 | 5021.3833 | 30118.705 | 35140.0883 | 76741650000 | 90611650000 | 4006 | 1223% | 428962.5 | 171585 | 1151% | 328.6% | 347.9217 | 1087.171 | 6.375 | 12749.9723
102 | 86312.5 | 176.1% | 4554 | 4.554 | 123.1% | 62510.5196 | 5071.1 | 30416.91 | 35488.01 | 77213250000 | 91083250000 | 4034 | 1233% | 431562.5 | 172625 | 1158% | 330.6% | 347.9217 | 1093.852 | 6.375 | 12749.9723

## Wind Graphs
Additional Wind Graphs
CO2 Offset with different investments and $0.05/kWh reinvestment | [5 empty] | CO2 Offset with different investments and $0.07/kWh reinvestment
Year | $10/bbl Investment | $15/bbl Investment | $20/bbl Investment | $25/bbl Investment | $30/bbl Investment | Year | $10/bbl Investment | $15/bbl Investment | $20/bbl Investment | $25/bbl Investment | $30/bbl Investment
1 | 0% | 0% | 0% | 0% | 0% | 1 | 0% | 0% | 0% | 0% | 0%
2 | 0.6354% | 0.953% | 1.271% | 1.588% | 1.906% | 2 | 0.6354% | 0.953% | 1.271% | 1.588% | 1.906%
3 | 1.289% | 1.934% | 2.579% | 3.223% | 3.869% | 3 | 1.297% | 1.945% | 2.595% | 3.243% | 3.891%
4 | 1.963% | 2.944% | 3.926% | 4.907% | 5.891% | 4 | 1.986% | 2.979% | 3.974% | 4.967% | 5.96%
5 | 2.656% | 3.985% | 5.314% | 6.643% | 7.973% | 5 | 2.704% | 4.056% | 5.411% | 6.765% | 8.117%
6 | 3.371% | 5.057% | 6.744% | 8.431% | 10.12% | 6 | 3.453% | 5.18% | 6.91% | 8.638% | 10.37%
7 | 4.107% | 6.162% | 8.218% | 10.27% | 12.33% | 7 | 4.233% | 6.351% | 8.473% | 10.59% | 12.71%
8 | 4.866% | 7.301% | 9.737% | 12.17% | 14.61% | 8 | 5.048% | 7.573% | 10.1% | 12.63% | 15.16%
9 | 5.648% | 8.475% | 11.3% | 14.13% | 16.96% | 9 | 5.898% | 8.848% | 11.8% | 14.76% | 17.71%
10 | 6.454% | 9.685% | 12.92% | 16.15% | 19.38% | 10 | 6.785% | 10.18% | 13.58% | 16.98% | 20.37%
11 | 7.285% | 10.93% | 14.58% | 18.22% | 21.87% | 11 | 7.711% | 11.57% | 15.43% | 19.29% | 23.15%
12 | 8.142% | 12.22% | 16.29% | 20.37% | 24.45% | 12 | 8.677% | 13.02% | 17.37% | 21.71% | 26.05%
13 | 9.026% | 13.54% | 18.06% | 22.58% | 27.1% | 13 | 9.685% | 14.53% | 19.38% | 24.23% | 29.08%
14 | 9.937% | 14.91% | 19.88% | 24.86% | 29.83% | 14 | 10.74% | 16.11% | 21.49% | 26.87% | 32.24%
15 | 10.88% | 16.32% | 21.76% | 27.21% | 32.65% | 15 | 11.84% | 17.76% | 23.69% | 29.62% | 35.54%
16 | 11.84% | 17.77% | 23.7% | 29.63% | 35.56% | 16 | 12.99% | 19.48% | 25.99% | 32.5% | 38.99%
17 | 12.84% | 19.27% | 25.7% | 32.13% | 38.56% | 17 | 14.19% | 21.28% | 28.4% | 35.5% | 42.6%
18 | 13.87% | 20.82% | 27.76% | 34.71% | 41.66% | 18 | 15.44% | 23.17% | 30.91% | 38.64% | 46.37%
19 | 14.94% | 22.42% | 29.89% | 37.37% | 44.85% | 19 | 16.75% | 25.13% | 33.53% | 41.92% | 50.3%
20 | 16.04% | 24.06% | 32.09% | 40.11% | 48.15% | 20 | 18.12% | 27.19% | 36.27% | 45.35% | 54.42%
21 | 17.17% | 25.76% | 34.36% | 42.95% | 51.55% | 21 | 19.56% | 29.34% | 39.14% | 48.93% | 58.72%
22 | 18.34% | 27.51% | 36.69% | 45.87% | 55.06% | 22 | 21% | 31.5% | 42.03% | 52.54% | 63.05%
23 | 19.54% | 29.32% | 39.11% | 48.89% | 58.68% | 23 | 22.45% | 33.68% | 44.93% | 56.17% | 67.41%
24 | 20.79% | 31.19% | 41.6% | 52% | 62.41% | 24 | 23.92% | 35.88% | 47.87% | 59.84% | 71.81%
25 | 22.07% | 33.12% | 44.17% | 55.21% | 66.27% | 25 | 25.4% | 38.11% | 50.84% | 63.56% | 76.27%
26 | 23.4% | 35.11% | 46.82% | 58.53% | 70.25% | 26 | 26.91% | 40.37% | 53.85% | 67.33% | 80.79%
27 | 24.77% | 37.16% | 49.56% | 61.96% | 74.37% | 27 | 28.44% | 42.66% | 56.91% | 71.15% | 85.38%
28 | 26.18% | 39.29% | 52.39% | 65.5% | 78.61% | 28 | 29.99% | 44.99% | 60.02% | 75.03% | 90.04%
29 | 27.64% | 41.48% | 55.31% | 69.15% | 82.99% | 29 | 31.56% | 47.36% | 63.17% | 78.98% | 94.77%
30 | 29.15% | 43.74% | 58.33% | 72.92% | 87.52% | 30 | 33.17% | 49.76% | 66.38% | 82.99% | 99.59%
31 | 30.71% | 46.08% | 61.45% | 76.81% | 92.2% | 31 | 34.8% | 52.21% | 69.65% | 87.08% | 104.5%
32 | 32.31% | 48.49% | 64.67% | 80.84% | 97.03% | 32 | 36.46% | 54.71% | 72.98% | 91.24% | 109.5%
33 | 33.98% | 50.98% | 67.99% | 85% | 102% | 33 | 38.16% | 57.25% | 76.37% | 95.47% | 114.6%
34 | 35.69% | 53.56% | 71.43% | 89.29% | 107.2% | 34 | 39.88% | 59.84% | 79.82% | 99.79% | 119.7%
35 | 37.47% | 56.22% | 74.98% | 93.72% | 112.5% | 35 | 41.64% | 62.47% | 83.33% | 104.2% | 125%
36 | 39.3% | 58.97% | 78.64% | 98.31% | 118% | 36 | 43.43% | 65.15% | 86.91% | 108.7% | 130.4%
37 | 41.19% | 61.81% | 82.43% | 103% | 123.7% | 37 | 45.25% | 67.88% | 90.55% | 113.2% | 135.9%
38 | 43.15% | 64.75% | 86.35% | 107.9% | 129.6% | 38 | 47.1% | 70.66% | 94.26% | 117.8% | 141.4%
39 | 45.17% | 67.78% | 90.39% | 113% | 135.6% | 39 | 48.98% | 73.49% | 98.03% | 122.6% | 147.1%
40 | 47.26% | 70.92% | 94.58% | 118.2% | 141.9% | 40 | 50.9% | 76.37% | 101.9% | 127.4% | 152.8%
41 | 49.42% | 74.16% | 98.9% | 123.6% | 148.4% | 41 | 52.85% | 79.29% | 105.8% | 132.2% | 158.7%
42 | 51.65% | 77.51% | 103.4% | 129.2% | 155.1% | 42 | 54.83% | 82.26% | 109.7% | 137.2% | 164.6%
43 | 53.96% | 80.97% | 108% | 135% | 162% | 43 | 56.84% | 85.28% | 113.8% | 142.2% | 170.7%
44 | 56.35% | 84.55% | 112.8% | 141% | 169.2% | 44 | 58.89% | 88.35% | 117.9% | 147.3% | 176.8%
45 | 58.82% | 88.26% | 117.7% | 147.1% | 176.6% | 45 | 60.97% | 91.47% | 122% | 152.5% | 183.1%
46 | 61.37% | 92.09% | 122.8% | 153.5% | 184.3% | 46 | 63.08% | 94.64% | 126.2% | 157.8% | 189.4%
47 | 64.01% | 96.05% | 128.1% | 160.1% | 192.2% | 47 | 65.23% | 97.87% | 130.5% | 163.2% | 195.9%
48 | 66.74% | 100.1% | 133.6% | 167% | 200.4% | 48 | 67.42% | 101.2% | 134.9% | 168.7% | 202.4%
49 | 69.56% | 104.4% | 139.2% | 174% | 208.9% | 49 | 69.64% | 104.5% | 139.4% | 174.2% | 209.1%
50 | 72.48% | 108.8% | 145% | 181.3% | 217.6% | 50 | 71.9% | 107.9% | 143.9% | 179.9% | 215.9%
51 | 75.5% | 113.3% | 151.1% | 188.9% | 226.7% | 51 | 74.2% | 111.3% | 148.5% | 185.7% | 222.8%
52 | 78.62% | 118% | 157.3% | 196.7% | 236.1% | 52 | 76.54% | 114.8% | 153.2% | 191.5% | 229.8%
53 | 81.86% | 122.8% | 163.8% | 204.8% | 245.8% | 53 | 78.92% | 118.4% | 157.9% | 197.5% | 237%
54 | 85.2% | 127.9% | 170.5% | 213.1% | 255.8% | 54 | 81.34% | 122% | 162.8% | 203.5% | 244.2%
55 | 88.66% | 133% | 177.4% | 221.8% | 266.2% | 55 | 83.8% | 125.7% | 167.7% | 209.7% | 251.6%
56 | 92.24% | 138.4% | 184.6% | 230.8% | 277% | 56 | 86.3% | 129.5% | 172.7% | 215.9% | 259.1%
57 | 95.95% | 144% | 192% | 240% | 288.1% | 57 | 88.85% | 133.3% | 177.8% | 222.3% | 266.8%
58 | 99.79% | 149.7% | 199.7% | 249.6% | 299.6% | 58 | 91.43% | 137.2% | 183% | 228.8% | 274.5%
59 | 103.8% | 155.7% | 207.6% | 259.6% | 311.5% | 59 | 94.07% | 141.1% | 188.3% | 235.4% | 282.4%
60 | 107.9% | 161.9% | 215.9% | 269.9% | 323.9% | 60 | 96.74% | 145.2% | 193.6% | 242.1% | 290.5%

## Development Plan (Solar)
Development Plan Solar
Yelow cell = Enter your own data
White cell = Calculated value (do not change the value)
Technical Assumptions:
Life expectancy of a solar cell (yrs) | 25 | http://www.seia.org/policy/environment/pv-recycling
Millions barrels oil per year recovered from oil sands | 693.5
$ per barrell of oil to be invested on solar farm on site | 20
Annual amount to be spent (Billions) | 13870000000
$/kWhr for reinvestment in purchasing more solar cells | 0.05
Solar energy: if all the money were spent on solar energy:
Assumed installed cost of solar ($/W) based on peak performance of panel | 4
Solar Panel power (peak W) | 200
Solar Panel effective 24/7 power (W) | 28.3565
Cost per solar panel installed | 800
Number of solar panels per year to be installed | 17337500
Number of automobiles manufactured equivalent to 1 solar cell | 1
Year | Total number of installed solar panels | Cumulative ratio carbon saved/carbon burned | Number of solar panels purchased | Millions of autos equivelant | % of total solar panels to be built | Cumulative carbon saved | Cumulative carbon burned (MT) | Value of solar energy produced in previous year reinvested (million $) | Billions to be spent on solar cells acquisition next year | Decomissioned Panels | Generation Potential (MW) | % addition to canada | Carbon burned this year | Carbon saved this year | MT/GW | Watts/ cell | Savings per panel (T)
1 | 17337500 | 0% | 17337500 | 17.3375 | 0.2748% | 0 | 347.9217 |  | 13870000000 | 0 |  | 0% | 347.9217 | 0
2 | 34715350 | 0.3376% | 17377850 | 17.3778 | 0.5503% | 2.3492 | 695.8433 | 32280501.4455 | 13902280501.4455 | 0 | 368.4989 | 0.2823% | 347.9217 | 2.3492 | 6.375 | 21.2544 | 0.1355
3 | 52133645 | 0.6757% | 17418295 | 17.4183 | 0.8263% | 7.053 | 1043.765 | 64636130.1144 | 13934636130.1144 | 0 | 737.8554 | 0.5652% | 347.9217 | 4.7038 | 6.375 | 21.2544 | 0.1355
4 | 69592478 | 1.014% | 17458833 | 17.4588 | 1.103% | 14.1169 | 1391.6867 | 97067062.8859 | 13967067062.8859 | 0 | 1108.0715 | 0.8488% | 347.9217 | 7.0639 | 6.375 | 21.2544 | 0.1355
5 | 87091944 | 1.354% | 17499466 | 17.4995 | 1.38% | 23.5465 | 1739.6083 | 129573472.9158 | 13999573472.9158 | 0 | 1479.1492 | 1.133% | 347.9217 | 9.4296 | 6.375 | 21.2544 | 0.1355
6 | 104632138 | 1.693% | 17540194 | 17.5402 | 1.658% | 35.3472 | 2087.53 | 162155537.0836 | 14032155537.0836 | 0 | 1851.0906 | 1.418% | 347.9217 | 11.8007 | 6.375 | 21.2544 | 0.1355
7 | 122213154 | 2.033% | 17581016 | 17.581 | 1.937% | 49.5245 | 2435.4517 | 194813432.2688 | 14064813432.2688 | 0 | 2223.8976 | 1.704% | 347.9217 | 14.1773 | 6.375 | 21.2544 | 0.1355
8 | 139835088 | 2.374% | 17621934 | 17.6219 | 2.216% | 66.084 | 2783.3733 | 227547333.4888 | 14097547333.4888 | 0 | 2597.5723 | 1.99% | 347.9217 | 16.5595 | 6.375 | 21.2544 | 0.1355
9 | 157498034 | 2.716% | 17662946 | 17.6629 | 2.496% | 85.0312 | 3131.295 | 260357419.4851 | 14130357419.4851 | 0 | 2972.1167 | 2.277% | 347.9217 | 18.9472 | 6.375 | 21.2544 | 0.1355
10 | 175202088 | 3.057% | 17704054 | 17.7041 | 2.777% | 106.3716 | 3479.2167 | 293243865.2752 | 14163243865.2752 | 0 | 3347.5327 | 2.564% | 347.9217 | 21.3405 | 6.375 | 21.2544 | 0.1355
11 | 192947346 | 3.4% | 17745258 | 17.7453 | 3.058% | 130.111 | 3827.1383 | 326206849.6004 | 14196206849.6004 | 0 | 3723.8225 | 2.853% | 347.9217 | 23.7393 | 6.375 | 21.2544 | 0.1355
12 | 210733904 | 3.743% | 17786558 | 17.7866 | 3.34% | 156.2547 | 4175.06 | 359246551.2022 | 14229246551.2022 | 0 | 4100.988 | 3.141% | 347.9217 | 26.1437 | 6.375 | 21.2544 | 0.1355
13 | 228561857 | 4.086% | 17827953 | 17.828 | 3.623% | 184.8085 | 4522.9817 | 392363148.8218 | 14262363148.8218 | 0 | 4479.0314 | 3.431% | 347.9217 | 28.5538 | 6.375 | 21.2544 | 0.1355
14 | 246431303 | 4.43% | 17869446 | 17.8694 | 3.906% | 215.7779 | 4870.9033 | 425556819.3388 | 14295556819.3388 | 0 | 4857.9546 | 3.721% | 347.9217 | 30.9694 | 6.375 | 21.2544 | 0.1355
15 | 264342337 | 4.774% | 17911034 | 17.911 | 4.19% | 249.1685 | 5218.825 | 458827745.2182 | 14328827745.2182 | 0 | 5237.7596 | 4.012% | 347.9217 | 33.3906 | 6.375 | 21.2544 | 0.1355
16 | 282295057 | 5.119% | 17952720 | 17.9527 | 4.474% | 284.986 | 5566.7467 | 492176103.3395 | 14362176103.3395 | 0 | 5618.4487 | 4.304% | 347.9217 | 35.8175 | 6.375 | 21.2544 | 0.1355
17 | 300289559 | 5.465% | 17994502 | 17.9945 | 4.76% | 323.2361 | 5914.6683 | 525602076.1678 | 14395602076.1678 | 0 | 6000.0237 | 4.596% | 347.9217 | 38.2501 | 6.375 | 21.2544 | 0.1355
18 | 318325941 | 5.811% | 18036382 | 18.0364 | 5.046% | 363.9244 | 6262.59 | 559105842.4446 | 14429105842.4446 | 0 | 6382.4868 | 4.889% | 347.9217 | 40.6883 | 6.375 | 21.2544 | 0.1355
19 | 336404300 | 6.158% | 18078359 | 18.0784 | 5.332% | 407.0565 | 6610.5117 | 592687584.6348 | 14462687584.6348 | 0 | 6765.84 | 5.183% | 347.9217 | 43.1321 | 6.375 | 21.2544 | 0.1355
20 | 354524734 | 6.505% | 18120434 | 18.1204 | 5.619% | 452.6382 | 6958.4333 | 626347483.3418 | 14496347483.3418 | 0 | 7150.0854 | 5.477% | 347.9217 | 45.5817 | 6.375 | 21.2544 | 0.1355
21 | 372687341 | 6.853% | 18162607 | 18.1626 | 5.907% | 500.6752 | 7306.355 | 660085721.0307 | 14530085721.0307 | 0 | 7535.2251 | 5.772% | 347.9217 | 48.037 | 6.375 | 21.2544 | 0.1355
22 | 390892219 | 7.201% | 18204878 | 18.2049 | 6.196% | 551.1731 | 7654.2767 | 693902480.1666 | 14563902480.1666 | 0 | 7921.2612 | 6.068% | 347.9217 | 50.4979 | 6.375 | 21.2544 | 0.1355
23 | 409139466 | 7.55% | 18247247 | 18.2472 | 6.485% | 604.1377 | 8002.1983 | 727797943.2146 | 14597797943.2146 | 0 | 8308.1957 | 6.364% | 347.9217 | 52.9646 | 6.375 | 21.2544 | 0.1355
24 | 427429181 | 7.899% | 18289715 | 18.2897 | 6.775% | 659.5748 | 8350.12 | 761772292.6399 | 14631772292.6399 | 0 | 8696.0307 | 6.661% | 347.9217 | 55.4371 | 6.375 | 21.2544 | 0.1355
25 | 445761463 | 8.249% | 18332282 | 18.3323 | 7.065% | 717.4901 | 8698.0417 | 795825712.7695 | 14665825712.7695 | 0 | 9084.7684 | 6.959% | 347.9217 | 57.9153 | 6.375 | 21.2544 | 0.1355
26 | 446798910 | 8.599% | 18374947 | 18.3749 | 7.082% | 777.8893 | 9045.9633 | 829958387.9303 | 14699958387.9303 | 17337500 | 9474.4108 | 7.258% | 347.9217 | 60.3992 | 6.375 | 21.2544 | 0.1355
27 | 447798422 | 8.925% | 18377362 | 18.3774 | 7.098% | 838.4291 | 9393.885 | 831889999.142 | 14701889999.142 | 17377850 | 9496.4612 | 7.275% | 347.9217 | 60.5398 | 6.375 | 21.2544 | 0.1355
28 | 448759815 | 9.229% | 18379688 | 18.3797 | 7.113% | 899.1044 | 9741.8067 | 833750979.5926 | 14703750979.5926 | 17418295 | 9517.7052 | 7.291% | 347.9217 | 60.6752 | 6.375 | 21.2544 | 0.1355
29 | 449682908 | 9.514% | 18381926 | 18.3819 | 7.128% | 959.9099 | 10089.7283 | 835540986.6943 | 14705540986.6943 | 17458833 | 9538.1391 | 7.307% | 347.9217 | 60.8055 | 6.375 | 21.2544 | 0.1355
30 | 450567516 | 9.78% | 18384074 | 18.3841 | 7.142% | 1020.8404 | 10437.65 | 837259683.4453 | 14707259683.4453 | 17499466 | 9557.7589 | 7.322% | 347.9217 | 60.9306 | 6.375 | 21.2544 | 0.1355
31 | 451413455 | 10.03% | 18386133 | 18.3861 | 7.155% | 1081.8909 | 10785.5717 | 838906725.3961 | 14708906725.3961 | 17540194 | 9576.5608 | 7.336% | 347.9217 | 61.0504 | 6.375 | 21.2544 | 0.1355
32 | 452220541 | 10.27% | 18388102 | 18.3881 | 7.168% | 1143.0559 | 11133.4933 | 840481769.9592 | 14710481769.9592 | 17581016 | 9594.5408 | 7.35% | 347.9217 | 61.1651 | 6.375 | 21.2544 | 0.1355
33 | 452988587 | 10.49% | 18389980 | 18.39 | 7.18% | 1204.3304 | 11481.415 | 841984474.547 | 14711984474.547 | 17621934 | 9611.6949 | 7.363% | 347.9217 | 61.2744 | 6.375 | 21.2544 | 0.1355
34 | 453717409 | 10.7% | 18391768 | 18.3918 | 7.192% | 1265.7089 | 11829.3367 | 843414490.9861 | 14713414490.9861 | 17662946 | 9628.0193 | 7.375% | 347.9217 | 61.3785 | 6.375 | 21.2544 | 0.1355
35 | 454406819 | 10.9% | 18393464 | 18.3935 | 7.203% | 1327.1861 | 12177.2583 | 844771476.689 | 14714771476.689 | 17704054 | 9643.51 | 7.387% | 347.9217 | 61.4772 | 6.375 | 21.2544 | 0.1355
36 | 455056629 | 11.09% | 18395068 | 18.3951 | 7.213% | 1388.7568 | 12525.18 | 846055081.6206 | 14716055081.6206 | 17745258 | 9658.163 | 7.398% | 347.9217 | 61.5707 | 6.375 | 21.2544 | 0.1355
37 | 455666652 | 11.27% | 18396581 | 18.3966 | 7.222% | 1450.4155 | 12873.1017 | 847264955.7457 | 14717264955.7457 | 17786558 | 9671.9744 | 7.409% | 347.9217 | 61.6587 | 6.375 | 21.2544 | 0.1355
38 | 456236699 | 11.44% | 18398000 | 18.398 | 7.232% | 1512.1568 | 13221.0233 | 848400750.8911 | 14718400750.8911 | 17827953 | 9684.9401 | 7.419% | 347.9217 | 61.7414 | 6.375 | 21.2544 | 0.1355
39 | 456766580 | 11.6% | 18399327 | 18.3993 | 7.24% | 1573.9754 | 13568.945 | 849462115.1598 | 14719462115.1598 | 17869446 | 9697.0561 | 7.428% | 347.9217 | 61.8186 | 6.375 | 21.2544 | 0.1355
40 | 457256106 | 11.75% | 18400560 | 18.4006 | 7.248% | 1635.8658 | 13916.8667 | 850448694.7927 | 14720448694.7927 | 17911034 | 9708.3184 | 7.437% | 347.9217 | 61.8904 | 6.375 | 21.2544 | 0.1355
41 | 457705086 | 11.9% | 18401700 | 18.4017 | 7.255% | 1697.8225 | 14264.7883 | 851360137.893 | 14721360137.893 | 17952720 | 9718.723 | 7.445% | 347.9217 | 61.9567 | 6.375 | 21.2544 | 0.1355
42 | 458113329 | 12.04% | 18402745 | 18.4027 | 7.261% | 1759.8401 | 14612.71 | 852196088.8397 | 14722196088.8397 | 17994502 | 9728.2659 | 7.452% | 347.9217 | 62.0176 | 6.375 | 21.2544 | 0.1355
43 | 458480642 | 12.18% | 18403695 | 18.4037 | 7.267% | 1821.913 | 14960.6317 | 852956192.0121 | 14722956192.0121 | 18036382 | 9736.9428 | 7.459% | 347.9217 | 62.0729 | 6.375 | 21.2544 | 0.1355
44 | 458806833 | 12.31% | 18404550 | 18.4046 | 7.272% | 1884.0356 | 15308.5533 | 853640088.0656 | 14723640088.0656 | 18078359 | 9744.7499 | 7.465% | 347.9217 | 62.1226 | 6.375 | 21.2544 | 0.1355
45 | 459091708 | 12.43% | 18405309 | 18.4053 | 7.277% | 1946.2025 | 15656.475 | 854247419.5175 | 14724247419.5175 | 18120434 | 9751.6829 | 7.47% | 347.9217 | 62.1668 | 6.375 | 21.2544 | 0.1355
46 | 459335073 | 12.55% | 18405972 | 18.406 | 7.281% | 2008.4079 | 16004.3967 | 854777825.1613 | 14724777825.1613 | 18162607 | 9757.7377 | 7.475% | 347.9217 | 62.2054 | 6.375 | 21.2544 | 0.1355
47 | 459536733 | 12.66% | 18406538 | 18.4065 | 7.284% | 2070.6463 | 16352.3183 | 855230943.7905 | 14725230943.7905 | 18204878 | 9762.9103 | 7.479% | 347.9217 | 62.2384 | 6.375 | 21.2544 | 0.1355
48 | 459696494 | 12.77% | 18407008 | 18.407 | 7.286% | 2132.9121 | 16700.24 | 855606412.3368 | 14725606412.3368 | 18247247 | 9767.1965 | 7.482% | 347.9217 | 62.2657 | 6.375 | 21.2544 | 0.1355
49 | 459814158 | 12.88% | 18407379 | 18.4074 | 7.288% | 2195.1995 | 17048.1617 | 855903869.5937 | 14725903869.5937 | 18289715 | 9770.5921 | 7.485% | 347.9217 | 62.2874 | 6.375 | 21.2544 | 0.1355
50 | 459889529 | 12.98% | 18407653 | 18.4077 | 7.289% | 2257.5028 | 17396.0833 | 856122946.9072 | 14726122946.9072 | 18332282 | 9773.093 | 7.486% | 347.9217 | 62.3033 | 6.375 | 21.2544 | 0.1355
51 | 459922411 | 13.07% | 18407829 | 18.4078 | 7.29% | 2319.8163 | 17744.005 | 856263279.3469 | 14726263279.3469 | 18374947 | 9774.695 | 7.488% | 347.9217 | 62.3135 | 6.375 | 21.2544 | 0.1355
52 | 459952954 | 13.17% | 18407905 | 18.4079 | 7.29% | 2382.1343 | 18091.9267 | 856324501.9828 | 14726324501.9828 | 18377362 | 9775.3939 | 7.488% | 347.9217 | 62.318 | 6.375 | 21.2544 | 0.1355
53 | 459981242 | 13.26% | 18407976 | 18.408 | 7.291% | 2444.4565 | 18439.8483 | 856381369.6601 | 14726381369.6601 | 18379688 | 9776.043 | 7.489% | 347.9217 | 62.3221 | 6.375 | 21.2544 | 0.1355
54 | 460007358 | 13.34% | 18408042 | 18.408 | 7.291% | 2506.7824 | 18787.77 | 856434038.7776 | 14726434038.7776 | 18381926 | 9776.6443 | 7.489% | 347.9217 | 62.326 | 6.375 | 21.2544 | 0.1355
55 | 460031387 | 13.43% | 18408103 | 18.4081 | 7.292% | 2569.112 | 19135.6917 | 856482663.8721 | 14726482663.8721 | 18384074 | 9777.1994 | 7.49% | 347.9217 | 62.3295 | 6.375 | 21.2544 | 0.1355
56 | 460053413 | 13.51% | 18408159 | 18.4082 | 7.292% | 2631.4447 | 19483.6133 | 856527403.2041 | 14726527403.2041 | 18386133 | 9777.7101 | 7.49% | 347.9217 | 62.3328 | 6.375 | 21.2544 | 0.1355
57 | 460073521 | 13.58% | 18408210 | 18.4082 | 7.292% | 2693.7805 | 19831.535 | 856568413.1724 | 14726568413.1724 | 18388102 | 9778.1782 | 7.49% | 347.9217 | 62.3358 | 6.375 | 21.2544 | 0.1355
58 | 460091798 | 13.66% | 18408257 | 18.4083 | 7.293% | 2756.1189 | 20179.4567 | 856605852.0375 | 14726605852.0375 | 18389980 | 9778.6056 | 7.491% | 347.9217 | 62.3385 | 6.375 | 21.2544 | 0.1355
59 | 460108329 | 13.73% | 18408299 | 18.4083 | 7.293% | 2818.4599 | 20527.3783 | 856639881.7837 | 14726639881.7837 | 18391768 | 9778.9941 | 7.491% | 347.9217 | 62.341 | 6.375 | 21.2544 | 0.1355
60 | 460123203 | 13.8% | 18408338 | 18.4083 | 7.293% | 2880.8031 | 20875.3 | 856670660.6716 | 14726670660.6716 | 18393464 | 9779.3454 | 7.491% | 347.9217 | 62.3432 | 6.375 | 21.2544 | 0.1355
61 | 460136507 | 13.87% | 18408372 | 18.4084 | 7.293% | 2943.1483 | 21223.2217 | 856698354.4094 | 14726698354.4094 | 18395068 | 9779.6616 | 7.492% | 347.9217 | 62.3452 | 6.375 | 21.2544 | 0.1355
62 | 460148329 | 13.93% | 18408403 | 18.4084 | 7.294% | 3005.4953 | 21571.1433 | 856723124.9813 | 14726723124.9813 | 18396581 | 9779.9443 | 7.492% | 347.9217 | 62.347 | 6.375 | 21.2544 | 0.1355
63 | 460158760 | 14% | 18408431 | 18.4084 | 7.294% | 3067.8439 | 21919.065 | 856745136.2337 | 14726745136.2337 | 18398000 | 9780.1956 | 7.492% | 347.9217 | 62.3486 | 6.375 | 21.2544 | 0.1355
64 | 460167888 | 14.06% | 18408455 | 18.4085 | 7.294% | 3130.1939 | 22266.9867 | 856764557.5984 | 14726764557.5984 | 18399327 | 9780.4173 | 7.492% | 347.9217 | 62.35 | 6.375 | 21.2544 | 0.1355
65 | 460175804 | 14.12% | 18408476 | 18.4085 | 7.294% | 3192.5452 | 22614.9083 | 856781552.9217 | 14726781552.9217 | 18400560 | 9780.6113 | 7.492% | 347.9217 | 62.3513 | 6.375 | 21.2544 | 0.1355
66 | 460182599 | 14.17% | 18408495 | 18.4085 | 7.294% | 3254.8975 | 22962.83 | 856796291.6354 | 14726796291.6354 | 18401700 | 9780.7796 | 7.492% | 347.9217 | 62.3523 | 6.375 | 21.2544 | 0.1355
67 | 460188365 | 14.23% | 18408511 | 18.4085 | 7.294% | 3317.2508 | 23310.7517 | 856808943.1715 | 14726808943.1715 | 18402745 | 9780.924 | 7.492% | 347.9217 | 62.3533 | 6.375 | 21.2544 | 0.1355
68 | 460193194 | 14.28% | 18408524 | 18.4085 | 7.294% | 3379.6048 | 23658.6733 | 856819678.8238 | 14726819678.8238 | 18403695 | 9781.0466 | 7.493% | 347.9217 | 62.354 | 6.375 | 21.2544 | 0.1355
69 | 460197179 | 14.34% | 18408535 | 18.4085 | 7.294% | 3441.9595 | 24006.595 | 856828669.886 | 14726828669.886 | 18404550 | 9781.1492 | 7.493% | 347.9217 | 62.3547 | 6.375 | 21.2544 | 0.1355
70 | 460200415 | 14.39% | 18408545 | 18.4085 | 7.294% | 3504.3148 | 24354.5167 | 856836089.5139 | 14726836089.5139 | 18405309 | 9781.2339 | 7.493% | 347.9217 | 62.3552 | 6.375 | 21.2544 | 0.1355
71 | 460202995 | 14.44% | 18408552 | 18.4086 | 7.294% | 3566.6704 | 24702.4383 | 856842114.5869 | 14726842114.5869 | 18405972 | 9781.3027 | 7.493% | 347.9217 | 62.3557 | 6.375 | 21.2544 | 0.1355
72 | 460205015 | 14.49% | 18408558 | 18.4086 | 7.294% | 3629.0264 | 25050.36 | 856846918.2606 | 14726846918.2606 | 18406538 | 9781.3575 | 7.493% | 347.9217 | 62.356 | 6.375 | 21.2544 | 0.1355
73 | 460206570 | 14.53% | 18408563 | 18.4086 | 7.294% | 3691.3827 | 25398.2817 | 856850679.2765 | 14726850679.2765 | 18407008 | 9781.4004 | 7.493% | 347.9217 | 62.3563 | 6.375 | 21.2544 | 0.1355
74 | 460207757 | 14.58% | 18408566 | 18.4086 | 7.294% | 3753.7392 | 25746.2033 | 856853574.514 | 14726853574.514 | 18407379 | 9781.4335 | 7.493% | 347.9217 | 62.3565 | 6.375 | 21.2544 | 0.1355
75 | 460208673 | 14.62% | 18408569 | 18.4086 | 7.294% | 3816.0959 | 26094.125 | 856855784.5763 | 14726855784.5763 | 18407653 | 9781.4587 | 7.493% | 347.9217 | 62.3567 | 6.375 | 21.2544 | 0.1355
76 | 460209415 | 14.67% | 18408571 | 18.4086 | 7.294% | 3878.4527 | 26442.0467 | 856857490.0667 | 14726857490.0667 | 18407829 | 9781.4782 | 7.493% | 347.9217 | 62.3568 | 6.375 | 21.2544 | 0.1355
77 | 460210083 | 14.71% | 18408573 | 18.4086 | 7.295% | 3940.8096 | 26789.9683 | 856858871.5884 | 14726858871.5884 | 18407905 | 9781.494 | 7.493% | 347.9217 | 62.3569 | 6.375 | 21.2544 | 0.1355
78 | 460210682 | 14.75% | 18408575 | 18.4086 | 7.295% | 4003.1666 | 27137.89 | 856860115.3302 | 14726860115.3302 | 18407976 | 9781.5082 | 7.493% | 347.9217 | 62.357 | 6.375 | 21.2544 | 0.1355
79 | 460211216 | 14.79% | 18408576 | 18.4086 | 7.295% | 4065.5236 | 27485.8117 | 856861230.6018 | 14726861230.6018 | 18408042 | 9781.5209 | 7.493% | 347.9217 | 62.3571 | 6.375 | 21.2544 | 0.1355
80 | 460211690 | 14.83% | 18408577 | 18.4086 | 7.295% | 4127.8808 | 27833.7333 | 856862224.8505 | 14726862224.8505 | 18408103 | 9781.5322 | 7.493% | 347.9217 | 62.3571 | 6.375 | 21.2544 | 0.1355
81 | 460212109 | 14.87% | 18408578 | 18.4086 | 7.295% | 4190.2379 | 28181.655 | 856863107.3859 | 14726863107.3859 | 18408159 | 9781.5423 | 7.493% | 347.9217 | 62.3572 | 6.375 | 21.2544 | 0.1355
82 | 460212478 | 14.91% | 18408579 | 18.4086 | 7.295% | 4252.5952 | 28529.5767 | 856863887.5175 | 14726863887.5175 | 18408210 | 9781.5512 | 7.493% | 347.9217 | 62.3573 | 6.375 | 21.2544 | 0.1355
83 | 460212801 | 14.94% | 18408580 | 18.4086 | 7.295% | 4314.9525 | 28877.4983 | 856864574.5545 | 14726864574.5545 | 18408257 | 9781.5591 | 7.493% | 347.9217 | 62.3573 | 6.375 | 21.2544 | 0.1355
84 | 460213083 | 14.98% | 18408581 | 18.4086 | 7.295% | 4377.3099 | 29225.42 | 856865175.9447 | 14726865175.9447 | 18408299 | 9781.5659 | 7.493% | 347.9217 | 62.3573 | 6.375 | 21.2544 | 0.1355
85 | 460213327 | 15.01% | 18408582 | 18.4086 | 7.295% | 4439.6672 | 29573.3417 | 856865700.9974 | 14726865700.9974 | 18408338 | 9781.5719 | 7.493% | 347.9217 | 62.3574 | 6.375 | 21.2544 | 0.1355
86 | 460213537 | 15.05% | 18408582 | 18.4086 | 7.295% | 4502.0247 | 29921.2633 | 856866155.2983 | 14726866155.2983 | 18408372 | 9781.5771 | 7.493% | 347.9217 | 62.3574 | 6.375 | 21.2544 | 0.1355
87 | 460213717 | 15.08% | 18408583 | 18.4086 | 7.295% | 4564.3821 | 30269.185 | 856866546.295 | 14726866546.295 | 18408403 | 9781.5816 | 7.493% | 347.9217 | 62.3574 | 6.375 | 21.2544 | 0.1355
88 | 460213869 | 15.11% | 18408583 | 18.4086 | 7.295% | 4626.7396 | 30617.1067 | 856866881.4351 | 14726866881.4351 | 18408431 | 9781.5854 | 7.493% | 347.9217 | 62.3575 | 6.375 | 21.2544 | 0.1355
89 | 460213997 | 15.14% | 18408583 | 18.4086 | 7.295% | 4689.0971 | 30965.0283 | 856867164.4422 | 14726867164.4422 | 18408455 | 9781.5886 | 7.493% | 347.9217 | 62.3575 | 6.375 | 21.2544 | 0.1355
90 | 460214105 | 15.17% | 18408584 | 18.4086 | 7.295% | 4751.4546 | 31312.95 | 856867402.764 | 14726867402.764 | 18408476 | 9781.5914 | 7.493% | 347.9217 | 62.3575 | 6.375 | 21.2544 | 0.1355
91 | 460214194 | 15.2% | 18408584 | 18.4086 | 7.295% | 4813.8121 | 31660.8717 | 856867603.848 | 14726867603.848 | 18408495 | 9781.5937 | 7.493% | 347.9217 | 62.3575 | 6.375 | 21.2544 | 0.1355
92 | 460214267 | 15.23% | 18408584 | 18.4086 | 7.295% | 4876.1696 | 32008.7933 | 856867769.5561 | 14726867769.5561 | 18408511 | 9781.5955 | 7.493% | 347.9217 | 62.3575 | 6.375 | 21.2544 | 0.1355
93 | 460214327 | 15.26% | 18408584 | 18.4086 | 7.295% | 4938.5272 | 32356.715 | 856867905.474 | 14726867905.474 | 18408524 | 9781.5971 | 7.493% | 347.9217 | 62.3575 | 6.375 | 21.2544 | 0.1355
94 | 460214377 | 15.29% | 18408585 | 18.4086 | 7.295% | 5000.8847 | 32704.6367 | 856868017.1874 | 14726868017.1874 | 18408535 | 9781.5984 | 7.493% | 347.9217 | 62.3576 | 6.375 | 21.2544 | 0.1355
95 | 460214417 | 15.32% | 18408585 | 18.4086 | 7.295% | 5063.2423 | 33052.5583 | 856868110.2818 | 14726868110.2818 | 18408545 | 9781.5994 | 7.493% | 347.9217 | 62.3576 | 6.375 | 21.2544 | 0.1355
96 | 460214450 | 15.35% | 18408585 | 18.4086 | 7.295% | 5125.5999 | 33400.48 | 856868184.7574 | 14726868184.7574 | 18408552 | 9781.6003 | 7.493% | 347.9217 | 62.3576 | 6.375 | 21.2544 | 0.1355
97 | 460214477 | 15.37% | 18408585 | 18.4086 | 7.295% | 5187.9574 | 33748.4017 | 856868246.1997 | 14726868246.1997 | 18408558 | 9781.601 | 7.493% | 347.9217 | 62.3576 | 6.375 | 21.2544 | 0.1355
98 | 460214499 | 15.4% | 18408585 | 18.4086 | 7.295% | 5250.315 | 34096.3233 | 856868296.4707 | 14726868296.4707 | 18408563 | 9781.6016 | 7.493% | 347.9217 | 62.3576 | 6.375 | 21.2544 | 0.1355
99 | 460214518 | 15.42% | 18408585 | 18.4086 | 7.295% | 5312.6726 | 34444.245 | 856868337.4323 | 14726868337.4323 | 18408566 | 9781.602 | 7.493% | 347.9217 | 62.3576 | 6.375 | 21.2544 | 0.1355
100 | 460214534 | 15.45% | 18408585 | 18.4086 | 7.295% | 5375.0302 | 34792.1667 | 856868372.8082 | 14726868372.8082 | 18408569 | 9781.6024 | 7.493% | 347.9217 | 62.3576 | 6.375 | 21.2544 | 0.1355

## Solar Graphs
Additional Solar Graphs
CO2 Offset with different investments and $0.05/kWh reinvestment | [5 empty] | CO2 Offset with different investments and $0.07/kWh reinvestment
Year | $10/bbl Investment | $15/bbl Investment | $20/bbl Investment | $25/bbl Investment | $30/bbl Investment | Year | $10/bbl Investment | $15/bbl Investment | $20/bbl Investment | $25/bbl Investment | $30/bbl Investment
1 | 0% | 0% | 0% | 0% | 0% | 1 | 0% | 0% | 0% | 0% | 0%
2 | 0.3816% | 0.5724% | 0.7632% | 0.954% | 1.145% | 2 | 0.3816% | 0.5724% | 0.7632% | 0.954% | 1.145%
3 | 0.7675% | 1.151% | 1.535% | 1.919% | 2.302% | 3 | 0.7675% | 1.151% | 1.535% | 1.919% | 2.302%
4 | 1.158% | 1.737% | 2.315% | 2.894% | 3.473% | 4 | 1.158% | 1.737% | 2.315% | 2.894% | 3.473%
5 | 1.552% | 2.329% | 3.105% | 3.881% | 4.657% | 5 | 1.552% | 2.329% | 3.105% | 3.881% | 4.657%
6 | 1.951% | 2.927% | 3.903% | 4.879% | 5.854% | 6 | 1.951% | 2.927% | 3.903% | 4.879% | 5.854%
7 | 2.355% | 3.533% | 4.71% | 5.888% | 7.065% | 7 | 2.355% | 3.533% | 4.71% | 5.888% | 7.065%
8 | 2.763% | 4.145% | 5.527% | 6.908% | 8.29% | 8 | 2.763% | 4.145% | 5.527% | 6.908% | 8.29%
9 | 3.176% | 4.764% | 6.352% | 7.94% | 9.528% | 9 | 3.176% | 4.764% | 6.352% | 7.94% | 9.528%
10 | 3.594% | 5.39% | 7.187% | 8.984% | 10.78% | 10 | 3.594% | 5.39% | 7.187% | 8.984% | 10.78%
11 | 4.016% | 6.024% | 8.032% | 10.04% | 12.05% | 11 | 4.016% | 6.024% | 8.032% | 10.04% | 12.05%
12 | 4.443% | 6.664% | 8.886% | 11.11% | 13.33% | 12 | 4.443% | 6.664% | 8.886% | 11.11% | 13.33%
13 | 4.875% | 7.312% | 9.75% | 12.19% | 14.62% | 13 | 4.875% | 7.312% | 9.75% | 12.19% | 14.62%
14 | 5.312% | 7.968% | 10.62% | 13.28% | 15.94% | 14 | 5.312% | 7.968% | 10.62% | 13.28% | 15.94%
15 | 5.754% | 8.63% | 11.51% | 14.38% | 17.26% | 15 | 5.754% | 8.63% | 11.51% | 14.38% | 17.26%
16 | 6.2% | 9.301% | 12.4% | 15.5% | 18.6% | 16 | 6.2% | 9.301% | 12.4% | 15.5% | 18.6%
17 | 6.652% | 9.979% | 13.31% | 16.63% | 19.96% | 17 | 6.652% | 9.979% | 13.31% | 16.63% | 19.96%
18 | 7.11% | 10.66% | 14.22% | 17.77% | 21.33% | 18 | 7.11% | 10.66% | 14.22% | 17.77% | 21.33%
19 | 7.572% | 11.36% | 15.14% | 18.93% | 22.72% | 19 | 7.572% | 11.36% | 15.14% | 18.93% | 22.72%
20 | 8.04% | 12.06% | 16.08% | 20.1% | 24.12% | 20 | 8.04% | 12.06% | 16.08% | 20.1% | 24.12%
21 | 8.513% | 12.77% | 17.03% | 21.28% | 25.54% | 21 | 8.513% | 12.77% | 17.03% | 21.28% | 25.54%
22 | 8.992% | 13.49% | 17.98% | 22.48% | 26.98% | 22 | 8.992% | 13.49% | 17.98% | 22.48% | 26.98%
23 | 9.476% | 14.21% | 18.95% | 23.69% | 28.43% | 23 | 9.476% | 14.21% | 18.95% | 23.69% | 28.43%
24 | 9.966% | 14.95% | 19.93% | 24.91% | 29.9% | 24 | 9.966% | 14.95% | 19.93% | 24.91% | 29.9%
25 | 10.46% | 15.69% | 20.92% | 26.15% | 31.38% | 25 | 10.46% | 15.69% | 20.92% | 26.15% | 31.38%
26 | 10.96% | 16.44% | 21.93% | 27.41% | 32.89% | 26 | 10.96% | 16.44% | 21.93% | 27.41% | 32.89%
27 | 11.47% | 17.2% | 22.94% | 28.67% | 34.41% | 27 | 11.47% | 17.2% | 22.94% | 28.67% | 34.41%
28 | 11.98% | 17.97% | 23.97% | 29.96% | 35.95% | 28 | 11.98% | 17.97% | 23.97% | 29.96% | 35.95%
29 | 12.5% | 18.75% | 25% | 31.25% | 37.5% | 29 | 12.5% | 18.75% | 25% | 31.25% | 37.5%
30 | 13.03% | 19.54% | 26.05% | 32.57% | 39.08% | 30 | 13.03% | 19.54% | 26.05% | 32.57% | 39.08%
31 | 13.56% | 20.34% | 27.12% | 33.89% | 40.67% | 31 | 13.56% | 20.34% | 27.12% | 33.89% | 40.67%
32 | 14.09% | 21.14% | 28.19% | 35.24% | 42.28% | 32 | 14.09% | 21.14% | 28.19% | 35.24% | 42.28%
33 | 14.64% | 21.96% | 29.28% | 36.6% | 43.92% | 33 | 14.64% | 21.96% | 29.28% | 36.6% | 43.92%
34 | 15.19% | 22.78% | 30.38% | 37.97% | 45.57% | 34 | 15.19% | 22.78% | 30.38% | 37.97% | 45.57%
35 | 15.74% | 23.62% | 31.49% | 39.36% | 47.23% | 35 | 15.74% | 23.62% | 31.49% | 39.36% | 47.23%
36 | 16.31% | 24.46% | 32.62% | 40.77% | 48.92% | 36 | 16.31% | 24.46% | 32.62% | 40.77% | 48.92%
37 | 16.88% | 25.32% | 33.75% | 42.19% | 50.63% | 37 | 16.88% | 25.32% | 33.75% | 42.19% | 50.63%
38 | 17.45% | 26.18% | 34.91% | 43.63% | 52.36% | 38 | 17.45% | 26.18% | 34.91% | 43.63% | 52.36%
39 | 18.04% | 27.06% | 36.07% | 45.09% | 54.11% | 39 | 18.04% | 27.06% | 36.07% | 45.09% | 54.11%
40 | 18.63% | 27.94% | 37.25% | 46.57% | 55.88% | 40 | 18.63% | 27.94% | 37.25% | 46.57% | 55.88%
41 | 19.22% | 28.84% | 38.45% | 48.06% | 57.67% | 41 | 19.22% | 28.84% | 38.45% | 48.06% | 57.67%
42 | 19.83% | 29.74% | 39.66% | 49.57% | 59.48% | 42 | 19.83% | 29.74% | 39.66% | 49.57% | 59.48%
43 | 20.44% | 30.66% | 40.88% | 51.1% | 61.32% | 43 | 20.44% | 30.66% | 40.88% | 51.1% | 61.32%
44 | 21.06% | 31.59% | 42.11% | 52.64% | 63.17% | 44 | 21.06% | 31.59% | 42.11% | 52.64% | 63.17%
45 | 21.68% | 32.52% | 43.37% | 54.21% | 65.05% | 45 | 21.68% | 32.52% | 43.37% | 54.21% | 65.05%
46 | 22.32% | 33.47% | 44.63% | 55.79% | 66.95% | 46 | 22.32% | 33.47% | 44.63% | 55.79% | 66.95%
47 | 22.96% | 34.44% | 45.91% | 57.39% | 68.87% | 47 | 22.96% | 34.44% | 45.91% | 57.39% | 68.87%
48 | 23.61% | 35.41% | 47.21% | 59.01% | 70.82% | 48 | 23.61% | 35.41% | 47.21% | 59.01% | 70.82%
49 | 24.26% | 36.39% | 48.52% | 60.65% | 72.78% | 49 | 24.26% | 36.39% | 48.52% | 60.65% | 72.78%
50 | 24.93% | 37.39% | 49.85% | 62.31% | 74.78% | 50 | 24.93% | 37.39% | 49.85% | 62.31% | 74.78%
51 | 25.6% | 38.4% | 51.19% | 63.99% | 76.79% | 51 | 25.6% | 38.4% | 51.19% | 63.99% | 76.79%
52 | 26.28% | 39.42% | 52.55% | 65.69% | 78.83% | 52 | 26.28% | 39.42% | 52.55% | 65.69% | 78.83%
53 | 26.96% | 40.45% | 53.93% | 67.41% | 80.89% | 53 | 26.96% | 40.45% | 53.93% | 67.41% | 80.89%
54 | 27.66% | 41.49% | 55.32% | 69.15% | 82.98% | 54 | 27.66% | 41.49% | 55.32% | 69.15% | 82.98%
55 | 28.37% | 42.55% | 56.73% | 70.91% | 85.1% | 55 | 28.37% | 42.55% | 56.73% | 70.91% | 85.1%
56 | 29.08% | 43.62% | 58.16% | 72.7% | 87.24% | 56 | 29.08% | 43.62% | 58.16% | 72.7% | 87.24%
57 | 29.8% | 44.7% | 59.6% | 74.5% | 89.4% | 57 | 29.8% | 44.7% | 59.6% | 74.5% | 89.4%
58 | 30.53% | 45.8% | 61.06% | 76.33% | 91.59% | 58 | 30.53% | 45.8% | 61.06% | 76.33% | 91.59%
59 | 31.27% | 46.91% | 62.54% | 78.18% | 93.81% | 59 | 31.27% | 46.91% | 62.54% | 78.18% | 93.81%
60 | 32.02% | 48.03% | 64.04% | 80.05% | 96.06% | 60 | 32.02% | 48.03% | 64.04% | 80.05% | 96.06%

## Alberta Electricity Profile
Alberta Electricity Profile
Generation in 2012 | Gigawatt hour (GWh)** | Direct CO2 EmissionRate (kg/kWh) | Direct CO2 Emissions Total (kg CO2) |  | Maps From | http://www.energy.alberta.ca/Org/pdfs/Alberta_Energy_Overview.pdf
Coal | 38272 | 1.0201 | 39042354430.976
Natural Gas | 27238 | 0.51483 | 14022855646.96
Hydro | 2319 | 0 | 0
Wind | 2640 | 0 | 0
Biomass | 2089 | 0 | 0
Others* | 359 | 0 | 0
Total | 72918 |  | 53065210077.936
Source | http://www.energy.alberta.ca/Electricity/682.asp | See Carbon sheet
Therefore Province Wide Average CO2/kWh
0.72774
Capacity | http://www.energy.alberta.ca/Electricity/682.asp
Generating Capacity | Megawatt (MW)
Coal | 5690
Gas | 5784
Hydro | 900
Wind | 1113
Biomass | 418
Waste Heat* | 86
Fuel Oil | 12
Subtotal | 14003
Interconnections Capacity
British Columbia | 750
Saskatchewan | 150
Subtotal | 900
Grand Total | 14903
Canada Generation Capaticy |  | http://en.wikipedia.org/wiki/Electricity_sector_in_Canada#Nameplate_capacity
Type |  | Canada | NL | PE | NS | NB | QC | ON | MB | SK | AB | BC | YT | NT | NU
MW
Hydro |  | 75077 | 6781 | 0 | 374 | 947 | 38438 | 8406 | 5054 | 856 | 883 | 13205 | 78 | 56 | 0
Wind |  | 3973 | 54 | 152 | 218 | 249 | 658 | 1457 | 104 | 171 | 806 | 104 | 1 | 0 | 0
Tidal |  | 20 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar |  | 108 | 0 | 0 | 0 | 0 | 0 | 108 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermal |  | 51365 | 584 | 117 | 2006 | 2849 | 3018 | 25516 | 501 | 3159 | 11107 | 2291 | 33 | 127 | 54
| Conventional Steam | 25491 | 490 | 67 | 1686 | 2068 | 959 | 9101 | 250 | 2173 | 7780 | 897 | 0 | 0 | 0
| Nuclear | 12665 | 0 | 0 | 0 | 0[a] | 675[b] | 11990 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combustion turbine | 12406 | 43 | 50 | 320 | 779 | 1252 | 4340 | 241 | 981 | 3037 | 1343 | 0 | 19 | 0
| Internal combustion | 803 | 51 | 0 | 0 | 3 | 131 | 85 | 10 | 5 | 271 | 51 | 33 | 107 | 54
Total installed capacity |  | 130543 | 7419 | 269 | 2618 | 4045 | 42115 | 35487 | 5659 | 4186 | 12796 | 15600 | 112 | 183 | 54

## PV Output
Calculation of the solar PV energy ouput of a photovoltaic system
Yelow cell = enter your own data
White cell = calculated value (do not change the value)
Global formula : |  | E = A * r * H * PR
E = Energy (kWh/year) |  |  |  |  | 1.1747e+12 | kWh/an
A = Total solar panel Area (m²) |  |  |  |  | 6309000000 | m²
r = solar panel yield (%) |  |  |  |  | 20%
H = Annual average irradiation on tilted panels (shadings not included)* |  |  |  |  | 1242.0139 | kWh/m².an
PR = Performance ratio, coefficient for losses (range between 0.9 and 0.5, default value = 0.75) |  |  |  |  | 0.74954
|  |  |  | Total power of the system | 1261800000 | kWp | HOW ARE THESE UNITS CORRECT??? WHAT is kWp? This cell is area*panel efficiency
|  |  | Avg 24/7/365 power |  | 134.0943 | GW | I think this is the number you want
Losses details (depend of site, technology, and sizing of the system)
- | Inverter losses (6% to 15 %) |  |  |  | 8%
- | Température losses (5% to 15%) |  |  |  | 8%
- | DC cables losses (1 to 3 %) |  |  |  | 2%
- | AC cables losses (1 to 3 %) |  |  |  | 2%
- | Shadings 0 % to 40% (depends of site) |  |  |  | 3%
- | Losses weak irradiation 3% yo 7% |  |  |  | 3%
- | Losses due to dust, snow... (2%) |  |  |  | 2%
- | Other Losses |  |  |  | 0%